## KIT & MODULES
| TESK-2019 | TRAUMA & EMERGENCY SURGERY KIT (TESK 2019), for 50 patients hospitalized
Product category | WHO item code | WHO item description | UoM | Quantity
KIT | KMEDTESK1----A1 | KIT, TRAUMA & EMERGENCY SURGERY KIT (TESK 2017), for 50 patients hospitalized
MODULE 1 | KMEDTESM1----A1 | (TESK 2019) MODULE 1, DRUGS & RENEWABLES, for 50 patients hospitalized | Kit | 1
MODULE 1A | KMEDTESM1A---A1 | (TESK 2019) MODULE 1A, DRUGS | Kit | 1
SET1A1 | KMEDTESM1AB--A1 | (TESK 2019)module 1A) SET, DRUGS, BASIC | Set | 1
SET1A2 | KMEDTESM1AC--A1 | (TESK 2019 module 1A) SET, DRUGS, CONTROLLED | Set | 1
SET1A3 | KMEDTESM1AAR-A1 | (TESK 2019 module 1A) SET, DRUGS, ANTIDOTE RESCUE | Set | 1
SET1A4- A | KMEDTESM1ACC-A1 | (TESK 2019 module 1A) SET, DRUGS, COLD CHAIN, MUSCLE RELAXANTS | Set | 1
SET1A4- B | KMEDTESM1ACC-A1 | (TESK 2019 module 1A) SET, DRUGS, COLD CHAIN, TETANUS IG & VACCINES | Set | 1
SET1A5 | KMEDTESM1ADG-A1 | (TESK 2019 module 1A) SET, DRUGS, DANGEROUS GOODS | Set | 1
SET1A6 | KMEDTESM1AI--A1 | (TESK 2019 module 1A) SET, DRUGS, INFUSIONS | Set | 1
SET1A7 | KMEDTESM1AD--A1 | (TESK 2019 module 1A) SET, DRUGS, DISINFECTANTS | Set | 1
MODULE 1B | KMEDTESM1B---A1 | (TESK 2019) MODULE 1B, RENEWABLES COMMODITIES, for 50 patients | Kit | 1
SET1B1 | KMEDTESM1BG--A1 | (TESK 2019 module 1B) SET, RENEWABLES, GLOVES | Set | 1
SET1B2 | KMEDTESM1BA--A1 | (TESK 2019 module 1B) SET, RENEWABLES, ANAESTHESIA, basic material | Set | 1
SET1B3 | KMEDTESM1BI--A1 | (TESK 2019 y module 1B) SET, RENEWABLES, INJECTION MATERIAL | Set | 1
SET1B4 | KMEDTESM1BD--A1 | (TESK 2019 module 1B) SET, RENEWABLES, DRESSING MATERIAL | Set | 1
SET1B5 | KMEDTESM1BDB-A1 | (TESK 2019 module 1B) SET, RENEWABLES, DRESSING MATERIAL, BURNS | Set | 1
SET1B6 | KMEDTESM1BPC-A1 | (TESK 2019 module 1B) SET, RENEWABLES, PLASTER CASTING MATERIAL | Set | 1
SET1B7 | KMEDTESM1BST-A1 | (TESK 2019 module 1B) SET, RENEWABLES, STERILISATION, for autoclave | Set | 1
SET1B8 | KMEDTESM1BSD-A1 | (TESK 2019 module 1B) SET, RENEWABLES, SURGICAL DRAINAGE MATERIAL | Set | 1
SET1B9 | KMEDTESM1BS--A1 | (TESK 2019 module 1B) SET, RENEWABLES, SUTURES | Set | 1
SET1B10 | KMEDTESM1BUD-A1 | (TESK 2019 module 1B) SET, RENEWABLES, URINE DRAINAGE MATERIAL | Set | 1
SET1B11 | KMEDTESM1BSM-A1 | (TESK 2019 module 1B) SET, RENEWABLES, SURGICAL MISCELLANEOUS MATERIAL | Set | 1
MODULE 1C | KMEDTESM1C---A1 | (TESK 2019) MODULE 1C, SUPPLEMENTARY, RENEWABLES COMMODITIES, for 50 patients | Kit | 1
SET1C1 | KMEDTESM1CA--A1 | (TESK 2019 module 1C) SET, SUPPLEMENTARY, ANAESTHESIA MATERIAL | Set | 1
SET1C2 | KMEDTESM1CE--A1 | (TESK 2019 module 1C) SET, SUPPLEMENTARY, EXTRICATION COLLARS | Set | 1
SET1C3 | KMEDTESM1CS--A1 | (TESK 2019 module 1C) SET, SUPPLEMENTARY, SPLINTS, for 15-20 fracture cases | Set | 1
SET1C4 | KMEDTESM1CI--A1 | (TESK 2019 module 1C) SET, SUPPLEMENTARY, INTUBATION & LARYNGOSCOPE | Set | 1
MODULE 2 | KMEDTESKN2000A1 | (TESK 2024) MODULE 2, SURGERY, INSTRUMENTS | kit | 1 | Remark
MODULE 2A | KMEDTESKN2A00A1 | (TESK 2024) MODULE 2A, SURGERY, GENERAL SURGERY INSTRUMENTS | kit | 1 | Revision 2024
SET2A1 | KMEDTESKN2A01A1 | (TESK 2024 mod 2A) SET 2A1, GENERAL SURGERY INSTRUMENTS, BASIC SURGERY | Set | 1 | Unchanged
SET2A2 | KMEDTESKN2A02A1 | (TESK 2024 mod 2A) SET 2A2, GENERAL SURGERY INSTRUMENTS, DRESSING | Set | 1 | Unchanged
SET2A3 | KMEDTESKN2A03A1 | (TESK 2024 mod 2A) SET 2A3, GENERAL SURGERY INSTRUMENTS, CRANIOTOMY, complementary | Set | 1 | Unchanged
SET2A4 | KMEDTESKN2A04A1 | (TESK 2024 mod 2A) SET 2A4, GENERAL SURGERY INSTRUMENTS, LAPAROTOMY + caesarian | Set | 1 | Unchanged
SET2A5 | KMEDTESKN2A05A1 | (TESK 2024 mod 2A) SET 2A5, GENERAL SURGERY INSTRUMENTS, DPC (suture) | Set | 1 | Unchanged
SET2A6 | KMEDTESKN2A06A1 | (TESK 2024 mod 2A) SET 2A6, GENERAL SURGERY INSTRUMENTS, DEBRIDEMENT | Set | 1 | Unchanged
SET2A7 | KMEDTESKN2A07A1 | (TESK 2024 mod 2A) SET 2A7, GENERAL SURGERY INSTRUMENTS, SKIN GRAFT | Set | 1 | Unchanged
SET2A8 | KMEDTESKN2A08A1 | (TESK 2024 mod 2A) SET 2A8, GENERAL SURGERY INSTRUMENTS, FINE(pediat), complementary | Set | 1 | Updated
SET2A9 | KMEDTESKN2A09A1 | (TESK 2024 mod 2A) SET 2A9, GENERAL SURGERY INSTRUMENTS, THORACOTOMY, complementary | Set | 1 | Unchanged
MODULE 2B | KMEDTESKN2B00A1 | (TESK 2024) MODULE 2B, SURGERY, ORTHOPEDIC SURGERY INSTRUMENTS | Kit | 1
SET2B1 | KMEDTESKN2B01A1 | (TESK 2024 mod 2B) SET 2B1, ORTHO. SURGERY INSTRUMENTS, AMPUTATION | Set | 1 | Unchanged
SET2B2 | KMEDTESKN2B02A1 | (TESK 2024 mod 2B) SET 2B2, ORTHO. SURGERY INSTRUMENTS, BASIC BONE SURG., compltary | Set | 1 | Unchanged
SET2B3 | KMEDTESKM2B03A1 | (TESK 2022 mod 2B) SET 2B3, ORTHO. SURGERY INSTRUMENTS, BASIC BONE SURG., curettes | Set | 1 | Discontinued
SET2B4 | KMEDTESKN2B04A1 | (TESK 2024 mod 2B) SET 2B4, ORTHO. SURGERY INSTRUMENTS, BONE WIRING and KIRSHNER | Set | 1 | Unchanged
SET2B5 | KMEDTESKN2B05A1 | (TESK 2024 mod 2B) SET 2B5, ORTHO. SURGERY INSTRUMENTS, PLASTER CASTS REMOVAL | Set | 1 | Unchanged
SET2B6 | KMEDTESKN2B06A1 | (TESK 2024 mod 2B) SET 2B6, ORTHO.SURGERY INSTRUMENTS, TRACTION, + 10 bows, w/o traction frame | Set | 1 | New
SET2B7 | KMEDTESKN2B07A1 | (TESK 2024 mod 2B) SET 2B7, ORTHO.SURGERY INSTRUMENTS, FINE, ORTHOPLASTIC | Set | 1 | New
MODULE 2C | KMEDTESKN2C00A1 | (TESK 2024) MODULE 2C, SURGERY, SPECIALIZED SURGERY INSTRUMENTS | Kit | 1
SET2C1 | KMEDTESKM2C01A1 | (TESK 2022 mod 2C) SET 2C1, EAR-NOSE-THROAT INSTRUMENTS | Set | 1 | Discontinued
SET2C2 | KMEDTESKM2C02A1 | (TESK 2022 mod 2C) SET 2C2, OPHTHALMIC TRAUMA INSTRUMENTS, complementary | Set | 1 | Discontinued
SET2C3 | KMEDTESKN2C03A1 | (TESK 2024 mod 2C) SET 2C3, URETHRAL SOUNDS INSTRUMENTS, Dittel, curved | Set | 1 | Unchanged
SET2C4 | KMEDTESKN2C04A1 | (TESK 2024 mod 2C) SET 2C4, VASCULAR INSTRUMENTS, complementary | Set | 1 | Updated
SET2C5 | KMEDTESKN2C05A1 | (TESK 2024 mod 2C) SET 2C5, GYNAECOLOGY INSTRUMENTS | Set | 1 | Updated
SET2C6 | KMEDTESKN2C06A1 | (TESK 2024 mod 2C) SET 2C6, REPRODUCTIVE HEALTH KIT, INSTRUMENTS | Set | 1 | Unchanged
SET2C7 | KMEDTESKN2C07A1 | (TESK 2024 mod 2C) SET 2C7, EMBRYOTOMY INSTRUMENTS | Set | 1 | Unchanged
SET2C8 | KMEDTESKN2C08A1 | (TESK 2024 mod 2C) SET 2C8, SUPPLEMENTARY, SUTURES, for vaginal/cervix tears | Set | 1 | Unchanged
SET2C9 | LEQTPHES001--A1 | PHOTO EVIDENCE SCALE (PPSM300), 100mm, black aluminum | Each | 1 | Discontinued
SET2C10 | KMEDTESKN2C10A1 | (TESK 2024 mod 2C) SET 2C10, BONE GRAFT | Set | 1 | New

## SET1A1
MODULE 1, SUB-MODULE 1A
| SET1A1 | KMEDTESM1AB--A1 (TESK 2019 module 1A) SET, DRUGS, BASIC
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1AB--A1 | (TESK 2019 module 1A) SET, DRUGS, BASIC | 1 Set
1 |  | ATROPINE SULFATE, 1mg/ml, 1ml, amp. |  | 50
2 |  | BUPIVACAINE 0.5%, 5mg/ml, 20ml, vial |  | 60
3 |  | BUPIVACAINE, heavy, 0.5% (5mg/ml), 4ml amp. for spinal a. |  | 40
4 |  | CALCIUM GLUCONATE, 100mg/ml, 10ml, amp. |  | 20
5 |  | CEFAZOLIN, 1g, powder, vial |  | 600
6 |  | CEFTRIAXONE, 1g, powder, vial |  | 100
7 |  | CHLORPHENAMINE, 10mg/ml, 1ml ampoule |  | 5
8 |  | CIPROFLOXACINE HYDROCHLORIDE,500 mg, tab. |  | 500
9 |  | DEXAMETHASONE, 4mg PHOSPH./ml |  | 21
10 |  | DIGOXIN, 0.25mg/ml, 2ml, amp,small packaging |  | 5
|  | EPHEDRINE HYDROCHLORIDE, 30mg/ml, 1ml, amp. |  | 30
11 |  | EPINEPHRINE (adrenaline), 1mg/ml, 1ml, amp. |  | 50
12 |  | FERROUS FUMARATE 185mg (60mg ir) + FOLIC ACID 0.4 mg, tab. |  | 1000
13 |  | FUROSEMIDE, 10mg/ml, 2ml, amp, |  | 10
14 |  | GENTAMICIN 0.3%, EYE DROPS, 10ML, BTL |  | 10
15 |  | GENTAMICIN, 40mg/ml, 2ml, amp. |  | 240
16 |  | HALOPERIDOL 5mg/ml, 1ml , amp. |  | 10
17 |  | HEPARIN sodium, 5000IU/ml, 5ml |  | 10
18 |  | HYDRALAZINE, 20mg, powder, amp |  | 5
19 |  | HYDROCORTISONE, 100mg, powder, vial |  | 100
20 |  | IBUPROFEN, 200 mg, tab. |  | 1000
21 |  | LIDOCAINE, 1%, 20ml, amp. |  | 80
22 |  | MAGNESIUM SULFATE, 0.5g/ml,vial |  | 50
23 |  | METOCLOPRAMIDE, 5mg/ml, 2ml, amp |  | 20
24 |  | METRONIDAZOLE, 5mg/ml, 100ml,infusion |  | 100
25 |  | NALOXONE, 0.4mg/ml, 1ml, amp. |  | 20
26 |  | NEOSTIGMINE METHYLSULFATE, 0.5mg/ml, 1ml, amp. |  | 120
27 |  | OMEPRAZOLE, 20 mg, tab. |  | 500
28 |  | OMEPRAZOLE, 40mg/15ml , powder for infusion |  | 50
29 |  | PARACETAMOL (acetaminophen), 500 mg, tab. |  | 2000
30 |  | PARACETAMOL 10mg/ml, 100ml |  | 20
31 |  | SODIUM BICARBONATE, 8.4%, 1 Meq/ml, 20ml, amp. |  | 50
32 |  | SODIUM CHLORIDE, 0.9%, 100ml |  | 250
33 |  | SULFADIAZINE SILVER, 1%, cream, 500g, jar |  | 10
34 |  | TETRACYCLINE, 1%, eye ointment, 5g, tube |  | 50
35 |  | TRANEXAMIC ACID, 500mg/ 5m ,amp. |  | 100
36 |  | VANCOMYCIN, 500mg, vial. |  | 50
37 |  | WATER for injection, 10ml, plastic amp. |  | 1000

## SET1A2
MODULE 1, SUB-MODULE 1A
| SET1A2 | KMEDTESM1AC--A1 (TESK 2019 module 1A) SET, DRUGS, CONTROLLED
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1AC--A1 | (TESK 2019 module 1A) SET, DRUGS, CONTROLLED | 1 Set
1 |  | HALOPERIDOL 5mg/ml, 1ml , amp. |  | 10
2 |  | DIAZEPAM 5mg/ml, amp |  | 50
3 |  | EPHEDRINE HYDROCHLORIDE, 30mg/ml, 1ml, amp. |  | 30
4 |  | KETAMINE, 50mg/ml, 5ml, amp. |  | 100
5 |  | Midazolam 1mg/ml - 5ml |  | 100
6 |  | (midazolam) INTRANASAL DELIVERY DEVICE +syringe 3ml s.u. |  | 25
7 |  | MORPHINE HYDROCHLORIDE, 10mg/ml, 1ml, amp |  | 10
8 |  | MORPHINE SULPHATE PENTAHYDRATE, 10mg, immediate release tab. |  | 56
9 |  | PROPOFOL 1%, 10mg/ml, 20 ml,amp. |  | 10
10 |  | THIOPENTAL SODIUM, 500mg, powder, vial |  | 50

## SET1A3
MODULE 1, SUB-MODULE 1A
| SET1A3 | KMEDTESM1AAR-A1 (TESK 2019 module 1A) SET, DRUGS, ANTIDOTE RESCUE
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1AAR-A1 | (TESK 2019 module 1A) SET, DRUGS, ANTIDOTE RESCUE | 1 Set
1 |  | LIPID 20% EMULSION, 500 ml |  | 2
2 |  | FLUMAZENIL, 0,1mg/ml, 5ml amp. |  | 10

## SET1A4
MODULE 1, SUB-MODULE 1A
| SET1A4 | KMEDTESM1ACC-A1 (TESK 2019 module 1A) SET, DRUGS, COLD CHAIN
item | WHO item code | WHO item description | UoM | Quantity ( unit)
| KMEDTESM1ACC-A1 | (TESK 2019 module 1A) SET, DRUGS, COLD CHAIN | 1 Set
1 |  | ATRACURIUM BESILATE, 10mg/ml, 5 ml amp. |  | 75
2 |  | SUXAMETHONIUM CHLORIDE, 50mg/ml, 2ml, amp. |  | 50
3 |  | IMMUNOGLOBULINS, ANTITETANUS, 250 UI/ml, 1ml, prefilled syr. |  | 50
4 |  | VACCINE, TETANUS, 40 IU, 1 dose, amp. |  | 100
5 |  | DATA LOGGER |  | 1
CHANGED FOR
| SET1A4 | KMEDTESM1ACC-A1 (TESK 2019 module 1A) SET, DRUGS, COLD CHAIN
item | WHO item code | WHO item description | UoM | Quantity ( unit)
| KMEDTESM1ACC-A1 | (TESK 2019 module 1A) SET, DRUGS, COLD CHAIN ( PART 1) | 1 Set
1 |  | ATRACURIUM BESILATE, 10mg/ml, 5 ml amp. |  | 75
2 |  | SUXAMETHONIUM CHLORIDE, 50mg/ml, 2ml, amp. |  | 50
5 |  | DATA LOGGER |  | 1
item | WHO item code | WHO item description | UoM | Quantity ( unit)
| KMEDTESM1ACC-A1 | (TESK 2019 module 1A) SET, DRUGS, COLD CHAIN (PART 2) | 1 Set
3 |  | IMMUNOGLOBULINS, ANTITETANUS, 250 UI/ml, 1ml, prefilled syr. |  | 50
4 |  | VACCINE, TETANUS, 40 IU, 1 dose, amp. |  | 100
5 |  | DATA LOGGER |  | 1

## SET1A5
MODULE 1, SUB-MODULE 1A
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1ADG-A1 | (TESK 2019 module 1A) SET, DRUGS, DANGEROUS GOODS | 1 Set
1 |  | HALOTHANE, 250ml, btl. |  | 2
due to discontinuation of Halothane
CHANGED FOR
| SET1A5 | KMEDTESM1ADG-A1 (TESK 2019 module 1A) SET, DRUGS, DANGEROUS GOODS
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1ADG-A1 | (TESK 2019 module 1A) SET, DRUGS, DANGEROUS GOODS | 1 Set
1 |  | ISOFLURANE 100ml | 100ml | 6
2 |  | Funnel fill adaptor | unit | 1

## SET1A6
MODULE 1, SUB-MODULE 1A
| SET1A6 | KMEDTESM1AI--A1 (TESK 2019 module 1A) SET, DRUGS, INFUSIONS
item | WHO item code | WHO item description | UoM | Quantity (unit) | packing
| KMEDTESM1AI--A1 | (TESK 2019 module 1A) SET, DRUGS, INFUSIONS | 1 Set |  | 3
1 |  | DEXTROSE, 5%, 1L |  | 120 | 40
2 |  | RINGER LACTATE, 1L |  | 360 | 120
3 |  | SODIUM CHLORIDE, 0.9%, 100ml |  | 300 | 100
4 |  | SODIUM CHLORIDE, 0.9%, 1L, plastic bottle |  | 60 | 20
5 |  | INFUSION SET, min. 150cm, with air intake and inj. site |  | 600 | 200
6 |  | (infusion set) FLOW REGULATOR &extension line +/-50cm st.,s.u |  | 150 | 50
7 |  | NEEDLE, HYPODERMIC, G21,0.8x40mm,green,IM/IV,st. s.u. safety |  | 600 | 200
9 |  | TRANSFER SET, sterile fluids, short spike, botl.up to 100ml |  | 150 | 50

## SET1A7
MODULE 1, SUB-MODULE 1A
| SET1A7 | KMEDTESM1AD--A1 (TESK 2019 module 1A) SET, DRUGS, DISINFECTANTS
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1AD--A1 | (TESK 2019 module 1A) SET, DRUGS, DISINFECTANTS | 1 Set
1 |  | IODINE POVIDONE, 7.5%, solution, scrub, 500ml |  | 4
2 |  | IODINE POVIDONE, 10%, solution, 1L, btl. |  | 40
3 |  | DETERGENT/DISINFECTANT,for surfaces, 1L, dosing bottle |  | 10
4 |  | CHLORINE,1000mg (NaDCC 1670mg) multipurpose,1 tab DGR IF>5KG |  | 600

## SET1B1
MODULE 1, SUB-MODULE 1B
| SET1B1 | KMEDTESM1BG--A1 (TESK 2017 module 1B) SET, RENEWABLES, GLOVES
item | WHO item code | WHO item description | UoM | Quantity (unit) | packing
| KMEDTESM1BG--A1 | (TESK 2019 module 1B) SET, RENEWABLES, GLOVES | 1 Set |  | 2
1 |  | GLOVE, EXAMINATION, NITRILE, non sterile, medium (7-8) |  | 1000 | 500
2 |  | GLOVE,SURGICAL,DOUBLE,size 6.5under&outer glove pair,st.,s.u |  | 50 | 25
3 |  | GLOVE,SURGICAL,DOUBLE,size 7 under&outer glove pair,st.,s.u |  | 100 | 50
4 |  | GLOVE,SURGICAL,DOUBLE,size 7.5under&outer glove pair,st.,s.u |  | 250 | 125
5 |  | GLOVE,SURGICAL,DOUBLE,size 8 under&outer glove pair,st.,s.u |  | 50 | 25
6 |  | GLOVE,SURGICAL,DOUBLE,size 8.5under&outer glove pair,st.,s.u |  | 50 | 25

## SET1B2
MODULE 1, SUB-MODULE 1B
| SET1B2 | KMEDTESM1BA--A1 (TESK 2017 module 1B) SET, RENEWABLES, ANAESTHESIA, basic material
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1BA--A1 | (TESK 2019 module 1B) SET, RENEWABLES, ANAESTHESIA, basic material | 1 Set
1 |  | BAG, URINE, 2 l, w/ tap + non-return valve, graded, sterile |  | 15
2 |  | LUBRICATING JELLY, 42 g, tube |  | 5
3 |  | TUBE, GASTRIC, CH 10, conical tip, 120cm, sterile, disp. |  | 5
4 |  | TUBE, GASTRIC, CH 14, conical tip, 120cm, sterile, disp. |  | 10
5 |  | TUBE, GASTRIC, CH 16, conical tip, 120cm, sterile, disp. |  | 10
6 |  | TUBE, SUCTION, CH 10, 53 cm, straight, sterile, disposable |  | 10
7 |  | TUBE, SUCTION, CH 12, 51 cm, straight, sterile, disposable |  | 20
8 |  | TUBE, SUCTION, CH 16, 51 cm, straight, sterile, disposable |  | 20
9 |  | SYRINGE, 100 ml, 3 parts, with catheter and Luer nose |  | 5

## SET1B3
MODULE 1, SUB-MODULE 1B
| SET1B3 | KMEDTESM1BI--A1 (TESK 2017 module 1B) SET, RENEWABLES, INJECTION MATERIAL
Main source
item | WHO item code | WHO item description | UoM | Quantity (unit) | Remarks Technical specs | Proposed quantity | Presentation | Dosage and strength | Manufacturer | Manufacturing site | Shelf life | Storage conditions | Part of regular stock (y/n) | Remarks
| KMEDTESM1BI--A1 | (TESK 2019 module 1B) SET, RENEWABLES, INJECTION MATERIAL | 1 Set
1 |  | IODINE POVIDONE, 10%, solution, 1L, btl. |  | 1
2 |  | SWAB, cellulose, 4x5cm /12 folds, 1000 pcs (2 roll of 500) |  | 1 | 1000 pcs : provide 2 roll of 500
3 |  | TAPE, ADHESIVE PAPER, 2.5 cm x 10 m, roll |  | 4
4 |  | CONTAINER, SAFETY, for used syringes & needles, 5 l |  | 12 | "Materials:Carton Specifications: Volume: 5 litres Capacity: 100 disposable (standard or auto-disable) syringes and needles. Outer dimensions: - before assembling: 590 x 283 x 5mm approx. - after assembling: 290 x 162 x 125mm approx. Thickness of walls: 1.1-4.4mm Weight, fully assembled: 250-350g Diameter of syringe insert hole: 30-38mm Puncture-proof. Notching system for hermetic sealing (inferior and superior parts). Features: Boxes should be equipped with a carrying handle and have directions for use and destruction printed on the box. Other Requirements: Must comply with WHO Performance Specification E10/IC.1"
5 |  | INFUSION SET, PAEDIATRIC, with burette, and air intake |  | 25
6 |  | IV CANNULA, G16, 1.7 x 50 mm, with inj. site, grey, safety |  | 50
7 |  | IV CANNULA, G18, 1.3 x 45 mm, with inj. site, green, safety |  | 50
8 |  | IV CANNULA, G20, 1.1 x 33 mm, with inj. site, pink, safety |  | 50
9 |  | IV CANNULA, G22, 0.9 x 25 mm, with inj. site, blue, safety |  | 50
10 |  | IV CANNULA, G24, 0.7 x 19 mm, yellow, safety |  | 50
11 |  | NEEDLE, HYPODERMIC,G18,1.2x 40mm,pink, IV, st. s.u safety, |  | 500
12 |  | NEEDLE, HYPODERMIC, G21,0.8x40mm,green,IM/IV,st. s.u. safety |  | 300
13 |  | NEEDLE, HYPODERMIC,G25, 0.5x25mm,orange,SC/ID,st. s.u.safety |  | 100
14 |  | SYRINGE, 10 ml, 2 parts, disposable |  | 400
15 |  | SYRINGE, 2 ml, 2 parts, disposable |  | 200
16 |  | SYRINGE, 20 ml, 2 parts, disposable |  | 100
17 |  | SYRINGE, 5 ml, 2 parts, disposable |  | 200
18 |  | GLOVE, EXAMINATION, NITRILE, non sterile, medium (7-8) |  | 200
19 |  | TOURNIQUET, LATEX, min. 50 cm x 2 cm |  | 2

## SET1B4
MODULE 1, SUB-MODULE 1B
| SET1B4 | KMEDTESM1BD--A1 (TESK 2017 module 1B) SET, RENEWABLES, DRESSING MATERIAL
item | WHO item code | WHO item description | UoM | Quantity | packing
| KMEDTESM1BD--A1 | (TESK 2019 module 1B) SET, RENEWABLES, DRESSING MATERIAL | Set | 1 | 4
1 |  | BANDAGE, ELASTIC, 10 cm x 5 m, constraining |  | 240 | 60
2 |  | BANDAGE, GAUZE, 08cmx4m, elastic, non sterile |  | 240 | 60
3 |  | BANDAGE, TRIANGULAR, 136 x 96 x 96 cm |  | 40 | 10
4 |  | BOWL, ROUND, 100 ml, 80 x 35 mm, stainless steel |  | 4 | 1
5 |  | COMPRESS, GAUZE, 10 x 10 cm, 8 plys, 17 thr., ster., 2 pcs |  | 1000 | 250
6 |  | COMPRESS, GAUZE, 10 x 20 cm, 12 plys, 17 threads, non-ster. |  | 1200 | 300
7 |  | COTTON WOOL, 1kg, 100% cotton, hydrophilic |  | 8 | 2
8 |  | DRESSING, ADHESIVE BANDAGE, wound plaster, 6cm x 5m, roll |  | 4 | 1
9 |  | FORCEPS, DRESSING, BLANK, 14.5 cm, atraumatic serration |  | 4 | 1
10 |  | GLOVE, EXAMINATION, NITRILE, non sterile, medium (7-8) |  | 800 | 200
11 |  | IODINE POVIDONE, 10%, solution, 1L, btl. |  | 8 | 2
12 |  | SCISSORS, DRESSING, LISTER, 18 cm |  | 4 | 1
13 |  | TAPE, ADHESIVE PAPER, 2.5 cm x 10 m, roll |  | 24 | 6
14 |  | TAPE, ADHESIVE PAPER, 5 cm x 10 m, roll |  | 12 | 3
15 |  | TAPE, ADHESIVE, NON WOVEN, 10 cm X 10m, roll |  | 40 | 10

## SET1B5
MODULE 1, SUB-MODULE 1B
| SET1B5 | KMEDTESM1BDB-A1 (TESK 2017 module 1B) SET, RENEWABLES, DRESSING MATERIAL, BURNS
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1BDB-A1 | (TESK 2019 module 1B) SET, RENEWABLES, DRESSING MATERIAL, BURNS | 1 Set
1 |  | BANDAGE, ELASTIC, 10 cm x 5 m, constraining |  | 60
2 |  | BANDAGE, GAUZE, 08cmx4m, elastic, non sterile |  | 60
3 |  | BANDAGE, TRIANGULAR, 136 x 96 x 96 cm |  | 10
4 |  | BOWL, ROUND, 100 ml, 80 x 35 mm, stainless steel |  | 1
5 |  | COMPRESS, GAUZE, 10 x 10 cm, 8 plys, 17 thr., ster., 2 pcs |  | 250
6 |  | COMPRESS, GAUZE, 10 x 20 cm, 12 plys, 17 threads, non-ster. |  | 300
7 |  | COMPRESS, PARAFFIN, 10 x 10 cm, sterile |  | 300
8 |  | COTTON WOOL, 1kg, 100% cotton, hydrophilic |  | 2
9 |  | DRESSING, ADHESIVE BANDAGE, wound plaster, 6cm x 5m, roll |  | 1
10 |  | DRESSING, FIRST AID, ALUMINIZED, 35x45cm, sterile |  | 20
11 |  | FORCEPS, DRESSING, BLANK, 14.5 cm, atraumatic serration |  | 1
12 |  | GLOVE, EXAMINATION, NITRILE, non sterile, medium (7-8) |  | 200
13 |  | ORAL REHYDRATION SALTS (O.R.S.), sachet 20.5 g/1 L |  | 30
14 |  | SCISSORS, DRESSING, LISTER, 18 cm |  | 1
15 |  | SODIUM CHLORIDE, 0.9%, 500ml, plastic bottle |  | 4
16 |  | SULFADIAZINE SILVER, 1%, cream, 500g, jar |  | 2
17 |  | TAPE, ADHESIVE PAPER, 2.5 cm x 10 m, roll |  | 6
18 |  | TAPE, ADHESIVE PAPER, 5 cm x 10 m, roll |  | 3
19 |  | TRANSFER SET, sterile fluids, short spike, botl.up to 100ml |  | 5

## SET1B6
MODULE 1, SUB-MODULE 1B
| SET1B6 | KMEDTESM1BPC-A1 (TESK 2017 module 1B) SET, RENEWABLES, PLASTER CASTING MATERIAL
item | WHO item code | WHO item description | UoM | Quantity (Unit) | packing
| KMEDTESM1BPC-A1 | (TESK 2019 module 1B) SET, RENEWABLES, PLASTER CASTING MATERIAL | 1 Set |  | 2
1 |  | BANDAGE, PLASTER OF PARIS, 10 cm x 3 m |  | 48 | 24
2 |  | BANDAGE, PLASTER OF PARIS, 15 cm x 3 m |  | 120 | 60
3 |  | BANDAGE PADDING, for POP, 10cmx2.7m, viscose 100% |  | 24 | 12
4 |  | BANDAGE PADDING, for POP, 15cmx2.7m, viscose 100% |  | 72 | 36
5 |  | BANDAGE, TUBULAR, cotton, unbleached, 06cmx25m, for POP |  | 2 | 1
6 |  | BANDAGE, TUBULAR, cotton, unbleached, 08cmx25m, for POP |  | 2 | 1
7 |  | GLOVE, EXAMINATION, NITRILE, non sterile, medium (7-8) |  | 200 | 100

## SET1B7
MODULE 1, SUB-MODULE 1B
| SET1B7 | KMEDTESM1BST-A1 (TESK 2017 module 1B) SET, RENEWABLES, STERILISATION, for autoclave
item | WHO item code | WHO item description | UoM | Quantity (unit) | packing
| KMEDTESM1BST-A1 | (TESK 2019 module 1B) SET, RENEWABLES, STERILISATION, for autoclave | 1 Set |  | 2
1 |  | DETERGENT/DISINFECTANT, Instruments & Equipment, 1L |  | 2 | 1
2 |  | (bag, sterilization) DUST COVER plastic +/-70 x 100cm |  | 10 | 5
3 |  | CONTROL STRIP, TST(T°-steam-time),134°-18min,adhesive |  | 1200 | 600
4 |  | SHEET STERILIZATION, +/-60gr/m2, 120X120cm, non woven |  | 200 | 100
5 |  | TAPE, AUTOCLAVE, 19mm x 50m |  | 10 | 5
6 |  | BRUSH, SCRUB, nylon handle, autoclavable |  | 2 | 2

## SET1B8
MODULE 1, SUB-MODULE 1B
| SET1B8 | KMEDTESM1BSD-A1 (TESK 2017 module 1B) SET, RENEWABLES, SURGICAL DRAINAGE MATERIAL
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1BSD-A1 | (TESK 2019 module 1B) SET, RENEWABLES, SURGICAL DRAINAGE MATERIAL | 1 Set | 1
1 |  | BAG, COLOSTOMY, pre-cut 25-64mm, closed, adhesive, disp. |  | 100
2 |  | BAG, COLOSTOMY, EMPTYABLE /RE-SEALABLE,pre-cut 13-64mm, s.u |  | 50
3 |  | OSTOMY Scissors, Curved |  | 1
4 |  | BAG, URINE, 2 l, w/ tap + non-return valve, graded, sterile |  | 20
5 |  | CONNECTOR, biconical, fits tubing.diam.7-14mm, ster., disp. |  | 5
6 |  | DRAIN, CORRUGATED SHEET, 30x12.5cm, silicone, ster., autocl. |  | 5
7 |  | DRAIN, PENROSE, size 3, 10x420mm, sterile, single use |  | 10
8 |  | DRAIN, PENROSE, size 6, 19x420mm, sterile, single use |  | 10
9 |  | DRAIN, ABDOMINAL, CH27, 50cm, 5 eyes, silicone, ster., disp. |  | 10
10 |  | DRAIN, THORACIC, CH 16, straight, 50 cm, sterile, disposable |  | 3
11 |  | DRAIN, THORACIC, CH 24, straight, 50 cm, sterile, disposable |  | 3
12 |  | DRAIN, THORACIC, CH 32, straight, 50 cm, sterile, disposable |  | 5
13 |  | DRAIN, THORACIC, CH 36, straight, 50 cm, sterile, disposable |  | 3
14 |  | DRAINAGE, THORACIC, BOTTLE, 2 l, with tubing, sterile, disp. |  | 15

## SET1B9
MODULE 1, SUB-MODULE 1B
| SET1B9 | KMEDTESM1BS--A1 (TESK 2017 module 1B) SET, RENEWABLES, SUTURES
item | WHO item code | WHO item description | UoM | Quantity (unit) | packing
| KMEDTESM1BS--A1 | (TESK 2019 module 1B) SET, RENEWABLES, SUTURES | 1 Set |  | 2
162 |  | ABS, BRAID. VI, 0 US/3.5 E, 90 cm, n. 1/2-36.4 mm round, 346 |  | 72 | 36
163 |  | ABS, BRAID. VI, 1 US/4 E, 90 cm, n. 1/2-39.9 mm round, 359 |  | 72 | 36
164 |  | ABS, BRAID. VI, 2-0 US/3 E, 90 cm, n. 1/2-25.9 mm round, 243 |  | 72 | 36
165 |  | ABS, BRAID. VI, 2 US/5 E, 75 cm, n. 3/8-85 mm r., liver |  | 24 | 12
166 |  | ABS, BRAID. VI, 3-0 US/2 E, 70 cm, n. 1/2-21.8 mm round, 311 |  | 72 | 36
167 |  | ABS, BRAID. VI, LIGATURE 0 US/3.5 E, 140 cm, ref. 616 |  | 72 | 36
168 |  | ABS, BRAID. VI, LIGATURE 2-0 US/3 E, 140 cm, ref. 615 |  | 72 | 36
169 |  | ABS, BRAID. VI, LIGATURE 3-0 US/2 E, 140 cm, ref. 614 |  | 72 | 36
170 |  | NON ABS, MONO PP, 0 US/3.5 E, 45 cm, n. 3/8-29.9 mm cut,7920 |  | 72 | 36
171 |  | NON ABS, MONO PP, 1 US/4 E, 75 cm, n. 3/8-29.9 mm cut |  | 144 | 72
172 |  | NON ABS, MONO PP, 2-0 US/3 E, 75 cm, n. 3/8-29.9 mm cut,7697 |  | 144 | 72
173 |  | NON ABS, MONO PP, 3-0 US/2 E, 75 cm, n. 3/8-24.3 mm cut,7694 |  | 72 | 36
174 |  | NON ABS, M. PP, 5-0 US/1 E, 75 cm, double n. r., vasc., 8710 |  | 24 | 12

## SET1B10
MODULE 1, SUB-MODULE 1B
| SET1B10 | KMEDTESM1BUD-A1 (TESK 2017 module 1B) SET, RENEWABLES, URINE DRAINAGE MATERIAL
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1BUD-A1 | (TESK 2019 module 1B) SET, RENEWABLES, URINE DRAINAGE MATERIAL | 1 Set
|  | BAG, URINE, 2 l, w/ tap + non-return valve, graded, sterile |  | 80
1 |  | CATHETER, URINARY, FOLEY, w/ balloon, CH 08, sterile, disp. |  | 10
2 |  | CATHETER, URINARY, FOLEY, w/ balloon, CH 10, sterile, disp. |  | 10
3 |  | CATHETER, URINARY, FOLEY, w/ balloon, CH 14, sterile, disp. |  | 10
4 |  | CATHETER, URINARY, FOLEY, w/ balloon, CH 16, sterile, disp. |  | 20
5 |  | CATHETER, URINARY, FOLEY, w/ballo., CH 12, silic., st., s.u. |  | 10
6 |  | LUBRICATING JELLY, 42 g, tube |  | 10
7 |  | SYRINGE, 100 ml, 3 parts, with catheter and Luer nose |  | 2

## SET1B11
MODULE 1, SUB-MODULE 1B
| SET1B11 | KMEDTESM1BSM-A1 (TESK 2017 module 1B) SET, RENEWABLES, SURGICAL MISCELLANEOUS MATERIAL
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1BSM-A1 | (TESK 2019 module 1B) SET, RENEWABLES, SURGICAL MISCELLANEOUS MATERIAL | 1 Set
1 |  | CATHETER, EMBOLECTOMY, Fogart, F2, sterile, disposable |  | 1
2 |  | CATHETER, EMBOLECTOMY, Fogart, F3, sterile, disposable |  | 2
3 |  | CATHETER, EMBOLECTOMY, Fogart, F4, sterile, disposable |  | 1
4 |  | CATHETER, EMBOLECTOMY, Fogart, F6, sterile, disposable |  | 1
5 |  | COMPRESS, GAUZE, 10 x 20 cm, 12 plys, 17 threads, non-ster. |  | 1300
6 |  | COMPRESS, LAPAROTOMY, 40x40cm, X-ray detec,+loop, sterile |  | 210
7 |  | BAG, health c.waste, 100 l, thick 60µ, yellow, polyethylene |  | 150
8 |  | BLADE, SCALPEL, No 10, for handle No 3, sterile |  | 100
9 |  | BLADE, SCALPEL, No 11, for handle No 3, sterile |  | 100
10 |  | BLADE, SCALPEL, No 20, for handle No 4, sterile |  | 100
11 |  | MASK, SURGICAL, standard size, type II, tie-on, single use |  | 150
12 |  | RAZOR, T-shape handle, w/ comb/blade/protective cap, s.use |  | 50
13 |  | BODY BAG, U shaped zip bag, white opaq., 2.4x1m, 200micron |  | 15
14 |  | GLASS, PROTECTIVE, plastic, disposable (safety glasses for medical and surgical procedures) |  | 50

## SET1C1
MODULE 1, SUB-MODULE 1C
| SET1C1 | KMEDTESM1CA--A1 (TESK 2017 module 1C) SET, SUPPLEMENTARY, ANAESTHESIA MATERIAL
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1CA--A1 | (TESK 2019 module 1C) SET, SUPPLEMENTARY, ANAESTHESIA MATERIAL | 1 Set
1 |  | SET, CRICOTHYROIDOTOMY, emergency, complete, sterile, s.u. |  | 2
2 |  | AIRWAY EXCHANGE CATHETER, 11FR, 83cm, s.u. |  | 1
3 |  | MASK, OXYGEN, ADULT, w/conn.tube+ nose clip+ neck band, dis. |  | 40
4 |  | MASK, OXYGEN, PAEDIATRIC, w/conn.tube+ nose clip+ band, dis. |  | 40
5 |  | FILTER, HME+ anti-bact.-vir.99.9%, con.22/15mm, disp. |  | 50
6 |  | TUBE, ENDOTRACHEAL, No 03, without cuff, sterile, disposable |  | 10
7 |  | TUBE, ENDOTRACHEAL, No 04, without cuff, sterile, disposable |  | 10
8 |  | TUBE, ENDOTRACHEAL, No 05, with cuff, sterile, disposable |  | 10
9 |  | TUBE, ENDOTRACHEAL, No 06, with cuff, sterile, disposable |  | 10
10 |  | TUBE, ENDOTRACHEAL, No 07, with cuff, sterile, disposable |  | 10
11 |  | TUBE, ENDOTRACHEAL, No 08, with cuff, sterile, disposable |  | 10
12 |  | TUBE, TRACHEOTOMY, No 06, with cuff, sterile, disposable |  | 5
13 |  | TUBE, TRACHEOTOMY, No 08, with cuff, sterile, disposable |  | 5
14 |  | NEEDLE, SPINAL, G 22, 0.7x75mm, (LP+subarachnoid.ane.), s.u. |  | 25
15 |  | NEEDLE, SPINAL, G 25, 0.5x75mm, (LP+subarachnoid.ane.), s.u. |  | 25
16 |  | MASK, LARYNGEAL, size 2, child10-25kg, silicone, reus. |  | 1
17 |  | MASK, LARYNGEAL, size 2.5, child 25-35kg, silicone, reus. |  | 1
18 |  | MASK, LARYNGEAL, size 3, child30-60kg, silicone, reus. |  | 2
19 |  | MASK, LARYNGEAL, size 4, adult50-90kg, silicone, reus. |  | 2
20 |  | MASK, LARYNGEAL, size 5, adult90+ kg, silicone, reus. |  | 2

## SET1C2
MODULE 1, SUB-MODULE 1C
| SET1C2 | KMEDTESM1CE--A1 (TESK 2017 module 1C) SET, SUPPLEMENTARY, EXTRICATION COLLARS
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1CE--A1 | (TESK 2019 module 1C) SET, SUPPLEMENTARY, EXTRICATION COLLARS | 1 Set
216 |  | EXTRICTION COLLAR, Adjustable peadiatric 3 sizes ( Laerdal Stifneck PED) |  | 1
217 |  | EXTRICTION COLLAR, Adjustable adult 4 sizes ( Laerdal Stifneck ) |  | 1
222 |  | Collar, extrication, CARRY bag |  | 1

## SET1C3
MODULE 1, SUB-MODULE 1C
| SET1C3 | KMEDTESM1CS--A1 (TESK 2017 module 1C) SET, SUPPLEMENTARY, SPLINTS, for 15-20 fracture cases
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1CS--A1 | (TESK 2019 module 1C) SET, SUPPLEMENTARY, SPLINTS, for 15-20 fracture cases | 1 Set
1 |  | BANDAGE, GAUZE, 08cmx4m, elastic, non sterile |  | 20
2 |  | COTTON, UNBLEACHED, 1 kg, carded, for padding |  | 4
3 |  | BAG, health c.waste,min.100 L & 50µ, yellow, polyethylene |  | 20
4 |  | SPLINT, KRAMER, 08 cm x 80 cm |  | 5
5 |  | SPLINT, KRAMER, 12 cm x 100 cm |  | 10
6 |  | SPLINT, KRAMER, 15 cm x 100 cm |  | 5

## SET1C4
MODULE 1, SUB-MODULE 1C
| SET1C4 | KMEDTESM1CS--A1 (TESK 2017 module 1C) SET, INTUBATION & LARYNGOSCOPE
item | WHO item code | WHO item description | UoM | Quantity (unit)
| KMEDTESM1CI--A1 | (TESK 2019 module 1C)SET, SUPPLEMENTARY INTUBATION & LARYNGOSCOPE | 1 Set
1 |  | LARYNGOSCOPE FIBER, ADULT, McIntosh 2-3-4, Alkaline Battery |  | 1
2 |  | LARYNGOSCOPE FIBER, BABY McIntosh 0-1-2, Alkaline Battery |  | 1
3 |  | LARYNGOSCOPE ADULT, handle diam. 28 mm,McIntosh blade 2,3,4 |  | 1
4 |  | LARYNGOSCOPE BABY McIntosh, handle diam. 19 mm, blade 0,1,2 |  | 1
5 |  | (laryngoscope fiber) BLADE, Miller n°0, new born, reus. |  | 1
6 |  | (laryngoscope fiber) BLADE, Miller n°1, baby, reus. |  | 1
7 |  | (laryngoscope) BLADE, McIntosh n°2, child, lamp, reus. |  | 1
8 |  | (laryngoscope) BLADE, McIntosh n°3, adult small, lamp, reus. |  | 1
9 |  | (laryngoscope) BLADE, McIntosh n°4, adult large, lamp, reus. |  | 1
10 |  | (laryngocope) BULB, 2.7V, for blade McIntosh 0-4, Miller 2-4 |  | 1
11 |  | (laryngocope) BULB, 2.7V, for blade Miller 00-1 |  | 1
12 |  | FORCEPS, CATH. INTRODUCING, MAGILL, 16cm, child extra small |  | 1
13 |  | FORCEPS, CATH. INTRODUCING, MAGILL, 19cm, child small |  | 1
14 |  | FORCEPS, CATH. INTRODUCING, MAGILL, 24cm, adult |  | 1
15 |  | (tube, endotracheal) GUIDE, size 1, L 45cm, tubes 3.5-4.5 |  | 10
16 |  | (tube, endotracheal) GUIDE, size 2, L 45cm, tubes 4.5-6.0 |  | 10
17 |  | (tube, endotracheal) GUIDE, size 3, L 50cm, tubes from 6.0 |  | 10
18 |  | RUSH, CLEANING, tracheostomy tube, head brush Ø +/-11mm |  | 1
19 |  | Reamer for Endotracheal tubes |  | 1
20 |  | TUBE, GUEDEL, airways, No 0 length 50mm, baby |  | 1
21 |  | TUBE, GUEDEL, airways, No 1 length 60mm, child |  | 1
22 |  | TUBE, GUEDEL, airways, No 2 length 70mm, adolescent |  | 1
23 |  | TUBE, GUEDEL, airways, No 3 length 80mm, adult small |  | 1
24 |  | TUBE, GUEDEL, airways, No 4 length 90mm, adult |  | 1
25 |  | TUBE, GUEDEL, airways, No 5 length 100mm, adult large |  | 1
26 |  | MOUTH GAG, 95 x 27 x 18 mm, blunt-nosed, rubber |  | 1
27 |  | ESCHMANN AIRWAY EXCHANGE GUIDE, BUGIE, 15FR, 70cm, s.u |  | 10

## SET2A1
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2A01A1 | (TESK 2024 mod 2A) SET 2A1, GENERAL SURGERY INSTRUMENTS, BASIC SURGERY | 1 Set
1 |  | SCISSORS, NELSON-METZENBAUM, 23 cm, curved |  | 1 | Unchanged
2 |  | KIDNEY DISH, medium, 250x140x40mm, stainless steel |  | 1 | Unchanged
3 |  | SCALPEL, HANDLE, No 3 (for blades 10/11/15) |  | 1 | Unchanged
4 |  | SCALPEL, HANDLE, No 4 (for blades 20) |  | 1 | Unchanged
5 |  | SCISSORS, MAYO, 17 cm, curved |  | 1 | Unchanged
6 |  | SCISSORS, METZENBAUM, 18 cm, curved |  | 1 | Unchanged
7 |  | FORCEPS, DRESSING, STANDARD, 20 cm, straight |  | 2 | Unchanged
8 |  | FORCEPS, TISSUE, STANDARD, straight, 2-3 teeth, 20 cm |  | 2 | Unchanged
9 |  | NEEDLE HOLDER, MAYO-HEGAR, 15cm, standard |  | 1 | Unchanged
10 |  | FORCEPS, HEMOSTATIC, H-MOSQUITO, 12.5 cm, curved |  | 6 | Unchanged
11 |  | FORCEPS, HEMOSTATIC, CRILE, 14cm, straight |  | 6 | Unchanged
12 |  | FORCEPS, HEMOSTATIC, CRILE, 14 cm, curved |  | 6 | Unchanged
13 |  | FORCEPS, HEMOSTATIC, R-OCHSNER, 16 cm/1x2 teeth, straight |  | 2 | Unchanged
14 |  | FORCEPS, TOWEL CLAMP, BACKAUS, 13 cm |  | 6 | Unchanged
15 |  | FORCEPS, SPONGE, FOERSTER, 24cm, serrated jaws, straight |  | 2 | Unchanged
16 |  | RETRACTOR, VOLKMANN, 22 cm, 3sharp prongs, 10 mm curve |  | 2 | Unchanged
17 |  | RETRACTOR, VOLKMANN, 22 cm, 4blunt prongs, 10 mm curve |  | 1 | Unchanged
18 |  | RETRACTOR, LANGENBECK, 21 cm,16 x 28 mm |  | 2 | Unchanged
19 |  | RETRACTOR, SELF-RET., WEITLANER, 16 cm, 3 x 4 blunt prongs |  | 1 | Unchanged
20 |  | RETRAC., SELF-RET., ADSON, 31cm, 4 x 5 blunt pr., laminect. |  | 1 | Unchanged
21 |  | BOWL, ROUND, 100 ml, 80 x 35 mm, stainless steel |  | 1 | Unchanged
22 |  | FORCEPS, TISSUE, ALLIS, 15 cm/4x5 teeth, standard |  | 2 | Unchanged
23 |  | BASKET, STERILIZING, 240 x 255x 100mm, + lid |  | 1 | BASKET, STERILIZING, +/- 255x250x100mm, without lid

## SET2A2
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2A02A1 | (TESK 2024 mod 2A) SET 2A2, GENERAL SURGERY INSTRUMENTS, DRESSING | 1 Set
1 |  | KIDNEY DISH, medium, 250x140x40mm, stainless steel |  | 1 | Unchanged
2 |  | SCISSORS, 14.5 cm, sharp-blunt, straight |  | 1 | Unchanged
3 |  | FORCEPS, DRESSING, BLANK, 14.5 cm, atraumatic serration |  | 1 | Unchanged
4 |  | FORCEPS, PEAN, 14 cm, serrated jaws, half way |  | 1 | Unchanged

## SET2A3
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2A03A1 | (TESK 2024 mod 2A) SET 2A3, GENERAL SURGERY INSTRUMENTS, CRANIOTOMY, complementary | 1 Set
1 |  | FORCEPS, ADSON, 12 cm, serrated jaws |  | 1 | Unchanged
2 |  | FORCEPS, ADSON, 12 cm, 1x2 teeth |  | 1 | Unchanged
3 |  | SUCTION TUBE, FRAZIER, CH 12,12.5 cm, angular |  | 1 | Unchanged
4 |  | FORCEPS, HEMOSTATIC, H-MOSQUITO, 12.5 cm, curved |  | 10 | Unchanged
5 |  | FORCEPS, HEMOSTATIC, DANDY, 14 cm, serrated, sideways curved |  | 8 | Unchanged
6 |  | RETRACTOR, HOOK, SKIN, BARSKY, 15 cm, single prong, sharp |  | 2 | Unchanged
7 |  | RASPATORY, FARABEUF, 150x13mm, light curved, sharp |  | 1 | Unchanged
8 |  | RONGEUR, BONE, FRIEDMANN, 14 cm x 2,5 mm, curved, delicate |  | 1 | Unchanged
9 |  | FORCEPS, BONE CUT., LISTON, 17 cm, standard, straight |  | 1 | Unchanged
10 |  | SCISSORS, VASCULAR, POTTS-SMITH, 19cm, 60deg angled |  | 1 | Unchanged
11 |  | RONGEUR, LAMINECTOMY, SPURLING-KERRISON, 20cm, jaws 5mm |  | 1 | Unchanged
12 |  | DISSECTOR, DURA, OLIVECRONA, 18 cm, double ended 4 + 5 mm |  | 1 | Unchanged
13 |  | DRILL, HAND, CRANIAL, HUDSON,complete set |  | 1 | Unchanged
14 |  | (drill, hand, cranial, Hudson) DRILL, CUSHING, 14mm, flat |  | 1 | Unchanged
15 |  | (drill, hand, cranial, Hudson) PERFORATOR, McKENSIE, 13mm |  | 1 | Unchanged
16 |  | (drill, hand, cranial, Hudson) PERFORATOR, D ERRICO, 16mm |  | 1 | Unchanged
17 |  | SAW GIGLI, HANDLE, inpairs |  | 1 | Unchanged
18 |  | SAW GIGLI, WIRE, 50 cm |  | 5 | Unchanged
19 |  | SAW GIGLI, GUIDE, DeMARTEL, 33 cm |  | 1 | Unchanged
20 |  | CANNULA, TEAR DUCT, RANDOLPH,15mm, Luer-Lock |  | 1 | Unchanged
21 |  | LEVER, BONE, LANE, 21 cm |  | 1 | Unchanged
22 |  | BASKET, STERILIZING, 240 x 255 x 100mm, Ref 49.97.03, + lid 24x25cm |  | 1 | BASKET, STERILIZING, +/- 255x250x100mm, without lid

## SET2A4
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2A04A1 | (TESK 2024 mod 2A) SET 2A4, GENERAL SURGERY INSTRUMENTS, LAPAROTOMY + caesarian | 1 Set
1 |  | BOWL, ROUND, 100 ml, 80 x 35 mm, stainless steel |  | 1 | Unchanged
2 |  | CLAMP, VASCULAR, AORTA, DeBAKEY, 18 cm, pronouncedly shaped |  | 2 | Unchanged
3 |  | FORCEPS, DRESSING, STANDARD, 14.5 cm, straight |  | 1 | Unchanged
4 |  | FORCEPS, DRESSING, STANDARD, 20 cm, straight |  | 1 | Unchanged
5 |  | FORCEPS, HEMOSTATIC, CRILE, 14 cm, curved |  | 10 | Unchanged
6 |  | FORCEPS, HEMOSTATIC, HEISS, 24 cm, curved, right-angle |  | 1 | Unchanged
7 |  | FORCEPS, HEMOSTATIC, ROCHESTER-PEAN, 20 cm, curved |  | 4 | Unchanged
8 |  | FORCEPS, HEMOSTATIC, ROCHESTER-PEAN, 26 cm, curved |  | 4 | Unchanged
9 |  | FORCEPS, HEMOSTATIC, R-OCHSNER, 16 cm/1x2 teeth, straight |  | 2 | Unchanged
10 |  | FORCEPS, HEMOSTATIC, R-OCHSNER, 22 cm/1x2 teeth, straight |  | 4 | Unchanged
11 |  | FORCEPS, HYSTERECTOMY, WERTHEIM, 23 cm, 1 x 2 teeth, curved |  | 4 | Unchanged
12 |  | FORCEPS, INTESTINAL, KOCHER, 26cm, elast. atraum., straight |  | 2 | Unchanged
13 |  | FORCEPS, INTESTINAL, KOCHER, 26cm, elast. atraum., curved |  | 2 | Unchanged
14 |  | FORCEPS, SPONGE, FOERSTER, 24cm, serrated jaws, straight |  | 2 | Unchanged
15 |  | FORCEPS, TISSUE, ALLIS, 15 cm/4x5 teeth, standard |  | 4 | Unchanged
16 |  | FORCEPS, TISSUE, BABCOCK, 16 cm, 9 mm jaws, standard |  | 4 | Unchanged
17 |  | FORCEPS, TISSUE, LANE, 14cm, 1x2 teeth |  | 1 | Unchanged
18 |  | FORCEPS, TISSUE, STANDARD, 20cm, 1x2 teeth, straight |  | 1 | Unchanged
19 |  | FORCEPS, Towel Clamp, Balls and Socket, Backhaus |  | 8 | Unchanged
20 |  | FORCEPS-CLAMP, UTERINE, GREEN-ARMYTAGE, 22 cm x 13 mm |  | 6 | Unchanged
21 |  | HOLDER, INSTRUMENTS, BUNT (MAYO), 14 cm |  | 1 | Unchanged
22 |  | KIDNEY DISH, medium, 250x140x40mm, stainless steel |  | 2 | Unchanged
23 |  | NEEDLE HOLDER, MAYO-HEGAR, 15cm, standard |  | 1 | Unchanged
24 |  | NEEDLE HOLDER, MAYO-HEGAR, 18cm, standard |  | 1 | Unchanged
25 |  | NEEDLE HOLDER, MAYO-HEGAR, 23cm, standard |  | 1 | Unchanged
26 |  | RETRACTOR, ABDOMINAL, BALFOUR, standard, complete |  | 1 | Unchanged
27 |  | RETRACTOR, FRISCH, 25.5 cm, 75 x 45 mm |  | 1 | Unchanged
28 |  | RETRACTOR, ROUX, complete set(sizes 1, 2, 3) |  | 1 | Unchanged
29 |  | RETRACTOR/SPATULA, DAEVER, 30cm x100mm, flexible |  | 1 | Unchanged
30 |  | SCALPEL, HANDLE, No 3 (for blades 10/11/15) |  | 1 | Unchanged
31 |  | SCALPEL, HANDLE, No 4 (for blades 20) |  | 1 | Unchanged
32 |  | SCISSORS, MAYO, 17 cm, curved |  | 1 | Unchanged
33 |  | SCISSORS, METZENBAUM, 14 cm, curved |  | 1 | Unchanged
34 |  | SCISSORS, METZENBAUM, 20 cm, curved |  | 1 | Unchanged
35 |  | SUCTION TUBE, POOLE, 23 cm/diam.10mm, straight |  | 1 | Unchanged
36 |  | BASKET, STERILIZING, 480 x 255 x 100mm,Ref 49.97.13 + lid 48x25cm |  | 2 | BASKET, STERILIZING, +/- 485x250x100mm, without lid

## SET2A5
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2A05A1 | (TESK 2024 mod 2A) SET 2A5, GENERAL SURGERY INSTRUMENTS, DPC (suture) | 1 Set
1 |  | KIDNEY DISH, large, 275x150x45mm, stainless steel |  | 1 | Unchanged
2 |  | SCALPEL, HANDLE, No 3 (for blades 10/11/15) |  | 1 | Unchanged
3 |  | SCISSORS, MAYO, 17 cm, curved |  | 1 | Unchanged
4 |  | SCISSORS, METZENBAUM, 18 cm, c |  | 1 | Unchanged
5 |  | FORCEPS, TISSUE, LANE, 14cm, 1x2 teeth |  | 2 | Unchanged
6 |  | NEEDLE HOLDER, MAYO-HEGAR, 15cm, standard |  | 1 | Unchanged
7 |  | NEEDLE HOLDER, MAYO-HEGAR, 18 |  | 1 | Unchanged
8 |  | FORCEPS, HEMOSTATIC, CRILE, 14 cm, curved |  | 4 | Unchanged
9 |  | FORCEPS, HEMOSTATIC, KOCHER, 14 cm/1x2 teeth, straight |  | 2 | Unchanged
10 |  | FORCEPS, Towel Clamp, Balls and Socket, Backhaus |  | 6 | Unchanged
11 |  | FORCEPS, SPONGE, FOERSTER, 24cm, serrated jaws, straight |  | 2 | Unchanged
12 |  | CURETTE, BONE, VOLKMANN, 22 cm, double-ended, fig. 3 and 5 |  | 1 | Unchanged
13 |  | BOWL, ROUND, 100 ml, 80 x 35 mm, stainless steel |  | 1 | Unchanged
14 |  | BASKET, STERILIZING, 410 x 250 x 70 |  | 1 | BASKET, STERILIZING, +/- 410 x

## SET2A6
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2A06A1 | (TESK 2024 mod 2A) SET 2A6, GENERAL SURGERY INSTRUMENTS, DEBRIDEMENT | 1 Set | 1
1 |  | KIDNEY DISH, large, 275x150x45mm, stainless steel |  | 1 | Unchanged
2 |  | SCALPEL, HANDLE, No 3 (for blades 10/11/15) |  | 1 | Unchanged
3 |  | SCALPEL, HANDLE, No 4 (for blades 20) |  | 1 | Unchanged
4 |  | SCISSORS, MAYO, 17 cm, curved |  | 1 | Unchanged
5 |  | SCISSORS, METZENBAUM, 18 cm, curved |  | 1 | Unchanged
6 |  | SCISSORS, METZENBAUM, 20 cm, curved |  | 1 | Unchanged
7 |  | FORCEPS, TISSUE, LANE, 14cm, 1x2 teeth |  | 2 | Unchanged
8 |  | NEEDLE HOLDER, MAYO-HEGAR, 15cm, standard |  | 1 | Unchanged
9 |  | FORCEPS, HEMOSTATIC, CRILE, 14 cm, curved |  | 8 | Unchanged
10 |  | FORCEPS, HEMOSTATIC, R-OCHSNER, 16 cm/1x2 teeth, straight |  | 4 | Unchanged
11 |  | FORCEPS, Towel Clamp, Balls and Socket, Backhaus |  | 6 | Unchanged
12 |  | FORCEPS, SPONGE, FOERSTER, 24cm, serrated jaws, straight |  | 2 | Unchanged
13 |  | RETRACTOR, VOLKMANN, 22 cm, 3sharp prongs, 10 mm curve |  | 2 | Unchanged
14 |  | RETRACTOR, LANGENBECK, 21 cm,13 x 42 mm |  | 2 | Unchanged
15 |  | RETRACTOR, SELF-RET., WEITLANER, 16 cm, 3 x 4 blunt prongs |  | 1 | Unchanged
16 |  | RETRAC., SELF-RET., ADSON, 31cm, 4 x 5 blunt pr., laminect. |  | 1 | Unchanged
17 |  | CURETTE, BONE, VOLKMANN, 22 cm, double-ended, fig. 3 and 5 |  | 1 | Unchanged
18 |  | RONGEUR, BONE, LUER, 18 cm x 10 mm, heavy pattern |  | 1 | Unchanged
19 |  | BOWL, ROUND, 100 ml, 80 x 35 mm, stainless steel |  | 1 | Unchanged
20 |  | FORCEPS, TISSUE, ALLIS, 15 cm/4x5 teeth, standard |  | 2 | Unchanged
21 |  | BASKET, STERILIZING, 480 x 240 x 90 mm + lid |  | 1 | BASKET, STERILIZING, +/- 485x250x100mm, without lid

## SET2A7
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2A07A1 | (TESK 2024 mod 2A) SET 2A7, GENERAL SURGERY INSTRUMENTS, SKIN GRAFT | 1 Set
1 |  | SCISSORS, METZENBAUM, 14 cm, curved |  | 1 | Unchanged
2 |  | FORCEPS, DRESSING, STANDARD, 14.5 cm, straight |  | 1 | Unchanged
3 |  | FORCEPS, Towel Clamp, Balls and Socket, Backhaus |  | 6 | Unchanged
4 |  | BOWL, ROUND, 200ml, 9.5 x 5 cm, stainless steel |  | 1 | Unchanged
5 |  | DERMATOME, HUMBY |  | 1 | DERMATOME, Watson, adjustable30.5cm
6 |  | (dermatome Humby), BLADE |  | 5 | (dermatome Watson/Humby) BLADE, 15.5cm
7 |  | (dermatome Schink) PLATE, forskin holding |  | 2 | Unchanged
8 |  | BASKET, STERILIZING, 240 x 255 x 100mm, Ref 49.97.03 + lid 24x25cm |  | 1 | BASKET, STERILIZING, +/- 255x250x100mm, without lid

## SET2A8
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2A08A1 | (TESK 2024 mod 2A) SET 2A8, GENERAL SURGERY INSTRUMENTS, FINE(pediat), complementary | 1 Set
1 |  | SCALPEL, HANDLE, No 3 (for blades 10/11/15) |  | 1 | Unchanged
2 |  | SCISSORS, MAYO, 17 cm, curved |  | 1 | Unchanged
3 |  | SCISSORS, METZENBAUM, 14 cm, curved |  | 1 | Unchanged
4 |  | FORCEPS, ADSON, 12 cm, serrated jaws |  | 1 | Unchanged
5 |  | FORCEPS, ADSON, 12 cm, 1x2 teeth |  | 1 | Unchanged
6 |  | FORCEPS, McINDOE, 15 cm, serrated |  | 1 | Unchanged
7 |  | FORCEPS, GILLIES, 15 cm, 1x2 teeth |  | 1 | Unchanged
8 |  | PROBE, 16 cm/diam. 1.5 mm, round double-ended |  | 1 | Unchanged
9 |  | SUCTION TUBE, FRAZIER, CH 12,12.5 cm, angular |  | 1 | Unchanged
10 |  | NEEDLE HOLDER, BABY-CRILE-WOOD, 15 cm |  | 1 | Unchanged
11 |  | FORCEPS, HEMOSTATIC, H-MOSQUITO, 12.5 cm, curved |  | 6 | Quantity Decreased from 10 to 6
12 |  | FORCEPS, HEMOSTATIC, CRILE, 14 cm, curved |  | 4 | Unchanged
13 |  | FORCEPS, HEMOSTATIC, KOCHER, 14 cm/1x2 teeth, straight |  | 2 | Unchanged
14 |  | FORCEPS, TOWEL CLAMP, BACKAUS, 13cm |  | 6 | Unchanged
15 |  | FORCEPS, SPONGE, FOERSTER, 24cm, serrated jaws, straight |  | 2 | Unchanged
16 |  | RETRACTOR, SENN-MILLER, 16 cm, double-ended, blunt prong |  | 1 | Unchanged
17 |  | RETRACTOR, VOLKMANN, 22 cm, 3sharp prongs, 10 mm curve |  | 2 | Unchanged
18 |  | RETRACTOR, SELF-RET., WEITLANER, 13 cm, 3 x 4 blunt prongs |  | 1 | Unchanged
19 |  | BOWL, ROUND, 100 ml, 80 x 35 mm, stainless steel |  | 1 | Unchanged
20 |  | FORCEPS, TISSUE, ALLIS-BABY, 14 cm / 3x4 theeth |  | 2 | Unchanged
21 |  | FORCEPS, TISSUE, BABCOCK, 16 cm, 9 mm jaws, standard |  | 2 | Unchanged
22 |  | BASKET, STERILIZING, 240 x 255 x 100mm, Ref 49.97.03 + lid 24x25cm |  | 1 | BASKET, STERILIZING, +/- 255x250x100mm, without lid
23 |  | Retractor Hook, Nerve, 16cm X 9mm, blunt |  | 1 | Added
24 |  | Retractor Hook, Skin, Barsky, 15cm, single prong, sharp |  | 2 | Added
25 |  | SCISSORS, BABY METZENBAUM, +/-11.5cm, curved |  | 1 | Added
26 |  | FORCEPS, BABY HALSTED, curved, +/- 12.5cm |  | 6 | Added
27 |  | FORCEPS, BABY HALSTED, straight, +/- 12.5cm |  | 6 | Added
28 |  | FORCEPS, BABY MIXTER, +/-14cm |  | 2 | Added
29 |  | FORCEPS, MIXTER, +/-18cm |  | 2 | Added
30 |  | NEEDLE HOLDER, GILLIES, angled, +/- 16cm |  | 1 | Added
31 |  | NEEDLE HOLDER, GILLIES, straight, +/- 16cm |  | 1 | Added
32 |  | RETRACTOR, SENN-MILLER, 16 cm, double ended, sharp prong |  | 2 | Added
33 |  | RETRACTOR, COPE, +/- 18cm |  | 2 | Added

## SET2A9
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2A09A1 | (TESK 2024 mod 2A) SET 2A9, GENERAL SURGERY INSTRUMENTS, THORACOTOMY, complementary | 1 Set
1 |  | FORCEPS, TISSUE, DUVAL, 23cm,atraum., triangular |  | 2 | Unchanged
2 |  | RASPATORY, FARABEUF, 150x13mm, light curved, sharp |  | 1 | Unchanged
3 |  | MALLET, 23 cm x 28 mm, 490 g,solid |  | 1 | Unchanged
4 |  | SHEAR, RIB, GIERTZ, 25cm |  | 1 | Unchanged
5 |  | CHISEL, STERNUM, LEBSCHE, 25cm |  | 1 | Unchanged
6 |  | SPREADER, RIB, FINOCCHIETTO, medium, blade, 65x45mm |  | 1 | Unchanged
7 |  | CONTRACTOR, RIB, BAILEY, 17cm |  | 1 | Unchanged
8 |  | RASPATORY, RIB, DOYEN, 17cm, right |  | 1 | Unchanged
9 |  | RASPATORY, RIB, DOYEN, 17cm, left |  | 1 | Unchanged
10 |  | RETRACTOR, LUNG, ALLISON, 270x40mm |  | 2 | Unchanged
11 |  | CLAMP, VASCULAR, DeBAKEY, 22 cm, straight |  | 2 | Unchanged
12 |  | CLAMP, VASCULAR, AORTA, DeBAKE |  | 1 | Unchanged
13 |  | BASKET, STERILIZING, 480 x 255 x 100mm,Ref 49.97.13 + lid 48x25cm |  | 1 | BASKET, STERILIZING, +/- 485x250x100mm, without lid

## SET2B1
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2B01A1 | (TESK 2024 mod 2B) SET 2B1, ORTHO. SURGERY INSTRUMENTS, AMPUTATION | 1 Set
1 |  | BIT, DRILL, 3.2 mm.Jacobs chuck, 180/165 mm |  | 1 | Unchanged
2 |  | KIDNEY DISH, medium, 250x140x40mm, stainless steel |  | 1 | Unchanged
3 |  | SCALPEL, HANDLE, No 4 (for blades 20) |  | 1 | Unchanged
4 |  | SCISSORS, MAYO, 15.5 cm, straight |  | 1 | Unchanged
5 |  | SCISSORS, METZENBAUM, 18 cm, curved |  | 1 | Unchanged
6 |  | FORCEPS, DRESSING, STANDARD, 14.5 cm, straight |  | 1 | Unchanged
7 |  | FORCEPS, TISSUE, LANE, 14cm, 1x2 teeth |  | 1 | Unchanged
8 |  | NEEDLE HOLDER, MAYO-HEGAR, 15cm, standard |  | 1 | Unchanged
9 |  | FORCEPS, HEMOSTATIC, CRILE, 14 cm, curved |  | 6 | Unchanged
10 |  | FORCEPS, HEMOSTATIC, R-OCHSNER, 16 cm/1x2 teeth, straight |  | 4 | Unchanged
11 |  | FORCEPS, Towel Clamp, Balls and Socket, Backhaus |  | 6 | Unchanged
12 |  | FORCEPS, SPONGE, FOERSTER, 24cm, serrated jaws, straight |  | 2 | Unchanged
13 |  | RETRACTOR, VOLKMANN, 22 cm, 1sharp prong, 20 mm curve |  | 1 | Unchanged
14 |  | RETRACTOR, VOLKMANN, 22 cm, 3sharp prongs, 10 mm curve |  | 1 | Unchanged
15 |  | FILE, BONE, 22 cm x 20 mm, flat |  | 1 | Unchanged
16 |  | RASPATORY, FARABEUF, 150x13mm, light curved, sharp |  | 1 | Unchanged
17 |  | CURETTE, BONE, VOLKMANN, 22 cm, double-ended, fig. 3 and 5 |  | 1 | Unchanged
18 |  | RONGEUR, BONE, LUER, 18 cm x 10 mm, heavy pattern |  | 1 | Unchanged
19 |  | FORCEPS, BONE CUT., LISTON, 17 cm, standard, straight |  | 1 | Unchanged
20 |  | FORCEPS, BONE CUT., LISTON-STILLE, 27 cm, dou. act., straigh |  | 1 | Unchanged
21 |  | BOWL, ROUND, 100 ml, 80 x 35 mm, stainless steel |  | 1 | Unchanged
22 |  | FORCEPS, TISSUE, ALLIS, 15 cm/4x5 teeth, standard |  | 2 | Unchanged
23 |  | SAW GIGLI, HANDLE, inpairs |  | 1 | Unchanged
24 |  | SAW GIGLI, WIRE, 50 cm |  | 10 | Unchanged
25 |  | BASKET, STERILIZING, 480 x 255 x 100mm,Ref 49.97.13 + lid 48x25cm |  | 1 | BASKET, STERILIZING, +/- 485x250x100mm, without lid

## SET2B2
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2B02A1 | (TESK 2024 mod 2B) SET 2B2, ORTHO. SURGERY INSTRUMENTS, BASIC BONE SURG., compltary | 1 Set
1 |  | BONE HOOK, SHARP, VOLKMANN, 15 mm, 21cm |  | 1 | Unchanged
2 |  | RETRACTOR, VOLKMANN, 22 cm, 1sharp prong, 20 mm curve |  | 1 | Unchanged
3 |  | FILE, BONE, 22 cm x 20 mm, flat |  | 1 | Unchanged
4 |  | RASPATORY, FARABEUF, 150x13mm, light curved, sharp |  | 1 | Unchanged
5 |  | MALLET, 23 cm x 28 mm, 490 g,solid |  | 1 | Unchanged
6 |  | OSTEOTOME, STILLE, 20 cm x 15mm, straight |  | 1 | Unchanged
7 |  | OSTEOTOME, STILLE, 20 cm x 20mm, straight |  | 1 | Unchanged
8 |  | GOUGE, STILLE, 20 cm x 15 mm,straight |  | 1 | Unchanged
9 |  | GOUGE, STILLE, 20 cm x 20 mm,straight |  | 1 | Unchanged
10 |  | CURETTE, BONE, VOLKMANN, 22 cm, double-ended, fig. 2 and 4 |  | 1 | Unchanged
11 |  | CURETTE, BONE, VOLKMANN, 22 cm, double-ended, fig. 3 and 5 |  | 1 | Unchanged
12 |  | RONGEUR, BONE, LUER, 15 cm x 5 mm, strong curve |  | 1 | Unchanged
13 |  | RONGEUR, BONE, BANE, 18 cm x 5 mm, curved |  | 1 | Unchanged
14 |  | RONGEUR, BONE, LUER, 18 cm x 10 mm, heavy pattern |  | 1 | Unchanged
15 |  | RONGEUR, BONE, STILLE- LUER, 23 cm x 10 mm, double action |  | 1 | Unchanged
16 |  | FORCEPS, BONE CUT., LISTON, 17 cm, standard, straight |  | 1 | Unchanged
17 |  | FORCEPS, BONE CUT., LISTON-STILLE, 27 cm, dou. act., angled |  | 1 | Unchanged
18 |  | FORCEPS, BONE HOLDING, FERGUSON, 21 cm/4 x 4 teeth |  | 2 | Unchanged
19 |  | FORCEPS, BONE HOLD., VERBRUGGE, 27 cm x 12 mm, dismountable |  | 2 | Unchanged
20 |  | RETRACTOR, BONE, HOHMANN, 29 cm x 34 mm |  | 2 | Unchanged
21 |  | BASKET, STERILIZING, 240 x 255 x 100mm, + lid |  | 1 | BASKET, STERILIZING, +/- 255x250x100mm, without lid

## SET2B3
DISCONTINUED
item | WHO item code | WHO item description | UoM | Quantity
| KMEDTESKM2B03A1 | (TESK 2022 mod 2B) SET, ORTHO. SURGERY INSTRUMENTS, BASIC BONE SURG., curette | 1 Set
1 |  | CURETTE, BONE, VOLKMANN, 17 cm, fig. 0000 |  | 1
2 |  | CURETTE, BONE, VOLKMANN, 17 cm, fig. 00 |  | 1
3 |  | CURETTE, BONE, VOLKMANN, 17 cm, fig. 2 |  | 1
4 |  | CURETTE, BONE, VOLKMANN, 17 cm, fig. 4 |  | 1
5 |  | CURETTE, BONE, VOLKMANN, 17 cm, fig. 6 |  | 1
6 |  | CURETTE, BONE, VOLKMANN-Bruns, 23cm, fig 2, oval, straight |  | 1
7 |  | CURETTE, BONE, VOLKMANN-Bruns, 23cm, fig 5, oval, straight |  | 1
8 |  | BASKET, STERILIZING, 275 x 125 x 40mm, Ref 49.97.10 + lid 27,5x12,5 cm |  | 1

## SET2B4
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2B04A1 | (TESK 2024 mod 2B) SET 2B4, ORTHO. SURGERY INSTRUMENTS, BONE WIRING and KIRSHNER | 1 Set
1 |  | CHUCK, UNIVERSAL, (3 jaws) with Thandle + locking device |  | 1 | Unchanged
2 |  | PLIERS, FLAT NOSE, 14cm, serrated jaws |  | 1 | Unchanged
3 |  | PLIERS, FLAT NOSE, 16 cm, serrated jaws, heavy pattern |  | 1 | Unchanged
4 |  | PLIERS, WIRE CUTTING, 26cm, hard wire up to diam. 3.2mm |  | 1 | Unchanged
5 |  | VICE GRIP, 18 cm, self locking |  | 1 | Unchanged
6 |  | WIRE PASSER, DEMEL, diam. 45 mm x 28 cm, blunt |  | 1 | Unchanged
7 |  | WIRE PASSER, diam 45mm x 23cm, curved to left, blunt |  | 1 | Unchanged
8 |  | WIRE, CERCLAGE, 1.00 mm x 10 m, stainless steel, coil |  | 1 | Unchanged
9 |  | WIRE, CERCLAGE, 1.25 mm x 10 m, stainless steel, coil |  | 1 | Unchanged
10 |  | WIRE, KIRSCHNER, Ø 1.00mm x 15cm, trocard + round end |  | 10 | Unchanged
11 |  | WIRE, KIRSCHNER, Ø 1.60mm x 15cm, trocard + round end |  | 10 | Unchanged
12 |  | WIRE, KIRSCHNER, Ø 2.00mm x 15cm, trocard + round end |  | 10 | Unchanged
13 |  | WIRE, KIRSCHNER, Ø 2.50mm x 15cm, trocard + round end |  | 10 | Unchanged
14 |  | WIRE, KIRSCHNER, Ø 3.00mm x 15cm, trocard + round end |  | 10 | Unchanged
15 |  | BASKET, STERILIZING, 240 x 255 x 100mm, + lid |  | 1 | BASKET, STERILIZING, +/- 255x250x100mm, without lid

## SET2B5
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2B05A1 | (TESK 2024 mod 2B) SET 2B5, ORTHO. SURGERY INSTRUMENTS, PLASTER CASTS REMOVAL | 1 Set
1 |  | SCISSORS, PLASTER SHEARS, BRUNS, 24cm |  | 1 | Unchanged
2 |  | SCISSORS, PLASTER SHEARS, STILLE-mini, 20cm, for small POP |  | 1 | Unchanged
3 |  | SCISSORS, PLASTER SHEARS, STILLE, 37 cm, reinforced blade |  | 1 | Unchanged
4 |  | KNIFE, PLASTER, ESMACH, 18 cm |  | 1 | Unchanged
5 |  | SPREADER, PLASTER, HENNIG, 27cm |  | 1 | Unchanged
6 |  | BREAKER, PLASTER CAST, WOLFF-BOEHLER, 18 cm |  | 1 | Unchanged
7 |  | BASKET, STERILIZING, 410 x 250 x 70 |  | 1 | BASKET, STERILIZING, +/- 410 x 250 x 70 mm, without lid

## SET2B6
NEW
item | WHO item code | WHO item description | UoM | Quantity
| KMEDTESKN2B06A1 | (TESK 2024 mod 2B) SET 2B6, ORTHO.SURGERY INSTRUMENTS, TRACTION, + 10 bows, w/o traction frame | 1 Set
1 |  | BIT, DRILL, 3.2 mm.Jacobs chuck, 180/165 mm |  | 1
2 |  | CHUCK, UNIVERSAL (3-jaw) withT-handle + locking device |  | 1
3 |  | BOW, EXTENSION, BOEHLER, 9 x 16 cm |  | 2
4 |  | BOW, EXTENSION, BOEHLER, 15x21cm |  | 8
5 |  | NAIL, EXTENSION, STEINMANN, 15 0 x 4 mm, trocar point |  | 3
6 |  | NAIL, EXTENSION, STEINMANN, 210 x 4 mm, trocar point |  | 7
7 |  | BASKET, STERILIZING, +/- 485x250x100mm, without lid |  | 1

## SET2B7
NEW
item | WHO item code | WHO item description | UoM | Quantity
| KMEDTESKN2B07A1 | (TESK 2024 mod 2B) SET 2B7, ORTHO.SURGERY INSTRUMENTS, FINE, ORTHOPLASTIC | 1 Set
1 |  | Kidney Dish, medium, 250X140X40mm, stainless steel |  | 1
2 |  | Osteotome lambotte straight 6mm |  | 1
3 |  | Osteotome lambotte straight 12mm |  | 1
4 |  | Chisle, Stille, 20cm X 15mm, straight |  | 1
5 |  | OSTEOTOME, STILLE, 20 cm x 20mm, straight |  | 1
6 |  | Dissector, MC Donald, 19cm, douple-ended |  | 1
7 |  | Forceps, dissectiong/ligature Mixter, 23cm fine |  | 1
8 |  | Retractor, Hook, Nerve, 16cm X 9mm, blunt |  | 1
9 |  | Retractor, Hook, Skin, Barskey, 15cm, single prong, sharp |  | 2
10 |  | Rongeur, Bone, Friedmann, 14cm X 2,5mm, curved, delicate |  | 1
11 |  | FORCEPS, FERGUSSON, bone hold clamp, +/-21cm |  | 2
12 |  | FORCEPS, BACKHAUS TOWEL, clamp +/-13cm |  | 2
13 |  | Mallet, Hajek, 22cm X 26mm, 200gr. |  | 1
14 |  | SCISSORS, Iris 'SELECT', 10.5cm, fine pattern, curved |  | 1
15 |  | Retractor, Bone, Baby Hohmann, 24cm X 18mm |  | 2
16 |  | Curette, Bone, Volkmann, 22cm, douple-ended, Fig. 1 |  | 1
17 |  | CURETTE, BONE, VOLKMANN, 22 cm, double-ended, fig. 3 and 5 |  | 2
18 |  | Raspatory, Cobb, 25cm X 10mm |  | 1
19 |  | Raspatory, Cobb, 25cm X 19mm |  | 1
20 |  | RASPARORY, FREER OBWEGESER, +/-21cm |  | 1
21 |  | BASKET, STERILIZING, +/- 410 x 250 x 70 mm, without lid |  | 1

## SET2C1
DISCONTINUED
item | WHO item code | WHO item description | UoM | Quantity
| KMEDTESKM2C01A1 | (TESK 2022 mod 2C) SET, EAR-NOSE-THROAT INSTRUMENTS | 1 Set
1 |  | FORCEPS, EAR DRESSING, TILLEY, 14 cm |  | 1
2 |  | FORCEPS, EAR, HARTMANN, 1x2 teeths, serrated jaws |  | 1
3 |  | SPECULUM, NASAL, 15 cm, small |  | 1
4 |  | SPECULUM, NASAL, 15 cm, large |  | 1
5 |  | MOUTH GAG, MOLT, 10 cm, child |  | 1
6 |  | FORCEPS, NASAL DRESSING, GRUENWALD, 16cm, serrated jaws |  | 1
7 |  | CATHETER, EUSTACHIAN, HARTMANN, D: 0.25x14cm, curved |  | 1
8 |  | (catheter, eustachian, Hartmann) CONNECTOR, olive-shapped |  | 1
9 |  | SCISSORS, NASAL, 17 cm, angled to side, regul. cut. Blades |  | 1
10 |  | SUCTION TUBE, FRAZIER-FERGUS, CH6 x 19cm, angled, w/ con. |  | 1
11 |  | DILATATOR, TRACHEAL, LABORDE,13cm, three-bladed, child |  | 1
12 |  | BASKET, STERILIZING, 275 x 125x 40mm, + lid |  | 1

## SET2C2
DISCONTINUED
item | WHO item code | WHO item description | UoM | Quantity
| KMEDTESKM2C02A1 | (TESK 2022 mod 2C) SET, OPHTHALMIC TRAUMA INSTRUMENTS, complementary | 1 Set
1 |  | NEEDLE HOLDER, Micro, 14cmophtalmic |  | 1
2 |  | NEEDLE HOLDER, BARRAQUER, 14cm, curved jaws, ophtalmic |  | 1
3 |  | SPECULUM, EYE, BARRAQUER, "Colibri", 3cm, child |  | 1
4 |  | SPECULUM, EYE, BARRAQUER, "Colibri", 4cm, adult |  | 1
5 |  | SPECULUM, EYE, WILLIAMS, 8cm,adult |  | 1
6 |  | RETRACTOR, LID, DESMARRES, 130x10mm, child |  | 2
7 |  | RETRACTOR, LID, DESMARRES, 130x12mm, fig.1 |  | 2
8 |  | RETRACTOR, LID, DESMARRES, 130x14 mm, fig.2 |  | 2
9 |  | INSTRUMENT FOR FOREIGN BODY, double ended, needle and gouge |  | 1
10 |  | HOOK, IRIS, TYRELL, sharp |  | 1
11 |  | HOOK, STRABISMUS, GRAEFE, medium |  | 2
12 |  | CORNEAL CURETTE, SKEELE, diam.1.5 mm |  | 1
13 |  | CANNULA, TEAR DUCT, RANDOLPH,15mm, Luer-Lock |  | 1
14 |  | FORCEPS, IRIS, BISHOP-HARMON,8.5cm, standard, serrated tips |  | 1
15 |  | FORCEPS, IRIS, BISHOP-HARMON,8.5cm, 1x2 teeth, standard |  | 1
16 |  | FORCEPS, IRIS, BOTVIN, 7.5cm, bound, 1x2 teeth |  | 1
17 |  | SUTURING FORCEPS. MOORFIELD, 10cm |  | 1
18 |  | FORCEPS, STRABISMUS, 11cm, delicate, serrated jaws |  | 1
19 |  | FORCEPS, STRABISMUS, 11cm, 1x2 teeth, delicate |  | 1
20 |  | SCISSORS, ENUCLEATION, LANDOLT, 12cm, light curve |  | 1
21 |  | SCISSORS, SCLEROTOMY, LAGRANGE, 10.5cm, S-shap., plain cut. |  | 1
22 |  | SCISSORS, Iris 'SELECT', 10.5cm, fine pattern, curved |  | 1
23 |  | SCISSORS, DISSECTING, 12cm, curved |  | 1
24 |  | BASKET, STERILIZING, 410 x 250 x 70 |  | 1

## SET2C3
item | WHO item code | WHO item description | UoM | Quantity
| KMEDTESKN2C03A1 | (TESK 2024 mod 2C) SET 2C3, URETHRAL SOUNDS INSTRUMENTS, Dittel, curved | 1 Set |  | Remarks
1 |  | SOUND, URETHRAL, DITTEL, CH 06, 35 cm, curved |  | 1
2 |  | SOUND, URETHRAL, DITTEL, CH 08, 35 cm, curved |  | 1 | Unchanged
3 |  | SOUND, URETHRAL, DITTEL, CH 10, 35 cm, curved |  | 1 | Unchanged
4 |  | SOUND, URETHRAL, DITTEL, CH 12, 35 cm, curved |  | 1 | Unchanged
5 |  | SOUND, URETHRAL, DITTEL, CH 14, 35 cm, curved |  | 1 | Unchanged
6 |  | SOUND, URETHRAL, DITTEL, CH 16, 35 cm, curved |  | 1 | Unchanged
7 |  | SOUND, URETHRAL, DITTEL, CH 18, 35 cm, curved |  | 1 | Unchanged
8 |  | SOUND, URETHRAL, DITTEL, CH 20, 35 cm, curved |  | 1 | Unchanged
9 |  | SOUND, URETHRAL, DITTEL, CH 22, 35 cm, curved |  | 1 | Unchanged
10 |  | SOUND, URETHRAL, DITTEL, CH 24, 35 cm, curved |  | 1 | Unchanged
11 |  | SOUND, URETHRAL, DITTEL, CH 26, 35 cm, curved |  | 1 | Unchanged
12 |  | SOUND, URETHRAL, DITTEL, CH 28, 35 cm, curved |  | 1 | Unchanged
13 |  | SOUND, URETHRAL, DITTEL, CH 30, 35 cm, curved |  | 1 | Unchanged
14 |  | SOUND, URETHRAL, DITTEL, CH 32, 35 cm, curved |  | 1 | Unchanged
15 |  | SOUND, URETHRAL, DITTEL, CH 34, 35 cm, curved |  | 1 | Unchanged
16 |  | SOUND, URETHRAL, DITTEL, CH 36, 35 cm, curved |  | 1 | Unchanged
17 |  | BOWL, ROUND, 100 ml, 80 x 35 mm, stainless steel |  | 1 | Unchanged
18 |  | BASKET, STERILIZING, 480 x 255 x 50 mm |  | 1 | BASKET, STERILIZING, +/- 480x255x50mm, without lid

## SET2C4
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2C04A1 | (TESK 2024 mod 2C) SET 2C4, VASCULAR INSTRUMENTS, complementary | 1 Set
1 |  | FORCEPS, ADSON, 12 cm, serrated jaws |  | 1 | Unchanged
2 |  | FORCEPS, ADSON, 12 cm, 1x2 teeth |  | 1 | Unchanged
3 |  | FORCEPS, TISSUE, 15 cm, 2.0mm, vertical AT fluting jaws |  | 1 | Unchanged
4 |  | PROBE, 16 cm/diam. 1.5 mm, round double-ended |  | 1 | Unchanged
5 |  | SUCTION TUBE, FRAZIER, CH 12,12.5 cm, angular |  | 1 | Unchanged
6 |  | SUCTION TUBE, POOLE, 22 cm/diam. 8 mm, curved |  | 1 | Unchanged
7 |  | NEEDLE HOLDER, BABY-CRILE-WOOD, 15 cm |  | 1 | Unchanged
8 |  | NEEDLE HOLDER, BABY-CRILE-WOOD, 18 cm |  | 1 | Unchanged
9 |  | CLAMPS, BULLDOG, DIEFFENBACH,51 mm, straight |  | 4 | Unchanged
10 |  | CLAMPS, BULLDOG, DIEFFENBACH,51 mm, curved |  | 4 | Unchanged
11 |  | FORCEPS, HEMOSTATIC, HEISS, 20 cm, curved, right-angle |  | 1 | Unchanged
12 |  | RETRACTOR, HOOK, NERVE, 16 cmx 9 mm, blunt |  | 2 | Unchanged
13 |  | RETRACTOR, SELF-RET., WEITLANER, 16 cm, 3 x 4 blunt prongs |  | 1 | Unchanged
14 |  | RETRAC., SELF-RET., ADSON, 31cm, 4 x 5 blunt pr., laminect. |  | 1 | Unchanged
15 |  | SCISSORS, VASCULAR, POTTS-SMITH, 19cm, 60deg angled |  | 1 | Unchanged
16 |  | CLAMP, VASC., BULLDOG, DeBAKEY, 12 cm/ang.45deg,+ring handle |  | 2 | Unchanged
17 |  | CLAMP, VASCULAR, DeBAKEY, 22 cm, straight |  | 1 | Unchanged
18 |  | CLAMP, VASCULAR, AORTA, DeBAKEY, 18 cm, pronouncedly shaped |  | 2 | Unchanged
19 |  | CLAMP, VASCULAR, DeBAKEY, 20cm, for tangential occlusion |  | 2 | Unchanged
20 |  | CLAMP, VASCULAR, DeBAKEY, 25.5 cm, for tangential occlusion |  | 1 | Unchanged
21 |  | BASKET, STERILIZING, 480 x 255 x 50 + lid |  | 1 | BASKET, STERILIZING, +/- 480x255x50mm, without lid
22 |  | FORCEPS, WITH RING, +/- 21cm, 1x0.5mm |  | 1 | Added New

## SET2C5
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2C05A1 | (TESK 2024 mod 2C) SET 2C5, GYNAECOLOGY INSTRUMENTS | 1 Set
1 |  | BOWL, ROUND, 200ml, 9.5 x 5 cm, stainless steel |  | 1 | Unchanged
2 |  | CRANIOCLAST, BRAUN, 42 cm |  | 1 | Unchanged
3 |  | CURETTE, UTERINE, RECAMIER, 11 mm wide, rigid, sharp |  | 1 | Unchanged
4 |  | CURETTE, UTERINE, RECAMIER, 12 mm wide, rigid, sharp |  | 1 | Unchanged
5 |  | CURETTE, UTERINE, RECAMIER, 14 mm wide, rigid, sharp |  | 1 | Unchanged
6 |  | CURETTE, UTERINE, RECAMIER, 7mm wide, rigid, sharp |  | 1 | Unchanged
7 |  | CURETTE, UTERINE, RECAMIER, 8mm wide, rigid, sharp |  | 1 | Unchanged
8 |  | CURETTE, UTERINE, RECAMIER, 9mm wide, rigid, sharp |  | 1 | Unchanged
9 |  | DILATATOR, UTERINE, HEGAR, double-ended, set of 8 dilatators |  | 1 | Unchanged
10 |  | ECART., SPECU., DOYEN, 24cm, 85x45mm, vag., slightly hollow |  | 1 | Unchanged
11 |  | FORCEPS, DISSECTING/LIGATURE,MIXTER, 23 cm, fine |  | 1 | Unchanged
12 |  | FORCEPS, SPONGE, FOERSTER, 24cm, serrated jaws, straight |  | 1 | Unchanged
13 |  | FORCEPS, SPONGE, FOERSTER, 24cm, serrated jaws, straight |  | 1 | Unchanged
14 |  | FORCEPS, HEMOSTATIC, H-MOSQUITO, 12.5 cm, curved |  | 1 | Unchanged
15 |  | FORCEPS, HEMOSTATIC, KOCHER, 14 cm/1x2 teeth, straight |  | 1 | Unchanged
16 |  | FORCEPS, INTESTINAL, DOYEN-BABY, 17 cm, atraum., curved |  | 1 | Unchanged
17 |  | FORCEPS, OBSTETRICAL, Simpson and Piper |  | 1 | FORCEPS, OBSTETRICAL, Simpson
18 |  | FORCEPS, OBSTETRICAL, PIPER, 44 cm |  | 1 | Added New
19 |  | FORCEPS, SEIZING, KELLY, OVARY, 32 cm, 18 mm jaws, curved |  | 1 | Unchanged
20 |  | FORCEPS, TISSUE, ALLIS, 15 cm/4x5 teeth, standard |  | 1 | Unchanged
21 |  | FORCEPS, TISSUE, DUVAL, 23cm,atraum., triangular |  | 1 | Unchanged
22 |  | FORCEPS, TISSUE, STANDARD, 18cm, 1x2 teeth, straight |  | 1 | Unchanged
23 |  | FORCEPS, UTERINE EVACUATION, ovum, Bierer, large |  | 1 | Unchanged
24 |  | FORCEPS, UTERINE EVACUATION, ovum, Bierer, small |  | 1 | Unchanged
25 |  | FORCEPS, UTERINE, DUPLAY, 28 cm, curved |  | 1 | Unchanged
26 |  | FORCEPS, UTERINE, Phaneuf, 215mm, curved |  | 1 | Unchanged
27 |  | FORCEPS, VULSELLUM, MUSEUX, 24cm, toothed 2:2/6mm, curved |  | 1 | Unchanged
28 |  | HOOK, DECAPITATION, BRAUN, 31cm |  | 1 | Unchanged
29 |  | NEEDLE HOLDER, MAYO-HEGAR, 18cm, standard |  | 1 | Unchanged
30 |  | PERFORATOR, SMELLIE, 27 cm, straight |  | 1 | Unchanged
31 |  | RETRACTOR, ABDOMINAL, BALFOUR, standard, complete |  | 1 | Unchanged
32 |  | RETRACTOR, FARABEUF, 15 cm, set of 2 |  | 1 | Unchanged
33 |  | SCISSORS, GYNECOLOGICAL, 200 mm, curved, blunt-blunt |  | 1 | Unchanged
34 |  | SCISSORS, MAYO, 15.5 cm, curved, blunt/blunt |  | 1 | Unchanged
35 |  | SPECULUM, AUVARD, 240 x 75 x 38 mm, vaginal, with weight |  | 1 | Unchanged
36 |  | SPECULUM, COLLIN, 92 x 16 mm,vaginal, for virgins |  | 1 | Unchanged
37 |  | SPECULUM, VAGINAL, Graves, 115x35 mm |  | 1 | Unchanged
38 |  | SPECULUM, VAGINAL, Graves, 75x20 mm |  | 1 | Unchanged
39 |  | SPECULUM, VAGINAL, Graves, 95x35 mm |  | 1 | Unchanged
40 |  | BASKET, STERILIZING, 480 x 255 x 50 |  | 1 | BASKET, STERILIZING, +/- 480x255x50mm, without lid
41 |  | BASKET, STERILIZING, 480 x 255x 100mm, + lid |  | 1 | BASKET, STERILIZING, +/- 485x250x100mm, without lid

## SET2C6
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2C06A1 | (TESK 2024 mod 2C) SET 2C6, REPRODUCTIVE HEALTH KIT, INSTRUMENTS | 1 Set
1 |  | FORCEPS, SPONGE, FOERSTER, 24cm, serrated jaws, straight |  | 1 | Unchanged
2 |  | FORCEPS, VULSELLUM, MUSEUX, 24cm, toothed 2:2/6mm, curved |  | 1 | Unchanged
3 |  | FORCEPS, UTERINE EVACUATION, ovum, Bierer, large |  | 1 | Unchanged
4 |  | FORCEPS, UTERINE EVACUATION, ovum, Bierer, small |  | 1 | Unchanged
5 |  | FORCEPS, INTESTINAL, DOYEN-BABY, 17 cm, atraum., curved |  | 1 | Unchanged
6 |  | SPECULUM, AUVARD, 240 x 75 x 38 mm, vaginal, with weight |  | 1 | Unchanged
7 |  | BOWL, ROUND, 200ml, 9.5 x 5 cm, stainless steel |  | 1 | Unchanged
8 |  | BASKET, STERILIZING, 480 x 255 x 100mm,Ref 49.97.13 + lid 48x25cm |  | 1 | BASKET, STERILIZING, +/- 485x250x100mm, without lid

## SET2C7
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2C07A1 | (TESK 2024 mod 2C) SET 2C7, EMBRYOTOMY INSTRUMENTS | 1 Set
1 |  | CRANIOCLAST, BRAUN, 42 cm |  | 1 | Unchanged
2 |  | PERFORATOR, SMELLIE, 27 cm, straight |  | 1 | Unchanged
3 |  | HOOK, DECAPITATION, BRAUN, 31cm |  | 1 | Unchanged
4 |  | BOWL, ROUND, 200ml, 9.5 x 5 cm |  | 1 | Unchanged
5 |  | FORCEPS, SPONGE, FOERSTER, 24cm |  | 1 | Unchanged
6 |  | BASKET, STERILIZING, 410 x 250 x 70 |  | 1 | BASKET, STERILIZING, +/- 410 x 250 x 70 mm, without lid

## SET2C8
item | WHO item code | WHO item description | UoM | Quantity | Remarks
| KMEDTESKN2C08A1 | (TESK 2024 mod 2C) SET 2C8, SUPPLEMENTARY, SUTURES, for vaginal/cervix tears | 1 Set
1 |  | SCISSORS, MAYO, 17 cm, straigh |  | 1 | Unchanged
2 |  | NEEDLE HOLDER, MAYO-HEGAR, 18 |  | 1 | Unchanged
3 |  | FORCEPS, SPONGE, FOERSTER, 24cm, serrated jaws, straight |  | 2 | Unchanged
4 |  | BOWL, ROUND, 200ml, 9.5 x 5 cm |  | 1 | Unchanged
5 |  | SPECULUM, VAGINAL, Graves, 115x35 mm |  | 1 | Unchanged
6 |  | SPECULUM, VAGINAL, Graves, 75x20 mm |  | 1 | Unchanged
7 |  | SPECULUM, VAGINAL, Graves, 95x35 mm |  | 1 | Unchanged
8 |  | ECART., SPECU., DOYEN, 24cm, 85x45mm, vag., slightly hollow |  | 1 | Unchanged
9 |  | CASE, STERILIZING, 325x275x75m |  | 1 | BASKET, STERILIZING, +/- 410 x 250 x 70 mm, without lid

## SET2C9
DISCONTINUED
item | WHO item code | WHO item description | UoM | Quantity
| LEQTPHES001--A1 | PHOTO EVIDENCE SCALE (PPSM300), 100mm, black aluminum | 1 Set
1 |  | PHOTO EVIDENCE SCALE (PPSM300), 100mm, black aluminum |  | 1

## SET2C10
NEW
item | WHO item code | WHO item description | UoM | Quantity
| KMEDTESKN2C10A1 | (TESK 2024 mod 2C) SET 2C10, BONE GRAFT | 1 Set
1 |  | Bowl, round, 200ml, 9.5cm X 5cm, stainless steel |  | 1
2 |  | Retractor, self-ret.,Weitlaner, 10cm, 3X4 sharp prongs |  | 2
3 |  | Retractor, self-ret.,Weitlaner, 16cm, 3X4 sharp prongs |  | 2
4 |  | FREER DOUBLE HOOK, 15cm, sharp, 3mm wide |  | 2
5 |  | Retractor Ribbon, 12X200mm, malleable, stainless steel |  | 1
6 |  | Rasparatory, Cobb 25mm |  | 1
7 |  | Rasparatory, Cobb 13mm |  | 1
8 |  | RASPARORY, FREER OBWEGESER, +/-21cm |  | 1
9 |  | Rasparatory, Faraboef, 150X13mm, light curfed sharp |  | 1
10 |  | Osteotome, Lambotte straight, 10mm |  | 1
11 |  | Osteotome, Lambotte straight, 12mm |  | 1
12 |  | Osteotome, Lambotte straight, 15mm |  | 1
13 |  | Osteotome, Stille, 20cm X 12mm, straight |  | 1
14 |  | Osteotome, Stille, 20cm X 15mm, straight |  | 1
15 |  | Osteotome, Stille, 20cm X 20mm, straight |  | 1
16 |  | Osteotome, Stille, 20cm X 25mm, straight |  | 1
17 |  | OSTEOTOME, COTTLE, curved, 18cm, 6mm, graduated |  | 1
18 |  | Gauge, Stille, 20cm X 15mm, straight |  | 1
19 |  | Gauge, Stille, 20cm X 20mm, straight |  | 1
20 |  | Rongeur, Bone, Bane-Hartmann, 18cm X 5mm |  | 1
21 |  | Rongeur, Bone, Luer, 18cm X 10mm, heavy pattern |  | 1
22 |  | Mallet, 23cm X 28mm, 490g, solid |  | 1
23 |  | BASKET, STERILIZING, +/- 410 x 250 x 70 mm, without lid |  | 1