Generic Job aid:  RDT procedure using capillary blood sample

- Check before performing the test:

| 1 Don’t use expired or damaged items Bring kit at room temperature (18-25°C) prior to use if stored in a fridge | 2 Gather all necessary items from the test kit Additional necessary equipment: timer/ clock/ phone to respect waiting time. Gloves, Sharp and infectious material container |
| --- | --- |
| 3 Perform the test in a clean, organized, flat surface and bright space | 4 Always use universal safety precaution/new pair of gloves when handling specimens |

Source:

https://cdn.who.int/media/docs/malaria/diagnosis/g

https://cdn.who.int/media/docs/

- Collect capillary blood:

| 4 Open the test packaging just before conducting the test Bring the cassette/strip and buffer to room temperature (From IFU°C) Identify the cassette with the number/name of the client to be tested | 5 Rub client finger to warm it up Open the alcohol swab. Clean and dry the client finger (4th one) |
| --- | --- |
| 6 Once the client finger is dry, open the lancet Prick client finger Remove the 1st drop of blood | 7 Fill the collection device up to the mark line (not too little, not too much) |

- Conduct the test:

| 8 Place X vol {from IFU} of client sample in the dedicated {from IFU} area. | 9 Place Y vol {from IFU} of buffer in the dedicated {from IFU} area. |
| --- | --- |
| 10 Wait for specified time (from IFU) | 11 Read the result exactly during the recommended reading time: between X and Y {from IFU} minutes after depositing the buffer (neither before nor after) |

- Interpret the test

12 REACTIVE INVALID NON REACTIVE Interpret the test as specified (from IFU): The test is valid only if the internal control line is visible. Otherwise, the test is invalid and must be repeated using a new cassette/strip.

- Discard used materials

13

Discard sharp and infectious material in appropriate container