## User feedback form

Send feedback to: manufacturer and their local economic operator and as soon as you become aware.

Types of feedback:

  - Death or serious deterioration in health of the patient/client, user or any other person occurred.

  - Death or serious deterioration in health of the patient/client, user or any other person might have occurred.

  - Positive feedback may include suggested improvements, positive experiences, etc.

List of medical device product problems that should be considered for feedback

  - Patient-device incompatibility

  - Manufacturing, packaging or shipping

  - Chemical

  - Material integrity

  - Mechanical

  - Optical

  - Electrical/electronic property

  - Calibration

  - Output, e.g. false negative or false positive result for an IVD

  - Temperature

  - Computer software

  - Connection

  - Communication or transmission

  - Infusion or flow

  - Activation, positioning or separation

  - Protective measure

  - Compatibility

  - Contamination/decontamination

  - Environmental compatibility

  - Installation-related

  - Label, instructions for use or training

  - Human-device interface

  - Use of device

  - Adverse event without identified device or use

Note: this is not an exhaustive list of potential user feedback.

##### Contact details of the reporting user (organization/person)

| Name of organization: Click here to enter text. | Street name and no.: Click here to enter text. |
| --- | --- |
| City and postcode: Click here to enter text. | Country: Click here to enter text. |
| Name of contact person (for organization): Click here to enter text. | Mobile telephone of contact person (for organization): Click here to enter text. |
| Position of contact person (for organization): Click here to enter text. | E-mail of contact person (for organization): Click here to enter text. |
| Report date: Click here to enter text. | Reporter’s report identifier: Click here to enter text. |

##### Product details

| Product name/commercial name/brand name: Click here to enter text. | Product code/catalogue number(s): Click here to enter text. |
| --- | --- |
| Serial number(s): Click here to enter text. | Model number(s): Click here to enter text. |
| Lot number/batch number(s): Click here to enter text. | Expiry date(s): Click here to enter text. |
| Instructions for use version number: Click here to enter text. | Software version number: Click here to enter text. |
| Associated devices/accessories (lot numbers/expiry dates): Click here to enter text. | UDI-DI/UDI-PI: Click here to enter text. |
| Manufacturer name: Click here to enter text. | Authorized representative name: Click here to enter text. |
| Manufacturer contact details (e-mail): Click here to enter text. | Authorized representative contact details (e-mail): Click here to enter text. |

Please attach a copy of the instructions for use and photographs of the device and its labelling.

##### Event details

| Describe the clinical/analytical procedure during which the observation was made (note: in the case of IVD, state specimen type used): Click here to enter text. |  |
| --- | --- |
| Event description (e.g. in the event of negative feedback, explain what went wrong with the medical device, and what was the health impact [death, life-threatening, indirect harm such as misdiagnosis or delayed diagnosis/treatment], and in the event of positive feedback, explain suggestions for improvement or positive experiences): Click here to enter text. |  |
| Date of observation/event was made: Click here to enter text. | % of devices involved: Click here to enter text. |
| Number of devices involved: Click here to enter text. | Number of patients involved: Click here to enter text. |

| Operator/user at the time of the observation/event (please choose): Health care professional Patient/lay user Other (specify): | Has more than one user had the observation with the product? Yes No |
| --- | --- |

| Comments: Click here to enter text. |  |
| --- | --- |
| Date of report: Click here to enter text. | Signature: Click here to enter text. |

Disclaimer: The act of reporting an observation is not an admission of manufacturer, user or patient liability for the event or its consequence

Taken from Guidance for post-market surveillance and market surveillance of medical devices, including in vitro diagnostics. Geneva: World Health Organization; 2020. Licence: CC BY-NC-SA 3.0 IGO.