## Slide 1
02
Introduction to Quality Management System (QMS)

## Slide 2: Learning objectives
At the end of this module, you should be able to:
  Understand what quality means and explain why quality is important
  Describe Quality Management System (QMS)
  List the important elements of QMS specific to non-lab settings and serological RDTs (rapid diagnostic tests)
  List key factors that may affect the quality of testing

## Slide 3: Definition of a quality management system (QMS)
The organizational structure, responsibilities, processes, procedures, and resources necessary to implement quality management in a testing site.
Through the QMS, the health system can monitor all parts of the test system and detect and reduce errors as we Improve consistency across test sites.
It is a set of building blocks that, if respected can ensure the quality of testing
All activities that contribute to test quality, directly or indirectly.

## Slide 4
Organisation, governance and planning
Workforce development
Procurement, supply chain and inventory management
Process control assessment and continuous quality improvement
Documents, records and information management
Post Market Surveillance
Non-laboratory testing sites
Laboratories
Simplification
Organization of the QMS toolkit by pillars
Notes: Guidelines and policies, regulatory affairs, HR organigram, roles, and responsibilities, [QA FP] managerial commitment/organizational structure, financial needs, facility and safety, personnel with a focus on training modules,
, managerial commitment/organizational structure, financial needs, facility and safety, personnel with a focus on training modules

## Slide 5: What does Quality of testing mean?
Accurate
Reliable
Timely
Ensure the testing site results are:

## Slide 6: Why the quality of testing is important? (1/2)
Accepting a 1% error rate would mean in France, every day:
50,000 letters lost by postal services
22 newborns falling from midwives’ hands
600,000 lunches contaminated by bacteria
Three bad landings at Paris airport

## Slide 7: Why the quality of testing is important? (2/2)
Testing errors (false positive, false negative) cost in:
Time
Money
Personnel effort
poor outcomes

## Slide 8: How Can we achieve quality testing in all testing sites?
All aspects (before, during, and after) of testing need to be addressed to ensure the quality of testing
QMS = Coordinated activities to direct and control testing activities

## Slide 9: Who is responsible for quality?
Everyone, each at their level
All admin and other staff
All test site personnel implementing the procedures
Testing provider implementing QA procedures
All management and program staff who supervise the procedures
Program staff
Supervisor, quality officer establishing QA procedures
Everyone

## Slide 10
Individual responsibilities unclear
No written procedures or procedures not followed
Training is not done or not completed
Checks not done for transcription errors
Test not stored properly
QC, EQA not performed
Why do errors occur?

## Slide 11: When do testing errors occur?
At all stages of the testing process
Before testing
During testing
After testing
Test kit selection
Sample collection/
transport
Sample/test kit storage
Use of PPE
Personnel competency
Individual responsibilities
QC/ EQA
Follow testing procedures
Interpretation
Record Results
Report Results
Use of registers
Transcription errors
Disposal of waste

## Slide 12: Personnel/workforce development
Job descriptions and clear responsibilities
Job Qualifications
Training
Competency-based assessments (initial and regular)
Supportive supervision
Professional development and continuing education

## Slide 13: Testing environment
Safety
Ergonomics
Lighting
Waste management and IPC
Security

## Slide 14: Documents and records
Documents | Records
creation | collection
revisions and review | review
control and distribution | storage
 | retention

## Slide 15: Information Management
Confidentiality of client information
logs and records
Reports
Use of data
If possible, computerized information systems

## Slide 16: Procurement and stock management
National selection and validation of quality-assured tests
Appropriate (quantity and timely) orders. Define an alert stock
Review monthly consumption versus needs
Stock management:
Proper storage conditions (temperature...)
Regular inventory
Inspect incoming orders
Inform management of site needs.
QMS non-lab testing sites; training package – v1.0 | Introduction to Quality Management System

## Slide 17
QMS non-lab testing sites; training package – v1.0 | Introduction to Quality Management System
External Quality Assessment:
- Proficiency testing /EQA scheme - Site supervision visit
Quality Controls
IQC
EQC
Monthly testing indicators review:
Pos rate; invalid rate, inconclusive rate
Process control

## Slide 18: Occurrence Management and Post Market Surveillance
complaints
mistakes and problems
documentation
root cause analysis
immediate actions
corrective actions
preventive actions
▪Post Market surveillance if problem mistake due to the test kit
It is the process by which errors are identified and handled.

## Slide 19: Process Improvement
opportunities for improvement (OFIs)
stakeholder feedback
problem resolution
risk assessment
preventive actions
corrective actions

## Slide 20
Key points
Implementing QMS does not guarantee an error-free site
But it detects errors that may occur and prevents them from recurring
Sites without QMS will produce undetected errors
QMS = set of policies, procedures, and practices implemented in each testing site to ensure constant quality of testing (accurate, reliable, and timely results)

## Slide 21: Questions?