## Measurement Sheet
Languages |  | English |  | Version | 5.1 | English
Measurement Form
This Measurement Form should be used in conjunction with "Temperature Mapping , A Step-by-step Guideline and "Temperature Mapping V.4.3." You should read and familiarize yourself with the Guide and th application before starting to complete the information in this sheet.
Boxes in yellow background are mandatory fields and the information and measurements must be completed!
A. General Information
Table 1. Codes and General Information
Location |  |  | ………………………………………………………………………………….
Code |  |  | ………………………………………………………………………………….
Manufacturer
Model
Type |  |  | Cold-room Freezer-room Dry Store |  |  |  | (Circle one)
Table 2. Main Dimensions
Room measurements |  |  | Inside Dimensions
Front measurement (f) |  |  | …………………………………………….. |  | (m)
Side measurement (s) |  |  | …………………………………………….. |  | (m)
Height (H) |  |  | …………………………………………….. |  | (m)
H
s
f
Front
H
|  | f |  |  |  | s
Front
Front can be any side of the equipment. It is better to choose the front side where the door is mounted.
B. Specific Measurements
B1. Doors
Number, position and dimensions
Left wall | [5 empty] | Height of the door
| Distance from the left wall |  | Width of the door
|  |  | Front wall |  | The store must have at least one door!
Table 3. Doors
Doors
Number of doors (up to 3 doors) |  |  |  |  | .............................
Door 1
Position of the door: Front Back Left Right Left | [5 empty] | (Circle one) | Notes:
Distance from the left wall |  |  | ........................................................ |  |  | (m)
Height of the door |  |  | …………................................................. |  |  | (m)
Width of the door |  |  | ………….................................................. |  |  | (m)
Door 2
Position of the door: Front Back Left Right Left | [5 empty] | (Circle one) | Notes:
Distance from the left wall |  |  | ........................................................... |  |  | (m)
Height of the door |  |  | ........................................................... |  |  | (m)
Width of the door |  |  | ........................................................... |  |  | (m)
Door 3
Position of the door: Front Back Left Right Left | [5 empty] | (Circle one) | Notes:
Distance from the left wall |  |  | ........................................................... |  |  | (m)
Height of the door |  |  | ........................................................... |  |  | (m)
Width of the door |  |  | ........................................................... |  |  | (m)
Distance from the left wall
Height of the door
Width of the door
B2. Evaporator
Number, Dimensions and Positions
This part should be ignored when you temperature map a Dry Store
W
H
L
Table 4. Evaporators |  |  | In the case of Dry Store, ignore Table 4.
Table 4. Evaporators |  |  | Number of evaporators: |  |  |  | …………….
(Up to 8 evaporators)
Evaporator 1
Position of Evaporator |  |  | Front/Back/Right/left |  |  |  | (Circle one) | Notes:
Distance from the left wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the front wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the floor |  |  | …………………………………………………………………………………. |  |  |  | (m)
Height (H) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Length (L) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Width (W) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Evaporator 2
Position of Evaporator |  |  | Front/Back/Right/left |  |  |  | (Circle one) | Notes:
Distance from the left wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the front wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the floor |  |  | …………………………………………………………………………………. |  |  |  | (m)
Height (H) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Length (L) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Width (W) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Evaporator 3
Position of Evaporator |  |  | Front/Back/Right/left |  |  |  | (Circle one) | Notes:
Distance from the left wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the front wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the floor |  |  | …………………………………………………………………………………. |  |  |  | (m)
Height (H) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Length (L) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Width (W) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Evaporator 4
Position of Evaporator |  |  | Front/Back/Right/left |  |  |  | (Circle one) | Notes:
Distance from the left wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the front wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the floor |  |  | …………………………………………………………………………………. |  |  |  | (m)
Height (H) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Length (L) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Width (W) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Evaporator 5
Position of Evaporator |  |  | Front/Back/Right/left |  |  |  | (Circle one) | Notes:
Distance from the left wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the front wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the floor |  |  | …………………………………………………………………………………. |  |  |  | (m)
Height (H) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Length (L) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Width (W) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Evaporator 6
Position of Evaporator |  |  | Front/Back/Right/left |  |  |  | (Circle one) | Notes:
Distance from the left wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the front wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the floor |  |  | …………………………………………………………………………………. |  |  |  | (m)
Height (H) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Length (L) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Width (W) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Evaporator 7
Position of Evaporator |  |  | Front/Back/Right/left |  |  |  | (Circle one) | Notes:
Distance from the left wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the front wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the floor |  |  | …………………………………………………………………………………. |  |  |  | (m)
Height (H) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Length (L) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Width (W) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Evaporator 8
Position of Evaporator |  |  | Front/Back/Right/left |  |  |  | (Circle one) | Notes:
Distance from the left wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the front wall |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the floor |  |  | …………………………………………………………………………………. |  |  |  | (m)
Height (H) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Length (L) |  |  | …………………………………………………………………………………. |  |  |  | (m)
Width (W) |  |  | …………………………………………………………………………………. |  |  |  | (m)
B3. Shelves
This part may be ignored when there is no any shelf
Examples
|  |  | Distance between racks |  |  |  | If the distance between racks are not equal, use average.
Width of a rack
Length of a rack
Number of racks = 4
Distance between racks
Width of a rack
Length of a rack
Number of racks = 4
Number of racks = 4
Table 5. Shelves
Shelves |  |  | Number of shelves: |  |  |  |  | ………………
(Up to 6 shelves)
Shelf 1
Position |  |  |  | Front/Back/Right/left |  |  |  | (Circle one)
Distance from the left wall |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the front wall |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the floor |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Number of racks |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance between racks |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Length of a rack |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Width of a rack |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Shelf 2
Position |  |  |  | Front/Back/Right/left |  |  |  | (Circle one)
Distance from the left wall |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the front wall |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the floor |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Number of racks |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance between racks |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Length of a rack |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Width of a rack |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Shelf 3
Position |  |  |  | Front/Back/Right/left |  |  |  | (Circle one)
Distance from the left wall |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the front wall |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the floor |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Number of racks |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance between racks |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Length of a rack |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Width of a rack |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Shelf 4
Position |  |  |  | Front/Back/Right/left |  |  |  | (Circle one)
Distance from the left wall |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the front wall |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the floor |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Number of racks |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance between racks |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Length of a rack |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Width of a rack |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Shelf 5
Position |  |  |  | Front/Back/Right/left |  |  |  | (Circle one)
Distance from the left wall |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the front wall |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the floor |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Number of racks |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance between racks |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Length of a rack |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Width of a rack |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Shelf 6
Position |  |  |  | Front/Back/Right/left |  |  |  | (Circle one)
Distance from the left wall |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the front wall |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance from the floor |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Number of racks |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Distance between racks |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Length of a rack |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Width of a rack |  |  |  | …………………………………………………………………………………. |  |  |  | (m)
Sensors
Distance from the left wall
14
Distance from the front wall
Floor
Distance from the floor
| Distance from the left wall |  |  | 14
Floor
Distance from the front wall
Table 6. Sensors
Sensors |  |  | Number of sensors: |  |  |  | …………….
Up to 8 optional sensors
Sensor 13 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 14 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 15 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 16 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 17 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 18 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 19 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 20 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 21 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 22 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 23 | [7 empty] | Notes:
Distance from the left wall |  |  |  | …………………………………………………………………………………. m
Distance from the front wall |  |  |  | …………………………………………………………………………………. m
Distance from the floor |  |  |  | …………………………………………………………………………………. m
Sensor 24 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 25 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 26 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 27 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 28 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 29 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 30 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 31 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 32 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 33 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 34 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 35 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 36 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 37 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 38 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 39 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Sensor 40 | [7 empty] | Notes:
Distance from the left wall |  |  |  | ………………………………… |  |  | (m)
Distance from the front wall |  |  |  | ………………………………… |  |  | (m)
Distance from the floor |  |  |  | ………………………………… |  |  | (m)
Notes:

## Language
English | EN: | FR: | RU: | SP: | AR: | CH: | OTHRT:
1 | English | French | Russian | Spanish | Arabic | Chinese | Other
5.1 | 5.1 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6
Measurement Form | Measurement Form | FR: Measurement Form | RU: Measurement Form | Formulario de medidas | فرم اندازه گیری | CH: Measurement Form | فرم اندازه گیری
This Measurement Form should be used in conjunction with "Temperature Mapping , A Step-by-step Guideline and "Temperature Mapping V.4.3." You should read and familiarize yourself with the Guide and th application before starting to complete the information in this sheet. | This Measurement Form should be used in conjunction with "Temperature Mapping , A Step-by-step Guideline and "Temperature Mapping V.4.3." You should read and familiarize yourself with the Guide and th application before starting to complete the information in this sheet. | FR: This Measurement Form should be used in conjunction with "Temperature Mapping , A Step-by-step Guideline and "Temperature Mapping V.4.3." You should read and familiarize yourself with the Guide and th application before starting to complete the information in this sheet. | RU: This Measurement Form should be used in conjunction with "Temperature Mapping , A Step-by-step Guideline and "Temperature Mapping V.4.3." You should read and familiarize yourself with the Guide and th application before starting to complete the information in this sheet. | Este Formulario de Medición se debe usar conjuntamente con el "Mapeo de Temperatura, una Guía Paso a Paso y "Mapeo de Temperatura V.2.0.". Debe leer y familiarizarse con el documento arriba mencionado antes de empezar a completar la información en este documento. | ین فرم باید اندازه گیری شود در رابطه با "نقشه برداری دما، راهنمای گام به گام و" V.2.0 نقشه برداری دما قبل از شروع به تکمیل اطلاعات در این سند استفاده می شود. "شما باید به عنوان خوانده شده و با سند ذکر شده در بالا آشنا شوید . | CH: This Measurement Form should be used in conjunction with "Temperature Mapping , A Step-by-step Guideline and "Temperature Mapping V.4.3." You should read and familiarize yourself with the Guide and th application before starting to complete the information in this sheet. | OTHRT: This Measurement Form should be used in conjunction with "Temperature Mapping , A Step-by-step Guideline and "Temperature Mapping V.4.3." You should read and familiarize yourself with the Guide and th application before starting to complete the information in this sheet.
Boxes in yellow background are mandatory fields and the information and measurements must be completed! | Boxes in yellow background are mandatory fields and the information and measurements must be completed! | Boîtes à fond jaune sont des champs obligatoires et l'information et des mesures doivent être remplis! | RU: Boxes in yellow background are mandatory fields and the information and measurements must be completed! | ¡Los recuadros con fondo amarillo son campos obligatorios y es necesario completar la información y las mediciones! | AR: Boxes in yellow background are mandatory fields and the information and measurements must be completed! | CH: Boxes in yellow background are mandatory fields and the information and measurements must be completed! | OTHRT: Boxes in yellow background are mandatory fields and the information and measurements must be completed!
A. General Information | A. General Information | FR: A. General Information | RU: A. General Information | A. Información general | AR: A. General Information | CH: A. General Information | OTHRT: A. General Information
Table 1. Codes and General Information | Table 1. Codes and General Information | FR: Table 1. Codes and General Information | RU: Table 1. Codes and General Information | Cuadro 1. Códigos e Información General | AR: Table 1. Codes and General Information | CH: Table 1. Codes and General Information | OTHRT: Table 1. Codes and General Information
Location | Location | FR: Location | RU: Location | Ubicación | AR: Location | CH: Location | OTHRT: Location
Code | Code | FR: Code | RU: Code | Código | AR: Code | CH: Code | OTHRT: Code
Manufacturer | Manufacturer | FR: Manufacturer | RU: Manufacturer | Fabricante | AR: Manufacturer | CH: Manufacturer | OTHRT: Manufacturer
Model | Model | FR: Model | RU: Model | Modelo | AR: Model | CH: Model | OTHRT: Model
Type | Type | FR: Type | RU: Type | Tipo | AR: Type | CH: Type | OTHRT: Type
Cold-room Freezer-room Dry Store | Cold-room Freezer-room Dry Store | FR: Cold-room Freezer-room Dry Store | RU: Cold-room Freezer-room Dry Store | Cámara de refrigeración Cámara de congelación Almacén en seco | AR: Cold-room Freezer-room Dry Store | CH: Cold-room Freezer-room Dry Store | OTHRT: Cold-room Freezer-room Dry Store
Table 2. Main Dimensions | Table 2. Main Dimensions | FR: Table 2. Main Dimensions | RU: Table 2. Main Dimensions | Cuadro 2. Dimensiones principales | AR: Table 2. Main Dimensions | CH: Table 2. Main Dimensions | OTHRT: Table 2. Main Dimensions
Room measurements | Room measurements | FR: Room measurements | RU: Room measurements | Mediciones de la sala | AR: Room measurements | CH: Room measurements | OTHRT: Room measurements
Front measurement (f) | Front measurement (f) | FR: Front measurement (f) | RU: Front measurement (f) | Longitud interior (L) | AR: Front measurement (f) | CH: Front measurement (f) | OTHRT: Front measurement (f)
Side measurement (s) | Side measurement (s) | FR: Side measurement (s) | RU: Side measurement (s) | Ancho interior (W) | AR: Side measurement (s) | CH: Side measurement (s) | OTHRT: Side measurement (s)
Height (H) | Height (H) | FR: Height (H) | RU: Height (H) | Altura interior (H) | AR: Height (H) | CH: Height (H) | OTHRT: Height (H)
Inside Dimensions | Inside Dimensions | FR: Inside Dimensions | RU: Inside Dimensions | Dimensiones Interiores | AR: Inside Dimensions | CH: Inside Dimensions | OTHRT: Inside Dimensions
(Circle one) | (Circle one) | FR: (Circle one) | RU: (Circle one) | (Haga un círculo alrededor de una) | AR: (Circle one) | CH: (Circle one) | OTHRT: (Circle one)
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
H | H | FR: H | RU: H | H | AR: H | CH: H | OTHRT: H
s | s | FR: s | RU: s | W | AR: s | CH: s | OTHRT: s
f | f | FR: f | RU: f | L | AR: f | CH: f | OTHRT: f
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Front | Front | FR: Front | RU: Front | Frontal | AR: Front | CH: Front | OTHRT: Front
Front can be any side of the equipment. It is better to choose the front side where the door is mounted. | Front can be any side of the equipment. It is better to choose the front side where the door is mounted. | FR: Front can be any side of the equipment. It is better to choose the front side where the door is mounted. | RU: Front can be any side of the equipment. It is better to choose the front side where the door is mounted. | Frente puede ser cualquier lado del equipo. Es mejor elegir el lado frontal donde está montada la puerta. | AR: Front can be any side of the equipment. It is better to choose the front side where the door is mounted. | CH: Front can be any side of the equipment. It is better to choose the front side where the door is mounted. | OTHRT: Front can be any side of the equipment. It is better to choose the front side where the door is mounted.
0 |  | FR: | RU: | La parte frontal puede ser cualquier lado del equipo. Es mejor elegir el lado frontal donde está montada la puerta. | AR: | CH: | OTHRT:
B. Specific Measurements | B. Specific Measurements | FR: B. Specific Measurements | RU: B. Specific Measurements | B. Mediciones Específicas | AR: B. Specific Measurements | CH: B. Specific Measurements | OTHRT: B. Specific Measurements
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
B1. Doors | B1. Doors | FR: B1. Doors | RU: B1. Doors | B1. Puertas | AR: B1. Doors | CH: B1. Doors | OTHRT: B1. Doors
Number, position and dimensions | Number, position and dimensions | FR: Number, position and dimensions | RU: Number, position and dimensions | Número, posición y dimensiones | AR: Number, position and dimensions | CH: Number, position and dimensions | OTHRT: Number, position and dimensions
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Width of the door | Width of the door | FR: Width of the door | RU: Width of the door | Ancho de la puerta | AR: Width of the door | CH: Width of the door | OTHRT: Width of the door
Height of the door | Height of the door | FR: Height of the door | RU: Height of the door | Altura de la puerta | AR: Height of the door | CH: Height of the door | OTHRT: Height of the door
Left wall | Left wall | FR: Left wall | RU: Left wall | Pared izquierda | AR: Left wall | CH: Left wall | OTHRT: Left wall
Front wall | Front wall | FR: Front wall | RU: Front wall | Pared frontal | AR: Front wall | CH: Front wall | OTHRT: Front wall
The store must have at least one door! | The store must have at least one door! | FR: The store must have at least one door! | RU: The store must have at least one door! | ¡El almacén debe tener al menos una puerta! | AR: The store must have at least one door! | CH: The store must have at least one door! | OTHRT: The store must have at least one door!
Distance from left wall | Distance from left wall | FR: Distance from left wall | RU: Distance from left wall | Distancia desde la pared izquierda | AR: Distance from left wall | CH: Distance from left wall | OTHRT: Distance from left wall
Table 3. Doors | Table 3. Doors | FR: Table 3. Doors | RU: Table 3. Doors | Cuadro 3. Puertas | AR: Table 3. Doors | CH: Table 3. Doors | OTHRT: Table 3. Doors
Doors | Doors | FR: Doors | RU: Doors | Puertas | AR: Doors | CH: Doors | OTHRT: Doors
Number of doors (up to 3 doors) | Number of doors (up to 3 doors) | FR: Number of doors (up to 3 doors) | RU: Number of doors (up to 3 doors) | Número de puertas (hasta 3 puertas) | AR: Number of doors (up to 3 doors) | CH: Number of doors (up to 3 doors) | OTHRT: Number of doors (up to 3 doors)
Door 1 | Door 1 | FR: Door 1 | RU: Door 1 | Puerta 1 | AR: Door 1 | CH: Door 1 | OTHRT: Door 1
Position of the door: Front Back Left Right Left | Position of the door: Front Back Left Right Left | FR: Position of the door: Front Back Left Right Left | RU: Position of the door: Front Back Left Right Left | Posición de la puerta: Frontal Posterior Izquierda Derecha Izquierda | AR: Position of the door: Front Back Left Right Left | CH: Position of the door: Front Back Left Right Left | OTHRT: Position of the door: Front Back Left Right Left
0
Distance from the left wall | Distance from the left wall | FR: Distance from the left wall | RU: Distance from the left wall | Distancia desde la pared izquierda | AR: Distance from the left wall | CH: Distance from the left wall | OTHRT: Distance from the left wall
Height of the door | Height of the door | FR: Height of the door | RU: Height of the door | Altura de la puerta | AR: Height of the door | CH: Height of the door | OTHRT: Height of the door
Width of the door | Width of the door | FR: Width of the door | RU: Width of the door | Ancho de la puerta | AR: Width of the door | CH: Width of the door | OTHRT: Width of the door
Door 2 | Door 2 | FR: Door 2 | RU: Door 2 | Puerta 2 | AR: Door 2 | CH: Door 2 | OTHRT: Door 2
0
0
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Door 3 | Door 3 | FR: Door 3 | RU: Door 3 | Puerta 3 | AR: Door 3 | CH: Door 3 | OTHRT: Door 3
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Distance from the left wall | Distance from the left wall | FR: Distance from the left wall | RU: Distance from the left wall | Distancia desde la pared izquierda | AR: Distance from the left wall | CH: Distance from the left wall | OTHRT: Distance from the left wall
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
B2. Evaporator | B2. Evaporator | FR: B2. Evaporator | RU: B2. Evaporator | B2. Evaporador | AR: B2. Evaporator | CH: B2. Evaporator | OTHRT: B2. Evaporator
Number, Dimensions and Positions | Number, Dimensions and Positions | FR: Number, Dimensions and Positions | RU: Number, Dimensions and Positions | Número, Dimensiones y Posiciones | AR: Number, Dimensions and Positions | CH: Number, Dimensions and Positions | OTHRT: Number, Dimensions and Positions
This part should be ignored when you temperature map a Dry Store | This part should be ignored when you temperature map a Dry Store | FR: This part should be ignored when you temperature map a Dry Store | RU: This part should be ignored when you temperature map a Dry Store | Esta parte debe ignorarse cuando realiza el mapeo de temperatura de un Almacén en Seco | AR: This part should be ignored when you temperature map a Dry Store | CH: This part should be ignored when you temperature map a Dry Store | OTHRT: This part should be ignored when you temperature map a Dry Store
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
W | W | FR: W | RU: W | W | AR: W | CH: W | OTHRT: W
L | L | FR: L | RU: L | L | AR: L | CH: L | OTHRT: L
Table 4. Evaporators | Table 4. Evaporators | FR: Table 4. Evaporators | RU: Table 4. Evaporators | Cuadro 4. Evaporadores | AR: Table 4. Evaporators | CH: Table 4. Evaporators | OTHRT: Table 4. Evaporators
Evaporators | Evaporators | FR: Evaporators | RU: Evaporators | Evaporadores | AR: Evaporators | CH: Evaporators | OTHRT: Evaporators
Number of evaporators: | Number of evaporators: | FR: Number of evaporators: | RU: Number of evaporators: | Número de evaporadores: | AR: Number of evaporators: | CH: Number of evaporators: | OTHRT: Number of evaporators:
(Up to 8 evaporators) | (Up to 8 evaporators) | FR: (Up to 8 evaporators) | RU: (Up to 8 evaporators) | (Hasta 8 evaporadores) | AR: (Up to 8 evaporators) | CH: (Up to 8 evaporators) | OTHRT: (Up to 8 evaporators)
Evaporator 1 | Evaporator 1 | FR: Evaporator 1 | RU: Evaporator 1 | Evaporador 1 | AR: Evaporator 1 | CH: Evaporator 1 | OTHRT: Evaporator 1
Position of Evaporator | Position of Evaporator | FR: Position of Evaporator | RU: Position of Evaporator | Posición del Evaporador | AR: Position of Evaporator | CH: Position of Evaporator | OTHRT: Position of Evaporator
Front/Back/Right/left | Front/Back/Right/left | FR: Front/Back/Right/left | RU: Front/Back/Right/left | Frontal/Posterior/Derecha/Izquierda | AR: Front/Back/Right/left | CH: Front/Back/Right/left | OTHRT: Front/Back/Right/left
Distance from the left wall | Distance from the left wall | FR: Distance from the left wall | RU: Distance from the left wall | Distancia desde la pared izquierda | AR: Distance from the left wall | CH: Distance from the left wall | OTHRT: Distance from the left wall
Distance from the front wall | Distance from the front wall | FR: Distance from the front wall | RU: Distance from the front wall | Distancia desde la pared frontal | AR: Distance from the front wall | CH: Distance from the front wall | OTHRT: Distance from the front wall
Distance from the floor | Distance from the floor | FR: Distance from the floor | RU: Distance from the floor | Distancia desde el piso | AR: Distance from the floor | CH: Distance from the floor | OTHRT: Distance from the floor
Height (H) | Height (H) | FR: Height (H) | RU: Height (H) | Altura (H) | AR: Height (H) | CH: Height (H) | OTHRT: Height (H)
Length (L) | Length (L) | FR: Length (L) | RU: Length (L) | Longitud (L) | AR: Length (L) | CH: Length (L) | OTHRT: Length (L)
Width (W) | Width (W) | FR: Width (W) | RU: Width (W) | Ancho (W) | AR: Width (W) | CH: Width (W) | OTHRT: Width (W)
Evaporator 2 | Evaporator 2 | FR: Evaporator 2 | RU: Evaporator 2 | Evaporador 2 | AR: Evaporator 2 | CH: Evaporator 2 | OTHRT: Evaporator 2
Evaporator 3 | Evaporator 3 | FR: Evaporator 3 | RU: Evaporator 3 | Evaporador 3 | AR: Evaporator 3 | CH: Evaporator 3 | OTHRT: Evaporator 3
Evaporator 4 | Evaporator 4 | FR: Evaporator 4 | RU: Evaporator 4 | Evaporador 4 | AR: Evaporator 4 | CH: Evaporator 4 | OTHRT: Evaporator 4
Evaporator 5 | Evaporator 5 | FR: Evaporator 5 | RU: Evaporator 5 | Evaporador 5 | AR: Evaporator 5 | CH: Evaporator 5 | OTHRT: Evaporator 5
Evaporator 6 | Evaporator 6 | FR: Evaporator 6 | RU: Evaporator 6 | Evaporador 6 | AR: Evaporator 6 | CH: Evaporator 6 | OTHRT: Evaporator 6
Evaporator 7 | Evaporator 7 | FR: Evaporator 7 | RU: Evaporator 7 | Evaporador 7 | AR: Evaporator 7 | CH: Evaporator 7 | OTHRT: Evaporator 7
Evaporator 8 | Evaporator 8 | FR: Evaporator 8 | RU: Evaporator 8 | Evaporador 8 | AR: Evaporator 8 | CH: Evaporator 8 | OTHRT: Evaporator 8
In the case of Dry Store, ignore Table 4. | In the case of Dry Store, ignore Table 4. | FR: In the case of Dry Store, ignore Table 4. | RU: In the case of Dry Store, ignore Table 4. | En caso de un almacén en seco, ignore el Cuadro 4. | AR: In the case of Dry Store, ignore Table 4. | CH: In the case of Dry Store, ignore Table 4. | OTHRT: In the case of Dry Store, ignore Table 4.
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
B3. Shelves | B3. Shelves | FR: B3. Shelves | RU: B3. Shelves | B3. Estantes | AR: B3. Shelves | CH: B3. Shelves | OTHRT: B3. Shelves
This part may be ignored when there is no any shelf | This part may be ignored when there is no any shelf | FR: This part may be ignored when there is no any shelf | RU: This part may be ignored when there is no any shelf | Esta parte puede ignorarse cuando no hay estantes | AR: This part may be ignored when there is no any shelf | CH: This part may be ignored when there is no any shelf | OTHRT: This part may be ignored when there is no any shelf
Examples | Examples | FR: Examples | RU: Examples | Ejemplos | AR: Examples | CH: Examples | OTHRT: Examples
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Distance between racks | Distance between racks | FR: Distance between racks | RU: Distance between racks | Distancia entre los estantes | AR: Distance between racks | CH: Distance between racks | OTHRT: Distance between racks
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Width of a rack | Width of a rack | FR: Width of a rack | RU: Width of a rack | Ancho de un estante | AR: Width of a rack | CH: Width of a rack | OTHRT: Width of a rack
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Length of a rack | Length of a rack | FR: Length of a rack | RU: Length of a rack | Longitud de un estante | AR: Length of a rack | CH: Length of a rack | OTHRT: Length of a rack
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Number of racks = 4 | Number of racks = 4 | FR: Number of racks = 4 | RU: Number of racks = 4 | Número de estantes = 4 | AR: Number of racks = 4 | CH: Number of racks = 4 | OTHRT: Number of racks = 4
Number of racks = 5 | Number of racks = 5 | FR: Number of racks = 5 | RU: Number of racks = 5 | Número de estantes = 5 | AR: Number of racks = 5 | CH: Number of racks = 5 | OTHRT: Number of racks = 5
Shelves | Shelves | FR: Shelves | RU: Shelves | Estantes | AR: Shelves | CH: Shelves | OTHRT: Shelves
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Position | Position | FR: Position | RU: Position | Posición | AR: Position | CH: Position | OTHRT: Position
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Number of racks | Number of racks | FR: Number of racks | RU: Number of racks | Número de estantes | AR: Number of racks | CH: Number of racks | OTHRT: Number of racks
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Table 5. Shelves | Table 5. Shelves | FR: Table 5. Shelves | RU: Table 5. Shelves | Cuadro 5. Estantes | AR: Table 5. Shelves | CH: Table 5. Shelves | OTHRT: Table 5. Shelves
Number of shelves: | Number of shelves: | FR: Number of shelves: | RU: Number of shelves: | Número de estantes: | AR: Number of shelves: | CH: Number of shelves: | OTHRT: Number of shelves:
(Up to 6 shelves) | (Up to 6 shelves) | FR: (Up to 6 shelves) | RU: (Up to 6 shelves) | (Hasta 6 estantes) | AR: (Up to 6 shelves) | CH: (Up to 6 shelves) | OTHRT: (Up to 6 shelves)
Shelf 1 | Shelf 1 | FR: Shelf 1 | RU: Shelf 1 | Estante 1 | AR: Shelf 1 | CH: Shelf 1 | OTHRT: Shelf 1
Position | Position | FR: Position | RU: Position | Posición | AR: Position | CH: Position | OTHRT: Position
Front/Back/Right/left | Front/Back/Right/left | FR: Front/Back/Right/left | RU: Front/Back/Right/left | Frontal/Posterior/Derecha/Izquierda | AR: Front/Back/Right/left | CH: Front/Back/Right/left | OTHRT: Front/Back/Right/left
Shelf 2 | Shelf 2 | FR: Shelf 2 | RU: Shelf 2 | Estante 2 | AR: Shelf 2 | CH: Shelf 2 | OTHRT: Shelf 2
Shelf 3 | Shelf 3 | FR: Shelf 3 | RU: Shelf 3 | Estante 3 | AR: Shelf 3 | CH: Shelf 3 | OTHRT: Shelf 3
Shelf 4 | Shelf 4 | FR: Shelf 4 | RU: Shelf 4 | Estante 4 | AR: Shelf 4 | CH: Shelf 4 | OTHRT: Shelf 4
Shelf 5 | Shelf 5 | FR: Shelf 5 | RU: Shelf 5 | Estante 5 | AR: Shelf 5 | CH: Shelf 5 | OTHRT: Shelf 5
Shelf 6 | Shelf 6 | FR: Shelf 6 | RU: Shelf 6 | Estante 6 | AR: Shelf 6 | CH: Shelf 6 | OTHRT: Shelf 6
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
B4. Sensors | B4. Sensors | FR: B4. Sensors | RU: B4. Sensors | B4. Sensores | AR: B4. Sensors | CH: B4. Sensors | OTHRT: B4. Sensors
Distance from left wall | Distance from left wall | FR: Distance from left wall | RU: Distance from left wall | Distancia de la pared de la izquierda | AR: Distance from left wall | CH: Distance from left wall | OTHRT: Distance from left wall
0 |  | FR: | RU: | Distancia desde la pared izquierda | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Floor | Floor | FR: Floor | RU: Floor | Suelo | AR: Floor | CH: Floor | OTHRT: Floor
0 |  | FR: | RU: | Piso | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Table 6. Sensors | Table 6. Sensors | FR: Table 6. Sensors | RU: Table 6. Sensors | Cuadro 6. Sensores | AR: Table 6. Sensors | CH: Table 6. Sensors | OTHRT: Table 6. Sensors
Sensors | Sensors | FR: Sensors | RU: Sensors | Sensores | AR: Sensors | CH: Sensors | OTHRT: Sensors
Number of sensors: | Number of sensors: | FR: Number of sensors: | RU: Number of sensors: | Número de sensores …………………………………………… | AR: Number of sensors: | CH: Number of sensors: | OTHRT: Number of sensors:
Up to 8 optional sensors | Up to 8 optional sensors | FR: Up to 8 optional sensors | RU: Up to 8 optional sensors | Hasta 8 sensores opcionales | AR: Up to 8 optional sensors | CH: Up to 8 optional sensors | OTHRT: Up to 8 optional sensors
Sensor 13 | Sensor 13 | FR: Sensor 13 | RU: Sensor 13 | Sensor 13 | AR: Sensor 13 | CH: Sensor 13 | OTHRT: Sensor 13
Sensor 14 | Sensor 14 | FR: Sensor 14 | RU: Sensor 14 | Sensor 14 | AR: Sensor 14 | CH: Sensor 14 | OTHRT: Sensor 14
Sensor 15 | Sensor 15 | FR: Sensor 15 | RU: Sensor 15 | Sensor 15 | AR: Sensor 15 | CH: Sensor 15 | OTHRT: Sensor 15
0
0
0
Sensor 20 | Sensor 20 | FR: Sensor 20 | RU: Sensor 20 | Sensor 20 | AR: Sensor 20 | CH: Sensor 20 | OTHRT: Sensor 20
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Sensor 16 | Sensor 16 | FR: Sensor 16 | RU: Sensor 16 | Sensor 16 | AR: Sensor 16 | CH: Sensor 16 | OTHRT: Sensor 16
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Sensor 17 | Sensor 17 | FR: Sensor 17 | RU: Sensor 17 | Sensor 17 | AR: Sensor 17 | CH: Sensor 17 | OTHRT: Sensor 17
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0
Sensor 18 | Sensor 18 | FR: Sensor 18 | RU: Sensor 18 | Sensor 18 | AR: Sensor 18 | CH: Sensor 18 | OTHRT: Sensor 18
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
0 |  | FR: | RU: |  | AR: | CH: | OTHRT:
Sensor 19 | Sensor 19 | FR: Sensor 19 | RU: Sensor 19 | Sensor 19 | AR: Sensor 19 | CH: Sensor 19 | OTHRT: Sensor 19
0
0
0
Sensor 20 | Sensor 20 | FR: Sensor 20 | RU: Sensor 20 | Sensor 20 | AR: Sensor 20 | CH: Sensor 20 | OTHRT: Sensor 20
0
0
0
0
Notes: | Notes: | FR: Notes: | RU: Notes: | Notas: | AR: Notes: | CH: Notes: | OTHRT: Notes:
If the distance between racks are not equal, use average. | If the distance between racks are not equal, use average. | FR: If the distance between racks are not equal, use average. | RU: If the distance between racks are not equal, use average. | Si la distancia entre bastidores no son iguales, utilice la media. | AR: If the distance between racks are not equal, use average. | CH: If the distance between racks are not equal, use average. | OTHRT: If the distance between racks are not equal, use average.
Version | Version | FR: Version | RU: Version | Versión | AR: Version | CH: Version | OTHRT: Version
Sensor 21 | Sensor 21 | FR: Sensor 21 | RU: Sensor 21 |  | AR: Sensor 21 | CH: Sensor 21 | OTHRT: Sensor 21
Sensor 22 | Sensor 22 | FR: Sensor 22 | RU: Sensor 22 |  | AR: Sensor 22 | CH: Sensor 22 | OTHRT: Sensor 22
Sensor 23 | Sensor 23 | FR: Sensor 23 | RU: Sensor 23 |  | AR: Sensor 23 | CH: Sensor 23 | OTHRT: Sensor 23
Sensor 24 | Sensor 24 | FR: Sensor 24 | RU: Sensor 24 |  | AR: Sensor 24 | CH: Sensor 24 | OTHRT: Sensor 24
Sensor 25 | Sensor 25 | FR: Sensor 25 | RU: Sensor 25 |  | AR: Sensor 25 | CH: Sensor 25 | OTHRT: Sensor 25
Sensor 26 | Sensor 26 | FR: Sensor 26 | RU: Sensor 26 |  | AR: Sensor 26 | CH: Sensor 26 | OTHRT: Sensor 26
Sensor 27 | Sensor 27 | FR: Sensor 27 | RU: Sensor 27 |  | AR: Sensor 27 | CH: Sensor 27 | OTHRT: Sensor 27
Sensor 28 | Sensor 28 | FR: Sensor 28 | RU: Sensor 28 |  | AR: Sensor 28 | CH: Sensor 28 | OTHRT: Sensor 28
Sensor 29 | Sensor 29 | FR: Sensor 29 | RU: Sensor 29 |  | AR: Sensor 29 | CH: Sensor 29 | OTHRT: Sensor 29
Sensor 30 | Sensor 30 | FR: Sensor 30 | RU: Sensor 30 |  | AR: Sensor 30 | CH: Sensor 30 | OTHRT: Sensor 30
Sensor 31 | Sensor 31 | FR: Sensor 31 | RU: Sensor 31 |  | AR: Sensor 31 | CH: Sensor 31 | OTHRT: Sensor 31
Sensor 32 | Sensor 32 | FR: Sensor 32 | RU: Sensor 32 |  | AR: Sensor 32 | CH: Sensor 32 | OTHRT: Sensor 32
Sensor 33 | Sensor 33 | FR: Sensor 33 | RU: Sensor 33 |  | AR: Sensor 33 | CH: Sensor 33 | OTHRT: Sensor 33
Sensor 34 | Sensor 34 | FR: Sensor 34 | RU: Sensor 34 |  | AR: Sensor 34 | CH: Sensor 34 | OTHRT: Sensor 34
Sensor 35 | Sensor 35 | FR: Sensor 35 | RU: Sensor 35 |  | AR: Sensor 35 | CH: Sensor 35 | OTHRT: Sensor 35
Sensor 36 | Sensor 36 | FR: Sensor 36 | RU: Sensor 36 |  | AR: Sensor 36 | CH: Sensor 36 | OTHRT: Sensor 36
Sensor 37 | Sensor 37 | FR: Sensor 37 | RU: Sensor 37 |  | AR: Sensor 37 | CH: Sensor 37 | OTHRT: Sensor 37
Sensor 38 | Sensor 38 | FR: Sensor 38 | RU: Sensor 38 |  | AR: Sensor 38 | CH: Sensor 38 | OTHRT: Sensor 38
Sensor 39 | Sensor 39 | FR: Sensor 39 | RU: Sensor 39 |  | AR: Sensor 39 | CH: Sensor 39 | OTHRT: Sensor 39
Sensor 40 | Sensor 40 | FR: Sensor 40 | RU: Sensor 40 |  | AR: Sensor 40 | CH: Sensor 40 | OTHRT: Sensor 40
Notes: | Notes: | FR: Notes: | RU: Notes: |  | AR: Notes: | CH: Notes: | OTHRT: Notes: