# Recorded Data

This document must be reviewed in conjunction with:
🔹 Temperature Monitoring Study Application (TMS), Version 1 – D83PHT.
🔹 Formal Training Materials
🔹 Relevant Standard Operating Procedures (SOPs) for temperature monitoring studies.

This guide is a quick reference for TMS users and does not replace official training or protocol requirements.

You may receive the recorded data from the field in two ways:

- Temperature monitoring devices (physical devices) or

- Downloaded recorded data as a soft copy  (by email or on removable disk, etc.)

In the case receiving the temperature monitoring devices, download the recorded data in an Excel file.

Transfer the recorded data (date, time and temperature) by copy/ pasting to <RecordedData> sheet fro each route separately.

Make sure not to mix routes.

It is advisable to save the files after transferring the data of each route in some other directories, in case you need them later.

Once this action is successfully completed and the recorded data are pasted in the right columns in <RecordedData> sheet, you are ready for obtaining results.

Update: 07 September 2025

Supported by wVSSM and IGA Team - 2025©

For support contact: support@invgap.org

Users’ notes: ………………………