# Master Forms

This document must be reviewed in conjunction with:
🔹 Temperature Monitoring Study Application (TMS), Version 1 – D83PHT.
🔹 Formal Training Materials
🔹 Relevant Standard Operating Procedures (SOPs) for temperature monitoring studies.

This guide is a quick reference for the users of TMS tool and does not replace official training or protocol requirements.

This worksheet (MasterFormsA) is totally protected. The forms are developed automatically from the data entered in <Settings> sheet.  If you desire to change anything in the forms, you should refer to <Settings> sheet. The only option in this sheet is for selecting the route number from cell E1 (drop-down menu).

Step 1: Select route number 1 from cell E1

Step 2: Print all 10 or lower number of forms  – The number of forms depends on the number of the supply chain levels specified for each route in <Settings> sheet cell F2.

  - Each form has a specific color related to the route number (column S) and

  - Each route also has a unique color refers to the form number (column T)

Users cannot change the color codes.

Each form must be color printed on a single A4 paper.   Since all routes and forms are color coded, it essential to color print the form.

Consider printing some brief instructions on the back of the forms.  This will help the field staff to perform their task in a more efficient way and reduces errors. See suggestions provided for printing on the back of the forms.

Step 3: Insert appropriate number of forms specific to each route in the corresponding  container– Check the route’s color code; ensuring:

  - The number of forms matches the supply chain levels for the route.

  - No forms from other routes are mixed in (double-check colors).

Check:

- Verify route color before inserting forms.

- Count the forms to ensure the correct quantity (as per <Settings> cell F2)

- Keep forms separated by route—especially important if handling multiple routes (e.g., seven routes).

Suggested items to be printed on the back of the forms

Print:

- a picture showing VVM stages

- the image of the temperature monitoring devices (sensors)

- a checklist how to complete the forms

- a flow chart to show where the shipment is coming from and is going to

- some useful warnings to the field staff such as “Do not touch the sensors!”, etc.

A sample of what to be printed on the back of the forms

| 1 | Inspect the content of the box. | Done |
| --- | --- | --- |
| 2 | Once your inspection of the content of the box is completed and you see no discrepancies, tick the boxes in yellow background. | Done |
| 3 | Write the date and the time you received the box | Done |
| 4 | Check the status of the VVM’s on the vial(s) of vaccines and tick the corresponding stages of VVMs (1 to 4) | Done |
| 5 | Fill the other fields on this form | Done |
| 6 | Store the box with the other vaccines. Beware that the box if contents penta vaccine that is highly sensitive to sub-zero temperatures. Therefore, it should not be stored in freezers and/or freezer rooms. | Done |
| 7 | Write your name, your position and your telephone number, and sign the form in the corresponding boxes. | Done |
| 8 | Take a photo of the completed form (use your mobile phone) and immediately send the photo of the form to the WhatsApp group “Temperature Mapping and Monitoring in Vaccine Supply Chain”. | Done |
| 9 | Keep the box with vaccines in your store for not more than 30 days, and dispatch the box with the first shipment to the designated and specified District Vaccine Store. | Done |

A sample of a checklist to be printed on the back of the forms

VVM stages                                           Image of samples of the temperature monitoring devices (sensors)

Note on VVM stages:

While the four-stage VVM classification is no longer used for field decision making and it has been replaced by a simpler binary "Use" or "Do Not Use", the four stages remain critical for temperature monitoring studies. The progressive color change allows investigators to qualitatively analyze heat exposure across different segments of the cold chain. By identifying the specific stage of change, they can pinpoint, to a large extent, where and when (the location and the time) a temperature excursion occurred.

Temperature monitoring devices (sensors)

Any accurate temperature monitoring device (sensor) can be used for these studies.  Try to use WHO tested and approved devices.  Configure the devices to measure and record temperatures in an interval of 30 minutes.

Update: 07 September 2025

Supported by wVSSM and IGA Team - 2025©

For support contact: support@invgap.org

Users’ notes: ……………………………………………….