## Slide 1
Module 4
IPV vaccine administration
Training for Inactivated Poliovirus Vaccine (IPV) introduction

## Slide 2
Learning objectives
At the end of the module, the participant will be able to:
  Identify the necessary steps to assure good vaccine quality
  Describe the method to administer the vaccine
Duration
  30 minutes

## Slide 3
How do I check vaccine quality?
1
How do I prepare for vaccination?
2
How do I administer IPV at the same time as other routine immunizations?
4
Key issues
How do I administer the vaccine?
3
Notes: To the facilitator:
Explain to the participants the key issues raised in this module.
You have children to vaccinate, what are you going to do first?
We will provide you with answers to the following questions:
How to check the quality of the vaccine?
How to prepare for vaccination?
How to administer the vaccine?
What to do adminster IPV at the same time as other routine immunizations?

## Slide 4
IPV loses potency when exposed to heat or when frozen
  Store at +2°C to +8°C
IPV is freeze sensitive
  Unlike OPV, which can be frozen
  The “shake test” is ineffective in determining whether IPV has been frozen
  If you suspect that IPV may have been frozen, the vial must be discarded
Do not use if vaccine has a cloudy appearance
Check the VVM and the expiration date (see next 2 slides)
IPV is heat and freeze sensitive
Freezing KILLS vaccines! Except OPV, Vaccines that have been frozen are ineffective
Aim for 4⁰-5⁰C
Warming vaccines shortens shelf life
Notes: To the facilitator:
Explain to the participants at which temperature the vaccine should be stored.
Handling vaccines requires great care. Some vaccines are sensitive to heat and some to freezing.
Careful storage and transport conditions are needed to protect vaccines from becoming ineffective and unusable.
IPV is heat sensitive. Inactivated poliovirus vaccine must be transported and stored at +2°C to +8°C.
IPV is also freeze sensitive (unlike OPV which can be frozen). It is important to ensure that the vaccine is not frozen.
If vaccines are frozen, they lose their potency and they would not provide adequate protection against the disease.
The “shake test” is ineffective in determining whether IPV has been frozen. If there is doubt or suspicion that IPV was frozen, the vial must be discarded.
Do not use if it has a cloudy appearance.
Do not use after the expiry date listed on the package.
4

## Slide 5: Checking the Vaccine Vial Monitor (VVM)
IPV vial has a VVM on the vial cap
The VVM registers cumulative heat exposure, and changes from light to dark
Check the VVM on each vaccine vial
If inside square is the same color, or darker than the circle (stage 3 or 4), do not use the vaccine
Stage 1: Vaccine OK
Stage 2: Vaccine OK but use first
Stage 3: Do not use the vaccine
Stage 4: Do not use the vaccine
Notes: To the facilitator:
Explain to the participants how to check and interpret the Vaccine Vial Monitor (VVM).
The vaccine vial monitor (VVM) is a round disc of heat-sensitive material placed on a vaccine vial to register cumulative heat exposure.
The inner square is chemically active and changes color irreversibly from light to dark with exposed to heat over time.
By comparing the color of the inner square to the reference color, a health worker can determine whether or not the vaccine has been exposed to heat.
Thanks to the VVM, important decisions about which vaccines to use or to discard are now clear. If the inner square matches or is darker then the outer ring, discard the vaccine.
5

## Slide 6
IPV has increased susceptibility to heat than many existing heat sensitive vaccines
VVM on IPV may change color faster than other vaccines
Proper temperature monitoring and stock management is required to avoid wasting IPV vials with VVM reaching the discard point
While the “earliest expiry, first out” principal usually applies in vaccine stock management, the status of a VVM overrules this, whereby any batch showing a darker VVM should be used sooner, regardless of a later expiry date
IPV has high heat sensitivity
Notes: To the facilitator:
Explain to the participants at which temperature the vaccine should be stored.
Handling vaccines requires great care. Careful storage and transport conditions are needed to protect vaccines from becoming ineffective and unusable.
IPV is heat sensitive. Inactivated poliovirus vaccine must be transported and stored at +2°C to +8°C. IPV has increased susceptibility to heat than some other heat sensitive vaccines therefore VVM on IPV may change color faster than other vaccines
It is important to monitor refrigerator temperature regularly and Check VVM status, use first vials with VVM that have started to change color
Proper stock management and temperature monitoring is required to avoid wasting IPV vials with VVM reaching the discard point.
While the “earliest expiry, first out” principal usually applies in vaccine stock management, the status of a VVM overrules this, whereby any batch showing a darker VVM should be used sooner, regardless of a later expiry date
6

## Slide 7
Checking the expiration date
Vaccine loses potency over time
VVM provides information about storage conditions, but not about potency
VVM may be OK, but vaccine may be expired
Before administering any vaccine, always check the expiration date
Expiration date: 02NOV14
Use through November 2, 2014
Do NOT use on or after November 3, 2014
Notes: To the facilitator:
Explain to the participants how and where to check the expiration date.
It is important to understand that VVM does not provide information about vaccine potency.
The VVM may be ok (which means the inner square is lighter than the outer circle), but the vaccine may be beyond the expiration date.
So always check the expiration date on the vaccine vial before using it.
The expiration date is mentioned clearly on the cap.
7

## Slide 8
Give IPV at or after age 14 weeks, usually with OPV3 and DTP3/Penta 3
Give one dose of IPV, together with OPV
Both vaccines together provide the strongest polio immunity
IPV may be given with other injectable vaccines
At what age should IPV be administered?
Vaccine | Birth | 6 wks | 10 wks | 14 wks
BCG |  |  |  | 
Pentavalent |  |  |  | 
PCV |  |  |  | 
Rotavirus* |  |  |  | 
OPV |  |  |  | 
IPV |  |  |  | 
Example EPI schedule using DTP-Hib-Hep B (Pentavalent), pneumococcal conjugate (PCV) and rotavirus vaccines
IPV should be given at 14 weeks, or at the first contact after 14 weeks
+
*rotavirus vaccine may be 2 or 3 doses, depending upon the vaccine used
Notes: To the facilitator:
Explain to the participants the IPV schedule – age at administration
IPV is given in addition to OPV. Both vaccines together provide the strongest immunity necessary for polio until polio is eradicated.
IPV should be administered at or after 14 weeks of age, the same time as DTP3
8

## Slide 9
How to prepare for vaccination
Never mix IPV with other vaccines in the same vial or syringe
Prepare IPV at the same time you prepare other vaccines
IPV can be administered with any of the following routine childhood vaccines without interfering with their effectiveness:
    Diphtheria–tetanus–pertussis vaccine (DTP)/pentavalent vaccine
    Haemophilus influenzae type b vaccine (Hib)
    Pneumococcal vaccine
    Oral polio vaccine (OPV)
    Rotavirus vaccine
Notes: To the facilitator:
Explain to the participants, how to prepare the vaccine.
Prepare IPV at the same time you prepare pentavalent and other vaccines that may be given at the same time (PCV, OPV, Rota, etc)
Note:
  IPV should never be mixed with other vaccines in the same vial or syringe
IPV is given just like other intramuscular injections
9

## Slide 10: Sequence and injection site for IPV
Give oral vaccines first
When giving IPV with Penta and PCV:
  Give IPV and PCV in one thigh, separated by at least 2.5 cm
  Give Pentavalent in the other thigh because it can cause more swelling and redness
Step 1: OPV
Step 2: IPV
(right thigh)
Step 3: PCV
(right thigh separated by 2.5 cm)
Step 4: Penta
(left thigh)
Notes: To the facilitator:
Explain to the participants that rotavirus vaccines can be given with routine childhood vaccines.
IPV can be given with any of the following routine childhood vaccines without interfering with their effectiveness, during the same visit.
• Diphtheria–tetanus–pertussis vaccine (DTP)
• Haemophilus influenzae type b vaccine (Hib)
• Pneumococcal vaccine
Oral polio vaccine
Rotavirus vaccine
Give the OPV vaccine first, then administer other injectable childhood vaccines. As a general rule its better to give oral vaccines first when the child is still calm and then give injectable vaccines.
When giving Penta and PCV:
  give IPV and PCV in one thigh with injection sites separated by at least 2.5 centimeters
  Give Pentavalent in the other thigh because Penta is more reactogenic – causes more redness and swelling
10

## Slide 11
The child should be held in a upright position by the caregiver
The caregiver should hold the child’s arms and legs very firmly
The vaccine is injected into the thigh muscle at a 90⁰ angle by the health care provider
How to position the child for IPV vaccination
Notes: To the facilitator:
Explain to the participants how to position the child before administering the vaccine.
The child should be held in a upright position by the caregiver
  The caregiver should hold the arms and legs very firmly
The vaccine is injected into the thigh muscle at a 90°angle
11

## Slide 12
How to administer IPV
Location
  IPV is administered as a 0.5 ml dose into the muscle in the outer part of the thigh
Procedure
  Wash your hands well for 15 seconds
  Hold the muscle firmly between your thumb and index finger
  Hold the syringe like a pencil
  Quickly insert the needle through the skin at a 90-degree angle
  Depress the plunger
Notes: To the facilitator:
Explain to the participants, how to administer the vaccine.
IPV is administered in a dose of 0.5 ml into the outer part of the thigh
  Wash your hands well for 15 seconds.
  Hold the muscle firmly between your thumb and index finger
  Hold the syringe like a pencil. Quickly insert the needle through the skin at a 90-degree angle
12

## Slide 13: Multi-dose vials of IPV
  DISCARD opened multi-dose vial at the end of vaccination session or after 6 hours, whichever comes first
  Do not return opened vial to fridge
Preservatives in multi-dose vials of IPV do not meet WHO requirements to preserve the vaccine for 28 days
If using a 10-dose vial:
6 hours
OR
end of session
Notes: To the facilitator:
Explain to the participants how to deal with multi-dose vials of IPV after they are opened.
The WHO prequalified presentations of stand-alone IPV are unpreserved or preserved with 2 phenoxy-ethanol, which does not pass WHO requirements to effectively preserve the vaccine for 28 days.
Therefore, for all current prequalified IPV presentations, opened vials must be discarded at the end of the immunization session or 6 hours after opening, whichever comes first.

## Slide 14: Factors associated with vaccine wastage
Unavoidable
  Requirement to discard opened multi-dose vials at end of immunization session or within 6 hours after opening, whichever comes first
Avoidable
  Poor stock management
    Over-supply
    Vaccine reaches expiry before use (recall the EEFO principle)
    Lost, broken, stolen vials
  Cold chain failure
    Loss of potency (high temperatures)
    Inactivated vaccine (freezing)
  Poor vaccination technique
    Administration of more than recommended 0.5 ml for each injection
Notes: To the facilitator:
Explain to the participants unavoidable and avoidable forms of vaccine wastage
Unavoidable wastage factor:
  As discussed in previous section, multidose vials of this vaccine must be discarded at the end of the immunization session or within 6 hours after opening, whichever comes first.
Avoidable wastage factors:
  Poor stock management can result in over-supply and vaccine reaching expiry before use (recall the EEFO (Earliest Expiry First Out) principle)
  Exposure to unacceptably high or low temperatures due to cold chain failure
  Administration of excess vaccine dosage beyond the recommended 0.5 mL for each IPV injection
  Lost, broken, or stolen vials

## Slide 15
Multi-dose vials of IPV may have high wastage rates
Wastage rates will vary by facility, and should be monitored
Do not let concerns about unavoidable wastage related to discarding unused opened vials stop you from offering vaccine to a child
High wastage rates for multi-dose vials of IPV are anticipated and accounted for in predicting demand
Concerns about wastage should not stop you from vaccinating a child
Notes: To the facilitator:
Explain to the participants implications about wastage due to multidose vials.
Multidose vials of IPV may have high wastage rates.
Wastage rates will vary by facility
Concerns about unavoidable wastage related to discarding unused opened vials should not stop you from offering vaccine to a child
High wastage rates for multidose vials of IPV are anticipated and accounted for in predicting demand. Wastage rates should be monitored carefully.
15

## Slide 16
After vaccination?
After injection, insert syringe into a safety box
When safety box is full, close tab to ensure box is closed
Dispose of safety box appropriately (incineration, burning, burial)
Notes: To the facilitator:
Explain to the participants how to discard injection syringes.
After injection, insert syringe into a safety box
When safety box is full, close tab to ensure box is closed
Dispose of safety box appropriately (incineration, burning, burial)
16

## Slide 17
What are some ways to reduce pain when giving an injection?
What should you do in this scenario?
Notes: To the facilitator:
Response:
    Have the child sit up to receive injections or have a caregiver or provider hold an infant during the vaccinations;
    Stroke the skin or apply pressure close to the injection site before and during injection;
    Inject the least painful vaccine first when two vaccines are being administered sequentially during a single office visit; and
    Perform a rapid intramuscular injection without aspiration.
17

## Slide 18
The child is 14 weeks old.
You give him/her OPV, Rota, IPV, PCV and pentavalent vaccines.
In which order should you give the vaccines?
What should you do in this scenario?
Notes: To the facilitator:
Read the situation and question to the participants.
This question will test if participants understand in what order to administer the vaccine.
Response:
Vaccines should be given in the following order:
OPV and Rota should be given first, it is best to give oral vaccines while the child is still calm, before giving injectable vaccines.
PCV and IPV should be given in the same thigh separated by 2.5 cm.
Pentavalent can be given in the other thigh.
18

## Slide 19: Key messages
Check and interpret VVM and expiration date on the vaccine vial before giving the vaccine
IPV is prepared and administered similarly to other intramuscular injections
  Prepare and dispose of IPV as you do other injectable vaccines
Have the caregiver comfortably hold the child upright while inserting the needle into the thigh muscle at a 90⁰ angle
Give OPV first, then administer other injectable vaccines: IPV and PCV in one thigh at least 2.5 cm apart and Pentavalent in the other thigh
Notes: To the facilitator:
Explain to the participants that this is the main information to keep in mind.
Check and interpret vaccine vial monitor and check expiration date on the vaccine vial before giving the vaccine
IPV is prepared and administered similarly to other intramuscular injections
  Take the same amount of IPV as Pentavalent vaccines when doing outreach
  Prepare and dispose of IPV as you do other injectable vaccines
Have the caregiver comfortably hold the child upright while inserting the needle into the thigh muscle at a 90°angle
Give the OPV first, then administer other injectable vaccines, IPV and PCV in one thigh, atleast 2.5 cm apart and Pentavalent in the other thigh
19

## Slide 20: End of module
Thank you
for your attention!
Notes: To the facilitator: