## Cover sheet
Biomedical equipment for COVID-19 case management Inventory tool for facility readiness and equipment re-allocation
Harmonized modules for health facility assessment in the context of the COVID-19 pandemic
Interim guidance June 2020
TAB 1: INTRODUCTION AND INSTRUCTIONS
TAB 2: ASSESSMENT TEMPLATE
SECTION I: FACILITY IDENTIFICATION
SECTION II: FACILITY READINESS CHARACTERISTICS FOR OXYGEN SUPPLY SYSTEMS
SECTION IIIa: VITAL SIGN MONITORING DEVICES
SECTION IIIb: PULSE OXIMETERS
SECTION IV: OXYGEN CONCENTRATORS
SECTION V: OXYGEN CYLINDERS
SECTION VI: CYLINDER ASSEMBLY UNITS
SECTION VII: FLOWMETER, THORPE TUBE
SECTION VIII: FLOW-SPLITTER
SECTION IX: OXYGEN DELIVERY INTERFACE
SECTION X: BiPAP & CPAP MACHINES
SECTION XI: HIGH-FLOW NASAL CANNULA (HFNC)
SECTION XII: RESUSCITATION BAGS AND MASKS
SECTION XIII: SUCTION DEVICES
SECTION XIV: LARYNGOSCOPE
SECTION XIIV: INTUBATION SETS
SECTION XVI: AIRWAYS
SECTION XVII: PATIENT VENTILATOR
SECTION XVIII: AUTOCLAVE / STERILIZER
SECTION XIX: OXYGEN TERMINAL BEDSIDE WALL UNITS
SECTION XX: OXYGEN CYLINDER MANIFOLD
SECTION XXI: BULK LIQUID OXYGEN TANK
SECTION XXII: ON-SITE OXYGEN PLANT (PSA)
© World Health Organization 2020. Some rights reserved. This work is available under the CC BY-NC-SA 3.0 IGO licence.
WHO reference number: WHO/2019-nCov/biomedical_equipment_inventory_tool/2020.1

## 1-Introduction
Biomedical Equipment for COVID-19 Case Management
Interim guidance
Inventory tool for facility readiness and equipment re-allocation
2020-06-01
Introduction
Oxygen is an essential medicine for COVID-19, it is therefore very important to assess availability of different sources of oxygen, as well as the delivery and supply systems to the patient, in order to prioritize, reallocate and compare with calculated numbers to define the needs. As of April 4, 2020, global supply-chain issues remain extremely disrupted as a result of the COVID-19 pandemic. It is strongly recommended that Ministries of Health leverage existing supplies and resources, where possible, in order to enable an immediate response.
This is the first edition of guidance on conducting a rapid inventory assessment to determine readiness of a health facility, as well as capacity to re-allocate biomedical equipment, for COVID-19 case management. This tool will comprise a survey (paper or digital) along with a a set of product/device showcards. This tool is to be used in-line with WHO’s emergency disease commodities package (DCP) for COVID-19 [1], the WHO Priority List of medical devices for COVID, as well as Technical specifications for oxygen delivery systems[2], Resuscitation devices [3] and Oxygen concentrators[4]. This tool is intended for health facility administrators, clinical decision-makers, procurement officers, planning officers, biomedical engineers, or infrastructure engineers to identify readily available biomedical equipment for immediate use and/or re-allocation.
Please note that WHO will update these recommendations as new evidence and information becomes available.
Instructions
The tool has been developed to facilitate a rapid assessment of facility readiness and existing device availability to accelerate decision making with response-plan roll-out. It will be available for use in paper format at this time.
1. Paper format
A word document follows this introduction sheet, which requires customization of a few fields prior to printing and completing by hand. An excel file is to be used as part of this package to help support with data “roll-up” or help to aggregate findings from paper surveys after data entry. Another component of carrying out this survey are “showcards”, which are images to help help data collectors by facilitating correct identification of equipment under assessment that is appropriate for use for COVID-19 case management.
2. SurveyCTO
An electronic data collection software is also available for use on smartphone and tablet (Android or iOS) using an application (“app”). Data is captured digitally, even when offline, and then pushed to a central server when networks become available. As data is already digitized, it can be immediately analyzed and reported using any data collection software (e.g. Excel, SPSS, Stata, R, etc.).
Information capture, as well as approach for collection, should be the same regardless of format by which inventory is taken. What is most important is that the format used is the most appropriate given the context and what can be most easily used by loc
Information capture, as well as approach for collection, should be the same regardless of format by which inventory is taken. What is most important is that the format used is the most appropriate given the context and what can be most easily used by local response teams. Data collectors using the surveys can be assisted by a set of show-cards, part of this package, to best support the correct identification of equipment being assessed.
Acknowledgements
The inventory tool survey has been adapted from baseline survey tools developed and used by multiple partners across various countries globally. This package was developed in consultation with the WHO Operations Support and Logistics Unit, and WHO Medical Devices and In Vitro Diagnostics Technical Unit. WHO thanks those who have been involved in its adaptation to support the current COVID-19 response.
References
1 | World Health Organisation, Disease commodity package - Novel Coronavirus (COVID-19). 2020.
2 | World Health Organization - UNICEF, Technical specifications and guidance for oxygen therapy devices. 2019: p. 164.
3 | World Health Organisation, WHO Technical Specifications of Neonatal Resuscitation Devices. 2016.
4 | World Health Organization, Technical specifications for oxygen concentrators. 2015.
INSTRUCTIONS TO DOWNLOAD AND CONFIGURE SURVEYCTO APP ON SMARTPHONE OR TABLET (ANDROID OR IOS)
Go to your AppStore or Google Play Store and download the SurveyCTO Collect app. Once installed, open the app, click on the options button at the top-right corner (3 vertical dots), click on General Settings, and enter the following:
Server Name: o2therapy
Username: as provided by your WHO Country Office
Password: as provided by your WHO Country Office
Click on Back to return to the Main Menu. Click on Get Blank Form, select WHO COVID Oxygen Therapy SurveyCTO, and click Get selected. You should be taken back to the Main Menu once the download is complete. Click on Fill Blank Form and select WHO COVID Oxygen Therapy SurveyCTO.
WHO continues to monitor the situation closely for any changes that may affect this interim guidance. Should any factors change, WHO will issue a further update. Otherwise, this interim guidance document will expire 2 years after the date of publication.
© World Health Organization 2020. Some rights reserved. This work is available under the CC BY-NC-SA 3.0 IGO licence.
WHO reference number: WHO/2019-nCov/biomedical_equipment_inventory_tool/2020.1

## 2-Assessment template
I | Section I | [20 empty] | II | SECTION II: | [58 empty] | IIIa | SECTION IIIa | [11 empty] | IIIb | SECTION IIIb | [13 empty] | IV | SECTION IV | [17 empty] | V | SECTION V | [11 empty] | VI | SECTION VI: |  |  |  | VII | SECTION VII: | [9 empty] | VIII | SECTION VIII: | [10 empty] | IX | SECTION IX: | [9 empty] | X | SECTION X: | [5 empty] | XI | SECTION XI |  | XII | SECTION XII |  |  | XII | SECTION XIII | [13 empty] | XIV | SECTION XIV |  | XV | SECTION XV | [5 empty] | XVI | SECTION XVI |  |  |  | XVII | SECTION XVII | [13 empty] | XVIII | SECTION XVIII | [7 empty] | XIX | SECTION XIX | [17 empty] | XX | SECTION XX | [13 empty] | XXI | SECTION XXI |  |  |  |  | XXII | SECTION XXII
| Facility IDENTIFICATION | [21 empty] | FACILITY readiness CHARACTERISTICS for oxygen supply systems | [59 empty] | VITAL SIGN MONITORING DEVICES | [12 empty] | PULSE OXIMETERS | [14 empty] | OXYGEN CONCENTRATORS | [18 empty] | OXYGEN CYLINDERS | [12 empty] | CYLINDER ASSEMBLY UNITS |  |  |  |  | FLOWMETER, THORPE TUBE | [10 empty] | FLOW-SPLITTER | [11 empty] | OXYGEN DELIVERY INTERFACE | [10 empty] | BiPAP & CPAP MACHINES | [6 empty] | HIGH-FLOW NASAL CANNULA (HFNC) |  |  | RESUSCITATION BAGS AND MASKS |  |  |  | SUCTION DEVICES | [14 empty] | LARYNGOSCOPE |  |  | INTUBATION SETS | [6 empty] | AIRWAYS |  |  |  |  | PATIENT VENTILATOR | [14 empty] | AUTOCLAVE / STERILIZER | [8 empty] | OXYGEN TERMINAL BEDSIDE WALL UNITS | [18 empty] | OXYGEN CYLINDER MANIFOLD | [14 empty] | BULK LIQUID OXYGEN TANK | [5 empty] | ON-SITE OXYGEN PLANT (PSA)
| COUNTRY | PROVINCE / REGION NAME | PROVINCE / REGION CODE | DISTRICT / COUNTY NAME | DISTRICT / COUNTY CODE | TOWN / CITY | FACILITY ADDRESS | FACILITY NAME | FACILITY CODE | TYPE OF GEOGRAPHICAL AREA | FACILITY TYPE |  | MANAGING AUTHORITY |  | NAME OF MANAGER OF FACILITY | PHONE NUMBER OF MANAGER OF FACILITY | EMAIL ADDRESS OF MANAGER OF FACILITY | NAME OF DATA COLLECTOR | PHONE NUMBER OF DATA COLLECTOR | DATA COLLECTOR'S EMAIL ADDRESS | DATA COLLECTOR'S POSITION / ROLE |  | WHAT IS THE TOTAL BED CAPACITY IN THIS FACILITY? | OF THE TOTAL BEDS, HOW MANY CAN BE USED FOR INTENSIVE CARE? | DOES THE FACILITY HAVE ACCESS TO RUNNING WATER? | DOES THE FACILITY HAVE A WALL PIPE NETWORK OF MEDICAL GASES? | WHAT IS THE SOURCE OF ELECTRICITY FOR THIS FACILITY? | Other (specify) | IF ‘POWER GENERATOR’ OR ‘BOTH’ SELECTED ABOVE: HOW MANY GENERATORS ARE AVAILABLE AT THE FACILITY? | IF ELECTRICAL GENERATOR(S) AT THE FACILITY, PLEASE COMPLETE THE FOLLOWING DETAILS GENERATOR #1 |  |  |  | IF ELECTRICAL GENERATOR(S) AT THE FACILITY, PLEASE COMPLETE THE FOLLOWING DETAILS GENERATOR #2 |  |  |  | IF ELECTRICAL GENERATOR(S) AT THE FACILITY, PLEASE COMPLETE THE FOLLOWING DETAILS GENERATOR #3 |  |  |  | IF ELECTRICAL GENERATOR(S) AT THE FACILITY, PLEASE COMPLETE THE FOLLOWING DETAILS GENERATOR #4 |  |  |  | IF ELECTRICAL GENERATOR(S) AT THE FACILITY, PLEASE COMPLETE THE FOLLOWING DETAILS GENERATOR #5 |  |  |  | IF ELECTRICAL GENERATOR(S) AT THE FACILITY, PLEASE COMPLETE THE FOLLOWING DETAILS GENERATOR #6 |  |  |  | IF ELECTRICAL GENERATOR(S) AT THE FACILITY, PLEASE COMPLETE THE FOLLOWING DETAILS GENERATOR #7 |  |  |  | IF ELECTRICAL GENERATOR(S) AT THE FACILITY, PLEASE COMPLETE THE FOLLOWING DETAILS GENERATOR #8 |  |  |  | IF ELECTRICAL GENERATOR(S) AT THE FACILITY, PLEASE COMPLETE THE FOLLOWING DETAILS GENERATOR #9 |  |  |  | PLEASE LIST ALL WARDS THAT HAVE DEPENDABLE VOLTAGE STABILIZATION; DOUBLE CONVERSION UNINTERRUPTIBLE POWER SUPPLY | [6 empty] | DOES FACILITY HAVE ANY EMERGENCY TRANSPORT VEHICLE OR AMBULANCES? | If yes, how many? |  | IS THERE A STAFF AT YOUR FACILITY DEDICATED TO THE MANAGEMENT, INSTALLATION AND MAINTENANCE OF MEDICAL EQUIPMENT? | If yes, what is their contact information: |  | IS THERE A CLINICAL STAFF AT YOUR FACILITY THAT HAS EXPERIENCE IN INVASIVE MECHANICAL VENTILATION / INTUBATION? | If yes, what is their contact information: |  |  | Instructions: Count the number of patient vital sign monitoring devices at the facility by functionality and type. | [12 empty] | Instructions: Count the number of pulse oximeters at the facility by functionality and type. | [14 empty] | Instructions: For each concentrator maximum capacity, count the number of functioning and non-functioning concentrators at the facility. If you have an analyser, test the purity of the output after running device for >5 minutes. When counting functional concentrators, output must be equal to or greater than 82%. | [18 empty] | Instructions: For each cylinder size and connection type, count the number of cylinders available at the facility. | [9 empty] | WHAT IS THE AVERAGE NUMBER OF OXYGEN CYLINDERS CONSUMED PER WEEK? | WHAT IS THE TOTAL COST OF CYLINDERS/WEEK? |  | Instructions: Count the number of cylinder assembly units at the facility by functionality and connection type. A cylinder assembly unit is a pressure regulator and gauge. |  |  |  |  | Instructions: Count the number of flowmeters at the facility by maximum flow rate and functionality. | [10 empty] | Instructions: Count the number of functional flow-splitters at the facility by number of outlets, maximum flow rate, and functionality. | [11 empty] | Instructions: Count the number of type of oxygen delivery interface, by age category, available at the facility. | [10 empty] | Instructions: Count the number of BiPAP machines at the facility by size and functionality. | [6 empty] | Instructions: Count the number of type of high-flow nasal cannula (HFNC) oxygen delivery interface, by age category, available at the facility. |  |  | Instructions: Count the number of complete resuscitation bag and mask units at the facility by size. |  |  |  | Instructions: Count the number of complete suction devices at the facility by type. | [14 empty] | Instructions: Count the number of laryngoscopes at the facility (regardless of type). |  |  | Instructions: Count the number of components of intubation sets at the facility by type. | [11 empty] | Instructions: Count the number of functional patient ventilators at the facility by type. | [14 empty] | Instructions: Count the number of autoclave and sterilizer equipment at the facility. | [8 empty] | Instructions: Count the number of oxygen terminal bedside wall units/departments at the facility in all wards whose pressure is between 345 – 425 kPa (50-60 psi) | [18 empty] | Instructions: Count the number of oxygen cylinder manifolds at the facility by size (e.g. number of cylinders that it can fit) and switching mechanism (e.g. manual or automatic). | [14 empty] | DOES THE FACILITY HAVE A BULK LIQUID OXYGEN TANK? | WHAT IS THE TANK CAPACITY IN M3? IF OTHER UNIT, PLEASE INDICATE. | WHAT IS THE REFILL FREQUENCY? | SPECIFY IF OTHER REFILL FREQUENCY | HOW MUCH, PRICE PER M3? |  | DOES THIS FACILITY HAVE A PRESSURE SWING ABSORPTION (PSA) OXYGEN PLANT? | WHAT IS THE MANUFACTURER AND MODEL OF THE PLANT? | WHAT IS THE MAXIMUM PRODUCTION CAPACITY OF THIS PLANT IN CUBIC METERS PER HOUR? (Change units if not familiar) | WHAT IS THE AVERAGE OXYGEN CONSUMPTION PER MONTH IN CUBIC METERS PER MONTH? (Change units if not familiar) | IS THE OXYGEN PLANT FUNCTIONAL AND OPERATIONAL? | IS THE OXYGEN PLANT OPERATING FOR 24 HOURS A DAY? | WHAT IS THE PERCENT CONCENTRATION OF OXYGEN BEING PRODUCED BY THE PLANT? | IS THE OXYGEN PLANT CONNECTED TO A BACK-UP SOURCE OF ELECTRICITY, SUCH AS A FUEL GENERATOR? | IS THE BACK-UP SOURCE OF ELECTRICITY DEDICATED TO THE OXYGEN PLANT? | IS THERE A SURGE SUPPRESSOR FOR THE OXYGEN PLANT? | IS THERE A VOLTAGE STABILIZER FOR THE OXYGEN PLANT? | DOES THE OXYGEN PLANT HAVE A FILLING RAMP OR MANIFOLD FOR FILLING CYLINDERS? | HOW MANY CYLINDER CONNECTIONS OF THE FOLLOWING TYPE ARE ON THE RAMP/MANIFOLD? |  | TO WHAT PRESSURE DO YOU FILL THE CYLINDERS? |  |  | plant15 - concatenated for data import DO NOT CHANGE OR ENTER DATA | APPROXIMATELY, HOW MANY CYLINDERS DID THE OXYGEN PLANT FILL IN THE LAST MONTH? | [6 empty] | IS THERE DIRECT PIPING FROM THE OXYGEN PLANT TO OTHER WARDS/DEPARTMENTS WITHIN THIS FACILITY?
[11 empty] | FACILITY TYPE | Other, please specify | MANAGING AUTHORITY | Other, please specify | [68 empty] | TYPE |  |  |  | IF NON-FUNCTIONAL FOR ANY TYPE IS >0, PLEASE INDICATE THE REASON(S) THE DEVICES ARE NON FUNCTIONAL | [6 empty] | OTHERS (PLEASE SPECIFY) |  | TYPE | [5 empty] | IF NON-FUNCTIONAL FOR ANY TYPE IS >0, PLEASE INDICATE THE REASON(S) THE DEVICES ARE NON FUNCTIONAL | [6 empty] | OTHERS (PLEASE SPECIFY) |  | MAXIMUM FLOW RATE CAPACITY | [9 empty] | IF NON-FUNCTIONAL FOR ANY TYPE IS >0, PLEASE INDICATE THE REASON(S) THE DEVICES ARE NON FUNCTIONAL | [6 empty] | OTHERS (PLEASE SPECIFY) |  | CYLINDER SIZE | [17 empty] | MAXIMUM FLOW RATE CAPACITY | [22 empty] | TYPE | [10 empty] | SIZE | [6 empty] | SIZE |  |  | SIZE |  |  |  | SIZE | [5 empty] | IF NON-FUNCTIONAL FOR ANY TYPE IS >0, PLEASE INDICATE THE REASON(S) THE DEVICES ARE NON FUNCTIONAL | [6 empty] | OTHERS (PLEASE SPECIFY) |  | TYPE |  |  | COMPONENT | [6 empty] | Component |  |  |  |  | TYPE | [5 empty] | IF NON-FUNCTIONAL FOR ANY TYPE IS >0, PLEASE INDICATE THE REASON(S) THE DEVICES ARE NON FUNCTIONAL | [6 empty] | OTHERS (PLEASE SPECIFY) |  | CAPACITY | [8 empty] | WARD/DEPARTMENT | [13 empty] | Are there bedside oxygen wall units with other pressures other than 345-425 kPa (50-60 psi) | WALL UNITS WITH OTHER PRESSURES |  |  |  | NUMBER OF CYLINDERS THAT CAN FIT IN THE MANIFOLD |  | NUMBER OF CYLINDERS THAT CAN FIT IN THE MANIFOLD |  | NUMBER OF CYLINDERS THAT CAN FIT IN THE MANIFOLD |  | NUMBER OF CYLINDERS THAT CAN FIT IN THE MANIFOLD |  | NUMBER OF CYLINDERS THAT CAN FIT IN THE MANIFOLD |  | NUMBER OF CYLINDERS THAT CAN FIT IN THE MANIFOLD |  | NUMBER OF CYLINDERS THAT CAN FIT IN THE MANIFOLD | [26 empty] | Type
[83 empty] | Patient monitor, with integrated ECG |  | Patient monitor, without integrated ECG | [10 empty] | Table-top pulse oximeter |  | Portable handheld pulse oximeter |  | Self-contained fingertip pulse oximeter | [10 empty] | Up to 3L/min |  | Up to 5L/min |  | Up to 8L/min |  | Up to 10L/min |  | Greater than 10L/min | [10 empty] | “D” (340L) |  | “E” (680L) |  | “F” (1360L) |  | “G” (3400L) |  | “J” (6800L) |  |  |  |  | Pin-index |  | Bull-nose |  |  | Up to 2L/min |  | Up to 5L/min |  | Up to 10L/min |  | Up to 15L/min |  | Greater than 15L/min |  |  | Total number of outlets | [11 empty] | Nasal cannula (nasal prongs) |  |  | Nasal catheters |  |  | Oxygen mask |  | Venturi mask |  |  | Adult |  | Paediatric |  | Neonatal |  |  | Adult | Paediatric |  | Adult | Paediatric | Neonatal |  | Manual |  | Electric |  | Central vacuum | [10 empty] | Macintosh (Curved blade) | Miller (Straight blade) |  | Endotracheal tube set: Tube Guide (“Stylet”, or “Bougie”) |  | Laryngeal mask |  | Colorimetric end tidal CO2 detector |  |  | Oropharyngeal (Guedel) airway |  | Nasopharyngeal airway |  |  | Transport, portable |  | Intensive care – Adult |  | Intensive care – Paediatric | [10 empty] | 40-60 L |  | > 90 L |  | Other (specify capacity and type if needed (e.g. Ethylene Oxide)), FUNCTIONAL |  | Other (specify capacity and type if needed (e.g. Ethylene Oxide)), NON-FUNCTIONAL |  |  | EMERGENCY ROOM |  |  | INTENSIVE CARE UNIT (ICU) |  |  | INPATIENT DEPARTMENT |  |  | IS THERE ANY OTHER UNIT WITH OXYGEN WALL OUTLETS? (DO NOT COUNT TERMINAL UNITS IN OPERATING THEATERS OR X-RAY/IMAGING DEPARTMENT) | OTHER UNIT |  |  |  |  | Pressure (indicate if in kPa or psi) | Number of oxygen wall outlets | Number of connections per bed | [40 empty] | "D" | “E” | “F” | “G” | “J” | Other size
[159 empty] | 2 outlets |  | 3 outlets |  | 4 outlets |  | 5 outlets |  | Other, Please specify | Other, Please specify | [81 empty] | Number of oxygen wall outlets | Number of connections per bed | FITTED WITH A VALVE, PRESSURE GAUGE, AND FLOW REGULATOR | Number of oxygen wall outlets | Number of connections per bed | FITTED WITH A VALVE, PRESSURE GAUGE, AND FLOW REGULATOR | Number of oxygen wall outlets | Number of connections per bed | FITTED WITH A VALVE, PRESSURE GAUGE, AND FLOW REGULATOR |  | NAME OF OTHER UNIT WITH OXYGEN WALL OUTLETS | Number of oxygen wall outlets | Number of connections per bed | FITTED WITH A VALVE, PRESSURE GAUGE, AND FLOW REGULATOR | [5 empty] | 2 CYLINDERS |  | 3 CYLINDERS |  | 4 CYLINDERS |  | 5 CYLINDERS |  | 6 CYLINDERS |  | 7 CYLINDERS |  | 8 CYLINDERS | [20 empty] | Quantity |  | (ONLY FILL IN ONE COLUMN TO INDICATE UNIT USED) |  |  |  | Nominal content/ O2 capacity (L) |  |  |  |  | Specify size | Number of cylinders filled of other size
[30 empty] | Generator capacity (kVa) | Stabilizer (Y/N) | UPS (Indicate Capacity) | Inverter (Y/N) | Generator capacity (kVa) | Stabilizer (Y/N) | UPS (Indicate Capacity) | Inverter (Y/N) | Generator capacity (kVa) | Stabilizer (Y/N) | UPS (Indicate Capacity) | Inverter (Y/N) | Generator capacity (kVa) | Stabilizer (Y/N) | UPS (Indicate Capacity) | Inverter (Y/N) | Generator capacity (kVa) | Stabilizer (Y/N) | UPS (Indicate Capacity) | Inverter (Y/N) | Generator capacity (kVa) | Stabilizer (Y/N) | UPS (Indicate Capacity) | Inverter (Y/N) | Generator capacity (kVa) | Stabilizer (Y/N) | UPS (Indicate Capacity) | Inverter (Y/N) | Generator capacity (kVa) | Stabilizer (Y/N) | UPS (Indicate Capacity) | Inverter (Y/N) | Generator capacity (kVa) | Stabilizer (Y/N) | UPS (Indicate Capacity) | Inverter (Y/N) | Emergency room | Intensive care | Surgery | Hospitalization | Laboratory | Imaging | Other (specify) |  | With oxygen | Without oxygen |  | Job title | Phone number |  | Job title | Phone number |  | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | No spare parts | No funds for maintenance | No training to use or to repair | No consumables (cables, sensors) | Not installed | No distributor in the country | Other (specify) |  |  | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | No spare parts | No funds for maintenance | No training to use or to repair | No consumables (cables, sensors) | Not installed | No distributor in the country | Other (specify) |  |  | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | No spare parts | No funds for maintenance | No training to use or to repair | No consumables (cables, sensors) | Not installed | No distributor in the country | Other (specify) |  |  | PIN-INDEX | BULL-NOSE | PIN-INDEX | BULL-NOSE | PIN-INDEX | BULL-NOSE | PIN-INDEX | BULL-NOSE | PIN-INDEX | BULL-NOSE |  |  |  | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL |  | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL |  | UP TO 1L/MIN | UP TO 2L/MIN | UP TO 1L/MIN | UP TO 2L/MIN | UP TO 1L/MIN | UP TO 2L/MIN | UP TO 1L/MIN | UP TO 2L/MIN |  | UP TO 1L/MIN | UP TO 2L/MIN |  | ADULT | PAEDIATRIC | NEONATE | ADULT | PAEDIATRIC | NEONATE | ADULT | PAEDIATRIC | ADULT | PAEDIATRIC |  | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | [8 empty] | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | No spare parts | No funds for maintenance | No training to use or to repair | No consumables (cables, sensors) | Not installed | No distributor in the country | Other (specify) | [5 empty] | ADULT | PAEDIATRIC | ADULT | PAEDIATRIC | ADULT | PAEDIATRIC |  | Single-use | Reusable | Single-use | Reusable |  | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | No spare parts | No funds for maintenance | No training to use or to repair | No consumables (cables, sensors) | Not installed | No distributor in the country | Other (specify) |  |  | FUNCTIONAL | NON-FUNCTIONAL | FUNCTIONAL | NON-FUNCTIONAL | NUMBER | TYPE AND CAPACITY | NUMBER | TYPE AND CAPACITY | [20 empty] | MANUAL SWITCH | AUTOMATIC SWITCH | MANUAL SWITCH | AUTOMATIC SWITCH | MANUAL SWITCH | AUTOMATIC SWITCH | MANUAL SWITCH | AUTOMATIC SWITCH | MANUAL SWITCH | AUTOMATIC SWITCH | MANUAL SWITCH | AUTOMATIC SWITCH | MANUAL SWITCH | AUTOMATIC SWITCH | [13 empty] | Percent concentration (%) | [5 empty] | Bull-nose | Pin-indext | Bar | kPa | psi |  | 340 | 680 | 1360 | 3400 | 6800
| country | admin1 | admin3 | admin2 | admin4 | admin5 | address | facility_name | facility_code | geographic | facility_type | facility_type_other | manage | manage_other | facility_head | facility_phone | facility_email | collector_name | collector_phone | collector_email | collector_role |  | beds | beds_icu | water | piping | electricity | electricity_other | generator_count | capacity_1 | stabilizer_1 | ups_1 | inverter_1 | capacity_2 | stabilizer_2 | ups_2 | inverter_2 | capacity_3 | stabilizer_3 | ups_3 | inverter_3 | capacity_4 | stabilizer_4 | ups_4 | inverter_4 | capacity_5 | stabilizer_5 | ups_5 | inverter_5 | capacity_6 | stabilizer_6 | ups_6 | inverter_6 | capacity_7 | stabilizer_7 | ups_7 | inverter_7 | capacity_8 | stabilizer_8 | ups_8 | inverter_8 | capacity_9 | stabilizer_9 | ups_9 | inverter_9 | units_with_power_1 | units_with_power_2 | units_with_power_3 | units_with_power_4 | units_with_power_5 | units_with_power_6 | units_with_power_other | ambulance | ambulance_o2 | ambulance_no_o2 | maintenance | maintenance_name | maintenance_phone | staff | staff_name | staff_phone |  | monitor1 | monitor2 | monitor3 | monitor4 | monitor5_1 | monitor5_2 | monitor5_3 | monitor5_4 | monitor5_5 | monitor5_6 | monitor5_9 | monitor6 |  | pox1 | pox2 | pox3 | pox4 | pox5 | pox6 | pox7_1 | pox7_2 | pox7_3 | pox7_4 | pox7_5 | pox7_6 | pox7_9 | pox8 |  | conc1 | conc2 | conc3 | conc4 | conc5 | conc6 | conc7 | conc8 | conc9 | conc10 | conc11_1 | conc11_2 | conc11_3 | conc11_4 | conc11_5 | conc11_6 | conc11_9 | conc12 |  | cylinder1 | cylinder2 | cylinder3 | cylinder4 | cylinder5 | cylinder6 | cylinder7 | cylinder8 | cylinder9 | cylinder10 | cylinder11 | cylinder12 |  | assembly1 | assembly2 | assembly3 | assembly4 |  | flowmeter1 | flowmeter2 | flowmeter3 | flowmeter4 | flowmeter5 | flowmeter6 | flowmeter7 | flowmeter8 | flowmeter9 | flowmeter10 |  | splitter1 | splitter2 | splitter3 | splitter4 | splitter5 | splitter6 | splitter7 | splitter8 | splitter9 | splitter9_1 | splitter9_2 |  | delivery1 | delivery2 | delivery3 | delivery4 | delivery5 | delivery6 | delivery7 | delivery8 | delivery9 | delivery10 |  | bipap1 | bipap2 | bipap3 | bipap4 | bipap5 | bipap6 |  | hfnc1 | hfnc2 |  | resuscitation1 | resuscitation2 | resuscitation3 |  | suction1 | suction2 | suction3 | suction4 | suction5 | suction6 | suction7_1 | suction7_2 | suction7_3 | suction7_4 | suction7_5 | suction7_6 | suction7_9 | suction8 |  | laryngoscope1 | laryngoscope2 |  | intubation1 | intubation4 | intubation2 | intubation5 | intubation3 | intubation6 |  | airways3 | airways4 | airways1 | airways2 |  | ventilator1 | ventilator2 | ventilator3 | ventilator4 | ventilator7 | ventilator8 | ventilator5_1 | ventilator5_2 | ventilator5_3 | ventilator5_4 | ventilator5_5 | ventilator5_6 | ventilator5_9 | ventilator6 |  | autoclave1 | autoclave5 | autoclave2 | autoclave6 | autoclave2 | autoclave4 | autoclave7 | autoclave8 |  | wallunit1 | wallunit2 | wallunit3 | wallunit4 | wallunit5 | wallunit6 | wallunit7 | wallunit8 | wallunit9 | wallunit10 | wallunit11 | wallunit12 | wallunit13 | wallunit14 | wallunit15 | wallunit16 | wallunit17 | wallunit18 |  | manifold1 | manifold8 | manifold2 | manifold9 | manifold3 | manifold10 | manifold4 | manifold11 | manifold5 | manifold12 | manifold6 | manifold13 | manifold7 | manifold14 |  | bulk1 | bulk2 | bulk3 | bulk4 | bulk5 |  | plant1 | plant2 | plant3 | plant4 | plant5 | plant6 | plant7 | plant8 | plant9 | plant10 | plant11 | plant12 | plant13 | plant14 |  |  |  | plant15 | plant16 | plant17 | plant18 | plant19 | plant20 | plant21 | plant22 | plant23
© World Health Organization 2020. Some rights reserved. This work is available under the CC BY-NC-SA 3.0 IGO licence.
WHO reference number: WHO/2019-nCov/biomedical_equipment_inventory_tool/2020.1

## Dropdown (hidden)
Primary (health post, health center) | Yes, with oxygen | Daily |  | Yes, Oxygen, Air and Vacuum | Central electricity grid
Secondary (referral hospital) | Yes, but without oxygen | Weekly |  | Yes, Oxygen and Air | Power generator
Tertiary (general/university hospital) | No | Other (Specify) |  | Yes, Oxygen | Both
Specialized Hospital |  |  |  | No | Other (specify)
COVID-19/infectious diseases dedicated treatment center
Other (specify)
Emergency room | No spare parts |  | No spare parts |  | Government, public
Intensive care | No funds for maintenance |  | No funds for maintenance |  | Government, non-public (e.g. military, etc.)
Surgery | No training to use or to repair |  | No knowledge/training to use or to repair |  | Private, for-profit
Hospitalization | No consumables (cables, sensors) |  |  |  | Private, NGO/religious
Laboratory | Not installed |  | 1 per bed |  | Other (specify)
Imaging | No distributor in country |  | 2 per bed
Other (specify) | Other (specify)
| Broken |  | Urban
Yes | No consumables |  | Rural
No | No patient circuits
Other (specify) | No maintenance contract
No distributors in country