## EBOD MARD IPC RAT
IPC and WASH Treatment Centres Assessment Tool for Ebola or Marburg Diseases
Disclaimer: This tool to be used exclusively in the context of an outbreak of EBOD and/or MARD to assess treatment centres only.
| Treatment centre and assessment information |  |  | Comment - Review
| Date of assessment |  | DD/MM/YYYY
| Geospatial location/coordinates |  |  | Optional if able to obtain the coordinates
| Outbreak/disease |  | EBOD or MARD
| Region/state/province |  |  | The section should be adapted to the country's administrative structure before deployment.
District
Sub-district
Name of the Treatment centre
Number of beds in the treatment centre
Total number of health and care workers in the TC
Number of suspect patients on day of assessment
Number of confirmed patients on day of assessment
Total number of health and care workers participating in the assessment
Name of the IPC focal point/IPC link of the TC or designee
Phone number of the IPC focal point/IPC link of the TC or designee
Assessor's name
Assessor's email
Assessor's phone
ID | IPC section | Guide scoring | Score | Comment
1 | IPC leadership at the Treatment centre | Yes if all checked=1/No=0 otherwise
1.1 | The Treatment centre has at least one of the following: an IPC committee and/or a trained and dedicated IPC-WASH focal person or IPC link person
1.2 | During the last 2 weeks, the Treatment centre has held at least one EBOD/MARD IPC meeting.
1.3 | The TC has a designated external IPC Supervisor (who visits the facility at least once a week)
1.4 | The Treatment centre has adopted EBOD/MARD-specific standard operating procedures (SOPs) related to IPC (risk assessment, screening and triage, isolation, PPE, safe injection and sharp injury prevention, environmental cleaning and disinfection, laundry and linen, waste management, management of reusable patient care items & equipment and safe management of dead bodies) that are in line with international or national guidelines.
2 | Health worker training | Yes if all checked=1/No=0 otherwise
2.1 | Within the last 6 months, all health workers have been trained on standard precautions (risk assessment, hand hygiene, respiratory hygiene and cough etiquette, patient placement, PPE, aseptic technique, safe injections and sharps injury prevention, environmental cleaning, laundry and linen, waste management and management of reusable patientcare items and equipment). Request written records as validation.
2.2 | Health workers put on and take off PPE correctly according to WHO or national SOPs (observe at least two health workers in isolation area or room putting on and taking off PPE).
2.3 | All health workers who have physical contact with patients or patient care areas have been trained on the following IPC practices related to current outbreak of EBOD/MARD | Yes if all checked=1/No=0 otherwise
[Check all training topics that apply: screening, isolation, personal protective equipment (PPE), hand hygiene, injection safety, environmental cleaning and disinfection and waste management]
3 | Layout of the TC | Yes if all checked=1/No=0 otherwise
3.1 | The TC is clearly marked/identifiable with signage at the entrance
3.2 | The TC is clearly separated from adjacent community houses or other dwellings.
3.3 | The TC is clearly separated from other health facility areas/departments.
3.4 | A wall, or double fence limits unauthorized access to the treatment centre
3.5 | Access to the treatment centre is via a controlled entrance.
3.6 | A cloakroom/staff area is available, with at least two toilets/latrines reserved for staff. | Yes if all checked=1/No=0 otherwise
3.7 | A functional handwashing facility is available near the toilets/latrines.
4 | Hand hygiene | Yes =1/No=0
4.1 | Soap and water or Alcohol Based Hand Rub (ABHR) are used at all hand hygiene stations.
4.2 | Functional hand hygiene stations (i.e. ABHR or soap, water and disposable towels) are available at all points of care.
4.3 | If a chlorinated solution is used for hand hygiene, a plan is in place to switch to soap and water or ABHR.
4.4 | Hand hygiene posters are displayed at all hand hygiene stations.
5 | Screening capacity | Yes =1/No=0
5.1 | Screening stations, with trained staff are in place at every entry point to the treatment centre.
5.2 | The screening stations have sufficient space to ensure a distance of at least one metre between the patient/visitor/health worker and the screener.
5.3 | When distance (min 1m) cannot be maintained, staff wear appropriate PPE (medical mask, eye protection, long-sleeved gown, 1 pair of gloves).
5.4 | The screening area has functional hand hygiene facilities. (Functional means that either soap and water, ABHR or 0.05% chlorine solution is available.)
5.5 | The screening area has a functional non-contact infrared forehead thermometer (e.g., ThermoFlash).
5.6 | Temperature is checked and recorded at screening stations in accordance with defined SOPs.
5.7 | Suspected cases are immediately referred to the isolation area. (Criterion: The screener directly refers or escorts any suspected cases identified to the isolation area.)
6 | Triage | Yes =1/No=0
6.1 | Patients are triaged in a dedicated area upon arrival.
6.2 | The triage area has sufficient space to ensure a distance of at least one metre between the patient and triage staff.
6.3 | The triage area has functional hand hygiene facilities. (Functional means that either soap and water, ABHR or 0.05% chlorine solution is available.)
6.4 | Staff wear appropriate PPE when distance cannot be maintained (eye protection, mask, coveralls, 2 pairs of gloves, rubber boots).
6.5 | The triage area has functional non-contact infrared forehead thermometers (e.g., ThermoFlash).
6.6 | Containers for the safe disposal of infectious waste are available.
7 | Personal protective equipment (PPE) | Yes if all checked=1/No=0 otherwise
7.1 | The Treatment centre has the required PPE available to manage patients with EBOD/MARD (suspected/confirmed), including: gloves, medical masks, aprons, gowns and/or coverall, eye protection (goggle or face shield), rubber boots, heavy-duty gloves [check all that apply]. | Yes if all checked=1/No=0 otherwise
8 | PPE putting on (donning)area
8.1 | The Treatment centre has an identified PPE putting on (donning)area with sufficient space and with light for putting on (donning)PPE (based on the facility expected number of staff)
8.2 | Mirrors present in putting on (donning)area large enough (full length, wide enough) for workers to assess adequate putting on (donning)
8.3 | Storage Area is dry, clean and secure to store items stored on shelves (not on the floor)
8.4 | Functional hand hygiene stations are available in the PPE putting on (donning)area (soap and water, alcohol hand rub, or chlorine solution 0.05%)
8.5 | Hand hygiene posters are displayed in the PPE putting on (donning)area
8.6 | PPE putting on (donning)posters are displayed in the PPE putting on (donning)area
8.7 | Staff put on PPE according to WHO guidelines (criteria: observe at least two staff putting on (donning)PPE)
9 | PPE removal (doffing) area
9.1 | The Treatment centre has an identified and designated PPE doffing (removal) area with adequate lighting and sufficient space (based on the facility’s expected number of staff)
9.2 | Mirror present in removal (doffing)area large enough (full length, wide enough) for workers to assess adequate doffing
9.3 | Space for buckets with 0.5% Chlorine for soaking of reusable PPE (goggles, heavy-duty gloves and aprons)
9.4 | Posters on PPE removal are displayed in the removal (doffing)area.
9.5 | A buddy system (another person observing and guiding the removal (doffing)process) is in place for PPE removal (doffing)with adequate space to maintain at least 1m/3ft between the health worker and the “buddy”
9.6 | Waste bins with plastic bags are available for dispose of single use PPE when removal (doffing)
9.7 | Waste bins for dispose of single use PPE are not over filled and are regularly emptied
9.8 | Staff take off PPE according to WHO / ministry of health guideline (criteria: observe at least two staff removing (doffing) PPE)
9.9 | Hand hygiene stations are available in the PPE removal (doffing) area (soap and water, alcohol hand rub)
9.1 | The floor of the PPE removal area is kept clean, dry and free from waste
10 | Treatment area (High risk / Red Zone)
10.1 | Only suspected or confirmed EBOD MARD patients are isolated at the unit.
10.2 | There is a controlled one-way entrance /exit into the high risk area ( red zone area) for patients
10.3 | There is a controlled, separate one-way entrance/exit into the high risk area (red zone) for staff.
10.4 | There is a separate, controlled entrance/exit into low risk (green zone) for staff
10.5 | A physical barrier separates low and high risk areas, clearly identifying the different areas.
10.6 | The isolation area is configured in a unidirectional/one-way flow for staff and patients, ensuring movement is always from areas of lower risk of contamination to higher risk.
10.7 | The area for suspect patients and confirmed patients is separated by a physical barrier
10.8 | Mattresses are covered with a non-permeable material (e.g. vinyl, plastic) that allows regular cleaning and disinfection
10.9 | Beds for suspect and confirmed patients are arranged to ensure at least 1 meter between each bed
10.1 | Functional hand hygiene stations are available in all points of care within the red zone for patients to perform hand hygiene (Functional means that either soap and water, ABHR or 0.05% chlorine solution is available.)
10.11 | Functional hand hygiene stations are available in all points of care within the red zone for staff to perform hand hygiene of gloved hands in-between patients (Functional means that either soap and water, ABHR or 0.05% chlorine solution is available.)
10.12 | Hand hygiene of gloved hands in between patients is performed (criteria: observe at least two staff performing hand hygiene between patients)
10.13 | Functional washing/shower facilities are available for patients. (Functional means that soap and water are available.)
10.14 | Puncture-resistant sharps containers are available at the point of use and stored securely (off the floor) in the treatment area.
10.15 | There are a sufficient number (at least 2) of dedicated toilets/latrines for suspected patients, or a bedpan/commode is available at each patient's bedside.
10.16 | There are a sufficient number (at least 2) of dedicated toilets/latrines for confirmed patients, or a bedpan/commode is available at each patient's bedside.
10.17 | Functional hand hygiene facilities are available at all toilets/latrines. (Functional means that either soap and water, ABHR or 0.05% chlorine solution is available.)
10.18 | There is a direct route from the high risk area to the removal (doffing)area for healthcare personnel.
10.19 | A physical barrier with signage is in place between the patient area and the removal (doffing) area to prevent patients from accessing it.
10.2 | Patients' mobile phones are decontaminated in accordance with an SOP approved by the Ministry of Health.
11 | Injection safety | Yes =1/No=0
11.1 | The medication preparation area is clean and tidy.
11.2 | Only one needle/syringe/intravenous cannula is used per patient and per injection.
11.3 | Ampoules, syringes and cannulas are disposed of immediately after the required dose has been administered (e.g. no open ampoules covered with gauze or cotton wool).
11.4 | Health workers discard used needles, syringes and intravenous waste directly into approved, appropriate infectious waste channels (e.g., .puncture-resistant sharps containers for sharp/cutting/piercing objects; infectious waste management channel for IV medication bags).
12 | Environmental cleaning and disinfection | Yes =1/No=0
12.1 | All surfaces in the patient care area are systematically cleaned and disinfected at least once a day and when a patient leaves (check the cleaning schedules/logs).
12.2 | The Treatment centre has the materials necessary for cleaning and disinfecting the patient -care areas. (any area where patient care is directly or indirectly provided),including screening and triage. [checklist: clean water, detergent, buckets, cleaning cloths, mops, and disinfectant. | Yes if all checked=1/No=0 otherwise
12.3 | Health workers performing cleaning and disinfection activities wear appropriate PPE according to WHO / national guideline or SOPs: [check all available] | Yes if all checked=1/No=0 otherwise
Eye protection, medical masks, gown or coverall, two pairs of gloves (outer gloves are heavy-duty gloves) and rubber (gum) boots and apron (reusable or disposable).
12.4 | Posters that describe how to prepare disinfectant solutions are displayed in preparation areas.
12.5 | Cleaning schedules are signed after cleaning and disinfection of the patient environment.
12.6 | Health workers know how to prepare disinfectant (e.g. chlorine-based solution) for general cleaning and disinfection.
12.7 | Health workers perform cleaning and disinfection of the environment using a multi-bucket technique (at least two buckets: one each for soapy water and prepared disinfectant).
12.8 | Health workers performing cleaning and disinfection have been trained on environmental cleaning and disinfection best practices during the last six months.
13 | Decontamination of medical equipment and devices | Yes =1/No=0
13.1 | There is an adequate space for cleaning medical equipment and devices in the medical reprocessing unit/area.
13.2 | Re-used medical equipment and devices (e.g., blood pressure cuffs) are decontaminated (cleaned and disinfected or sterilised if necessary) after use with patients.
13.3 | Healthcare workers performing decontamination wear PPE [check all applies] (eye protection, medical mask, long-sleeved gown or coverall, apron, double pair of gloves, rubber boots).
13.4 | Sterilization equipment for steam sterilization, such as an autoclave (including accessories) is available
13.5 | Sterilization equipment is functional.
14 | Laundry
14.1 | A dedicated area with adequate space exists for decontamination and drying of reusable PPE (e.g., goggles/boots)
14.2 | All required supplies are available (drums with soapy water, drums with 0.05% chlorine solution for disinfection, stirring stick, clean water for final rinsing, area for linen to air dry)
14.3 | Process exists for returning decontaminated reusable items (clearly labelled as clean) to putting on (donning)area
14.4 | Staff utilise appropriate PPE (heavy duty gloves, gown or coverall, apron, eye protection, medical mask, boots) for processing laundry or reusable PPE
14.5 | Hand hygiene stations are available in the laundry area (soap and water, alcohol hand rub,
15 | Health and care worker occupational health
15.1 | A system is in place to daily screen all Treatment centre staff on arrival to work, including temperature and symptom checks, before and after shift and this is recorded
15.2 | The TC has a system to identify and follow up with absentee staff
15.3 | The TC has a health worker EBOD MARD occupational exposure reporting system and management protocol in place
15.4 | There is a system to track and monitor frequency and length of time staff are in the red zone per shift
15.5 | There are enough drinks for hydration after removing PPE for the staff
15.6 | The Treatment centre has SOPs or guidance for health workers in the event of an exposure to blood or body fluids
15.7 | The Treatment centre has an EBOD/MARD post-exposure management protocol for health workers.
16 | General patient placement
16.1 | There is only one patient in a bed.
17 | Visitor areas
17.1 | Visiting areas for patient admitted as suspect are separate from visiting areas for those admitted as confirmed patients. A physical barrier between the two areas serves as a clear marker.
17.2 | Visitor area has a physical barrier that does not permit items to be passed through, thrown over, or for patients and visitors to have physical contact
17.3 | There is physical separation of at least 1 meter between visitors and patients
18 | Supplies
18.1 | The Treatment centre has the required PPE to manage EBOD MARD cases including:
Examination gloves, masks, aprons, gowns/coverall, eye protection (goggles or face shield), heavy duty gloves, heavy duty aprons, boots, scrubs [check all that apply]
18.2 | Chlorine (powder, granules, bleach) and tools (bucket, spoon, stirrer) to prepare chlorine solutions are available
18.3 | Soap and alcohol-based hand rub is available
18.4 | There are test strips available to monitor concentrations (0.5% and 0.05%) of prepared chlorine solutions
18.5 | Leak-proof body bags are available, and in good condition
18.6 | Leak proof waste bags are available and in good condition
18.7 | Absorbent paper towels/cloths are available
18.8 | Mops/mop heads, squeegees, a system with 2 or 3 buckets (detergent solution, chlorine solution, rinsing water) and small cleaning cloths are available.
18.9 | Contactless infrared forehead thermometers are available functioning and in good repair
ID | WASH section | Guide scoring | Score | Comment
19 | Hygiene and sanitation (outside of the isolation area) | Yes =1/No=0
19.1 | Treatment centre has adequate toilets or improved latrines separated for patients (minimum 1 toilet / 20 inpatients), and by gender.
19.2 | At least two functional toilets/latrines (one for males, one for females) are dedicated for health workers.
19.3 | A functional hand hygiene station is available at the toilets/latrines.
19.4 | The cleaning schedule for toilets/latrines is signed at least twice daily.
20 | Water supply and storage | Yes =1/No=0
20.1 | A continuous supply of water is available within the TC at the time of the assessment.
20.2 | There is capacity to safely store water for at least 48 hours at the Treatment centre.
20.3 | Water for drinking, cooking, personal hygiene, medical activities, cleaning and laundry is safe for intended purposes with free residual chlorine (0.2-0.5 mg/L).
21 | Waste segregation and storage | Yes =1/No=0
21.1 | Covered waste bins (colour-coded or labelled) are available close to patient-care area or waste-generation points.
21.2 | Waste is segregated (general, infectious, sharps) according to type when generated.
21.3 | Waste storage and treatment sites are secure and not accessible to the public or animals.
22 | Wastewater, waste treatment and disposal | Yes =1/No=0
22.1 | Wastewater is safely contained on-site with no contact with patients, visitors and the community.
22.2 | Infectious and sharps waste is burned on-site in an incinerator or other treatment system (e.g. autoclave), or there is a system for transporting it safely to a suitable location.
22.3 | Organic waste is disposed of in an organic waste-pit or by using an incinerator that is effective for organic waste or there is a system for transporting it safely to a suitable location.
23 | Management of deceased in the Treatment centre
23.1 | Health workers handling the dead body of an individual with suspected or confirmed EBOD/MARD wear appropriate PPE (coverall or gown and head-and-neck covering, apron, medical mask, eye protection (goggles or face shield), two pairs of gloves (including heavy-duty outer gloves) and rubber boots.[check all available]
23.2 | Bodies are taken directly to the morgue with minimal handling and without disinfection.
Total score (formula will automatically calculate the score as a percentage) |  |  | 0%
Recommendations for frequency of supportive supervision, mentorship and reassessment
| Actions to be developed/implemented based on total score: |  | Score (%)
| Develop/implement improvement plan, provide supportive supervision and mentorship once a day; reassess in two weeks. |  | Less than 50% * red
| Develop/implement action plan for improvement; provide supportive supervision and mentorship two or three times a week; reassess in 3 weeks |  | 50 - 79% * yellow
| Develop/implement action plan for improvement; provide supportive supervision and mentorship once a week; reassess in 4 weeks. |  | Equal to or higher than 80% * green

## Improvement Plan
IPC and WASH Assessment Tool for Ebola and Marburg Treatment Centers
Gap identification and Action Plan for improvement
# | Gap identified (use a new line for each gap) | Actions needed for improvement | Date to be completed (DD/MM/YYYY) | Resources required (financial, materials, facility staff, and partner support; include quantities/details when possible) | Responsible person and contact | Status (completed/ongoing/not started/delayed)
1
2
3
4
5
6
Additional Comments
Date of next evaluation

## Value List (hidden)
Phase | Implementation
Completed | y | Yes | 0 | EBOD
Ongoing | n | No | 1 | MARD
Not Started
Delayed