## AOC WHO-24-NOV
ABSTRACT OF COST WHO (USE OF NEW FURNITURES AND MATERIAL)
S.N | DESCRIPTION | AREA | NUMBER | UNIT | TOTAL QUANTITY | RATE | AMOUNT | REMARKS
1 | DISMANTILING WORKS AND SITE PREPARATION
a | ALUMINIUM PARTITION Dismantling as required on site, taking all necessary precautionary measures, stacking useable items properly for reuse, carting away surplus materials etc. from site complete in all respect. | 1753.1 | - | SQ.FT. | 1753.1
b | SITE PREPARATION AND PROTECTION Covering of the windows + existing Partition with temporary ply | 250 | - | SQ.FT. | 250 |  |  | Protection of Critical Areas
c | DISMANTLING OF PARQUETTE FLOOR FINISH Careful dismantling of existing parquet flooring including skirting/moldings, cleaning, sorting, and stacking for reuse, and subsequent reinstallation of sound parquet blocks as per layout, complete with all labor, tools, and handling, as per drawing and site requirement | 2610.94 | - | SQ.FT. | 2610.94
2 | FLOOR FINISH
2.1 | PARQUETTE FLOOR FINISH Pre-finished engineered wood (0.8mm oak/teak veneer + HDF core). | 2610.94 | - | SQ.FT. | 2610.94
2.2 | SKIRTING 75–150 mm high, 12–15 mm thick, machine-cut, fixed with adhesive/nails, finish to match parquet flooring | 500 | - | R.FT. | 500
3 | FURNITURE
a | Workstation Provide and supply furniture with 18mm A grade ply(surya/sagun/ green/neply) with 0.7mm inner laminate and exterior face finish with 1mm laminate(kajaria/merino/greenlam) as per design with necessary hardware and fittings. | 452.5 | 29 | SQ.FT. | 452.5
b | Mobile Workstation Drawer (Pedestal Unit) Provide and supply furniture with 18mm A grade ply(surya/sagun/ green/neply) with 0.7mm inner laminate and exterior face finish with 1mm laminate(kajaria/merino/greenlam) as per design with necessary hardware and fittings. The hindge and channel and wheels shall be of A grade quality (hettich/nuomi/etios or equivalent) | 4.8 | 29 | SQ.FT. | 139.2
c | Full Height Cabinets Provide and supply furniture with 18mm A grade ply(surya/sagun/ green/neply) with 0.7mm inner laminate and exterior face finish with 1mm laminate(kajaria/merino/greenlam) as per design with necessary hardware and fittings. The hindge and channel shall be of A grade quality (hettich/nuomi/etios or equivalent) | 63 | 2 | SQ.FT. | 126
d | Full Height Cabinets Provide and supply furniture with 18mm A grade ply(surya/sagun/ green/neply) with 0.7mm inner laminate and exterior face finish with 1mm laminate(kajaria/merino/greenlam) as per design with necessary hardware and fittings. The hindge and channel shall be of A grade quality (hettich/nuomi/etios or equivalent) | 54 | 2 | SQ.FT. | 108
e | Low Cabinets Provide and supply furniture with 18mm A grade ply(surya/sagun/ green/neply) with 0.7mm inner laminate and exterior face finish with 1mm laminate(kajaria/merino/greenlam) as per design with necessary hardware and fittings. The hindge and channel shall be of A grade quality (hettich/nuomi/etios or equivalent) | 14.91 | 15 | SQ.FT. | 223.75
f | Round Meeting Table Provide and supply furniture with 18mm A grade ply(surya/sagun/ green/neply) finish with 1mm laminate(kajaria/merino/greenlam) as per design with necessary hardware and fittings. | 7.5 | 1 | SQ.FT. | 7.5
g | Office chair Provide and supply of chair reinforced nylon/steel base with 5-star casters (carpet/hard floor compatible)Upholstery: High-density foam (≥50 kg/m³) with PU/fabric or breathable mesh back(Vbon/featherlite or equivalent) | - | 14 | NOS | 14
g | Meeting Hall Wall Design Provide and supply furniture with 10mm A grade ply(surya/sagun/ green/neply) finish with 1mm laminate with necessary frames madeup of 18mm A GRADE PLY (kajaria/merino/greenlam) as per design with necessary hardware and fittings. | 121.5 | 1 | SQ.FT. | 121.5
h | Resizing of Existing Meeting Table Resizing of existing meeting table as per design, fabricated with 18 mm thick A-grade ply (Surya / Sagun / Green / Neply) finished with 1 mm thick laminate (Kajaria / Merino / Greenlam) in approved shade and texture, including necessary edge banding, hardware, fittings, and supports for stability, complete in all respects as per drawing and site requirement. | 58 | 1 | SQ.FT. | 58 |  |  | Reuse of existing meeting table with minor repair and maintenance
i | Visitiors Chairs Providing and supplying visitor’s chair with sturdy frame, upholstered seat and back with high-density foam and approved fabric/leatherette finish, ergonomic design with fixed armrests, durable nylon glides, and standard office-grade finish, complete as per site requirement.(Vbon/featherlite or equivalent) | - | 25 | NOS | 25
j | Side Desk Provide and supply furniture with 18mm A grade ply(surya/sagun/ green/neply) with 0.7mm inner laminate and exterior face finish with 1mm laminate(kajaria/merino/greenlam) as per design with necessary hardware and fittings. The hindge and channel shall be of A grade quality (hettich/nuomi/etios or equivalent) | 10 | 1 | SQ.FT. | 10
k | Side Desk Provide and supply furniture with 18mm A grade ply(surya/sagun/ green/neply) with 0.7mm inner laminate and exterior face finish with 1mm laminate(kajaria/merino/greenlam) as per design with necessary hardware and fittings. The hindge and channel shall be of A grade quality (hettich/nuomi/etios or equivalent) | 11.25 | 3 | SQ.FT. | 33.75
4 | PARTITION
a | BOARD PARITION OF HEIGHT 4'-6" Provide and supply board partition of thickness 4" with 18mm A grade ply(surya/sagun/ green/neply) finish with 1mm laminate (kajaria/merino/greenlam) as per design with necessary hardware and fittings. | 380 | - | SQ.FT. | 380
b | FULL HEIGHT BOARD PARITION Provide and supply board partition of thickness 4" with 18mm A grade ply(surya/sagun/ green/neply) finish with 1mm laminate (kajaria/merino/greenlam) as per design with necessary hardware and fittings. | 890 | - | SQ.FT. | 890
b | ALUMINIUM PARTITION WITH GLASS AND FABRIC FINISH OF HEIGHT 4'-6" Providing and fixing aluminium partition aluminium framework (1.5 mm thick sections), fitted with 6 mm clear glass panels and approved fabric-finished panels (on soft board/gypsum backing), complete with gaskets, sealant, and all accessories of height 4'-6", as per drawing and site requirement | 600 | - | SQ.FT. | 600
c | FULL HEIGHT ALUIMINIUM PARTITION WITH GLASS AND FABRIC FINISH Providing and fixing aluminium partition aluminium framework (1.5 mm thick sections), fitted with 8 mm clear glass panels and approved fabric-finished panels (on soft board/gypsum backing), complete with gaskets, sealant, and all accessories, as per drawing and site requirement | 220 | - | SQ.FT. | 220
5 | PAINT WORKS Supplying and applying wall putting and two coats of paints of premium category finish to give an even and uniform shade all complete as per specification and instruction of the Consultant.ASIAN/berger PAINTS | 8500 | - | SQ.FT. | 8500
6 | ALUMINIUM DOOR WITH GLASS Supply and installation of aluminium door with aluminium frame (1.5 mm thick), fitted with 8 mm toughened glass with frosted sticker finish, including approved hinges, handles, locks, door closers, stoppers, sealants, and all accessories, as per drawing and site requirement. | 25 | 5 | SQ.FT. | 125
7 | ALUMINIUM GLASS PARTITION Supply and installation of aluminium door with aluminium frame (1.5 mm thick), fitted with 8 mm toughened glass with frosted sticker finish, including approved hinges, handles, locks, door closers, stoppers, sealants, and all accessories, as per drawing and site requirement. | 190 | - | SQ.FT. | 190
8 | ELECTRICAL
a | Power Sockets Supply and installation of 16A flat pin/ round pin universal pin type switch socket in sq white plate (unbreakable) with GI box concealed as per drawing and specification. ( Siemen,Northwest,Orange)- Modular switch socket with necessary wirings.(average wiring length= 40 feet) | - | 120 | NOS | 105
b | LAN Sockets Supply and installation of Cat6 RJ45 LAN socket PVC faceplate with concealed GI box, complete asper drawing and specification ( Siemen,Northwest, Orange) Modular switch socket- for Normal socket) with necessary wirings.(average wiring length= 45 feet) | - | 37 | NOS | 37
c | Lights Reusing of the available lights where feasible / Supply and Installation of 600x600mm LED panels (40W, 4000K, UGR<19) lights of brand (Philips/Havels/Wipro or equivalent) with necessary PVC conduit wiring.(average wiring length= 45 feet) | - | 37 | NOS | 37
d | Hanging Lights Supply and installation of 4’ linear LED hanging light complete with LED driver, suspension kit, connectors, and all accessories, 4000–5000K neutral white, as per drawing and site requirement. lights of brand (Philips/Havels/Wipro or equivalent) with necessary PVC conduit wiring. (average wiring length= 45 feet) | - | 18 | NOS | 18
e | Cove Lights (Meeting Hall) LED Cove Light, 3000–6000K,complete installation as approved by architect. |  | 160 | R.FT. | 160
f | Desk Lights LED 18–24W, 2–4 ft, neutral white | 17 | - | NOS | 17
9 | TELEPHONE Supply and installation of a standard office telephone point including telephone socket, internal wiring (CAT6 or equivalent), faceplate, and necessary accessories. Terminate and test the line to ensure functionality. Approved brands: Panasonic / LG / Samsung / Grandstream (or equivalent) (average wiring length= 45 feet) | - | 35 | NOS | 31
10 | ADDITION OF CASSETTE AC
| Supply and installation of ceiling cassette air conditioner, 1.5 Ton capacity depending on room size, inverter type, 220–240 V single phase / 380–415 V three phase, 4-way air distribution, low noise (35–50 dB), including remote control, standard compressor warranty (5 years), complete with all necessary accessories and wiring for office use. Approved brands: Gree/Panasonic/LG/Samsung (or equivalent) (average wiring length= 40 feet) | - | 6 | NOS | 6
| Provide PVC condensate drain piping with fittings, traps, supports and proper slope. Supply and install ACR-grade copper refrigerant pipes with brazed joints, insulation, clamps, valves and accessories. Include nitrogen testing, leak checks, evacuation, commissioning, and protective jacketing for exposed runs, complete in all respects. | 600 | 1 | RU.FT. | 350
11 | RELOCATION OF WALL MOUNTED AC
| Relocation of existing wall-mounted split air-conditioner, including careful dismantling of indoor and outdoor units, safe handling and shifting to new location, installation at specified position with necessary supports, reconnection of refrigerant piping, electrical wiring, drain pipe, and gas charging (if required), testing and commissioning to ensure proper functioning. |  | 2 | NOS | 2
12 | INDOOR PLANTS Providing and placing indoor plants as per approved drawings and locations, in suitable pots/planters with good quality soil, plants of healthy quality and approved species.Indoor plants of 3 feet height (Areca Palm/Parlor Palm/Snake Plant) or equivalent | - | 25 | NOS | 25
13 | FALSE CEILING (MEETING HALL + AC AREA ) Providing and fixing suspended false ceiling with 12.5 mm thick moisture- resistant gypsum board fixed on GI framework (perimeter channels, intermediate channels at 1200 mm c/c, ceiling sections at 600 mm c/c, with hangers and dash fasteners), including necessary cutouts for services, joint finishing with fiber tape and compound, sanding smooth, and finishing with putty, primer, and two coats of acrylic emulsion paint, complete in all respects as per drawing and specification. | 600 | - | SQ.FT. | 600
14 | REPAIRING AND PLASTER WORKS Making good of disturbed wall surfaces after dismantling and any other works with cement plaster of 1:4 and finishing to match existing | 700 |  | SQ.FT. | 700 |  |  | Repair works and Plaster in dismantled area
15 | JAMMING OF WINDOW FOR MEETING ROOM SCREEN Provide and supply board partition of thickness 4" with 18mm A grade ply(surya/sagun/ green/neply) finish with 1mm laminate (kajaria/merino/greenlam) as per design with necessary hardware and fittings. | 50 |  | SQ.FT. | 50
SUB TOTAL | [6 empty] | 0
MISCELLANEOUS | [6 empty] | 0
GRAND TOTAL