Pilot Diagnostic Product Questionnaire

Product Evaluation by the

Expert Review Panel for Diagnostic Products

How to complete this form

This questionnaire has been designed to assist the WHO to capture necessary information about a product submitted for evaluation by the WHO Expert Review Panel for Diagnostic Products (ERPD).  The information provided by the manufacturer in this form assists WHO to determine whether a product is eligible for WHO ERPD assessment. Therefore, the manufacturer must complete the form with accuracy and completeness.

When completing the form, type in text or tick boxes (□) as required for each field. Where information is not available or the field is not applicable, type N/A. The manufacturer should submit this form as a searchable PDF file and sign the Manufacturer Declaration electronically. Completed ERPD Questionnaires and all relevant documentation must be submitted to the following email address: The address mentioned in the Invitation to Manufacturer to submit an Expression of Interest published by the procurer.

Contents

1.	Manufacturer Information	5

1.1.	Legal manufacturer	5

1.2.	Authorized contacts for the manufacturer	6

2.	Product - Information	7

2.1.	Product name and product code/catalogue number for WHO ERPD assessment	7

2.2.	Product instructions for use and user manual	8

Please provide in ANNEX D the English language version of the instructions for use (IFU) / product insert and, if applicable, the user manual for dedicated instrumentation.	8

2.3.	Transport, storage and operating temperatures	8

3.	Product - Disease Category, Analyte and Method	9

3.1.	Disease category and analyte	9

3.2.	Specimen type	9

3.3.	Assay format for serology and nucleic acid testing technologies	9

4.	Product - Operation	9

4.1.	Sample collection and transport materials	9

4.2.	Assay controls	10

4.3.	Other accessories required	10

4.4.	Product usage	10

4.5.	Indicative cost	10

5.	Product – Performance Characteristics	10

5.1.	Performance characteristics for serology EIAs and RDTs	10

5.2.	Analytical performance studies	11

Please provide in ANNEX H the analytical study protocols and reports relating to the analytical performance studies conducted with the product.	11

5.3.	Clinical performance studies	11

Please provide in ANNEX I the protocols and reports of clinical studies conducted by the manufacturer.	11

5.4.	Product stability studies	12

5.5.	Specifications for nucleic acid tests	12

6.	Regulatory and Commercial Status of the Product	12

6.1.	Regulatory status of product	12

6.3.	Commercial agreements and rebranding	15

7.	Manufacturer - Quality Management System	15

7.1.	Quality Management System	15

7.2.	Quality Management System Certification	15

Please provide in ANNEX R the ISO	15

7.3.	Quality Management System of the site of the manufacture	15

7.4.	Quality Management System Certification	16

Please provide in ANNEX Q the Quality Manual of the manufacturer.	16

Please provide in ANNEX R the ISO 13485 certificate(s)	16

7.1.	Claimed standards and applicable standards Certification	16

8.	Risk  Management	16

9.	Manufacturer – Sites of Product Manufacture	17

9.1.	Product design, manufacturing flowchart and lot release procedure	17

Click here to enter text.	17

Click here to enter text.	17

Click here to enter text.	17

9.2.	Manufacturing capability	17

9.3.	Sites of manufacture	17

9.4.	Production	18

9.5.	Key suppliers	19

10.	Rationale on the product and the submission	19

11.	Manufacturer Declaration	19

Checklist of annex documents to submit with the ERPD inquiry form.	21

Manufacturer Information

Legal manufacturer

| Name of manufacturer | Click here to enter text. |  |
| --- | --- | --- |
| Manufacturer physical address | Street Name and No.: Click here to enter text. |  |
|  | City: Click here to enter text. |  |
|  | Postcode: Click here to enter text. | Country: Click here to enter text. |
| Manufacturer postal address | Street Name and No.: Click here to enter text. |  |
|  | Postal Office Box No.: Click here to enter text. |  |
|  | City: Click here to enter text. |  |
|  | Postcode: Click here to enter text. | Country: Click here to enter text. |
| Manufacturer telephone | Click here to enter text. |  |
| Manufacturer e-mail | Click here to enter text. |  |
| Manufacturer web address | Click here to enter text. |  |
| Name of parent company | Click here to enter text. |  |

Authorized contacts for the manufacturer

| Name of first authorized contact | Salutation | Click here to enter text. |
| --- | --- | --- |
|  | First Name | Click here to enter text. |
|  | Middle Name | Click here to enter text. |
|  | Last Name | Click here to enter text. |
| Authorized contact postal address | Department: Click here to enter text. |  |
|  | Street Name and No.: Click here to enter text. |  |
|  | City: Click here to enter text. |  |
|  | Postcode: Click here to enter text. | Country: Click here to enter text. |
| Authorized contact telephone | Fixed line: Click here to enter text. | Mobile phone: Click here to enter text. |
| Authorized contact email | Click here to enter text. |  |
| Authorized contact job title | Click here to enter text. |  |
| Name of the second authorized contact | Salutation | Click here to enter text. |
|  | First Name | Click here to enter text. |
|  | Second Name | Click here to enter text. |
|  | Last Name | Click here to enter text. |
| Authorized contact postal address | Department: Click here to enter text. |  |
|  | Street Name and No.: Click here to enter text. |  |
|  | City: Click here to enter text. |  |
|  | Postcode: Click here to enter text. | Country: Click here to enter text. |
| Authorized contact telephone | Fixed line: Click here to enter text. | Mobile phone: Click here to enter text. |
| 1.2.9. Authorized contact email | Click here to enter text. |  |
| 1.2.10. Authorized contact job title | Click here to enter text. |  |

Product - Information

Product name and product code/catalogue number for WHO ERPD assessment

| Product name: Click here to enter text. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Tests per kit* |  |  | Number of tests per kit: Click here to enter text. |  |  |  | Product code: Click here to enter text. |  |
| - *add lines if multiple kit sizes are available |  |  | Number of tests per kit: Click here to enter text. |  |  |  | Product code: Click here to enter text. |  |
| Kit contents, including accessories. Provide the product code for each kit size submitted for WHO ERPD evaluation. |  |  |  |  |  |  |  |  |
| Kit component and product code (one per line) |  |  | Type of component (vial/device/bottle). Include volume. |  |  |  | Number per kit |  |
| Click here to enter text. |  |  | Click here to enter text. |  |  |  | Click here to enter text. |  |
| Click here to enter text. |  |  | Click here to enter text. |  |  |  | Click here to enter text. |  |
| If reagents are supplied in more than one box, provide the reagent name, product code/catalogue number, and number of tests for each box of reagents. |  |  |  |  |  |  |  |  |
| Name of reagents per box |  |  | Product code/catalogue number |  |  | Reagent box size (number of tests per box) |  |  |
| Click here to enter text. |  |  | Click here to enter text. |  |  | Click here to enter text. |  |  |
| Packaging formats |  |  |  |  |  |  |  |  |
| - Pack name | - Pack size / number of units | - Catalogue number / code |  |  | - Dimensions - L x H x W (cm) |  |  | - Weight (kg) |
| Does this product require dedicated instrumentation? If so, please provide the instrument or component name, product code/catalogue number, and other relevant information. |  |  |  |  |  |  |  |  |
| Name of instrument or component |  |  | Product code/catalogue number |  |  | Other |  |  |
| Click here to enter text. |  |  | Click here to enter text. |  |  | Click here to enter text. |  |  |
| Is the regulatory version submitted for WHO ERPD evaluation commercially available? (See section 6 below) |  |  |  | □ Yes Date product was initially placed on the market: Click here to enter text. |  |  |  |  |
|  |  |  |  | □ No Product3 expected to be commercialized by: Click here to enter text. |  |  |  |  |

Please provide in ANNEX A any Material Safety Data Sheets (MSDS) relating to the product.

Please provide in ANNEX E copies of all the packaging labels, including labels and component labels of primary, secondary and tertiary/transportation package.

Product instructions for use and user manual

| Provide a short narrative of the intended use/intended purpose. | Click here to enter text. |
| --- | --- |
| Describe the principle of operation of the assay. | Click here to enter text. |
| Instructions-for-use (IFU) version number (if different IFUs are provided with different kit sizes, please include each, and identify which product code applies to which IFU) 5 | Click here to enter text. |
| If applicable, the user manual(s) version number for dedicated instrumentation 5 | Click here to enter text. |
| List the languages for which the IFU and users manual, if applicable, are available. | Click here to enter text. |

- Please provide in ANNEX D the English language version of the instructions for use (IFU) / product insert and, if applicable, the user manual for dedicated instrumentation.

Transport, storage and operating temperatures

| List transport, storage and operating temperatures, as well as the product shelf life. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Product name (If more than one box, provide the name for each reagent box) | Transport temperature range (min °C - max °C) | Storage temperature range (min °C -max °C) | Operating temperature range (min °C - max °C) | Shelf-life upon manufacture (months) | Indicative shelf life upon delivery (months) |
| Click here to enter text. | Click here to enter text. | Click here to enter text. | Click here to enter text. | Click here to enter text. | Click here to enter text. |
| Describe any other storage conditions that are applicable to this product. Click here to enter text. |  |  |  |  |  |

Product - Disease Category, Analyte and Method

Disease category and analyte

| Indicate the disease category to be diagnosed with the product. |  |
| --- | --- |
| Specify the analyte detected by the product. |  |

Specimen type

| Select the specimen type(s) to be used for this IVD. |  |
| --- | --- |
| □ Serum | □ Plasma |
| □ Venous whole blood | □ Capillary whole blood |
| □ Oral fluid | □ Dried blood spot |
| □ Raw sputum | □ Concentrated sputum sediments |
| □ Bronchial alveolar lavage | □ Cerebrospinal fluid |
| □ Stool | □ Lymph node aspirate |
| □ Urine | □ Other: Click here to enter text. |
| □ Cervical swab/specimen |  |

Assay format for serology and nucleic acid testing technologies

| Select the assay format |  |
| --- | --- |
| □ Immunochromatographic (lateral flow) | □ Immunofiltration (flow through) |
| □ Agglutination | □ EIA (Enzyme immunoassay) |
| □ Recombinant immunoblot | □ Western blot |
| □ Antigen neutralization | □ Immunofluorescence |
| □ NAT (nucleic acid testing) | Specify NAT methodology: |
|  | □ NAT (qualitative) □ NAT (quantitative) |
| □ Reverse hybridization/line probe assay | □ LAMP |
| □ Other: Click here to enter text. |  |

Product - Operation

Sample collection and transport materials

| Details of sample collection. |  |
| --- | --- |
| List all the materials required / supplied for sample collection. |  |

Assay controls

| Does the assay include any form of control (flow or specimen addition)? | □ Yes |
| --- | --- |
|  | □ No |
| For NAT assays, does the assay contain an internal (amplification) control? | □ Yes |
|  | □ No |
| Are control specimens (also called test-kit controls) such as positive, negative, low or high controls, supplied within the test kit or available separate of the test kit? If no answer is selected, no control specimens are assumed to be available. | □ Within |
|  | □ Separate |

Other accessories required

| Accessories (e.g. lancet, pipettes, swabs, etc.) | Code | Provided by (i.e. as part of the kit, separately by the manufacturer, or by another manufacturer) |
| --- | --- | --- |

Product usage

| Time required to obtain a test result from specimen collection to the final result being read (in minutes) |  | Click here to enter text. |  |
| --- | --- | --- | --- |
| State the minimum and maximum number of specimens (excluding controls) that can be tested in a single run |  | Minimum Click here to enter text. | Maximum Click here to enter text. |
| If instrument-based, select the throughput per day |  |  |  |
| □ 0-20 tests/day per operator | □ 20-50 tests/day per operator |  |  |
| □ 50-100 tests/day per operator | □ > 100 tests/day per operator |  |  |

Indicative cost

| Indicate the approximate cost per Test (reagent) | Click here to enter text. USD |
| --- | --- |
| Indicate the approximate instrument(s) cost, if applicable | Click here to enter text. USD |

Product – Performance Characteristics

Performance characteristics for serology EIAs and RDTs

| - Provide the manufacturer's performance characteristics for this product, for each analyte (add rows for each analyte as required) as well as the overall performance characteristics. |  |  |  |
| --- | --- | --- | --- |
| Sensitivity |  | Analyte: Click here to enter text. Sensitivity: Click here to enter text. % 95% confidence interval: (Click here to enter text. to Click here to enter text.) % |  |
| Specificity |  | Analyte: Click here to enter text. Specificity: Click here to enter text. % 95% confidence interval: (Click here to enter text. to Click here to enter text.) % |  |
| Invalid rate (RDTs) |  | Click here to enter text. % |  |
| Other relevant performance characteristics | Click here to enter text. |  |
| If some of the studies mentioned above were conducted on other design versions of the product, please provide details of design changes. |  |  |
| Click here to enter text. |  |  |
| Click here to enter text. |  |  |

Analytical performance studies

| Provide an overview of the study conducted. For each study, please provide in Annex H as specified below with study protocols and related study reports. Clearly specify the methods used. |  |  |  |
| --- | --- | --- | --- |
| Study type | Yes | No | Specimen type(s) |
| Specimen Stability |  |  | Click here to enter text. |
| Accuracy of measurement: - Trueness of measurement - Precision of measurement |  |  |  |
|  |  |  | Click here to enter text. |
|  |  |  | Click here to enter text. |
| Analytical sensitivity: - LOB / LOD / LOQ - Detection of variants |  |  |  |
|  |  |  | Click here to enter text. |
|  |  |  | Click here to enter text. |
| Analytical specificity: - Interference studies/cross-reactivity |  |  |  |
|  |  |  | Click here to enter text. |
| Measuring range |  |  | Click here to enter text. |
| Other |  |  | Click here to enter text. |
| If some of the studies mentioned above were not conducted, please provide a justification below why. |  |  |  |
| Click here to enter text. |  |  |  |
| If some of the studies mentioned above were conducted on other design versions of the product, please provide details of design changes. |  |  |  |
| Click here to enter text. |  |  |  |
| Click here to enter text. |  |  |  |

- Please provide in ANNEX H the analytical study protocols and reports relating to the analytical performance studies conducted with the product.

Please also provide in silico analysis when applicable.

Clinical performance studies

| Clinical performance data should be collected on samples taken from two different production lots of the finished product manufactured under a “final” validated production scale, except justified by the innovative aspects of the device. Independent studies are conducted without involvement from the manufacturer, although the reagents and instruments for the study may have been provided free of charge for the study. For each evaluation, please provide in Annex I and J study protocols and related study reports as specified below. |  |  |  |
| --- | --- | --- | --- |
| Clinical evaluation | Yes | No | Clinical specimen type(s) and number of unique specimens tested. |
| By the manufacturer |  |  |  |
| Independent #1 |  |  |  |
| Independent #2 |  |  |  |
| If some of the clinical studies mentioned above were not conducted, please provide a justification below why. |  |  |  |
| Click here to enter text. |  |  |  |
| If some of the studies mentioned above were conducted on other design versions of the product, please provide details of design changes. |  |  |  |
| Click here to enter text. |  |  |  |
| Click here to enter text. |  |  |  |

- Please provide in ANNEX I the protocols and reports of clinical studies conducted by the manufacturer.

Please provide in ANNEX J the protocols and reports of independent clinical studies conducted in the intended use setting.

Product stability studies

| Study type | Yes | No | Specimen type(s) |
| --- | --- | --- | --- |
| Transport |  |  | Click here to enter text. |
| Shelf-life |  |  | Click here to enter text. |
| In-use stability |  |  | Click here to enter text. |
| If some of the studies mentioned above were conducted on other design versions of the product, please provide details of design changes. |  |  |  |
| Click here to enter text. |  |  |  |
| Click here to enter text. |  |  |  |

Please provide in ANNEX G the protocols and reports of stability studies conducted with the product.

Specifications for nucleic acid tests

| Provide the manufacturer's performance specifications for this product, for each analyte/measurand* *Please add rows as required for each analyte/measurand |  |
| --- | --- |
| Clinical/Diagnostic sensitivity % (95% confidence intervals) | Click here to enter text. % (Click here to enter text. to Click here to enter text.) % |
| Clinical/Diagnostic specificity % (95% confidence intervals) | Click here to enter text. % (Click here to enter text. to Click here to enter text.) % |
| Precision (CV%) | Click here to enter text. % |
| Bias (%) for quantitative assays | Click here to enter text. % |
| Analytical sensitivity (Limit of detection (LOD)) | Click here to enter text. |
| Linear range for quantitative assays | Click here to enter text. |
| Invalid rate | Click here to enter text. % |

Regulatory and Commercial Status of the Product

Regulatory status of product

| State the regulatory versions of the product submitted for WHO ERPD assessment (please tick and enter the approval period): Click here to enter text. |  |  |
| --- | --- | --- |
| Name of jurisdiction | Type of regulatory status | Product name Product code Class of the device Period of approval: Start (DD/MM/YY) - Expiry (DD/MM/YY) |
| Performance evaluation device version | □ The product is labeled for performance evaluation. | Click here to enter text. |
| Non SRA version | □ The product is approved by the jurisdictions listed below. (Please provide information of any approvals under section 6.1.2) | Click here to enter text. |
| European Union | □ Self-certification | Click here to enter text. |
| European Union | □ Certificates issued under Regulation 2017/746: please specify the annex: Click here to enter text. | Click here to enter text. |
|  | □ Certificates issued under Regulation 2017/746: please specify the annex: Click here to enter text. | Click here to enter text. |
|  | □ Certificates issued under Regulation 2017/746: please specify the annex: Click here to enter text. | Click here to enter text. |
| European Union | □ Self-declared CE-mark, Annex III IVDD Directive 98/79/EC | Click here to enter text. |
|  | □ Full quality assurance certificate, Annex IV.3 IVDD Directive 98/79/EC | Click here to enter text. |
|  | □ Product design examination certificate, Annex IV.4 IVDD Directive 98/79/EC | Click here to enter text. |
|  | □ Type examination certificate, Annex V IVDD Directive 98/79/EC | Click here to enter text. |
|  | □ Type examination certificate, Annex VII IVDD Directive 98/79/EC | Click here to enter text. |
| United States of America | □ Premarket Approval (PMA) | Click here to enter text. |
|  | □ 510(k) clearance | Click here to enter text. |
|  | □ Certificate of Exportability to Foreign Government | Click here to enter text. |
|  | □ Non-clinical Research Use Only Certificate | Click here to enter text. |
|  | □ Other: Click here to enter text. | Click here to enter text. |
| Canada | □ Medical device license and summary report for a Class III IVD | Click here to enter text. |
|  | □ Medical device license and summary report for a Class IV IVD | Click here to enter text. |
|  | □ Manufacturer's Certificate to Cover Export of Medical Devices (MCE) | Click here to enter text. |
|  | □ Other: Click here to enter text. | Click here to enter text. |
| Australia | □ Australian Register of Therapeutic Goods (ARTG) Number (aka Medical Device Inclusion Number) Number | Click here to enter text. |
|  | □ Conformity Assessment - Full quality assurance certificate | Click here to enter text. |
|  | □ Conformity Assessment - Production quality assurance certificate | Click here to enter text. |
|  | □ License for manufacturer | Click here to enter text. |
|  | □ Other: Click here to enter text. | Click here to enter text. |
| Japan | □ Recognized foreign manufacturer | Click here to enter text. |
|  | □ Minister’s approval | Click here to enter text. |
|  | □ Other: Click here to enter text. | Click here to enter text. |
| Singapore | □ Listing on the Singapore Medical Device Register (SMDR) as Class C IVD | Click here to enter text. |
|  | □ Listing on the Singapore Medical Device Register (SMDR) as Class D IVD | Click here to enter text. |

Provide details of other current regulatory approvals for this product

(Do not include ISO 13485 certification details here. This is covered in question 7)

| Name of regulatory authority/jurisdiction | Type of regulatory approval | Product name Product code Period of approval: Start (DD/MM/YY) - Expiry (DD/MM/YY) |
| --- | --- | --- |
| Click here to enter text. | Click here to enter text. | Click here to enter text. |

Commercial agreements and rebranding

| Do you sell or supply this product or any of the components for rebranding 7? | □ Yes |
| --- | --- |
|  | □ No |
| Is this product or any of the critical components sourced from another manufacturer? | □ Yes |
|  | □ No |
| If you have answered yes to 6.2.1 or 6.2.2, please provide details: Click here to enter text. |  |

Manufacturer - Quality Management System

Quality Management System

| Is a quality management system in place for the design, development, and production of this product? | □ Yes |
| --- | --- |
|  | □ No |
| Does this quality management system meet the requirements of ISO 13485 Medical devices — Quality management systems — Requirements for regulatory purposes? | □ Yes |
|  | □ No |
| Does the quality management system meet the requirements of other similar standards e.g. those required by other jurisdictions? If yes, please provide details. | Click here to enter text. |

Quality Management System Certification

Provide details regarding any certification held in respect to the quality management system used for the manufacture of this product.

| Type of QMS e.g. ISO 13485:2003 ISO 13485:2016 | Name of certification body | Current period of certification Start (DD/MM/YY) - Expiry (DD/MM/YY) |
| --- | --- | --- |
| Click here to enter text. | Click here to enter text. | Click here to enter text. |

- Please provide in ANNEX R the ISO

Quality Management System of the site of the manufacture

Provide details regarding QMS of manufacturing site of the submitted product if different from 7.1 above.

| Is a quality management system in place for the design, development, and production of this product? | □ Yes |
| --- | --- |
|  | □ No |
| Does this quality management system meet the requirements of ISO 13485 Medical devices — Quality management systems — Requirements for regulatory purposes? | □ Yes |
|  | □ No |
| Does the quality management system meet the requirements of other similar standards e.g. those required by other jurisdictions? If yes, please provide details. | Click here to enter text. |

Quality Management System Certification

Provide details regarding any certification held in respect to the quality management system used for the manufacture of this product if different from 7.2 above.

| Type of QMS e.g. ISO 13485:2003 ISO 13485:2016 | Name of certification body | Current period of certification Start (DD/MM/YY) - Expiry (DD/MM/YY) |
| --- | --- | --- |
| Click here to enter text. | Click here to enter text. | Click here to enter text. |
| Add lines if required |  |  |

- Please provide in ANNEX Q the Quality Manual of the manufacturer.

- Please provide in ANNEX R the ISO 13485 certificate(s)

Please provide in ANNEX S audit/inspection reports associated with certification.

  - Claimed standards and applicable standards Certification

Provide details regarding any claimed standard or certification held in respect to any standard applicable to the in vitro diagnostic medical devices system used for the manufacture of this product if different from 7.2 above.

| Type of standard e.g. EN 61010-2- 101:2002 | Name of certification body | Current period of certification Start (DD/MM/YY) – Expiry (DD/MM/YY) |
| --- | --- | --- |
| Click here to enter text. | Click here to enter text. | Click here to enter text. |
| Add lines if required |  |  |

Please provide in Annex N a list of standards and indicate the level of compliance.

Risk  Management

Was a risk analysis conducted to identify possible hazards for the IVD medical device, and to address and control the risks to an acceptable level?

| Was a risk analysis conducted to identify possible hazards for the IVD medical device, and to address and control the risks to an acceptable level? | □ Yes |
| --- | --- |
|  | □ No |
| Provide he standard/guideline that was followed. | Click here to enter text. |

Please provide in ANNEX F the specific risk report, risk-analysis, risk management plan and risk control for the product.

Please provide in ANNEX W the procedure for handling complaints from customers and other stakeholders.

Please provide in ANNEX X the recall procedure for recalling products from the market.

Please provide in ANNEX Y a description of the customer support mechanisms available for the product.

Manufacturer – Sites of Product Manufacture

Product design, manufacturing flowchart and lot release procedure

| Overview of the Design and Development Records specific to the product including design and development plan and report. | - Click here to enter text. |
| --- | --- |
| Provide a process flow chart describing the manufacturing processes and control processes with relevant parameters. | - Click here to enter text. |
| Please provide a copy of the procedure for quality control of the lot release. Provide rationale for the definition of lot release testing criteria. | - Click here to enter text. |

Please provide in ANNEX L the manufacturing flowchart, and Certificates of Analysis for the last three lots released.

Please provide in ANNEX M the procedure for design changes.

Please provide in ANNEX V the procedure of quality control of lot release and a copy of the certificates of analysis for the last 3 lots released.

Manufacturing capability

| Indicate the number of tests sold/per year for the last three years. | Year | Number of tests sold |
| --- | --- | --- |
|  | Click here to enter text. | Click here to enter text. |
|  | Click here to enter text. | Click here to enter text. |
|  | Click here to enter text. | Click here to enter text. |
| Current manufacturing capacity (number of tests per year) | Click here to enter text. |  |
| Planned manufacturing capacity (scale up potential/year) | Click here to enter text. |  |

Sites of manufacture

Please provide the address where manufacturing occurs.  If multiple manufacturing locations are involved, please complete table 9.3.2.

| Manufacturing Address | Street Name and No.: Click here to enter text. |  |
| --- | --- | --- |
|  | Postal Office Box No.: Click here to enter text. |  |
|  | City: Click here to enter text. |  |
|  | Postcode: Click here to enter text. | Country: Click here to enter text. |

| List all sites that are involved in each and every step of the manufacture of this product. |  |  |
| --- | --- | --- |
| Description of the stage of manufacture | Name of site | Physical address of site |
| Design & Development | Click here to enter text. | Click here to enter text. |
| Raw materials | Click here to enter text. | Click here to enter text. |
| (list the site(s) manufacturing each of the critical raw materials; e.g. assay buffer) |  |  |
| Assembly of device | Click here to enter text. | Click here to enter text. |
| (if multiple sites are involved, detail which step(s) occur at each site; e.g. nitrocellulose card lamination) |  |  |
| In-process quality control (QC) | Click here to enter text. | Click here to enter text. |
| (if multiple sites are involved, detail which incoming QC step(s) occur at each site; e.g. nitrocellulose card lamination). |  |  |
| Primary packaging | Click here to enter text. | Click here to enter text. |
| (e.g. device pouch for RDTs) |  |  |
| Secondary packaging | Click here to enter text. | Click here to enter text. |
| (e.g. box of 25 RDTs) |  |  |
| Labeling | Click here to enter text. | Click here to enter text. |
| (e.g. lot number, expiry date, IFU) |  |  |
| Lot release QC | Click here to enter text. | Click here to enter text. |
| Warehousing of finished products | Click here to enter text. | Click here to enter text. |
| Release for supply | Click here to enter text. | Click here to enter text. |
| Customer complaints | Click here to enter text. | Click here to enter text. |
| Technical support | Click here to enter text. | Click here to enter text. |

Production

| 9.3.1. How many lots do you manufacture per year? | Click here to enter text. Per year |
| --- | --- |
| 9.3.2. What is the average size of a lot? | Click here to enter text. |
| 9.3.3. How many of this test/device in total do you manufacture per year? | Click here to enter text. Tests/devices per year |
| 9.3.4. How many instruments in total do you manufacture per year? | Click here to enter text. Instruments per year |
| 9.3.5. How many personnel are employed as full-time equivalents at the site of the manufacture? | Click here to enter text. |
| 9.3.6. What is the work area of the manufacturing activity (in square meters)? | Click here to enter text. |
| 9.3.7. What other products are manufactured at the site (brief list)? | Click here to enter text. |

Key suppliers

|  | 9.4.1 List all key suppliers and subcontractors who supply products/components/services for the manufacture of this product (e.g. raw materials, enzymes, key components, bulk chemicals and reagents, instruments, etc.) |  |  |
| --- | --- | --- | --- |
| Description of the component/product/service supplied | Product code | Name of supplier | Physical address of supplier |
| Click here to enter text. |  | Click here to enter text. | Click here to enter text. |

Please provide in ANNEX O a flow diagram describing the manufacturing and control processes with relevant parameters.

Please provide in ANNEX P a list of key components and reagents, including supplier name and address.

Please provide in ANNEX T the procedure for the evaluation of key suppliers.

Please provide in Annex U the procedure for quality control of received critical reagents and components.

Rationale on the product and the submission

Please provide a rationale for the product's suitability according to the specifications outlined in the Invitation to Manufacturer.

Manufacturer Declaration

The undersigned duly authorized representative of the Manufacturer makes the following declarations on behalf of the Manufacturer and, in signing this pre-Questionnaire, declares that he/she has the power and authority to bind the Manufacturer.

I declare that:

- I am authorized to represent the manufacturer specified in this ERPD assessment pre-Questionnaire (the "Manufacturer") for the purposes of WHO diagnostics ERPD assessment of the product specified in this pre-Questionnaire (the "Product").

- All the information provided in this form is current, complete and correct.

- The Manufacturer holds data in support of all claims made in this Questionnaire.

- The information in this questionnaire may be shared confidentially amongst WHO and WHO appointed experts.

- The Manufacturer understands and agrees that the purpose of the ERPD assessment of IVDs is to provide guidance to interested UN agencies and WHO Member States in their procurement decisions.   In this regard, the results of the ERPD assessment, the participation in the ERPD assessment process, the ERPD Category of an IVD and/or the WHO name and emblem, may not be used by manufacturers or any other party for commercial and/or promotional purposes.

- The Manufacturer understands and agrees that the validity of the ERPD assessment Category is dependent on the fulfillment of post-assessment requirements including:

  - no changes to the product version, intended use, key suppliers and components listed in 9.5 or to any manufacturing processes or facilities

  - fulfilling post-market surveillance and reporting obligations.

  - and an ongoing compliance with WHO ERPD criteria and expression of interest.

Name of the Duly Authorized Representative of the Manufacturer: Click here to enter text.

Signature of the Duly Authorized Representative of the Manufacturer: _________________

Date: Click here to enter text.

- Checklist of annex documents to submit with the ERPD questionnaire.

| Annexe |  |  | Justification if not provided |
| --- | --- | --- | --- |
|  | Annex A | Hazardous classification: including Material Safety Data Sheets (MSDS). | Click here to enter text. |
|  | Annex B | Copy of the WHO ERPD assessment of Diagnostics signed letter of agreement mentioning the No for this specific product and/or copy of product license/approval/registration emitted by the SRA. | Click here to enter text. |
|  | Annex C | Terms of the contract between the applicant and the OEM related to access to the technical documentation, complaints management, vigilance and recall. | Click here to enter text. |
|  | Annex D | Instructions for Use (IFU). | Click here to enter text. |
|  | Annex E | Labeling & packaging: Labels artwork /copy of labels, description and composition of primary, secondary and tertiary (outer shipping) packaging materials. | Click here to enter text. |
|  | Annex F | Risk analysis, risk management plan and risk control including a) for production and b) end user considerations. | Click here to enter text. |
|  | Annex G | Stability studies (real time, accelerated, include protocol): shelf life, in-use stability, transportation. | Click here to enter text. |
|  | Annex H | Analytical studies: analytical performance characteristics including specimen types validation studies. | Click here to enter text. |
|  | Annex I | Clinical performance studies: By the manufacturer. | Click here to enter text. |
|  | Annex J | Clinical performance studies (in intended use settings): Independent. | Click here to enter text. |
|  | Annex K | Other studies performed to demonstrate product performances. | Click here to enter text. |
|  | Annex L | Design and manufacturing information: design overview including biological safety, if available design and development plan and design and development report | Click here to enter text. |
|  | Annex M | Procedure for design changes. | Click here to enter text. |
|  | Annex N | List of standards should include the name of standard organization, standard number, standard title, year/version, and if full or partial compliance. | Click here to enter text. |
|  | Annex O | Manufacturing processes: flow diagram describing the manufacturing and control processes with relevant parameters. | Click here to enter text. |
|  | Annex P | List of key components and reagents, including specifications and criteria of acceptance, and suppliers (including for DBS suppliers, if not provided) including supplier name and address. | Click here to enter text. |
|  | Annex Q | Quality Manual. | Click here to enter text. |
|  | Annex R | ISO 13485 certificate(s) related to this diagnostic product at this manufacturing site(s). | Click here to enter text. |
|  | Annex S | Audit/Inspection reports associated with certification (SRA or MDSAP, or CE or USFDA approval if relevant): two most recent and valid surveillance reports and the most recent valid recertification report. Include the list of findings associated with each report. | Click here to enter text. |
|  | Annex T | Procedure for the evaluation of key suppliers. | Click here to enter text. |
|  | Annex U | Procedure for quality control of received critical reagents and components. | Click here to enter text. |
|  | Annex V | Procedure for quality control of lot release including a copy of the certificate of analysis for the last 3 lots released. | Click here to enter text. |
|  | Annex W | Procedure for handling complaints from customers and other stakeholders. | Click here to enter text. |
|  | Annex X | Recall Procedure, for recalling products from the market. | Click here to enter text. |
|  | Annex Y | Description of customer support mechanisms: training (including materials); technical support, customer feedback mechanisms. | Click here to enter text. |
|  | Annex Z | Any other relevant information. | Click here to enter text. |

ATTACHMENT: Attach a signed letter from the manufacturer stating that the above two contacts are authorized to represent the manufacturer for the purposes of ERPD assessment of this product.

Refers to the product holding the regulatory version submitted for WHO ERPD assessment.

Applications for WHO ERPD round of IVDs are accepted only from the legal manufacturer of the product.