## TPP SCH M&E
Obj/Need | 1. Product use summary | Minimum | Ideal | Background, annotation re requirement risk, etc
Obj | 1.1 Intended use | An in vitro point-of-care test for the detection of analyte specific to S. mansoni or S. haemotobium to aid in monitoring and evaluation of schistosomiasis (SCH) control efforts. | An in vitro point-of-care test for the detection of analyte specific to S. mansoni and S. haemotobium to aid in monitoring and evaluation of schistosomiasis (SCH) control efforts. | The "Ideal" test would be able to detect all species of schistosome infections so that one test could be used in all control programs as praziquantel is the treatment for all schistosome infections. However, some analytes work better for one species (e.g., CCA detection for Schistosoma mansoni). If a test only detected S. mansoni or S. haematobium but fulfilled the other M&E TPP requirements, it would still be useful for those specific programs, and therefore acceptable as a "Minimum".
Obj,2,6 | 1.2 Targeted population | School-age children resident in the defined geographic area and other high-risk groups. | Same. | Examples of high-risk groups may include fisherfolk, car washers, agricultural workers.
3,4,8,10 | 1.3 Lowest infrastructure level | The test will be performed under "zero-infrastructure" conditions including but not limited to schools, community health centers, households, and outdoor conditions. | Same.
3,4,5,6,8 | 1.4 Lowest level user | This test will be performed by health personnel, community health workers, and community volunteers. | Same.
3,4,5,6 | 1.5 Training requirements | One day or less for health personnel, community volunteers and lay persons; testing job aid/instructions for use should be made available via the internet for download (i.e., are publicly available). | Same.
Obj/Need | 2. Design | Minimum | Ideal | Annotation
3,4,8 | 2.1 Portability | Highly portable with no specialized transport needs. | Same. | "Portability" implies those characteristics described in 2.2-2.4 as well as no locational limitations to where the test can be performed.
3,8 | 2.2 Instrument/power requirement | Self-contained kit operates independent of any mains power. | Same.
3,4,5,8 | 2.3 Water requirement | Self-contained kit operates independent of any water supply. | Same.
3,4,5,8 | 2.4 Maintenance and calibration | No maintenance required (i.e., disposable) and no calibration required. | Same.
2,3,4,6,7, 11 | 2.5 Sample type/collection | Peripheral whole blood from finger stick, urine. | Same. | The desire is to avoid testing reliant on stool or venous blood. The most obvious candidates are urine or fingerstick blood; however, other non-stool, non-venous blood samples (e.g., saliva, breath) would also be acceptable if they meet test performance criteria.
3,4,6,7,8 | 2.6 Sample preparation/transfer device | · Sample preparation for whole-blood finger stick should not exceed transfer of sample to the testing device, either directly or by use of a predefined and provided device (e.g., inverted cup, disposable fixed-volume transfer pipet, etc.) · Sample preparation for urine should not exceed 3 steps prior to adding the sample to the testing device; all necessary supplies for sample preparation should be provided in the kit. | Same.
2,3,4,6,7,8 | 2.7 Sample volume | 1-100 uL | 1-10 µL | "Sample volume" represents that volume which is introduced to the test device itself. The volume of specimen available may be larger than this, particularly in the case of urine specimens. For this reason the volume of specimen from the patient could be: · 1-100 µL for capillary blood · 1-10 mL for urine
Obj,1,9,11 | 2.8 Target analyte | Biomarker(s) specific for current active infection from/viability of Schistosoma mansoni (S.m) or Schistosoma haematobium (S.h) | Same. | Biomarkers based on antigens or other types (e.g., some nucleic acid-based markers) will presumably provide more favorable half-life kinetics and thus enable more accurate determination of current active infection from/viability of S.m or S.h in all age groups. However, a mainstream antigen-based biomarker such as CCA is not adequate outside of S.m, and existing antigens for IgG-based serology biomarkers possess half-life kinetics that enable determination of prior infection from S.m or S.h but their half-life precludes their use as markers of active infection/viable parasite. Even though other markers have been proposed (e.g, CAA, miRNA markers, Abs with suitable seroconversion, etc) qualification and validation of these will require significant time and effort going forward. For this reason, this is a high-risk requirement.
1,4,5,7,8,9 | 2.9 Type of analysis | Qualitative | Semi-quantitative | Detection of active SCH infections for monitoring & evaluation shall be independent of infection intensity, i.e., low, moderate and high intensity infections are all detectable. However, it may be desirable/"nice to have" the ability to gain some degree of information re infection intensity.
3,4,5,8 | 2.10 Detection | High contrast, clear result for naked eye; indoor or outdoor reading of a signal that provides a definitive "yes/no" result without the need for color discrimination. | Provides some indiction of infection intensity | Same as above.
1,4,5,9, 11 | 2.11 Quality control | · Internal process control indicator | · Internal process control indicator · Colorimetric or other indicator to identify excessive heat/humidity exposure | For further consideration (i.e., beyond TPP scope): definition of how endogenous positive controls should/would be used if they are to be included with a test, e.g., will there be a community-wide quality panel, centralized reporting of results, etc.
3,4,5,6,8, 10 | 2.12 Supplies needed | All reagents and supplied included in test kit, with minimal import restrictions (e.g., animal-free) | Same | Assumed that all materials are included, but does not include sample collection devices.
3,4,6,8 | 2.13 Safety | Normal use of the test does not create any additional hazards to the operator when observing Universal Blood Safety/Body Fluid precautions. | Same
Obj/Need | 3. Performance | Minimum | Ideal | Annotation
Obj,1,11 | 3.1 Species differentiation/detection | S.m and/or S.h | S.m and S.h | · There should be no interference from other trematode parasites, nor other co-endemic helminths (e.g., nematodes/STHs, cestodes) · Current test formats that meet other TPP characteristics are meant only for S.m so development of S.h detection is not a readily available capability. For this reason it is considered a high-risk requirement.
Obj,1,9,11 | 3.2 Diagnostic/clinical sensitivity | For a sample of 50 individuals: >80% For a sample of 100 individuals: >60% | For a sample of 50 individuals: >78% For a sample of 100 individuals: >75% | Assumptions made for Dx performance modeling: • Null hypothesis: community prevalence is ≥10 % (or, we reject null hypothesis when prevalence is <10%) • This requirement is based on M&E regional target and the known focality of schistosomiasis transmission with a wide coefficient of variation between villages. •For minimum, risk of Type II error (i.e., mistakenly conclude that treatment must continue as before) should be <30% minimum and risk of Type I error (i.e., mistakenly reduce treatment to a lower level of intervention when, in fact, MDA should continue) should be less than 10%. For ideal, risk of Type II error should be < 20%, and risk of Type I error should be < 5%. Sensitivity and specificity targets are determined by size of LQAS sample, % confidence in survey cutoff, acceptable Type I error, and acceptable Type II error. The effects of changes in these parameters on desired TPP sensitivity and specificity are demonstrated in the embedded "M&E options" file. • Current test formats such as Kato-Katz and urine filtration that meet other TPP characteristics (particularly when combined with specificity) do not consistently achieve this sensitivity across S.m and S.h. For this reason it is considered a high-risk requirement. · NOTE: Verification of sensitivity and specificity must be conducted in a manner where suitable reference tests (which may include composite reference tests), specimens and performance assessment protocols are demonstrated as being appropriate for the purpose. Additional operational research will be required to determine how to use results for area-wide decisions.
Obj,1,9,11 | 3.3 Diagnostic/clinical specificity | For a sample of 50 individuals: >97% For a sample of 100 individuals: >95% | For a sample of 50 individuals: >98.5% For a sample of 100 individuals: >96.5% | See description above for 3.2 Diagnostic/clinical sensitivity, including the assignment of this as a high-risk requirement. • The "Minimum" specificity requirement of >97% for a sample of 50 individuals and >95% for a sample of 100 individuals permits accurate rejection of the null hypothesis (i.e, <10% prevalence) at least 70% of the time by providing <3 positive test results within a 50-person sample or <6 postive test results within a 100-person sample at a single site, i.e., for screening individual communities. • The "Ideal" specificity requirement of >98.5% for a sample of 50 individuals and >96.5% for a sample of 100 individuals permits accurate rejection of the null hypothesis (i.e, <10% prevalence) at least 80% of the time by providing <2 positive test results within a 50-person sample or <6 positive test results within a 100-person sample. · NOTE: Verification of sensitivity and specificity must be conducted in a manner where suitable reference tests (which may include composite reference tests), specimens and performance assessment protocols are demonstrated as being appropriate for the purpose.
3,4,7 | 3.4 Time to results | <2 hrs to developed test result | <0.5 hour to developed test result
3,4 | 3.5 Result stability | Developed test result remains stable for 0.5 hour | Developed test result remains stable for 24 hours | Ability to interpret final test results in a manner not constrained by timed steps helps greatly in resource-constrained settings
3,4,7 | 3.6 Throughput | ≥ 7 individuals tested per hour per tester | ≥ 10 individual tested per hour per tester | "Throughput" represents how many tests can be run in parallel within an hour and is separate from the time to results.
3,4,8,10 | 3.7 Target shelf life/stability | ≥18 months, 2 C - 40 C, 75% RH (no cold chain required); temperature excursion/prolonged deviation of 50 C for two weeks acceptable. | ≥24 months, 2 C - 40 C, 75% RH (no cold chain required); temperature excursion/prolonged deviation of 50 C for two weeks acceptable.
3,4,7,8 | 3.8 Ease of use | Less than or equal to three timed steps; ten or fewer user steps, instructions for use should include diagram of method and results interpretation. For field-based test, must be able to use in an unprotected external environment. | Less than or equal to one timed step; five or fewer user steps, instructions for use should include diagram of method and results interpretation. For field-based test, must be able to use in an unprotected external environment. | This is in relation to the test operation only.
3,4,8 | 3.9 Ease of results interpretation | Refer to Requirement 2.10 | Same
3,4,5,8,10 | 3.10 Operating temperature | 15 C - 40 C, 75% RH | Same
Obj/Need | 4. Product Configuration | Minimum | Ideal | Annotation
3,5,10 | 4.1 Shipping conditions | Conformance to applicable requirements of ASTM D4169-05 and ISO 11607-1:2006 (or equivalent); no cold-chain shipping required. | Same
3,4,5,8,10 | 4.2 Storage conditions | Ambient storage conditions, 2 C - 40 C; no cold storage required | Same
3,4,5,8 | 4.3 Service and support | None required. | Same
3,4,5,6 | 4.4 Waste disposal | Does not include material that cannot be disposed of in normal laboratory biohazard waste streams. | · Does not include material that cannot be disposed of in normal laboratory biohazard waste streams. · Daily throughput needs are considered in the packaging so as to minimize waste.
4,9,11 | 4.5 Labeling and instructions for use (IFUs) | Compliance required per IVDR requirements and WHO PQ guidance (see WHO TGS-5: Designing instructions for use for in vitro diagnostic medical devices); Product Insert shall be available in relevant local language(s) and shall include Instructions for Use (IFUs) for the test. Must provide accurate MSDS information on components that are potentially toxic. | Same | WHO PQ label/IFU guidance should be applied, regardless of whether test is WHO PQed or not.
Obj/Need | 5. Product cost and channels | Minimum | Ideal | Annotation
5,8 | 5.1 Target pricing per test | <US$3 | <US$1 | Actual price details to be captured if it can be estimated reasonably, as it will depend on various factors. "Minimum" based on meeting current Kato-Katz-level pricing, "Ideal" based on KOL feedback. NOTE: pricing does NOT include shipping and handling/distribution costs, which may be highly variable.
3, 5,8 | 5.2 Capital cost | No capital costs | Same
2,3 | 5.3 Product lead times | <6 weeks | <4 weeks | "Lead time" includes fulfillment and delivery of ordered tests to procurer. NOTE: May be adjusted to longer lead times provided shelf life is of sufficient duration, e.g., two years. Purpose for information is to address design decisions that can impact line/process design for production, and hence impact lead times.
Obj,1,4,11 | 5.4 Product registration (i.e., substantiation to regulatory body of product claims) | · IVDR (or other SRA) · Any registration required for export from country of origin (e.g., KMFDS from Korea, etc) · WHO PQ (if required/applicable) · Country-level registration (if required/applicable for target countries) | Same | Need to confirm that WHO PQ will process NTD Dx dossiers

## SCH M&E - Corr Matrix
| Obj | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
| Objective: To determine the impact of control efforts on schistosomiasis prevalence within a population. | Prevalence measurement: Need to be able to detect ³10% prevalence of any active infection intensity for Sm and Sh species. | Ages tested: Need to be able to conduct testing in school age children or other high-risk groups. | Testing location: Need to be able to conduct testing at point-of-care/point-of-decision. | Test simplicity: Need to be able to conduct testing with a minimum of training or skills. | Test price: Need to be able to provide tests at a price where assessment costs are preferable to continued MDA. | Sample type: Need to conduct analyses on easily collected non-stool samples, e.g., fingerstick blood, urine. | Time to result: Need to generate test results in a rapid (i.e., <0.5 day) manner. | Equipment: Need to have minimal-to-no additional equipment required for the test. | Performance: Need to have Dx sensitivity and Dx specificity requirements met that enable prevalence determinations of sufficient accuracy. | Cold-chain: Need to have no requirement for cold-chain shipping, storage or operation. | Test target: Need to be able to detect active infection from schisto spp (Sm and Sh)
1.1 Intended use | X
1.2 Targeted population | X | bar: 2; 6
1.3 Lowest infrastructure level | bar: 3 to 4; 8; 10
1.4 Lowest level user | bar: 3 to 6; 8
1.5 Training requirements | bar: 3 to 6
2.1 Portability | bar: 3 to 4; 8
2.2 Instrument/power requirement | bar: 3; 8
2.3 Water requirement | bar: 3 to 5; 8
2.4 Maintenance and calibration | bar: 3 to 5; 8
2.5 Sample type/collection | bar: 2 to 4; 6 to 7; 11
2.6 Sample preparation/transfer device | bar: 3 to 4; 6 to 8
2.7 Sample volume | bar: 2 to 4; 6 to 8
2.8 Target analyte | X | bar: 1; 9; 11
2.9 Type of analysis | bar: 1; 4 to 5; 7 to 9
2.10 Detection | bar: 3 to 5; 8
2.11 Quality control | bar: 1; 4 to 5; 9; 11
2.12 Supplies needed | bar: 3 to 6; 8; 10
2.13 Safety | bar: 3 to 4; 6; 8
3.1 Species differentiation/detection | X | bar: 1; 11
3.2 Diagnostic/clinical sensitivity | X | bar: 1; 9; 11
3.3 Diagnostic/clinical specificity | X | bar: 1; 9; 11
3.4 Time to results | bar: 3 to 4; 7
3.5 Result stability | bar: 3 to 4
3.6 Throughput | bar: 3 to 4; 7
3.7 Target shelf life/stability | bar: 3 to 4; 8; 10
3.8 Ease of use | bar: 3 to 4; 7 to 8
3.9 Ease of results interpretation | bar: 3 to 4; 8
3.10 Operating temperature | bar: 3 to 5; 8; 10
4.1 Shipping conditions | bar: 3; 5; 10
4.2 Storage conditions | bar: 3 to 5; 8; 10
4.3 Service and support | bar: 3 to 5; 8
4.4 Waste disposal | bar: 3 to 6
4.5 Labeling | bar: 4; 9; 11
5.1 Target pricing per test | bar: 5; 8
5.2 Capital cost | bar: 3; 5; 8
5.3 Product lead times | bar: 2 to 3
5.4 Product registration | X | bar: 1; 4; 11

## TPP SCH Surveillance
Obj/Need | 1. Product use summary | Minimum | Ideal | Background, annotation re requirement risk, etc
Obj | 1.1 Intended use | A combination of two in vitro tests (first test is point-of-care, second test can be lab-based) for the detection of analyte specific to S. mansoni or S. haemotobium to aid in determining whether transmission has been interrupted in a population. | A combination of two in vitro point-of-care tests for the detection of analyte specific to S. mansoni, S. haemotobium and other species to aid in determining whether transmission has been interrupted in a population. | · A two-step/two-test strategy is assumed: Initial positive results are retested with an independent, second (i.e., higher specificity) test to confirm and provide the specificity required. (NOTE: a single-test approach would requires performance for both sensitivity and specificity that are highly onerous, and at best would require detection of a threshold that is 3X higher than that currently used.) · The "Ideal" requirements assume the both tests are point-of-care tests, that when used together fulfill the overall testing requirements (such as sensitivity and specificity). Other test characteristics (e.g., infrastructure requirements, end user, training, etc.) should be consistent with for point of care tests for both tests. • The "Minimum" requirements assumes two tests, one of which is point of care but the other may be lab-based, that when used together fulfill the overall testing requirements (such as sensitivity and specificity). Other test characteristics (e.g., infrastructure requirements, end user, training, etc.) should be consistent with for point of care tests for at least one test but the other test may have characteristics consistent with a lab based test (e.g., storage and equipment requirements that need a source of electricity). · NOTE: It is acceptable to have a "hybrid" or "blended" two-test strategy, e.g., an initial/"screen" test is performed via a point-of-care test and a confirmation test is performed via lab-based test, thus representing a mid-ground between "Minimum" and "Ideal". · NOTE: These requirements are based on testing of individuals. Pooling would require reexamination of impacted requirements re sensitivity, specificity, and potentially others.
Obj,2,6 | 1.2 Targeted population | All ages >1 year-old. | Same. | Testing algorithm will be addressed programatically. For example, if transmission is thought to have been interrupted ten years ago, all children under ten years of age should be negative. However, because the worms can live for decades, there could be older individuals who still have active infections and may need to be tested.
3,4,8,10 | 1.3 Lowest infrastructure level | For lab-based tests, tests can be performed in a centralized (e.g., regional or national) diagnostic testing laboratory. | For point-of-care tests, the test will be performed under "zero-infrastructure" conditions including but not limited to schools, community health centers, households, and outdoor conditions.
3,4,5,6,8 | 1.4 Lowest level user | For lab-based tests, the test will be performed by trained laboratory personnel. | For point-of-care tests, this test will be performed by health personnel, community health workers, and community volunteers.
3,4,5,6 | 1.5 Training requirements | For lab-based tests, less than one week for trained laboratory technicians; testing job aids/instructions for use should be made available via the internet for download (i.e., are publicly available) and in local languages. | For point of care tests, one day or less for health personnel, community health workers, community volunteers and lay persons; testing job aid/instructions for use should be made available via the internet for download (i.e., are publicly available).
Obj/Need | 2. Design | Minimum | Ideal | Annotation
3,4,8 | 2.1 Portability | For lab-based tests, there are no special requirements regarding portability of the test itself. | For point-of-care tests, the test will be highly portable with no specialized transport needs. | For "Minimum", the lab-based test will need to function with samples that have been collected up to 1 day prior. For "Ideal", "Portability" implies those characteristics described in 2.2-2.4 as well as no locational limitations to where the test can be performed.
3,8 | 2.2 Instrument/power requirement | For lab-based tests, access to plug-in power (mains or generator) is acceptable. | For point-of-care tests, the self-contained kit operates independent of any mains or generator power.
3,4,5,8 | 2.3 Water requirement | For lab-based tests, access to a source of laboratory grade water is acceptable. | For point-of-care tests, the self-contained kit operates independent of any water supply.
3,4,5,8 | 2.4 Maintenance and calibration | For lab-based tests, periodic maintenance and calibration of any instrumentation must be available in the countries, and should not be needed more frequently than once a year. | For point of care tests, no maintenance is required (i.e., disposable) and no calibration required.
2,3,4,6,7 | 2.5 Sample type/collection | Peripheral whole blood from finger stick, urine; samples may be different types. | Peripheral whole blood from finger stick, urine; samples would be the same type. | The desire is to avoid testing reliant on stool or venous blood. The most obvious candidates are urine or fingerstick blood; however, other non-stool, non-venous blood samples (e.g., saliva, breath) would also be acceptable if they meet test performance criteria.
3,4,6,7,8 | 2.6 Sample preparation/transfer device | For lab-based tests, sample preparation should not exceed transfer of specimen to a suitably designed sample transport device, either directly or by use of a predefined and provided device (e.g., inverted cup, transfer loop, etc; may provide their own validated transfer device) for final processing at a laboratory. (See comments in 2.1) | · For point-of-care tests, sample preparation for whole-blood finger stick should not exceed transfer of sample to the testing device, either directly or by use of a predefined and provided device (e.g., inverted cup, disposable fixed-volume transfer pipet, etc.) · Sample preparation for urine should not exceed 3 steps prior to adding the sample to the testing device; all necessary supplies for sample preparation should be provided in the kit. | See comments in 2.1
2,3,4,6,7,8 | 2.7 Sample volume | 1-100 uL | 1-10 µL | "Sample volume" represents that volume which is introduced to the test device itself.
Obj,1,9 | 2.8 Target analyte | Biomarker(s) specific for current active infection from/viability of Schistosoma mansoni (S.m), Schistosoma haematobium (S.h), and other species. | Same. | · Biomarkers based on antigens or other types (e.g., some nucleic acid-based markers) will presumably provide more favorable half-life kinetics and thus enable more accurate determination of current active infection from/viability of S.m or S.h in all age groups. However, a mainstream antigen-based biomarker such as CCA is not adequate outside of S.m, and existing antigens for IgG-based serology biomarkers possess half-life kinetics that enable determination of prior infection from S.m or S.h but their half-life precludes their use as markers of active infection/viable parasite. Even though other markers have been proposed (e.g, CAA, miRNA markers, Abs with suitable seroconversion, etc) qualification and validation of these will require significant time and effort going forward. For this reason, this is a high-risk requirement. · NOTE: In areas with low enough infection levels to warrant interruption of transmission/surveillance testing, infection levels are expected to be low. Therefore, incorporation of a sensitive first test that does not necessarily distinguish current from former infections with a secondary test highly specific for active infection could be a viable strategy. Only individuals who are positive for both tests are considered positive for active infection.
1,4,5,7,8,9 | 2.9 Type of analysis | Qualitative | Semi-quantitative | Detection of active SCH infections for surveillance shall be independent of infection intensity, i.e., low, moderate and high intensity infections are all detectable. However, it may be desirable/"nice to have" the ability to gain some degree of information re infection intensity.
3,4,5,8 | 2.10 Detection | For lab-based tests, may include instrument-based detection of a signal that provides unambiguous determination of a qualitative or semi-quantitative measure. | For point-of-care tests, results shall be a high-contrast and clear result for naked eye; indoor and outdoor reading of a signal that provides a definitive "yes/no" result. Signal interpretation may be qualitative or semi-quantitative. | Same as above.
1,4,5,9 | 2.11 Quality control | · Internal process control indicator | · Internal process control indicator · Colorimetric or other indicator to identify excessive heat/humidity exposure | For further consideration (i.e., beyond TPP scope): definition of how endogenous positive controls should/would be used if they are to be included with a test, e.g., will there be a community-wide quality panel, centralized reporting of results, etc.
3,4,5,6,8, 10 | 2.12 Supplies needed | All reagents and supplied included in test kit, with minimal import restrictions (e.g., animal-free) | Same | Assumed that all materials are included, but does not include sample collection devices.
3,4,6,8 | 2.13 Safety | Normal use does not create any additional hazards to the operator when observing Universal Blood Safety/Body Fluid precautions. | Same
Obj/Need | 3. Performance | Minimum | Ideal | Annotation
Obj,1 | 3.1 Species differentiation/detection | S.m or S.h | S.m and S.h and other species | · There should be no interference from other trematode parasites, nor other co-endemic helminths (e.g., nematodes/ STHs, cestodes) · Current test formats that meet other TPP characteristics are are not a readily available capability for S.m, S.h and/or other species. For this reason it is considered a high-risk requirement.
Obj,1,9 | 3.2 Diagnostic/clinical sensitivity | Initial/"Screen" test 1: >99% AND Confirmation test 2: >90% (for test 1 positives) | Initial/"Screen" test 1: >95% AND Confirmation test 2: >93% (for test 1 positives) | Assumptions made for Dx performance modeling: · Null hypothesis: local prevalence is ≥3 % (or, we reject null hypothesis when prevalence is <3%). NOTE: 3% was selected as the threshold since there is no level of test sensitivity that can assure Type I error of <5% for thresholds lower than this with a sample of 300 persons/site at the levels of specificity required, and detection of >2% prevalence can only be achieved if accepted Type I error is <10% rather than <5%. • Surveying 300 people in 10 randomly selected villages, where all communities must test "negative" to reject null hypothesis. This requirement is based on the known focality of schistosomiasis transmission with a wide coefficient of variation between villages. • Risk of Type II error (i.e., mistakenly conclude that treatment must continue as before) to be <20%, and our risk of Type I error (i.e., mistakenly reduce treatment to a lower level of intervention when, in fact, MDA should continue) to be <10%. • NOTE: An acceptable single-test approach requires 88% sensitivity and 99.5% specificity for a 3% prevalence threshold. Because specificity is the more critical factor for testing in very low prevalence areas, reaching a combined 99.5% specificity for the two-test system is key to optimal test performance. Therefore, a TWO-STEP testing strategy is proposed: initial positives are retested with an independent second (i.e., higher specificity and possibly lower sensitivity) test to confirm and provide the specificity required. • "Minimum" requirements represent a significant reduction of sensitivity needed for the confirmation screening test, and hence greater stringency is needed for the initial test. • The "Ideal" requirements represent a more "shared burden" of sensitivity between the initial screening test and the confirmation test. • Current test formats that meet other TPP characteristics do not consistently achieve this sensitivity across S.m and S.h. For this reason it is considered a high-risk requirement. · NOTE: Verification of sensitivity and specificity must be conducted in a manner where suitable reference tests (which may include composite reference tests), specimens and performance assessment protocols are demonstrated as being appropriate for the purpose.
Obj,1,9 | 3.3 Diagnostic/clinical specificity | Initial/"Screen" test 1: >60% AND Confirmation test 2: >99% (for test 1 positives) | Initial/"Screen" test 1: >80% AND Confirmation test 2: >98% (for test 1 positives) | See description above for 3.2 Diagnostic/clinical sensitivity, including the assignment of this as a high-risk requirement. Assumptions made for Dx performance modeling: • The "Minimum" requirements represent a significant reduction of specificity needed for the initial screening test, and hence greater stringency needed for the confirmation test. • The "Ideal" requirements represent a more "shared burden" of specificity between the initial screening test and the confirmation test, while still yielding a combined specificity of 99.5% (and sensitivity = 88%). • The combined specificity requirement of >99.5% permits accurate rejection of the null hypothesis (i.e, <3% prevalence) at least 80% of the time by providing <6 false positive test result within a 300-person/ site sample in a 10-site cluster, i.e., EACH SITE would need <6 positive results to reject 3% null hypothesis. Viable combinations of sensitivity and specificity are shown in the table below, where "Minimum" conditions shown are highlighted in yellow, and "Ideal" conditions are highlighted in green. · NOTE: Verification of sensitivity and specificity must be conducted in a manner where suitable reference tests (which may include composite reference tests), specimens and performance assessment protocols are demonstrated as being appropriate for the purpose.
3,4,7 | 3.4 Time to results | For lab-based tests, <2 hours to developed test result | For point-of-care tests, <0.5 hours to developed test result
3,4 | 3.5 Result stability | For lab-based tests, developed test results can be stored for future reference, transfer, etc | For point-of-care tests, developed test result remains stable for ≥0.5 hour | Ability to interpret final test results in a manner not constrained by timed steps helps greatly in resource-constrained settings
3,4,7 | 3.6 Throughput | For lab-based tests, ³ 100 tests per day per tester | For point-of-care tests, ≥ 10 tests per hour per tester | "Throughput" represents how many tests can be run in parallel within an hour and is separate from the time to results.
3,4,8,10 | 3.7 Target shelf life/stability | ≥18 months, 4 C - 40 C, 75% RH; temperature excursion/prolonged deviation of 50 C for two weeks acceptable. | ≥24 months, 4 C - 40 C, 75% RH; temperature excursion/prolonged deviation of 50 C for two weeks acceptable. | Requirements relate to test kits (i.e., consumables, whether point-of-care tests or specimen collection kits for lab-based testing) that are used in the field. NOTE: those consumables used in a lab for lab-based testing and do not require cold chain should meet these same stability requirements; those that DO require cold chain should meet the same stability duration for either "Minimum" or "Ideal", but at 4 ± 2 C.
3,4,7,8 | 3.8 Ease of use | For lab-based tests, five or fewer timed steps; fifteen or less user steps, instructions for use should include diagram of method and results interpretation. | Less than or equal to one timed step; five or fewer user steps, instructions for use should include diagram of method and results interpretation. For field-based test, must be able to use in an unprotected external environment. | This is in relation to the test operation only.
3,4,8 | 3.9 Ease of results interpretation | For lab-based tests, results can be interpreted by a suitable instrument. | For point-of-care tests, refer to Requirement 2.10 "Ideal".
3,4,5,8,10 | 3.10 Operating temperature | 20 C -- 40 C | 15 C -- 40 C
Obj/Need | 4. Product Configuration | Minimum | Ideal | Annotation
3,5,10 | 4.1 Shipping conditions | For lab-based tests, conformance to applicable requirements of ASTM D4169-05 and ISO 11607-1:2006 (or equivalent); cold-chain shipping (e.g., 0-4 C) is acceptable for any test components/ consumables. | For point-of-care tests, conformance to applicable requirements of ASTM D4169-05 and ISO 11607-1:2006 (or equivalent); no cold-chain shipping required.
3,4,5,8,10 | 4.2 Storage conditions | For lab-based tests, cold storage is acceptable for any lab-based testing components/consumables. | For point-of-care tests, ambient storage conditions which may range from 4 C - 40 C; no cold storage required
3,4,5,8 | 4.3 Service and support | For lab-based tests, support must be available from manufacturer for any lab-based equipment and/or procedures. | For point-of-care tests, none required.
3,4,5,6 | 4.4 Waste disposal | Does not include material that cannot be disposed of in normal laboratory biohazard waste streams. | · Does not include material that cannot be disposed of in normal laboratory biohazard waste streams. · Daily throughput needs are considered in the packaging so as to minimize waste.
4,9 | 4.5 Labeling and instructions for use (IFUs) | Compliance required per IVDR and WHO PQ guidance; Product Insert shall be available in relevant local language(s) and shall include Instructions for Use (IFUs) for the test. Must provide accurate MSDS information on components that are potentially toxic. | Same. | WHO PQ label/IFU guidance should be applied, regardless of whether test is WHO PQed or not.
Obj/Need | 5. Product cost and channels | Minimum | Ideal | Annotation
5,8 | 5.1 Target pricing per test | <US$3 | <US$1 | Actual price details to be captured if it can be estimated reasonably, as it will depend on various factors. "Minimum" based on meeting current Kato-Katz-level pricing, "Ideal" based on KOL feedback. NOTE: pricing does NOT include shipping and handling/distribution costs, which may be highly variable.
3,5,8 | 5.2 Capital cost | For lab-based tests, capital costs may vary but should not exceed US$10,000. | For point-of-care tests, none required.
2,3 | 5.3 Product lead times | <6 weeks | <4 weeks | "Lead time" includes fulfillment and delivery of ordered tests to procurer. NOTE: May be adjusted to longer lead times provided shelf life is of sufficient duration, e.g., two years. Purpose for information is to address design decisions that can impact line/process design for production, and hence impact lead times.
Obj,1,4 | 5.4 Product registration (i.e., substantiation to regulatory body of product claims) | · IVDR (or other SRA) · Any registration required for export from country of origin (e.g., KFDA from Korea, etc) · WHO PQ (if required/applicable) · Country-level registration (if required/applicable for target countries) | Same | Need to confirm that WHO PQ will process NTD Dx dossiers

## SCH Surveillance - Corr Matrix
| Obj | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Objective: To determine whether interruption of ongoing PAN-schistosoma spp (Sm, Sh, or hybrids) transmission has occurred within a population. | Prevalence measurement: Need to be able to detect 1% prevalence of any active infection intensity for Sm, Sh or other species. | Ages tested: Need to be able to conduct testing in children younger than 10 years old. | Testing location: Need to be able to conduct testing in a centralized lab facility (point-of-care/point-of-decision desirable). | Test simplicity: Need to be able to conduct testing with lab/clinical tech-level training (minimum of training or skills desirable). | Test price: Need to be able to provide tests at a price where surveillance costs are preferable to continued/reinitiated MDA | Sample type: Need to conduct analyses on easily collected non-stool samples, e.g., fingerstick (non-venous!) blood, urine. | Time to result: Need to generate test results within a day (non-inclusive of sample collection/storage). | Equipment: Need to have no procurement of equipment outside of a standard laboratory. | Performance: Need to have sensitivity and specificity requirements met that enable prevalence determinations of sufficient accuracy. | Cold-chain: Need to have minimal requirements around cold-chain shipping, storage or operation (prefer for no cold-chain required).
1.1 Intended use | X
1.2 Targeted population | X | bar: 2; 6
1.3 Lowest infrastructure level | bar: 3 to 4; 8; 10
1.4 Lowest level user | bar: 3 to 6; 8
1.5 Training requirements | bar: 3 to 6
2.1 Portability | bar: 3 to 4; 8
2.2 Instrument/power requirement | bar: 3; 8
2.3 Water requirement | bar: 3 to 5; 8
2.4 Maintenance and calibration | bar: 3 to 5; 8
2.5 Sample type/collection | bar: 2 to 4; 6 to 7
2.6 Sample preparation/transfer device | bar: 3 to 4; 6 to 8
2.7 Sample volume | bar: 2 to 4; 6 to 8
2.8 Target analyte | X | bar: 1; 9
2.9 Type of analysis | bar: 1; 4 to 5; 7 to 9
2.10 Detection | bar: 3 to 5; 8
2.11 Quality control | bar: 1; 4 to 5; 9
2.12 Supplies needed | bar: 3 to 6; 8; 10
2.13 Safety | bar: 3 to 4; 6; 8
3.1 Species differentiation/detection | X | bar: 1
3.2 Diagnostic/clinical sensitivity | X | bar: 1; 9
3.3 Diagnostic/clinical specificity | X | bar: 1; 9
3.4 Time to results | bar: 3 to 4; 7
3.5 Result stability | bar: 3 to 4
3.6 Throughput | bar: 3 to 4; 7
3.7 Target shelf life/stability | bar: 3 to 4; 8; 10
3.8 Ease of use | bar: 3 to 4; 7 to 8
3.9 Ease of results interpretation | bar: 3 to 4; 8
3.10 Operating temperature | bar: 3 to 5; 8; 10
4.1 Shipping conditions | bar: 3; 5; 10
4.2 Storage conditions | bar: 3 to 5; 8; 10
4.3 Service and support | bar: 3 to 5; 8
4.4 Waste disposal | bar: 3 to 6
4.5 Labeling | bar: 4; 9
5.1 Target pricing per test | bar: 5; 8
5.2 Capital cost | bar: 3; 5; 8
5.3 Product lead times | bar: 2 to 3
5.4 Product registration | X | bar: 1; 4