## Intro
(Last updated on 28 January 2026)
Thank you for contributing data to our call. This reporting template was adapted from the spreadsheets prepared for the "WHO reference protocol for measuring fatty acids in foods, with emphasis on monitoring trans-fatty acids originating from partial hydrogenation of edible oils (2025)" (https://iris.who.int/handle/10665/383582). This document contains four spreadsheets that have been developed to facilitate calculation of fat content and fatty acid composition of samples. - Spreadsheet 1 for calculation of fat content and fatty acid composition of samples analyzed using C11:0 FAME as the Internal Standard (Procedure A). - Spreadsheet 2 for calaculation of the fat content and fatty acid composition of samples analysed using C13:0 TAG as the Internal Standard (Procedure B or C). - Spreadsheet 3 for calculation of the fat content and fatty acid composition of samples analyzed using C21:0 TAG as the Internal Standard (Procedure B or C). - Spreadsheet 4 for calculation of the fatty acid composition of samples analyzed without an internal standard (Procedure D). Please complete the template by filling in the yellow cells. The remaining cells will be calculated automatically. For more information, please consult the section 15 'Calculations: fat content and fatty acid composition' of the WHO reference protocol. Please replicate the relevant spreadsheet as many as you need for your samples. Please do not forget to complete the tab "GC conditions". Please submit the completed spreadsheets and chromatograms to: yamamotor@who.int Thank you very much, WHO secretariat
Your contact details:
Name
Title
Affiliation
E-mail
Please tell us about the procedure you used for the analysis:
Which analytical procedure was used, procedure A, B, C or D? (Please see the "Analytical Approach" for details of each procedure)
Are there any modifications made to the procedure? If so, what are they?

## <1>C11 0 FAME
Spreadsheet 1 for calculation of fat content and fatty acid composition of samples analyzed using C11:0 FAME as the Internal Standard
Please provide the following information.
<Information on the sample> |  |  |  | Your response |  |  |  | Example response
Sample ID | [7 empty] | 36785
Sample description (e.g. anhydrous milk fat, whole milk powder, whole milk) | [7 empty] | Whole milk
Type of milk | [7 empty] | Cow milk
Origin (e.g. country, region) | [7 empty] | Bern, Switzerland
Manufacturer’s name and address | [7 empty] | ABC dairy, Milk Street 1000
Sample collection date | [7 empty] | 25 November, 2025
Expiry date or best-before date | [7 empty] | 2 December, 2025
<Information on the analysis>
Date Sample Run
Weight of test portion used for fat extraction (g) (WTS)
Weight of C11:0 FAME IS added to test portion (g) (WIS)
Peak area of C11:0 FAME IS (PAIS)
FAME | GC FAME peak area (PAi) | Theoretical FID correction factor relative to C11:0 FAME (TCFi) | Weight of FAME (WFAMEi) in g in test portion | Conversion factor of FAME to TAG equivalent (FTAGi) | Weight of fatty acid as TAG equivalents (WTAGi) in g in test portion | Weight of fatty acids in g as TAG equivalents (WTAGi) per 100 g test food sample | Conversion factor of FAME to free fatty acid equiv (FFAI) | Weight of fatty acid as free fatty acids (Wi) in test portion | Weight of fatty acids as free fatty acids in 100g test food sample | Fatty acid as % total fatty acids | Weight of fatty acids as free fatty acids per 100 g fat of the test food sample
C4:0 |  | 1.402 | #DIV/0! | 0.9868 | #DIV/0! | #DIV/0! | 0.8627 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C6:0 |  | 1.1914 | #DIV/0! | 0.9897 | #DIV/0! | #DIV/0! | 0.8923 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C8:0 |  | 1.0861 | #DIV/0! | 0.9915 | #DIV/0! | #DIV/0! | 0.9114 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C10:0 |  | 1.0229 | #DIV/0! | 0.9928 | #DIV/0! | #DIV/0! | 0.9247 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C11:0 |  | 0.99996 | #DIV/0! | 0.9933 | #DIV/0! | #DIV/0! | 0.93 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C12:0 |  | 0.98081 | #DIV/0! | 0.9933 | #DIV/0! | #DIV/0! | 0.9346 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C12:0 |  | 0.98081 | #DIV/0! | 0.9937 | #DIV/0! | #DIV/0! | 0.9346 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C13:0 |  | 0.9646 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C13:0 |  | 0.9646 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C13:0 |  | 0.9646 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C14:0 |  | 0.95071 | #DIV/0! | 0.9945 | #DIV/0! | #DIV/0! | 0.9421 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C14:0 |  | 0.95071 | #DIV/0! | 0.9945 | #DIV/0! | #DIV/0! | 0.9421 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C15:0 |  | 0.93868 | #DIV/0! | 0.9948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C15:0 |  | 0.93868 | #DIV/0! | 0.9948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C15:0 |  | 0.93868 | #DIV/0! | 09948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C16:0 |  | 0.92817 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9481 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C16:0 |  | 0.92817 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9481 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C17:0 |  | 0.91891 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C17:0 |  | 0.91891 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C17:0 |  | 0.91891 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:0 |  | 0.91063 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.953 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:0 |  | 0.89656 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.957 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C21:0 |  | 0.89059 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9588 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:0 |  | 0.88516 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.9604 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C24:0 |  | 0.87545 | #DIV/0! | 0.9965 | #DIV/0! | #DIV/0! | 0.9963 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total SFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C14:1 |  | 0.94287 | #DIV/0! | 0.9944 | #DIV/0! | #DIV/0! | 0.9417 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C16:1 |  | 0.92132 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11t-C16:1 |  | 0.92132 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C17:1 |  | 0.91232 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9503 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4t-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
5t-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
(6t-14t)-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16t-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:1 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total t-MUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
tt-C18:2(isomers other than 9t,12t-C18:2) |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12t-C18:2 |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t-C18:2 |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c-C18:2 |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,13t-C18:2 |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,15c-C18:2 |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CLA Isomers |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:2 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c,15t-C18:3 |  | 0.89211 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t,15t-C18:3 |  | 0.89211 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12c,15t-C18:3 |  | 0.89211 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t,15c-C18:3 |  | 0.89211 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c,15c-C18:3 |  | 0.89211 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:3 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C14:1 |  | 0.94287 | #DIV/0! | 0.9944 | #DIV/0! | #DIV/0! | 0.9417 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C15:1 |  | 0.93129 | #DIV/0! | 0.9947 | #DIV/0! | #DIV/0! | 0.9449 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7c-C16:1 |  | 0.92132 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C16:1 |  | 0.92132 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C17:1 |  | 0.91232 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9503 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7c-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10c-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11c-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
12c-C18:1 |  | 0.9044 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13c-C18:1 |  | 0.9044 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
14c-C18:1 |  | 0.9044 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15c-C18:1 |  | 0.9044 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16c-C18:1 |  | 0.9044 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:1 cis |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11c-C20:1 |  | 0.89104 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.9568 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C20:1 |  | 0.89104 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.9568 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13c-C22:1 |  | 0.87999 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.9602 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15c-C24:1 |  | 0.87091 | #DIV/0! | 0.9965 | #DIV/0! | #DIV/0! | 0.9632 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total MUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:2n-6 |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:3n-6 |  | 0.89211 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:2n-6 |  | 0.88551 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9565 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:3n-6 |  | 0.8799 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9562 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:4n-6 |  | 0.87447 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.956 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:2n-6 |  | 0.87501 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.96 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:4n-6 |  | 0.86503 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9595 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:5n-6 |  | 0.85987 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9593 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total n-6 LC-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:3n-3 |  | 0.89211 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:4n-3 |  | 0.88605 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9517 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:3n-3 |  | 0.8799 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9562 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:4n-3 |  | 0.87447 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.956 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:5n-3 |  | 0.86076 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9557 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:3n-3 |  | 0.87002 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9538 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:5n-3 |  | 0.85987 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9593 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:4n-3 |  | 0.86503 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9595 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:6n-3 |  | 0.85488 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.959 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total n-3 LC-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total cis-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total Fatty Acid Methyl esters WFAMEi |  |  | #DIV/0!
Total Triglyceride equivalents WTAGi |  |  |  |  | #DIV/0!
Total Fat content as TAG equivalents per 100g test food sample | [5 empty] | #DIV/0!
Total Fatty Acids in test portion | [7 empty] | #DIV/0!
Total trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## <2>C13 0 TAG
Spreadsheet 2 for calaculation of the fat content and fatty acid composition of samples analysed using C13:0 TAG as the Internal Standard
Please provide the following information.
<Information on the sample> |  |  |  | Your response |  |  |  | Example response
Sample ID | [7 empty] | 36785
Sample description (e.g. anhydrous milk fat, whole milk powder, whole milk) | [7 empty] | Whole milk
Type of milk | [7 empty] | Cow milk
Origin (e.g. country, region) | [7 empty] | Bern, Switzerland
Manufacturer’s name and address | [7 empty] | ABC dairy, Milk Street 1000
Sample collection date | [7 empty] | 25 November, 2025
Expiry date or best-before date | [7 empty] | 2 December, 2025
<Information on the analysis>
Date Sample Run
Weight of test portion used for fat extraction (g) (WTS)
Weight of C13:0 TAG IS added to test portion (g) (WIS)
Peak area of C13:0 TAG IS (PAIS)
FAME | GC FAME peak area (PAi) | Theoretical FID correction factor relative (to C13:0 FAME (TCFi) | Weight of FAME (WFAMEi) in g in test portion | Conversion factor of FAME to TAG equivalent (FTAGi) | Weight of fatty acid as TAG equivalents (WTAGi) in g in test portion | Weight of fatty acids in g as TAG equivalents (WTAGi) per 100 g test food sample | Conversion factor of FAME to free fatty acid equiv (FFAI) | Weight of fatty acid as free fatty acids (Wi) in test portion | Weight of fatty acids as free fatty acids in 100g test food sample | Fatty acid as % total fatty acids | Weight of fatty acids as free fatty acids per 100 g fat of the test food sample
C4:0 |  | 1.4534 | #DIV/0! | 0.9868 | #DIV/0! | #DIV/0! | 0.8627 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C6:0 |  | 1.2352 | #DIV/0! | 0.9897 | #DIV/0! | #DIV/0! | 0.8923 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C8:0 |  | 1.1259 | #DIV/0! | 0.9915 | #DIV/0! | #DIV/0! | 0.9114 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C10:0 |  | 1.0605 | #DIV/0! | 0.9928 | #DIV/0! | #DIV/0! | 0.9247 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C11:0 |  | 1.0367 | #DIV/0! | 0.9933 | #DIV/0! | #DIV/0! | 0.93 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C12:0 |  | 1.0168 | #DIV/0! | 0.9933 | #DIV/0! | #DIV/0! | 0.9346 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C12:0 |  | 1.0168 | #DIV/0! | 0.9937 | #DIV/0! | #DIV/0! | 0.9346 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C13:0 |  | 1 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C13:0 |  | 1 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C13:0 |  | 1 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C14:0 |  | 0.9856 | #DIV/0! | 0.9945 | #DIV/0! | #DIV/0! | 0.9421 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C14:0 |  | 0.9856 | #DIV/0! | 0.9945 | #DIV/0! | #DIV/0! | 0.9421 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C15:0 |  | 0.97313 | #DIV/0! | 0.9948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C15:0 |  | 0.97313 | #DIV/0! | 0.9948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C15:0 |  | 0.97313 | #DIV/0! | 09948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C16:0 |  | 0.96224 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9481 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C16:0 |  | 0.96224 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9481 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C17:0 |  | 0.95264 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C17:0 |  | 0.95264 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C17:0 |  | 0.95264 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:0 |  | 0.94405 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.953 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:0 |  | 0.92946 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.957 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C21:0 |  | 0.92328 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9588 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:0 |  | 0.91764 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.9604 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C24:0 |  | 0.90758 | #DIV/0! | 0.9965 | #DIV/0! | #DIV/0! | 0.9963 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total SFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C14:1 |  | 0.97747 | #DIV/0! | 0.9944 | #DIV/0! | #DIV/0! | 0.9417 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C16:1 |  | 0.95513 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11t-C16:1 |  | 0.95513 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C17:1 |  | 0.9458 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9503 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4t-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
5t-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
(6t-14t)-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16t-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:1 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total t-MUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
tt-C18:2(isomers other than 9t,12t-C18:2) |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12t-C18:2 |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t-C18:2 |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c-C18:2 |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,13t-C18:2 |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,15c-C18:2 |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CLA Isomers |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:2 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c,15t-C18:3 |  | 0.92485 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t,15t-C18:3 |  | 0.92485 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12c,15t-C18:3 |  | 0.92485 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t,15c-C18:3 |  | 0.92485 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c,15c-C18:3 |  | 0.92485 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:3 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C14:1 |  | 0.97747 | #DIV/0! | 0.9944 | #DIV/0! | #DIV/0! | 0.9417 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C15:1 |  | 0.96547 | #DIV/0! | 0.9947 | #DIV/0! | #DIV/0! | 0.9449 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7c-C16:1 |  | 0.95513 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C16:1 |  | 0.95513 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C17:1 |  | 0.9458 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9503 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7c-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10c-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11c-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
12c-C18:1 |  | 0.93759 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13c-C18:1 |  | 0.93759 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
14c-C18:1 |  | 0.93759 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15c-C18:1 |  | 0.93759 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16c-C18:1 |  | 0.93759 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:1 cis |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11c-C20:1 |  | 0.92374 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.9568 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C20:1 |  | 0.92374 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.9568 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13c-C22:1 |  | 0.91229 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.9602 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15c-C24:1 |  | 0.90287 | #DIV/0! | 0.9965 | #DIV/0! | #DIV/0! | 0.9632 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total MUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:2n-6 |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:3n-6 |  | 0.92485 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:2n-6 |  | 0.91801 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9565 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:3n-6 |  | 0.9122 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9562 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:4n-6 |  | 0.90656 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.956 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:2n-6 |  | 0.90712 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.96 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:4n-6 |  | 0.89678 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9595 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:5n-6 |  | 0.89142 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9593 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total n-6 LC-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:3n-3 |  | 0.92485 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:4n-3 |  | 0.91857 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9517 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:3n-3 |  | 0.9122 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9562 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:4n-3 |  | 0.90656 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.956 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:5n-3 |  | 0.89235 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9557 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:3n-3 |  | 0.90195 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9538 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:5n-3 |  | 0.89142 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9593 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:4n-3 |  | 0.89678 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9595 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:6n-3 |  | 0.88625 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.959 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total n-3 LC-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total cis-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total Fatty Acid Methyl esters WFAMEi |  |  | #DIV/0!
Total Triglyceride equivalents WTAGi |  |  |  |  | #DIV/0!
Total Fat content as TAG equivalents per 100g test food sample | [5 empty] | #DIV/0!
Total Fatty Acids in test portion | [7 empty] | #DIV/0!
Total trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## <3>C21 0 TAG
Spreadsheet 3 for calculation of the fat content and fatty acid composition of samples analyzed using C21:0 as the TAG Internal Standard
Please provide the following information.
<Information on the sample> |  |  |  | Your response |  |  |  | Example response
Sample ID | [7 empty] | 36785 |  |  |  | 1
Sample description (e.g. anhydrous milk fat, whole milk powder, whole milk) | [7 empty] | Whole milk
Type of milk | [7 empty] | Cow milk
Origin (e.g. country, region) | [7 empty] | Bern, Switzerland
Manufacturer’s name and address | [7 empty] | ABC dairy, Milk Street 1000
Sample collection date | [7 empty] | 25 November, 2025
Expiry date or best-before date | [7 empty] | 2 December, 2025
<Information on the analysis>
Date Sample Run
Weight of test portion used for fat extraction (g) (WTS)
Weight of C21:0 TAG IS added to test portion (g) (WIS)
Peak area of C21:0 TAG IS (PAIS)
FAME | GC FAME peak area (PAi) | Theoretical FID correction factor relative to C21:0 FAME (TCFi) | Weight of FAME (WFAMEi) in g in test portion | Conversion factor of FAME to TAG equivalent (FTAGi) | Weight of fatty acid as TAG equivalents (WTAGi) in g in test portion | Weight of fatty acids in g as TAG equivalents (WTAGi) per 100 g test food sample | Conversion factor of FAME to free fatty acid equiv (FFAI) | Weight of fatty acid as free fatty acids (Wi) in test portion | Weight of fatty acids as free fatty acids in 100g test food sample | Fatty acid as % total fatty acids | Weight of fatty acids as free fatty acids per 100 g fat of the test food sample
C4:0 |  | 1.5742 | #DIV/0! | 0.9868 | #DIV/0! | #DIV/0! | 0.8627 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C6:0 |  | 1.3378 | #DIV/0! | 0.9897 | #DIV/0! | #DIV/0! | 0.8923 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C8:0 |  | 1.2195 | #DIV/0! | 0.9915 | #DIV/0! | #DIV/0! | 0.9114 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C10:0 |  | 1.1486 | #DIV/0! | 0.9928 | #DIV/0! | #DIV/0! | 0.9247 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C11:0 |  | 1.1228 | #DIV/0! | 0.9933 | #DIV/0! | #DIV/0! | 0.93 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C12:0 |  | 1.1013 | #DIV/0! | 0.9933 | #DIV/0! | #DIV/0! | 0.9346 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C12:0 |  | 1.1013 | #DIV/0! | 0.9937 | #DIV/0! | #DIV/0! | 0.9346 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C13:0 |  | 1.0831 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C13:0 |  | 1.0831 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C13:0 |  | 1.0831 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C14:0 |  | 1.0675 | #DIV/0! | 0.9945 | #DIV/0! | #DIV/0! | 0.9421 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C14:0 |  | 1.0675 | #DIV/0! | 0.9945 | #DIV/0! | #DIV/0! | 0.9421 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C15:0 |  | 1.054 | #DIV/0! | 0.9948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C15:0 |  | 1.054 | #DIV/0! | 0.9948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C15:0 |  | 1.054 | #DIV/0! | 09948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C16:0 |  | 1.0422 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9481 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C16:0 |  | 1.0422 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9481 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C17:0 |  | 1.0318 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C17:0 |  | 1.0318 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C17:0 |  | 1.0318 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:0 |  | 1.0225 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.953 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:0 |  | 1.0067 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.957 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C21:0 |  | 1 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9588 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:0 |  | 0.9939 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.9604 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C24:0 |  | 0.983 | #DIV/0! | 0.9965 | #DIV/0! | #DIV/0! | 0.9963 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total SFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C14:1 |  | 1.0587 | #DIV/0! | 0.9944 | #DIV/0! | #DIV/0! | 0.9417 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C16:1 |  | 1.0345 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11t-C16:1 |  | 1.0345 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C17:1 |  | 1.0244 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9503 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4t-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
5t-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
(6t-14t)-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16t-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:1 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total t-MUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
tt-C18:2(isomers other than 9t,12t-C18:2) |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12t-C18:2 |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t-C18:2 |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c-C18:2 |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,13t-C18:2 |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,15c-C18:2 |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CLA Isomers |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:2 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c,15t-C18:3 |  | 1.0017 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t,15t-C18:3 |  | 1.0017 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12c,15t-C18:3 |  | 1.0017 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t,15c-C18:3 |  | 1.0017 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c,15c-C18:3 |  | 1.0017 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:3 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C14:1 |  | 1.0587 | #DIV/0! | 0.9944 | #DIV/0! | #DIV/0! | 0.9417 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C15:1 |  | 1.0457 | #DIV/0! | 0.9947 | #DIV/0! | #DIV/0! | 0.9449 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7c-C16:1 |  | 1.0345 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C16:1 |  | 1.0345 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C17:1 |  | 1.0244 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9503 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7c-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10c-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11c-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
12c-C18:1 |  | 1.0155 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13c-C18:1 |  | 1.0155 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
14c-C18:1 |  | 1.0155 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15c-C18:1 |  | 1.0155 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16c-C18:1 |  | 1.0155 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:1 cis |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11c-C20:1 |  | 1.0005 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.9568 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C20:1 |  | 1.0005 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.9568 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13c-C22:1 |  | 0.9881 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.9602 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15c-C24:1 |  | 0.9779 | #DIV/0! | 0.9965 | #DIV/0! | #DIV/0! | 0.9632 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total MUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:2n-6 |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:3n-6 |  | 1.0017 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:2n-6 |  | 0.9943 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9565 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:3n-6 |  | 0.988 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9562 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:4n-6 |  | 0.9819 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.956 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:2n-6 |  | 0.9825 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.96 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:4n-6 |  | 0.9713 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9595 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:5n-6 |  | 0.9655 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9593 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total n-6 LC-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:3n-3 |  | 1.0017 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:4n-3 |  | 0.9949 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9517 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:3n-3 |  | 0.988 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9562 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:4n-3 |  | 0.9819 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.956 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:5n-3 |  | 0.9665 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9557 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:3n-3 |  | 0.9769 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9538 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:5n-3 |  | 0.9655 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9593 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:4n-3 |  | 0.9713 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9595 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:6n-3 |  | 0.9599 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.959 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total n-3 LC-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total cis-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total Fatty Acid Methyl esters WFAMEi |  |  | #DIV/0!
Total Triglyceride equivalents WTAGi |  |  |  |  | #DIV/0!
Total Fat content as TAG equivalents per 100g test food sample | [5 empty] | #DIV/0!
Total Fatty Acids in test portion | [7 empty] | #DIV/0!
Total trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## <4>No internal standard
Spreadsheet 4 for calculation of the fatty acid composition of samples analyzed without an internal standard
Please provide the following information.
<Information on the sample> |  |  |  | Your response |  | Example response
Sample ID | [5 empty] | 36785
Sample description (e.g. anhydrous milk fat, whole milk powder, whole milk) | [5 empty] | Whole milk
Type of milk | [5 empty] | Cow milk
Origin (e.g. country, region) | [5 empty] | Bern, Switzerland
Manufacturer’s name and address | [5 empty] | ABC dairy, Milk Street 1000
Sample collection date | [5 empty] | 25 November, 2026
Expiry date or best-before date | [5 empty] | 2 December, 2025
<Information on the analysis>
Date Sample Run
Gravimetrically Determined Total Fat
FAME | GC FAME Peak Area (PAi) | Theoretical FID Correction Factors (TCFi) relative to C18:0 FAME | Weight of fatty acids as FAME WFAMEi (g) | Conversion factor for converting FAMEs to unbound fatty acids(FFAi) | Weight of fatty acids as unbound fatty acids (WFAi) (g) | Weight % of total fatty acids | Weight % of total fat (i.e. g of fatty acid i per 100 g total fat)
C4:0 |  | 1.5396 | 0 | 0.8627 | 0 | #DIV/0! | #DIV/0!
C6:0 |  | 1.3084 | 0 | 0.8923 | 0 | #DIV/0! | #DIV/0!
C8:0 |  | 1.1927 | 0 | 0.9114 | 0 | #DIV/0! | #DIV/0!
C10:0 |  | 1.1233 | 0 | 0.9247 | 0 | #DIV/0! | #DIV/0!
C11:0 |  | 1.0917 | 0 | 0.93 | 0 | #DIV/0! | #DIV/0!
C12:0 |  | 1.0771 | 0 | 0.9346 | 0 | #DIV/0! | #DIV/0!
Iso-C12:0 |  | 1.0771 | 0 | 0.9346 | 0 | #DIV/0! | #DIV/0!
C13:0 |  | 1.0593 | 0 | 0.9386 | 0 | #DIV/0! | #DIV/0!
Iso-C13:0 |  | 1.0593 | 0 | 0.9386 | 0 | #DIV/0! | #DIV/0!
Anteiso-C13:0 |  | 1.0593 | 0 | 0.9386 | 0 | #DIV/0! | #DIV/0!
C14:0 |  | 1.044 | 0 | 0.9421 | 0 | #DIV/0! | #DIV/0!
Iso-C14:0 |  | 1.044 | 0 | 0.9421 | 0 | #DIV/0! | #DIV/0!
C15:0 |  | 1.0308 | 0 | 0.9453 | 0 | #DIV/0! | #DIV/0!
Iso-C15:0 |  | 1.0308 | 0 | 0.9453 | 0 | #DIV/0! | #DIV/0!
Anteiso-C15:0 |  | 1.0308 | 0 | 0.9453 | 0 | #DIV/0! | #DIV/0!
C16:0 |  | 1.0193 | 0 | 0.9481 | 0 | #DIV/0! | #DIV/0!
Iso-C16:0 |  | 1.0193 | 0 | 0.9481 | 0 | #DIV/0! | #DIV/0!
C17:0 |  | 1.0091 | 0 | 0.9507 | 0 | #DIV/0! | #DIV/0!
Iso-C17:0 |  | 1.0091 | 0 | 0.9507 | 0 | #DIV/0! | #DIV/0!
Anteiso-C17:0 |  | 1.0091 | 0 | 0.9507 | 0 | #DIV/0! | #DIV/0!
C18:0 |  | 1 | 0 | 0.953 | 0 | #DIV/0! | #DIV/0!
C20:0 |  | 0.9846 | 0 | 0.957 | 0 | #DIV/0! | #DIV/0!
C21:0 |  | 0.978 | 0 | 0.9961 | 0 | #DIV/0! | #DIV/0!
C22:0 |  | 0.972 | 0 | 0.9604 | 0 | #DIV/0! | #DIV/0!
C24:0 |  | 0.9614 | 0 | 0.9633 | 0 | #DIV/0! | #DIV/0!
Total SFA |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
9t-C14:1 |  | 1.0354 | 0 | 0.9417 | 0 | #DIV/0! | #DIV/0!
9t-C16:1 |  | 1.0117 | 0 | 0.9477 | 0 | #DIV/0! | #DIV/0!
11t-C16:1 |  | 1.0117 | 0 | 0.9477 | 0 | #DIV/0! | #DIV/0!
9t-C17:1 |  | 1.0019 | 0 | 0.9503 | 0 | #DIV/0! | #DIV/0!
4t-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
5t-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
(6t-14t)-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
16t-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
Total 18:1 trans |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
Total t-MUFA |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
tt-C18:2(isomers other than 9t,12t-C18:2) |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
9t,12t-C18:2 |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
9c,12t-C18:2 |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
9t,12c-C18:2 |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
9c,13t-C18:2 |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
9t,15c-C18:2 |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
CLA Isomers |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
Total 18:2 trans |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
9t,12c,15t-C18:3 |  | 0.9797 | 0 | 0.952 | 0 | #DIV/0! | #DIV/0!
9t,12c,15t-C18:3 |  | 0.9797 | 0 | 0.952 | 0 | #DIV/0! | #DIV/0!
9c,12c,15t-C18:3 |  | 0.9797 | 0 | 0.952 | 0 | #DIV/0! | #DIV/0!
9c,12t,15c-C18:3 |  | 0.9797 | 0 | 0.952 | 0 | #DIV/0! | #DIV/0!
9t,12c,15c-C18:3 |  | 0.9797 | 0 | 0.952 | 0 | #DIV/0! | #DIV/0!
Total 18:3 trans |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
Total trans |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
9c-C14:1 |  | 1.0354 | 0 | 0.9417 | 0 | #DIV/0! | #DIV/0!
9c-C15:1 |  | 1.0027 | 0 | 0.9449 | 0 | #DIV/0! | #DIV/0!
7c-C16:1 |  | 1.0117 | 0 | 0.9477 | 0 | #DIV/0! | #DIV/0!
9c-C16:1 |  | 1.0117 | 0 | 0.9477 | 0 | #DIV/0! | #DIV/0!
9c-C17:1 |  | 1.0017 | 0 | 0.9503 | 0 | #DIV/0! | #DIV/0!
7c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
9c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
10c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
11c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
12c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
13c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
14c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
15c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
16c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
Total 18:1 cis |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
11c-C20:1 |  | 0.9785 | 0 | 0.9568 | 0 | #DIV/0! | #DIV/0!
9c-C20:1 |  | 0.9785 | 0 | 0.9568 | 0 | #DIV/0! | #DIV/0!
13c-C22:1 |  | 0.9664 | 0 | 0.9602 | 0 | #DIV/0! | #DIV/0!
15c-C24:1 |  | 0.9564 | 0 | 0.9632 | 0 | #DIV/0! | #DIV/0!
Total MUFA |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
C18:2n-6 |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
C18:3n-6 |  | 0.9797 | 0 | 0.952 | 0 | #DIV/0! | #DIV/0!
C20:2n-6 |  | 0.9724 | 0 | 0.9565 | 0 | #DIV/0! | #DIV/0!
C20:3n-6 |  | 0.9663 | 0 | 0.9562 | 0 | #DIV/0! | #DIV/0!
C20:4n-6 |  | 0.9603 | 0 | 0.956 | 0 | #DIV/0! | #DIV/0!
C22:2n-6 |  | 0.9609 | 0 | 0.96 | 0 | #DIV/0! | #DIV/0!
C22:4n-6 |  | 0.9499 | 0 | 0.9595 | 0 | #DIV/0! | #DIV/0!
C22:5n-6 |  | 0.9443 | 0 | 0.9593 | 0 | #DIV/0! | #DIV/0!
Total n-6 LC-PUFA |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
C18:3n-3 |  | 0.9797 | 0 | 0.952 | 0 | #DIV/0! | #DIV/0!
C18:4n-3 |  | 0.973 | 0 | 0.9517 | 0 | #DIV/0! | #DIV/0!
C20:3n-3 |  | 0.9663 | 0 | 0.9562 | 0 | #DIV/0! | #DIV/0!
C20:4n-3 |  | 0.9603 | 0 | 0.956 | 0 | #DIV/0! | #DIV/0!
C20:5n-3 |  | 0.9452 | 0 | 0.9557 | 0 | #DIV/0! | #DIV/0!
C22:3n-3 |  | 0.9554 | 0 | 0.9538 | 0 | #DIV/0! | #DIV/0!
C22:5n-3 |  | 0.9443 | 0 | 0.9593 | 0 | #DIV/0! | #DIV/0!
C22:4n-3 |  | 0.9499 | 0 | 0.9595 | 0 | #DIV/0! | #DIV/0!
C22:6n-3 |  | 0.9388 | 0 | 0.959 | 0 | #DIV/0! | #DIV/0!
Total n-3 LC-PUFA |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
Total cis-PUFA |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
Total WFAMEi |  |  | 0
Total Wi |  |  |  |  | 0
Total trans |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
Note: The weights (WFAMEi (g), Wi (g), g Fatty acid i per 100 g total fatty acids) obtained from this spreadsheet are apparent weights, and not absolute.

## GC conditions
Additional information
GC-FID conditions
(Please complete the yellow cells)
GC instrument | Possible answers (given in example)
Instrument model | H65890N
Brand | Agilent
Dedicated instrument for fatty acid analysis (Yes/No) | Yes
Injector(s) installed (On-column, Split/Splitless or PTV) | On-Column and Split/Splitless
Detector(s) | FID only
Autosampler | Yes or No
Software for GCdata acquisition
Software | ChemStation 1.2.3
Capillary column
Description, phase type | CP-Sil88
Dimension (length, internal diameter and film thickness) | 100m x 0.25mm ID and film 0.2um
Catalogue Number | CP-7489
Column price in US$ (please convert) | 1500
Supplier | Agilent
Number of theoretical plates (see the column certificate) | 354000
Number of injections with one capillary column (if available) | 500
Carrier gas type
Carrier gas type | Helium, Hydrogen
Carrier gas purity (in %) | 99.9997
Carrier gas delivery | Gas bottle, gas network, gas generator
Do you use gas purifier? | Yes or No
if yes please complete the information below
Purifier type | Moisture, oxygen and/or hydrocarbon
Purifier name | OMI-2
Catalogue number | 23921
Supplier | Supelco
Replacement frequency | Once a year, after 50% of the saturation…
Carrier gas conditions
Carrier gas "constant pressure" or "constant flow" | Constant flow
if constant pressure complete the information below
Carrier gas "contant pressure" value | value + indication Kpa, bar, PSI
if constant flow complete the information below
Carrier gas "constant flow" | value in mL/min
Electronic value indicated by the instrument or check using flow meter | Electronic value and check using flow meter
On-Column injection
On-column injection | Yes or No
if yes please complete the information below
Do you use a pre-column ? | Yes or No
Pre-column type | Uncoated Silica Tubing
Pre-column dimension (length and internal diameter) | 1m x 0.53mm ID
Pre-column catalogue number | CP-8009
Pre-column supplier | Restek
Pre-column frequency of replacement (time or number of injection) | Every 100 injections
Injector temperature (°C) | Cold, oven tracking, hot
Split injection
Split injection | Yes or No
if yes please complete the information below
Split ratio | 30:1
Split flow (ml) | 50
Injector temperature (°C) | 230
Liner used type | Split L/P drop
Glass whole | Yes or No
Catalogue number | 5183-4647
Supplier | Agilent
Splitless injection
Splitless injection | Yes or no
if yes please complete the information below
Splitflow (ml) | 50
Splitless valve open time (after xx min) | 1.5
Injector temperature (°C) | 230
Liner used | Splitless single taper
Catalogue number | 5181-3316
Supplier | Agilent
Oven temperature program
Initial temperature (°C) | 60
Initial time (min) | 5
Ramp 1 (°C/min) | 15
Intermediate temperature 1 (°C) | 165
Intermediate time 1 (min) | 1
Ramp 2 (°C) | 3
Intermediate temperature 2 (°C) | 200
Intermediate time 2 (min) | 1
Ramp 3 (°C) | 1
Final temperature (°C) | 225
Final time (min) | 17
Total GC run time (min) | 60
Detector conditions
Detector temperature (°C) | 280
H2 Flow (mL/min) | 30
Do you use gas purifier? | Yes or No
Air Flow (mL/min) | 400
Makup gas used (Yes/No) | Yes or No
Makup Flow (mL/min | 45
Makup gas type | Helium, Nitrogen
Injection
Injection volume (uL) | 0.5
Resolution (according to section 6.12 of ISO 16958 I IDF 231)
Did you check the resolution between C18:1 Δ13/14 trans and C18:1 Δ9 cis? | Yes
(if yes) With the use of Sigma-Aldrich (Cat. 40495-U)? | No
(if yes) With the use of another material (please indicate the ref.)? | Milk fat sample
Additional remark(s) you may have