## Information note
Information note
This document was prepared in support of the publication "WHO reference protocol for measuring fatty acids in foods, with emphasis on monitoring trans-fatty acids originating from partial hydrogenation of edible oils (2025)". This document contains four spreadsheets that have been developed to facilitate calculation of fat content and fatty acid composition of samples. - Spreadsheet A for calculation of fat content and fatty acid composition of samples analyzed using C11:0 FAME as the Internal Standard - Spreadsheet B for calaculation of the fat content and fatty acid composition of samples analysed using C13:0 TAG as the Internal Standard - Spreadsheet C for calculation of the fat content and fatty acid composition of samples analyzed using C21:0 as the TAG Internal Standard - Spreadsheet D for calculation of the fatty acid composition of samples analyzed without an internal standard Shaded cells are for input by the user. The remaining cells will be calculated automatically. For more information, please consult the section 15 'Calculations: fat content and fatty acid composition' of the publication.
WHO/HEP/NFS/SSA/2025/4.1 – © World Health Organization 2025. Some rights reserved. This work is available under the Creative Commons Attribution-NonCommercial-ShareAlike 3.0 IGO licence (CC BY-NC-SA 3.0 IGO; https://creativecommons.org/licenses/by-nc-sa/3.0/igo).
The designations employed and the presentation of the material in this publication do not imply the expression of any opinion whatsoever on the part of WHO. Errors and omissions excepted. All reasonable precautions have been taken by WHO to verify the information contained in this publication. However, the published material is being distributed without warranty of any kind, either expressed or implied. The responsibility for the interpretation and use of the material lies with the reader. In no event shall WHO be liable for damages arising from its use.

## <A>C11 0 FAME
Spreadsheet A for calculation of fat content and fatty acid composition of samples analyzed using C11:0 FAME as the Internal Standard
NOTE: Shaded cells are for input by user
Sample ID:
Date Sample Run:
Weight of test portion used for fat extraction (g) (WTS):
Weight of C11:0 FAME IS added to test portion (g) (WIS):
Peak area of C11:0 FAME IS (PAIS)
FAME | GC FAME peak area (PAi) | Theoretical FID correction factor relative to C11:0 FAME (TCFi) | Weight of FAME (WFAMEi) in g in test portion | Conversion factor of FAME to TAG equivalent (FTAGi) | Weight of fatty acid as TAG equivalents (WTAGi) in g in test portion | Weight of fatty acids in g as TAG equivalents (WTAGi) per 100 g test food sample | Conversion factor of FAME to free fatty acid equiv (FFAI) | Weight of fatty acid as free fatty acids (Wi) in test portion | Weight of fatty acids as free fatty acids in 100g test food sample | Fatty acid as % total fatty acids | Weight of fatty acids as free fatty acids per 100 g fat of the test food sample
C4:0 |  | 1.402 | #DIV/0! | 0.9868 | #DIV/0! | #DIV/0! | 0.8627 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C6:0 |  | 1.1914 | #DIV/0! | 0.9897 | #DIV/0! | #DIV/0! | 0.8923 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C8:0 |  | 1.0861 | #DIV/0! | 0.9915 | #DIV/0! | #DIV/0! | 0.9114 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C10:0 |  | 1.0229 | #DIV/0! | 0.9928 | #DIV/0! | #DIV/0! | 0.9247 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C11:0 |  | 0.99996 | #DIV/0! | 0.9933 | #DIV/0! | #DIV/0! | 0.93 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C12:0 |  | 0.98081 | #DIV/0! | 0.9933 | #DIV/0! | #DIV/0! | 0.9346 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C12:0 |  | 0.98081 | #DIV/0! | 0.9937 | #DIV/0! | #DIV/0! | 0.9346 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C13:0 |  | 0.9646 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C13:0 |  | 0.9646 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C13:0 |  | 0.9646 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C14:0 |  | 0.95071 | #DIV/0! | 0.9945 | #DIV/0! | #DIV/0! | 0.9421 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C14:0 |  | 0.95071 | #DIV/0! | 0.9945 | #DIV/0! | #DIV/0! | 0.9421 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C15:0 |  | 0.93868 | #DIV/0! | 0.9948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C15:0 |  | 0.93868 | #DIV/0! | 0.9948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C15:0 |  | 0.93868 | #DIV/0! | 09948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C16:0 |  | 0.92817 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9481 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C16:0 |  | 0.92817 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9481 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C17:0 |  | 0.91891 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C17:0 |  | 0.91891 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C17:0 |  | 0.91891 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:0 |  | 0.91063 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.953 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:0 |  | 0.89656 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.957 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C21:0 |  | 0.89059 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9588 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:0 |  | 0.88516 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.9604 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C24:0 |  | 0.87545 | #DIV/0! | 0.9965 | #DIV/0! | #DIV/0! | 0.9963 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total SFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C14:1 |  | 0.94287 | #DIV/0! | 0.9944 | #DIV/0! | #DIV/0! | 0.9417 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C16:1 |  | 0.92132 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11t-C16:1 |  | 0.92132 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C17:1 |  | 0.91232 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9503 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4t-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
5t-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
(6t-14t)-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16t-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:1 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total t-MUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
tt-C18:2 |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12t-C18:2 |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t-C18:2 |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c-C18:2 |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,13t-C18:2 |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,15c-C18:2 |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CLA Isomers |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:2 trans |  | 0 | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c,15t-C18:3 |  | 0.89211 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t,15t-C18:3 |  | 0.89211 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12c,15t-C18:3 |  | 0.89211 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t,15c-C18:3 |  | 0.89211 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c,15c-C18:3 |  | 0.89211 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:3 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C14:1 |  | 0.94287 | #DIV/0! | 0.9944 | #DIV/0! | #DIV/0! | 0.9417 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C15:1 |  | 0.93129 | #DIV/0! | 0.9947 | #DIV/0! | #DIV/0! | 0.9449 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7c-C16:1 |  | 0.92132 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C16:1 |  | 0.92132 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C17:1 |  | 0.91232 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9503 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7c-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10c-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11c-C18:1 |  | 0.9044 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
12c-C18:1 |  | 0.9044 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13c-C18:1 |  | 0.9044 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
14c-C18:1 |  | 0.9044 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15c-C18:1 |  | 0.9044 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16c-C18:1 |  | 0.9044 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:1 cis |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11c-C20:1 |  | 0.89104 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.9568 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C20:1 |  | 0.89104 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.9568 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13c-C22:1 |  | 0.87999 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.9602 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15c-C24:1 |  | 0.87091 | #DIV/0! | 0.9965 | #DIV/0! | #DIV/0! | 0.9632 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total MUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:2n-6 |  | 0.89834 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:3n-6 |  | 0.89211 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:2n-6 |  | 0.88551 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9565 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:3n-6 |  | 0.8799 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9562 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:4n-6 |  | 0.87447 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.956 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:2n-6 |  | 0.87501 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.96 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:4n-6 |  | 0.86503 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9595 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:5n-6 |  | 0.85987 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9593 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total n-6 LC-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:3n-3 |  | 0.89211 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:4n-3 |  | 0.88605 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9517 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:3n-3 |  | 0.8799 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9562 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:4n-3 |  | 0.87447 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.956 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:5n-3 |  | 0.86076 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9557 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:3n-3 |  | 0.87002 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9538 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:5n-3 |  | 0.85987 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9593 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:4n-3 |  | 0.86503 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9595 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:6n-3 |  | 0.85488 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.959 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total n-3 LC-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total cis-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total Fatty Acid Methyl esters WFAMEi |  |  | #DIV/0!
Total Triglyceride equivalents WTAGi |  |  |  |  | #DIV/0!
Total Fat content as TAG equivalents per 100g test food sample | [5 empty] | #DIV/0!
Total Fatty Acids in test portion | [9 empty] | #DIV/0!
Total trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## <B>C13 0 TAG
Spreadsheet B for calaculation of the fat content and fatty acid composition of samples analysed using C13:0 TAG as the Internal Standard
NOTE: Shaded cells are for input by user
Sample ID:
Date Sample Run:
Weight of test portion used for fat extraction (g) (WTS):
Weight of C13:0 TAG IS added to test portion (g) (WIS):
Peak area of C13:0 FAME IS (PAIS)
FAME | GC FAME peak area (PAi) | Theoretical FID correction factor relative (to C13:0 FAME (TCFi) | Weight of FAME (WFAMEi) in g in test portion | Conversion factor of FAME to TAG equivalent (FTAGi) | Weight of fatty acid as TAG equivalents (WTAGi) in g in test portion | Weight of fatty acids in g as TAG equivalents (WTAGi) per 100 g test food sample | Conversion factor of FAME to free fatty acid equiv (FFAI) | Weight of fatty acid as free fatty acids (Wi) in test portion | Weight of fatty acids as free fatty acids in 100g test food sample | Fatty acid as % total fatty acids | Weight of fatty acids as free fatty acids per 100 g fat of the test food sample
C4:0 |  | 1.4534 | #DIV/0! | 0.9868 | #DIV/0! | #DIV/0! | 0.8627 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C6:0 |  | 1.2352 | #DIV/0! | 0.9897 | #DIV/0! | #DIV/0! | 0.8923 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C8:0 |  | 1.1259 | #DIV/0! | 0.9915 | #DIV/0! | #DIV/0! | 0.9114 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C10:0 |  | 1.0605 | #DIV/0! | 0.9928 | #DIV/0! | #DIV/0! | 0.9247 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C11:0 |  | 1.0367 | #DIV/0! | 0.9933 | #DIV/0! | #DIV/0! | 0.93 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C12:0 |  | 1.0168 | #DIV/0! | 0.9933 | #DIV/0! | #DIV/0! | 0.9346 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C12:0 |  | 1.0168 | #DIV/0! | 0.9937 | #DIV/0! | #DIV/0! | 0.9346 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C13:0 |  | 1 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C13:0 |  | 1 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C13:0 |  | 1 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C14:0 |  | 0.9856 | #DIV/0! | 0.9945 | #DIV/0! | #DIV/0! | 0.9421 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C14:0 |  | 0.9856 | #DIV/0! | 0.9945 | #DIV/0! | #DIV/0! | 0.9421 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C15:0 |  | 0.97313 | #DIV/0! | 0.9948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C15:0 |  | 0.97313 | #DIV/0! | 0.9948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C15:0 |  | 0.97313 | #DIV/0! | 09948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C16:0 |  | 0.96224 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9481 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C16:0 |  | 0.96224 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9481 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C17:0 |  | 0.95264 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C17:0 |  | 0.95264 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C17:0 |  | 0.95264 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:0 |  | 0.94405 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.953 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:0 |  | 0.92946 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.957 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C21:0 |  | 0.92328 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9588 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:0 |  | 0.91764 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.9604 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C24:0 |  | 0.90758 | #DIV/0! | 0.9965 | #DIV/0! | #DIV/0! | 0.9963 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total SFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C14:1 |  | 0.97747 | #DIV/0! | 0.9944 | #DIV/0! | #DIV/0! | 0.9417 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C16:1 |  | 0.95513 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11t-C16:1 |  | 0.95513 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C17:1 |  | 0.9458 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9503 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4t-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
5t-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
(6t-14t)-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16t-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:1 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total t-MUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
tt-C18:2 |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12t-C18:2 |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t-C18:2 |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c-C18:2 |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,13t-C18:2 |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,15c-C18:2 |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CLA Isomers |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:2 trans |  | 0 | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c,15t-C18:3 |  | 0.92485 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t,15t-C18:3 |  | 0.92485 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12c,15t-C18:3 |  | 0.92485 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t,15c-C18:3 |  | 0.92485 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c,15c-C18:3 |  | 0.92485 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:3 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C14:1 |  | 0.97747 | #DIV/0! | 0.9944 | #DIV/0! | #DIV/0! | 0.9417 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C15:1 |  | 0.96547 | #DIV/0! | 0.9947 | #DIV/0! | #DIV/0! | 0.9449 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7c-C16:1 |  | 0.95513 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C16:1 |  | 0.95513 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C17:1 |  | 0.9458 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9503 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7c-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10c-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11c-C18:1 |  | 0.93759 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
12c-C18:1 |  | 0.93759 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13c-C18:1 |  | 0.93759 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
14c-C18:1 |  | 0.93759 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15c-C18:1 |  | 0.93759 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16c-C18:1 |  | 0.93759 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:1 cis |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11c-C20:1 |  | 0.92374 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.9568 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C20:1 |  | 0.92374 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.9568 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13c-C22:1 |  | 0.91229 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.9602 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15c-C24:1 |  | 0.90287 | #DIV/0! | 0.9965 | #DIV/0! | #DIV/0! | 0.9632 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total MUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:2n-6 |  | 0.93131 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:3n-6 |  | 0.92485 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:2n-6 |  | 0.91801 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9565 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:3n-6 |  | 0.9122 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9562 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:4n-6 |  | 0.90656 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.956 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:2n-6 |  | 0.90712 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.96 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:4n-6 |  | 0.89678 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9595 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:5n-6 |  | 0.89142 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9593 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total n-6 LC-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:3n-3 |  | 0.92485 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:4n-3 |  | 0.91857 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9517 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:3n-3 |  | 0.9122 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9562 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:4n-3 |  | 0.90656 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.956 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:5n-3 |  | 0.89235 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9557 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:3n-3 |  | 0.90195 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9538 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:5n-3 |  | 0.89142 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9593 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:4n-3 |  | 0.89678 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9595 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:6n-3 |  | 0.88625 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.959 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total n-3 LC-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total cis-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total Fatty Acid Methyl esters WFAMEi |  |  | #DIV/0!
Total Triglyceride equivalents WTAGi |  |  |  |  | #DIV/0!
Total Fat content as TAG equivalents per 100g test food sample | [5 empty] | #DIV/0!
Total Fatty Acids in test portion | [9 empty] | #DIV/0!
Total trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## <C>C21 0 TAG
Spreadsheet C for calculation of the fat content and fatty acid composition of samples analyzed using C21:0 as the TAG Internal Standard
NOTE: Shaded cells are for input by user
Sample ID:
Date Sample Run:
Weight of test portion used for fat extraction (g) (WTS):
Weight of C21:0 TAG IS added to test portion (g) (WIS):
Peak area of C21:0 FAME IS (PAIS)
FAME | GC FAME peak area (PAi) | Theoretical FID correction factor relative to C21:0 FAME (TCFi) | Weight of FAME (WFAMEi) in g in test portion | Conversion factor of FAME to TAG equivalent (FTAGi) | Weight of fatty acid as TAG equivalents (WTAGi) in g in test portion | Weight of fatty acids in g as TAG equivalents (WTAGi) per 100 g test food sample | Conversion factor of FAME to free fatty acid equiv (FFAI) | Weight of fatty acid as free fatty acids (Wi) in test portion | Weight of fatty acids as free fatty acids in 100g test food sample | Fatty acid as % total fatty acids | Weight of fatty acids as free fatty acids per 100 g fat of the test food sample
C4:0 |  | 1.5742 | #DIV/0! | 0.9868 | #DIV/0! | #DIV/0! | 0.8627 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C6:0 |  | 1.3378 | #DIV/0! | 0.9897 | #DIV/0! | #DIV/0! | 0.8923 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C8:0 |  | 1.2195 | #DIV/0! | 0.9915 | #DIV/0! | #DIV/0! | 0.9114 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C10:0 |  | 1.1486 | #DIV/0! | 0.9928 | #DIV/0! | #DIV/0! | 0.9247 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C11:0 |  | 1.1228 | #DIV/0! | 0.9933 | #DIV/0! | #DIV/0! | 0.93 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C12:0 |  | 1.1013 | #DIV/0! | 0.9933 | #DIV/0! | #DIV/0! | 0.9346 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C12:0 |  | 1.1013 | #DIV/0! | 0.9937 | #DIV/0! | #DIV/0! | 0.9346 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C13:0 |  | 1.0831 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C13:0 |  | 1.0831 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C13:0 |  | 1.0831 | #DIV/0! | 0.9941 | #DIV/0! | #DIV/0! | 0.9386 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C14:0 |  | 1.0675 | #DIV/0! | 0.9945 | #DIV/0! | #DIV/0! | 0.9421 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C14:0 |  | 1.0675 | #DIV/0! | 0.9945 | #DIV/0! | #DIV/0! | 0.9421 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C15:0 |  | 1.054 | #DIV/0! | 0.9948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C15:0 |  | 1.054 | #DIV/0! | 0.9948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C15:0 |  | 1.054 | #DIV/0! | 09948 | #DIV/0! | #DIV/0! | 0.9453 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C16:0 |  | 1.0422 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9481 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C16:0 |  | 1.0422 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9481 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C17:0 |  | 1.0318 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Iso-C17:0 |  | 1.0318 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Anteiso-C17:0 |  | 1.0318 | #DIV/0! | 0.9953 | #DIV/0! | #DIV/0! | 0.9507 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:0 |  | 1.0225 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.953 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:0 |  | 1.0067 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.957 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C21:0 |  | 1 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9588 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:0 |  | 0.9939 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.9604 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C24:0 |  | 0.983 | #DIV/0! | 0.9965 | #DIV/0! | #DIV/0! | 0.9963 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total SFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C14:1 |  | 1.0587 | #DIV/0! | 0.9944 | #DIV/0! | #DIV/0! | 0.9417 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C16:1 |  | 1.0345 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11t-C16:1 |  | 1.0345 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t-C17:1 |  | 1.0244 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9503 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4t-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
5t-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
(6t-14t)-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16t-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:1 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total t-MUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
tt-C18:2 |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12t-C18:2 |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t-C18:2 |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c-C18:2 |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,13t-C18:2 |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,15c-C18:2 |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CLA Isomers |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:2 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c,15t-C18:3 |  | 1.0017 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t,15t-C18:3 |  | 1.0017 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12c,15t-C18:3 |  | 1.0017 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c,12t,15c-C18:3 |  | 1.0017 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9t,12c,15c-C18:3 |  | 1.0017 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:3 trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C14:1 |  | 1.0587 | #DIV/0! | 0.9944 | #DIV/0! | #DIV/0! | 0.9417 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C15:1 |  | 1.0457 | #DIV/0! | 0.9947 | #DIV/0! | #DIV/0! | 0.9449 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7c-C16:1 |  | 1.0345 | #DIV/0! | 0.9950 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C16:1 |  | 1.0345 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9477 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C17:1 |  | 1.0244 | #DIV/0! | 0.9952 | #DIV/0! | #DIV/0! | 0.9503 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7c-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10c-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11c-C18:1 |  | 1.0155 | #DIV/0! | 0.9955 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
12c-C18:1 |  | 1.0155 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13c-C18:1 |  | 1.0155 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
14c-C18:1 |  | 1.0155 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15c-C18:1 |  | 1.0155 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16c-C18:1 |  | 1.0155 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9527 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total 18:1 cis |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11c-C20:1 |  | 1.0005 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.9568 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9c-C20:1 |  | 1.0005 | #DIV/0! | 0.9959 | #DIV/0! | #DIV/0! | 0.9568 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13c-C22:1 |  | 0.9881 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.9602 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15c-C24:1 |  | 0.9779 | #DIV/0! | 0.9965 | #DIV/0! | #DIV/0! | 0.9632 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total MUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:2n-6 |  | 1.0087 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9524 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:3n-6 |  | 1.0017 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:2n-6 |  | 0.9943 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9565 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:3n-6 |  | 0.988 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9562 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:4n-6 |  | 0.9819 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.956 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:2n-6 |  | 0.9825 | #DIV/0! | 0.9962 | #DIV/0! | #DIV/0! | 0.96 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:4n-6 |  | 0.9713 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9595 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:5n-6 |  | 0.9655 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9593 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total n-6 LC-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:3n-3 |  | 1.0017 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C18:4n-3 |  | 0.9949 | #DIV/0! | 0.9954 | #DIV/0! | #DIV/0! | 0.9517 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:3n-3 |  | 0.988 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9562 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:4n-3 |  | 0.9819 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.956 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C20:5n-3 |  | 0.9665 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9557 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:3n-3 |  | 0.9769 | #DIV/0! | 0.9958 | #DIV/0! | #DIV/0! | 0.9538 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:5n-3 |  | 0.9655 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9593 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:4n-3 |  | 0.9713 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.9595 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C22:6n-3 |  | 0.9599 | #DIV/0! | 0.9961 | #DIV/0! | #DIV/0! | 0.959 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total n-3 LC-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total cis-PUFA |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total Fatty Acid Methyl esters WFAMEi |  |  | #DIV/0!
Total Triglyceride equivalents WTAGi |  |  |  |  | #DIV/0!
Total Fat content as TAG equivalents per 100g test food sample | [5 empty] | #DIV/0!
Total Fatty Acids in test portion | [9 empty] | #DIV/0!
Total trans |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## <D>no internal standard
Spreadsheet D for calculation of the fatty acid composition of samples analyzed without an internal standard
NOTE: Shaded cells are for input by user
Sample ID:
Date Sample Analyzed
Gravimetrically Determined Total Fat
FAME | GC FAME Peak Area (PAi) | Theoretical FID Correction Factors (TCFi) relative to C18:0 FAME | Weight of fatty acids as FAME WFAMEi (g) | Conversion factor for converting FAMEs to unbound fatty acids(FFAi) | Weight of fatty acids as unbound fatty acids (WFAi) (g) | Weight % of total fatty acids | Weight % of total fat (ie. ,g of fatty acid i per 100 g total fat)
C4:0 |  | 1.5396 | 0 | 0.8627 | 0 | #DIV/0! | #DIV/0!
C6:0 |  | 1.3084 | 0 | 0.8923 | 0 | #DIV/0! | #DIV/0!
C8:0 |  | 1.1927 | 0 | 0.9114 | 0 | #DIV/0! | #DIV/0!
C10:0 |  | 1.1233 | 0 | 0.9247 | 0 | #DIV/0! | #DIV/0!
C11:0 |  | 1.0917 | 0 | 0.93 | 0 | #DIV/0! | #DIV/0!
C12:0 |  | 1.0771 | 0 | 0.9346 | 0 | #DIV/0! | #DIV/0!
Iso-C12:0 |  | 1.0771 | 0 | 0.9346 | 0 | #DIV/0! | #DIV/0!
C13:0 |  | 1.0593 | 0 | 0.9386 | 0 | #DIV/0! | #DIV/0!
Iso-C13:0 |  | 1.0593 | 0 | 0.9386 | 0 | #DIV/0! | #DIV/0!
Anteiso-C13:0 |  | 1.0593 | 0 | 0.9386 | 0 | #DIV/0! | #DIV/0!
C14:0 |  | 1.044 | 0 | 0.9421 | 0 | #DIV/0! | #DIV/0!
Iso-C14:0 |  | 1.044 | 0 | 0.9421 | 0 | #DIV/0! | #DIV/0!
C15:0 |  | 1.0308 | 0 | 0.9453 | 0 | #DIV/0! | #DIV/0!
Iso-C15:0 |  | 1.0308 | 0 | 0.9453 | 0 | #DIV/0! | #DIV/0!
Anteiso-C15:0 |  | 1.0308 | 0 | 0.9453 | 0 | #DIV/0! | #DIV/0!
C16:0 |  | 1.0193 | 0 | 0.9481 | 0 | #DIV/0! | #DIV/0!
Iso-C16:0 |  | 1.0193 | 0 | 0.9481 | 0 | #DIV/0! | #DIV/0!
C17:0 |  | 1.0091 | 0 | 0.9507 | 0 | #DIV/0! | #DIV/0!
Iso-C17:0 |  | 1.0091 | 0 | 0.9507 | 0 | #DIV/0! | #DIV/0!
Anteiso-C17:0 |  | 1.0091 | 0 | 0.9507 | 0 | #DIV/0! | #DIV/0!
C18:0 |  | 1 | 0 | 0.953 | 0 | #DIV/0! | #DIV/0!
C20:0 |  | 0.9846 | 0 | 0.957 | 0 | #DIV/0! | #DIV/0!
C21:0 |  | 0.978 | 0 | 0.9961 | 0 | #DIV/0! | #DIV/0!
C22:0 |  | 0.972 | 0 | 0.9604 | 0 | #DIV/0! | #DIV/0!
C24:0 |  | 0.9614 | 0 | 0.9633 | 0 | #DIV/0! | #DIV/0!
Total SFA |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
9t-C14:1 |  | 1.0354 | 0 | 0.9417 | 0 | #DIV/0! | #DIV/0!
9t-C16:1 |  | 1.0117 | 0 | 0.9477 | 0 | #DIV/0! | #DIV/0!
11t-C16:1 |  | 1.0117 | 0 | 0.9477 | 0 | #DIV/0! | #DIV/0!
9t-C17:1 |  | 1.0019 | 0 | 0.9503 | 0 | #DIV/0! | #DIV/0!
4t-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
5t-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
(6t-14t)-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
16t-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
Total 18:1 trans |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
Total t-MUFA |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
tt-C18:2 |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
9t,12t-C18:2 |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
9c,12t-C18:2 |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
9t,12c-C18:2 |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
9c,13t-C18:2 |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
9t,15c-C18:2 |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
CLA Isomers |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
Total 18:2 trans |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
9t,12c,15t-C18:3 |  | 0.9797 | 0 | 0.952 | 0 | #DIV/0! | #DIV/0!
9t,12c,15t-C18:3 |  | 0.9797 | 0 | 0.952 | 0 | #DIV/0! | #DIV/0!
9c,12c,15t-C18:3 |  | 0.9797 | 0 | 0.952 | 0 | #DIV/0! | #DIV/0!
9c,12t,15c-C18:3 |  | 0.9797 | 0 | 0.952 | 0 | #DIV/0! | #DIV/0!
9t,12c,15c-C18:3 |  | 0.9797 | 0 | 0.952 | 0 | #DIV/0! | #DIV/0!
Total 18:3 trans |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
Total trans |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
9c-C14:1 |  | 1.0354 | 0 | 0.9417 | 0 | #DIV/0! | #DIV/0!
9c-C15:1 |  | 1.0027 | 0 | 0.9449 | 0 | #DIV/0! | #DIV/0!
7c-C16:1 |  | 1.0117 | 0 | 0.9477 | 0 | #DIV/0! | #DIV/0!
9c-C16:1 |  | 1.0117 | 0 | 0.9477 | 0 | #DIV/0! | #DIV/0!
9c-C17:1 |  | 1.0017 | 0 | 0.9503 | 0 | #DIV/0! | #DIV/0!
7c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
9c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
10c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
11c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
12c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
13c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
14c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
15c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
16c-C18:1 |  | 0.9932 | 0 | 0.9527 | 0 | #DIV/0! | #DIV/0!
Total 18:1 cis |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
11c-C20:1 |  | 0.9785 | 0 | 0.9568 | 0 | #DIV/0! | #DIV/0!
9c-C20:1 |  | 0.9785 | 0 | 0.9568 | 0 | #DIV/0! | #DIV/0!
13c-C22:1 |  | 0.9664 | 0 | 0.9602 | 0 | #DIV/0! | #DIV/0!
15c-C24:1 |  | 0.9564 | 0 | 0.9632 | 0 | #DIV/0! | #DIV/0!
Total MUFA |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
C18:2n-6 |  | 0.9865 | 0 | 0.9524 | 0 | #DIV/0! | #DIV/0!
C18:3n-6 |  | 0.9797 | 0 | 0.952 | 0 | #DIV/0! | #DIV/0!
C20:2n-6 |  | 0.9724 | 0 | 0.9565 | 0 | #DIV/0! | #DIV/0!
C20:3n-6 |  | 0.9663 | 0 | 0.9562 | 0 | #DIV/0! | #DIV/0!
C20:4n-6 |  | 0.9603 | 0 | 0.956 | 0 | #DIV/0! | #DIV/0!
C22:2n-6 |  | 0.9609 | 0 | 0.96 | 0 | #DIV/0! | #DIV/0!
C22:4n-6 |  | 0.9499 | 0 | 0.9595 | 0 | #DIV/0! | #DIV/0!
C22:5n-6 |  | 0.9443 | 0 | 0.9593 | 0 | #DIV/0! | #DIV/0!
Total n-6 LC-PUFA |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
C18:3n-3 |  | 0.9797 | 0 | 0.952 | 0 | #DIV/0! | #DIV/0!
C18:4n-3 |  | 0.973 | 0 | 0.9517 | 0 | #DIV/0! | #DIV/0!
C20:3n-3 |  | 0.9663 | 0 | 0.9562 | 0 | #DIV/0! | #DIV/0!
C20:4n-3 |  | 0.9603 | 0 | 0.956 | 0 | #DIV/0! | #DIV/0!
C20:5n-3 |  | 0.9452 | 0 | 0.9557 | 0 | #DIV/0! | #DIV/0!
C22:3n-3 |  | 0.9554 | 0 | 0.9538 | 0 | #DIV/0! | #DIV/0!
C22:5n-3 |  | 0.9443 | 0 | 0.9593 | 0 | #DIV/0! | #DIV/0!
C22:4n-3 |  | 0.9499 | 0 | 0.9595 | 0 | #DIV/0! | #DIV/0!
C22:6n-3 |  | 0.9388 | 0 | 0.959 | 0 | #DIV/0! | #DIV/0!
Total n-3 LC-PUFA |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
Total cis-PUFA |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
Total WFAMEi |  |  | 0
Total Wi |  |  |  |  | 0
Total trans |  |  | 0 |  | 0 | #DIV/0! | #DIV/0!
Note: The weights (WFAMEi (g), Wi (g), g Fatty acid i per 100 g total fatty acids) obtained from this spreadsheet are apparent weights, and not absolute.