## TPP 1 Feedback Form
Thank you for your interest in providing feedback on the Draft Target Product Profile for developing IVDs for low- and middle-income settings. Please use column E to leave your comments to the different characteristics, alongside any suggestions in column F.
Please return this file with your comments by email with the subject line "Public Consultation Feedback" to: researchsupport@who.int
Target Product Profile 1: | For IVDs offered at health care facilities without clinical laboratories, and as instrument-free disposable tests.
Your Name:
Your Affiliation:
Characteristics | Minimally acceptable | Optimal | Comments | Public Reviewer Comments | Public Reviewer Suggestions for Change
Target user | Health care worker, community health worker, lay provider
Equipment | None required - instrument-free or disposable | Compatible with a reader
Sample preparation | Minimal, no more than 2 steps and no precision measurements required | Integrated; transfer directly to test
Additional 3rd party consumables | All included in kit, except sample collection kit | All included in kit, including sample collection kit
Cold chain requirements | None required
Power requirements | None required
Water requirements | None required
Test kit stability | 18 months at 10-40°C; ≤ 70% humidity | >24 months at 4-40°C; ≤ 75% humidity; conform to ASTM D4169-05 and ISO 11607-1:2019
Test kit stability, once opened | 1 hour | > 2 hours
Reagents and consumables | Proprietary reagents and consumables
Sample stability, pre-testing | 30 minutes | 1 hour
Reagents reconstitution | None required, reagents ready
Operating conditions | 15-35°C; ≤ 70% humidity; altitude up to 1000m; operable in low light settings | 10-45°C; ≤ 75% humidity; altitude up to 3000m; operable in low light settings
Ease of use | ≤ 3 user steps, 1 step requiring precision using a provided simplified pipette, 1 timed step | ≤ 2 user steps, no steps requiring pipetting, 1 or no timed steps
Total time to test result | < 1 hour | < 20 minutes
Throughput | 3-5 tests per hour | Capable of batching; > 5 tests per hour
Invalid/error rate | < 5% | < 2%
Multiplex capability | No | Yes
Result interpretation | Visual manual or reader interpretation with minimal interpretation instructions | Direct result with no interpretation necessary
Result validity stability | 30 minutes | 1 hour
Result storage | Not applicable | Compatible with a reader; > 200 test results
Connectivity | Not applicable | Compatible with a reader; integrated Wi-Fi 802.11b/g/n; USB 3.0 or 4.0; internally designatable static IP address; support for DHCP-issued IP addresses; support for HTTPs and SFTP protocols; integrated global positioning system (GPS); ability to update connectivity software stack via USB or LAN.
Data export | Not applicable | Compatible with a reader; secure data export end-to-end encryption; data export in CSV and Excel file formats; configurable destination IP and DNS addresses; user-initiated data export
Training required | 1 day with tools, instructions for use, job aids, etc. available as hard copy and online | ≤ 1 day with tools, instructions for use, job aids, etc. available as hard copy and online
Biosafety precautions | No hazards when observing Universal Blood Safety/Body Fluid precautions and all materials are free of components with a GHS classification H (particularly H350, H340, H360)* |  | *Globally Harmonized System of Classification and Labelling of Chemicals; H350: may cause cancer; H340: may cause genetic defects; H360: may damage fertility of the unborn child.
Waste disposal requirements | Waste disposal in biosafety bin following standard guidelines, including sharps containers for disposal of lancets, capillary tubes, etc. Appropriate disposal method for excess specimens and processing consumables (e.g. latrine, incineration). Standard operating procedure provided. | Same as minimal, but consideration for reusable, recyclable, or compostable material or non-plastic alternatives; no cyanide and no chlorine
Service and maintenance | None required
Calibration | None required
Quality control | Internal procedural control(s), external quality assessment (EQA) material compatible | Internal procedural control(s), including sample adequacy, external quality assessment (EQA) material compatible; colorimetric or other indicator to identify excessive heat/humidity
Regulatory requirements | Manufactured under ISO 13485:2003 certified.
WHO prequalified or authorized for use by a regulatory authority of the founding members of the IMDRF
Target price for test | < US$ 2 per test | < US $1 per test

## TPP 2 Feedback Form
Thank you for your interest in providing feedback on the Draft Target Product Profile for developing IVDs for low- and middle-income settings. Please use column E to leave your comments to the different characteristics, alongside any suggestions in column F.
Please return this file with your comments by email with the subject line "Public Consultation Feedback" to: researchsupport@who.int
Target Product Profile 2: | For IVDs offered at health care facilities without clinical laboratories, and as instrument-based point-of-care tests.
Your Name:
Your Affiliation:
Characteristics | Minimally acceptable | Optimal | Comments | Public Reviewer Comments | Public Reviewer Suggestions for Change
Target user | Health care worker, community health worker, lay provider
Equipment | Small benchtop instrument | Minimal, small, portable, handheld or small results reader
Sample preparation | Minimal, no more than 2-3 steps and no precision measurements required | Integrated; transfer directly to test
Additional 3rd party consumables | All included in kit, except sample collection kit | All included in kit, including sample collection kit
Cold chain requirements | Refrigeration (2-8°C) acceptable | None required
Power requirements | Battery or solar-power operated > 6 hours; if necessary, local 110-240 AC mains, plus uninterruptable power supply to complete current cycle (integrated) | Battery with/without solar-power operated >10 hours
Water requirements | None required
Test kit stability | 18 months at 10-40°C; ≤ 70% humidity | >24 months at 4-40°C; ≤ 75% humidity; conform to ASTM D4169-05 and ISO 11607-1:2019
Test kit stability, once opened | 1 hour | > 2 hours
Reagents and consumables | Proprietary reagents and consumables | Reagents and consumables can be used on available, validated, common instruments
Sample stability, pre-testing | 1 hour | 3 hours
Reagents reconstitution | None required, reagents ready
Operating conditions | 15-35°C; ≤ 70% humidity; altitude up to 1000m; operable in low light settings | 10-45°C; ≤ 75% humidity; altitude up to 3000m; operable in low light settings
Ease of use | ≤ 3 user steps, 1 step requiring precision using a provided simplified pipette, 1 timed step | ≤ 2 user steps, no steps requiring pipetting, 1 or no timed steps
Total time to test result | < 1 hour | < 20 minutes
Throughput | 3-5 tests per hour | > 5 tests per hour
Invalid/error rate | < 8% | ≤ 5%
Multiplex capability | No | Yes
Result interpretation | Visual manual or reader interpretation with minimal interpretation instructions | Direct result with no interpretation necessary
Result validity stability | 30 minutes | 1 hour
Result storage | > 200 test results | > 1000 test results
Connectivity | Integrated Wi-Fi 802.11b/g/n; USB 3.0 or 4.0; internally designatable static IP address; support for DHCP-issued IP addresses; support for HTTPs and SFTP protocols; integrated global positioning system (GPS); ability to update connectivity software stack via USB or LAN. | Same as minimal, plus: integrated local area network (LAN) port; multiband global system for mobile communications (GSM) chipset 2G, 3G, 4G, 5G, LTE; integrated Bluetooth 5.0; integrated Wi-Fi 802.11ac; bidirectional communication – ability to update connectivity software stack.
Data export | Export of all instrument and test data over integrated hardware; secure data export end-to-end encryption; data export in CSV and Excel file formats; configurable destination IP and DNS addresses; user-initiated data export; connectivity to external printer. | Same as minimal, plus: scheduled/automatic data export using interoperable standards via the GSM SMS.
Training required | 1 day with tools, instructions for use, job aids, etc. available as hard copy and online | ≤ 1 day with tools, instructions for use, job aids, etc. available as hard copy and online
Biosafety precautions | Inactivation step or self-contained system; no hazards when observing Universal Blood Safety/Body Fluid precautions and all materials are free of components with a GHS classification H (particularly H350, H340, H360)* |  | *Globally Harmonized System of Classification and Labelling of Chemicals; H350: may cause cancer; H340: may cause genetic defects; H360: may damage fertility of the unborn child.
Waste disposal requirements | Waste disposal in biosafety bin following standard guidelines, including sharps containers for disposal of lancets, capillary tubes, etc. Appropriate disposal method for excess specimens and processing consumables (e.g. latrine, incineration). Standard operating procedure provided. | Same as minimal, but consideration for reusable, recyclable, or compostable material or non-plastic alternatives; no cyanide and no chlorine
Service and maintenance | Swap out or replace instrument or reader; remote software updates available and simple enough for end-user implementation | None required; remote software updates available and simple enough for end-user implementation
Calibration | Remote calibration available or none required | None required
Quality control | Internal procedural control(s), external quality assessment (EQA) material compatible | Internal procedural control(s), including sample adequacy, positive, and negative controls, external quality assessment (EQA) material compatible; colorimetric or other indicator to identify excessive heat/humidity
Regulatory requirements | Manufactured under ISO 13485:2003 certified.
WHO prequalified or authorized for use by a regulatory authority of the founding members of the IMDRF
Target price for test | < US$ 10 per test | < US $8 per test

## TPP 3 Feedback Form
Thank you for your interest in providing feedback on the Draft Target Product Profile for developing IVDs for low- and middle-income settings. Please use column E to leave your comments to the different characteristics, alongside any suggestions in column F.
Please return this file with your comments by email with the subject line "Public Consultation Feedback" to: researchsupport@who.int
Target Product Profile 3: | Target product profile for IVDs offered at health care facilities with clinical laboratories
Your Name:
Your Affiliation:
Characteristics | Minimally acceptable | Optimal | Comments | Public Reviewer Comments | Public Reviewer Suggestions for Change
Target user | Laboratory professional
Equipment | Proprietary equipment or compatible with equipment existing in laboratories at level 2 and above | Small, table-top, multi-modular, integrated proprietary instrument
Sample preparation | ≤ 3 steps; ≤ 1 precision step; centrifugation and/or vortexing acceptable | Transfer of sample to processing tube with necessary buffer, then to instrument
Additional 3rd party consumables | Minimal required, besides sample collection kit and standard laboratory materials (eg. pipette tips, etc.) | None required, except sample collection kit
Cold chain requirements | -20°C or 2-8°C acceptable | None required
Power requirements | Local 110-240 AC mains, plus uninterruptable power supply to complete current cycle (integrated); with rechargeable battery
Water requirements | Laboratory-grade water acceptable | None required. If water is required, provide in sealed, pre-measured containers
Test kit stability | 12 months at 4-35°C; ≤ 70% humidity | 24 months at 4-40°C; ≤ 75% humidity; conform to ASTM D4169-05 and ISO 11607-1:2019
Reagents and consumables | Proprietary reagents and consumables, besides standard laboratory materials (eg. pipette tips, etc.) | Reagents and consumables can be used on available, validated, common instruments
Test kit stability, once opened | 30 days | 60 days
Sample stability, pre-testing | ≥ 24 hours | 1 week
Reagents reconstitution | Ready or maximum 5 steps within 15 minutes | None required, reagents ready
Operating conditions | 15-30°C; ≤ 70% humidity; direct sunlight/low light and dusty conditions possible | 10-40°C; ≤ 75% humidity; direct sunlight or low light and dusty conditions possible
Ease of use | ≤ 10 user steps, of which ≤ 5 are timed steps, 1-3 precision steps possible | Direct primary tube application to instrument
Total time to test result | < 8 hours | < 2 hours
Throughput | > 100 tests per 8-hour shift per instrument | > 500 tests per 8-hour shift per instrument
Invalid/error rate | ≤ 3% | ≤ 1%
Multiplex capability | No | Yes
Result interpretation | Requires some laboratory skills | Minimal interpretation
Result validity stability | Stored and can be referred to when necessary
Result storage | 6 months of expected results | 1 year of expected results
Connectivity | Integrated local area network (LAN) port; integrated Wi-Fi 802.11b/g/n; USB 3.0 or 4.0; internally designatable static IP address; support for DHCP-issued IP addresses; support for HTTPs and SFTP protocols; integrated global positioning system (GPS); ability to update connectivity software stack via USB or LAN. | Same as minimal, plus: multiband global system for mobile communications (GSM) chipset 2G, 3G, 4G, 5G, LTE; integrated Bluetooth 5.0; integrated Wi-Fi 802.11ac; bidirectional communication – ability to update connectivity software stack.
Data export | Export of all instrument and test data over integrated hardware; secure data export end-to-end encryption; data export in CSV and Excel file formats; configurable destination IP and DNS addresses; user-initiated data export; connectivity to external printer. | Same as minimal, plus: scheduled/automatic data export using interoperable standards via the GSM SMS.
Training required | < 1 week | ≤ 3 days
Biosafety precautions | Inactivation step or self-contained system; no hazards when observing Universal Blood Safety/Body Fluid precautions and all materials are free of components with a GHS classification H (particularly H350, H340, H360)*
Waste disposal requirements | Waste disposal in biosafety bin following standard guidelines, including sharps containers for disposal of lancets, capillary tubes, etc. Appropriate disposal method for excess specimens, liquid waste, and processing consumables (e.g. latrine, incineration). Standard operating procedure provided. | Same as minimal, but consideration for reusable, recyclable, or compostable material or non-plastic alternatives; no cyanide and no chlorine
Service and maintenance | Routine service and maintenance no more than once per year with self-check alerts as required | Routine service and maintenance no more than once per 2 years by national staff with self-check alerts as required
Calibration | On-site yearly by a trained local technician | Remote or no calibration necessary; no more than once per year
Quality control | Internal procedural control(s), external quality assessment (EQA) material compatible | Internal procedural control(s), including sample adequacy, positive, and negative controls, external quality assessment (EQA) material compatible; colorimetric or other indicator to identify excessive heat/humidity
Regulatory requirements | Manufactured under ISO 13485:2003 certified. WHO prequalified or authorized for use by a regulatory authority of the founding members of the IMDRF
Target price for test | ≤ US$ 15 per test | ≤ US$ 10 per test