## Introduction
Sustainable Development Goal 6 Monitoring
6.3.1 Safely Treated Household Wastewater
Costa Rica
2020 Country Estimate
Safely Treated Household Wastewater: 23%
Introduction and methods
Guidance
Data, calculations, and results
Part A: Household wastewater generated
Part B: Household wastewater generated by sanitation facility
Part C: Household wastewater management chain
Part D: Country estimates
Data summary
Additional data
IN HOUSEHOLDS
IN HOUSEHOLDS

## Guidance
SDG Indicator 6.3 aims to, by 2030, “improve water quality by reducing pollution, eliminating dumping and minimizing release of hazardous chemicals and materials, halving the proportion of untreated wastewater and substantially increasing recycling and safe reuse globally”. Ensuring ambient water quality is essential to protecting ecosystem and human health, and can be achieved by significantly reducing or eliminating different streams of pollution discharged into water bodies. The main sources of pollution include wastewater from households, commercial establishments and industries (point sources), as well as run-off from urban and agricultural land (non-point sources).
SDG Indicator 6.3.1 aims to measure and track over time the percentage of wastewater flows from households and industrial premises that are safely treated in compliance with relevant national or local standards. The World Health Organization (WHO) and UN-Habitat serve as the custodian agencies for household and total/industrial components of Indicator 6.3.1, respectively, and are responsible for periodic data compilation and reporting. The overall indicator for 6.3.1 is reported for total wastewater (all point sources combined), while statistics on industrial and household wastewater flows are presented as complementary data series.
Figure 1: Household wastewater management chain
The household wastewater management chain (Figure 1) is used to conceptualise the various stages of household wastewater flows - from generation at the household to collection at treatment facilities, treatment levels at those facilities, and discharge to receiving water bodies. The chain is divided into three wastewater streams, representing wastewater generated by households with: 1) sewer connections; 2) septic tank connections; and 3) all other types of sanitation. Each node of the chain is represented by a variable (as identified in square brackets in Figure 1) with a proportion feeding into the 'not safely treated' fraction and the remaining proportion continuing to the next node (as indicated by the arrows in Figure 1). Wastewater can be considered collected when it reaches a wastewater treatment facility. For the purposes of the estimations, wastewater treatment facilities include treatment plants (for sewer wastewater or emptied and delivered faecal sludge from septic tanks) or on-site treatment systems (such as a functional septic tank system with leach field). Wastewater flows from households with septic tanks are characterised by where faecal sludge (which accumulates over time inside the tank) has resided - specifically, whether it has been transferred off-site (2a; delivered to a wastewater treatment plant) or remains on-site (2b; in the tank unemptied, or emptied and buried on-site). Wastewater flows collected at wastewater treatment plants (from either sewers or faecal sludge from septic tanks) can be considered safely treated if they are treated by at least secondary level processes (associated with biological removal technologies) or if they meet effluent discharge standards. Wastewater flows from septic tanks may also be considered safely treated if faecal sludge remains on-site. Wastewater flows from households without connections to piped sewers or septic tanks (such as those that practice open defecation or use pit latrines) are not eligible to be classified as collected at treatment facilities nor safely treated.
Sewer wastewater may not always be collected at wastewater treatment plants, particularly if it is instead directly discharged into receiving water bodies or if treatment plants at the end-of-pipe are not operational. Flows that have been collected at treatment plants may not always be safely treated, particularly if some flows bypasses treatment processes, if the system is functioning over capacity, if discharges fail to meet effluent standards, or if only primary treatment processes (associated physical removal of contaminates only) are employed. Septic tank wastewater may not always be contained, particularly if tanks are not correctly installed, are not well functioning, or have not been maintained. Septic tank wastewater may also not be collected if emptied faecal sludge is disposed of unsafely.
For many countries, nationally-representative data reported by official agencies are not always measured or publicly available for each of the variables of the household wastewater management chain. As a result, WHO has strategically employed a set of assumptions to fill-in data gaps. However, country estimates (proportion of household wastewater safely treated) are only calculated when country-level calculations are not overly dependent on assumptions (see Methodological Note for further detail).
This file is part of a global update of Indicator 6.3.1 published in 2021 and is a supplement to the indicator report available here (<link>) and a methodological note (where additional details can be found). Data have been compiled from global databanks and directly from country-level agencies and are presented alongside their respective sources and attributes in the Excel worksheets that follow. Calculations related to the computation of the proportion of household wastewater safely treated are also presented.

## A- Total generated
Part A: Estimation of total generated household wastewater (Costa Rica, 2020)
Population [1000s] |  |  | Water supply type by population [%] | [5 empty] | Estimation of domestic water use | [8 empty] | Estimation of total generated household wastewater
|  |  | On-premises* water supply |  |  | Off-premises* water supply |  |  | On-premises* water supply [litres/person/day] |  |  | Off-premises* water supply [litres/person/day] |  |  | Total domestic water use [million m3/year] [1] x [2] x [4] + [1] x [3] x [5] |  |  | Proportion of domestic water use converted into generated wastewater [%] |  |  | Total generated household wastewater [million m3/year]
5094.1138 | E | [1] | 99.28% | E | [2] | 0.7221% | E | [3] | 120 | A | [4] | 20 | A | [5] | 221.7795 | C | [6] | 80% | A | [7] | 170.0956 | R | [8]
Notes: | [variable numbers shown in square brackets - see 'Data summary' worksheet for additional details]
A - Assumption (see methodological note for details)
C - Calculated value
E - Estimated value based on official national statistics
R - Reported value from official national statistics
* - On/off-premises refering to the location of the primary water supply
Total generated household wastewater has been reported directly [8], and therefore has not been calculated internally using variables [1] to [7]

## B- Generated by san facility
Part B: Estimation of generated household wastewater by sanitation facility type (Costa Rica, 2020)
Sanitation facility coverage |  |  |  | Estimated household wastewater generated by sanitation facility type
Type of sanitation facility | Proportion of population [%] |  |  | Volume [million m3/year] |  |  | Proportion by volume [%]
Stream 1: Piped sewers | 20.99% | E | [9] | 35.6993 | C | [14] | 20.99% | C | [14] / [8]
Stream 2: Septic tanks | 77.28% | E | [10] | 131.4424 | C | [15] | 77.28% | C | [15] / [8]
Other improved facilities | 0.4122% | E | [11] | 0.70107 | C | [16] | 0.4122% | C | [16] / [8]
Unimproved facilities | 1.198% | E | [12] | 2.0376 | C | [17] | 1.198% | C | [17] / [8]
Open defecation | 0.1266% | E | [13] | 0.21532 | C | [18] | 0.1266% | C | [18] / [8]
|  |  | TOTAL: | 170.0956 | R | [8] | 100% | C
Notes: | [variable numbers shown in square brackets - see 'Data summary' worksheet for additional details]
A - Assumption (see methodological note for details)
C - Calculated value
E - Estimated value based on official national statistics
R - Reported value from official national statistics

## C- WW management chain
Part C: Household wastewater management chain (Costa Rica, 2020)
Household wastewater stream | Generated household wastewater | [5 empty] | Proportion of household wastewater [X...] in each stream [%]
| Volume [million m3/year] |  |  | Proportion by volume [%] |  |  | [...Contained] |  |  | [...Emptied and buried onsite] |  |  | [...Emptied and discharged locally] |  |  | [...Emptied and removed offsite] |  |  | [...Not emptied] |  |  | […Collected at treatment plants] |  |  | […Collected that has been safely treated at treatment plants]
Stream 1: Piped sewer wastewater flows | 35.6993 | C | [14] | 20.99% | C | [14] / [8] | [15 empty] | 15.9% | R | [19] | 34% | R | [20]
Stream 2a: Septic tank wastewater flows (off-site) | 131.4424 | C | [15] | 77.28% | C | [15] / [8] | 50% | A | [22] |  |  |  | 4.5% | R | [24] | 38.2% | R | [25] |  |  |  | 100% | A | [27] | 0% | A | [28]
Stream 2b: Septic tank wastewater flows (on-site) | 131.4424 | C | [15] | 77.28% | C | [15] / [8] | 50% | A | [22] | 1.8% | R | [23] | [6 empty] | 55.5% | R | [26]
Is the proportion of sewer wastewater safely treated at treatment plants [20] based on compliance (with discharge standards) or technology (at least secondary treatment)?
Secondary or higher treatment technologies
Are data sufficient to make a country estimate?
Yes, since the volume of septic tank wastewater generated is greater than the volume of sewer wastewater generated, and data on septic tank management [23-26] are reported
Notes: | [variable numbers shown in square brackets - see 'Data summary' worksheet for additional details]
A - Assumption (see methodological note for details)
C - Calculated value
E - Estimated value based on official national statistics
R - Reported value from official national statistics

## D- Country estimates
Part D: Country estimates for safely treated household wastewater (Costa Rica, 2020)
|  | Volume (million m3/year) |  |  | Proportion by total volume generated (%) |  |  | Proportion by volume generated in wastewater stream (%)
Estimated household wastewater generated | Stream 1: Households connected to sewers | 35.6993 | C | [14] | 20.99% | C | [14] / [8] | 100% | C | [14] / [14]
| Stream 2: Households connected to septic tanks | 131.4424 | C | [15] | 77.28% | C | [15] / [8] | 100% | C | [15] / [15]
| Households using all other types of sanitation | 2.9539 | C | [16] + [17] + [18] | 1.737% | C | { [16] + [17] + [18] } / [8] | 100% | C | { [16] + [17] + [18] } / { [16] + [17] + [18] }
| Total generated | 170.0956 | R | [8] = [14] + [15] + [16] + [17] + [18] | 100% | C | [8] / [8] | - |  | -
Estimated household wastewater collected at treatment facilities | Stream 1: Collected from piped sewers at wastewater treatment plants | 5.6762 | C | [29] = [14] x [19] | 3.337% | C | [29] / [8] | 15.9% | C | [29] / [14]
| Stream 2a: Wastewater collected at septic tanks and faecal sludge at wastewater treatment plants (off-site) | 25.1055 | C | [30] = [15] x [22] x [25] x [27] | 14.76% | C | [30] / [8] | 19.1% | C | [30] / [15]
| Stream 2b: Wastewater collected at septic tanks and faecal sludge at on-site treatment (on-site) | 37.6582 | C | [31] = [15] x [22] x ([23] + [26]) | 22.14% | C | [31] / [8] | 28.65% | C | [31] / [15]
| Total collected | 68.4399 | C | [32] = [29] + [30] + [31] | 40.24% | C | [32] / [8] | - |  | -
Estimated household wastewater safely treated | Stream 1: Safely treated from piped sewers at wastewater treatment plants | 1.9299 | C | [33] = [29] x [20] | 1.135% | C | [37] = [33] / [8] | 5.406% | C | [33] / [14]
| Stream 2a: Wastewater safely treated at septic tanks and faecal sludge at wastewater treatment plants (off-site) | 0 | C | [34] = [30] x [28] | 0% | C | [38] = [34] / [8] | 0% | C | [34] / [15]
| Stream 2b: Wastewater safely treated at septic tanks and faecal sludge at on-site treatment (on-site) | 37.6582 | C | [35] = [31] x 100% | 22.14% | C | [39] = [35] / [8] | 28.65% | C | [35] / [15]
| Total safely treated | 39.5881 | C | [36] = [33] + [34] + [35] | COUNTRY ESTIMATE (SDG 6.3.1): 23.3% | C | [40] = [36] / [8] | - |  | -
| Sufficient data to produce a country estimate? | Yes, since the volume of septic tank wastewater generated is greater than the volume of sewer wastewater generated, and data on septic tank management [23-26] are reported
Notes: | [variable numbers shown in square brackets - see 'Data summary' worksheet for additional details]
A - Assumption (see methodological note for details)
C - Calculated value
E - Estimated value based on official national statistics
R - Reported value from official national statistics

## Data summary
Country ID | Country/territory name | Variable ID | Variable name | Value | Units | Data type | Year | Data source | Notes
CRI | Costa Rica | 1 | Population | 5094.1138 | Population (1000s) | E | 2020 | 2019 Revision of World Population Prospects
CRI | Costa Rica | 2 | Population with water on premises | 99.28% | Percentage | E | 2020 | jmp_2021_cri_costa_rica_v2.xlsx
CRI | Costa Rica | 3 | Population with water off premises | 0.7221% | Percentage | E | 2020 | jmp_2021_cri_costa_rica_v2.xlsx
CRI | Costa Rica | 4 | Domestic water use (water supply on-premises) | 120 | litres/person/day | A |  | Default assumption
CRI | Costa Rica | 5 | Domestic water use (water supply off-premises) | 20 | litres/person/day | A |  | Default assumption
CRI | Costa Rica | 6 | Total domestic water use | 221.7795 | million m3/year | C
CRI | Costa Rica | 7 | Proportion of domestic water use converted into generated wastewater | 80% | Percentage | A |  | Default assumption
CRI | Costa Rica | 8 | Total generated household wastewater | 170.0956 | million m3/year | R | 2017 | UNSD
CRI | Costa Rica | 9 | Proportion of the population living in households connected to piped sewers | 20.99% | Percentage | E | 2020 | jmp_2021_cri_costa_rica_v2.xlsx
CRI | Costa Rica | 10 | Proportion of the population living in households connected to septic tanks | 77.28% | Percentage | E | 2020 | jmp_2021_cri_costa_rica_v2.xlsx
CRI | Costa Rica | 11 | Proportion of the population living in households with access to other improved sanitation facilities | 0.4122% | Percentage | E | 2020 | jmp_2021_cri_costa_rica_v2.xlsx
CRI | Costa Rica | 12 | Proportion of the population living in households with access to unimproved sanitation facilities | 1.198% | Percentage | E | 2020 | jmp_2021_cri_costa_rica_v2.xlsx
CRI | Costa Rica | 13 | Proportion of the population living in households where members practice open defecation | 0.1266% | Percentage | E | 2020 | jmp_2021_cri_costa_rica_v2.xlsx
CRI | Costa Rica | 14 | Estimated volume of wastewater generated by households connected to piped sewers | 35.6993 | million m3/year | C
CRI | Costa Rica | 15 | Estimated volume of wastewater generated by households connected to septic tanks | 131.4424 | million m3/year | C
CRI | Costa Rica | 16 | Estimated volume of wastewater generated by households with access to other improved sanitation facilities | 0.70107 | million m3/year | C
CRI | Costa Rica | 17 | Estimated volume of wastewater generated by households with access to unimproved sanitation facilities | 2.0376 | million m3/year | C
CRI | Costa Rica | 18 | Estimated volume of wastewater generated by households where members practice open defecation | 0.21532 | million m3/year | C
CRI | Costa Rica | 19 | Proportion of sewer wastewater collected at treatment plants | 15.9% | Percentage | R | 2016 | UNSD
CRI | Costa Rica | 20 | Proportion of sewer wastewater safely treated at treatment plants | 34% | Percentage | R | 2017 | UNSD
CRI | Costa Rica | 21 | Sewer wastewater treatment performance classification | Technology | - | R | 2017 | UNSD
CRI | Costa Rica | 22 | Proportion of septic tanks with wastewater contained | 50% | Percentage | A |  | Default assumption
CRI | Costa Rica | 23 | Proportion of septic tanks with faecal sludge emptied and buried (on-site) | 1.8% | Percentage | R | 2018 | Multiple Indicator Cluter Survey (MICS) - INEC
CRI | Costa Rica | 24 | Proportion of septic tanks with faecal sludge emptied and discharged locally | 4.5% | Percentage | R | 2018 | Multiple Indicator Cluter Survey (MICS) - INEC
CRI | Costa Rica | 25 | Proportion of septic tanks with faecal sludge emptied and removed offsite (off-site) | 38.2% | Percentage | R | 2018 | Multiple Indicator Cluter Survey (MICS) - INEC
CRI | Costa Rica | 26 | Proportion of septic tanks with faecal sludge not yet emptied (on-site) | 55.5% | Percentage | R | 2018 | Multiple Indicator Cluter Survey (MICS) - INEC
CRI | Costa Rica | 27 | Proportion of septic tanks with faecal sludge collected at treatment plants (off-site) | 100% | Percentage | A |  | Default assumption
CRI | Costa Rica | 28 | Septic tank treated at treatment plant | 0% | Percentage | A |  | Default assumption
CRI | Costa Rica | 29 | Volume of household wastewater collected - Piped sewers (off-site) | 5.6762 | million m3/year | C
CRI | Costa Rica | 30 | Volume of household wastewater collected - Septic tanks (off-site) | 25.1055 | million m3/year | C
CRI | Costa Rica | 31 | Volume of household wastewater collected - Septic tanks (on-site) | 37.6582 | million m3/year | C
CRI | Costa Rica | 32 | Volume of household wastewater collected - Total | 68.4399 | million m3/year | C
CRI | Costa Rica | 33 | Volume of safely treated household wastewater - Piped sewer (off-site) | 1.9299 | million m3/year | C
CRI | Costa Rica | 34 | Volume of safely treated household wastewater - Septic tank (off-site) | 0 | million m3/year | C
CRI | Costa Rica | 35 | Volume of safely treated household wastewater - Septic tank (on-site) | 37.6582 | million m3/year | C
CRI | Costa Rica | 36 | Volume of safely treated household wastewater - Total | 39.5881 | million m3/year | C
CRI | Costa Rica | 37 | Proportion of safely treated household wastewater - Piped sewer (off-site) | 1.135% | Percentage | C
CRI | Costa Rica | 38 | Proportion of safely treated household wastewater - Septic tank (off-site) | 0% | Percentage | C
CRI | Costa Rica | 39 | Proportion of safely treated household wastewater - Septic tank (on-site) | 22.14% | Percentage | C
CRI | Costa Rica | 40 | Proportion of safely treated household wastewater (SDG 6.3.1) | 23.27% | Percentage | C

## Additional data
Country ID | Country/territory name | Variable name | Variable ID | Value | Units | Data type | Year | Data source | Notes
CRI | Costa Rica | Proportion of wastewater delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | 19 | 15.9 | % | R | 2016 | UNSD | Tratamiento de aguas residuales urbanas: corresponde a los datos del Ministerio de Salud contenidos en el Sistema para el Registro de los Reportes Operacionales de Aguas Residuales (SIRROAR), correspondientes al CIIU 37; Proportion of wastewater treated at urban WWTPs (73240 m3/day) to generated by households (460790 m3/day) based on volumes provided; 73240/460790 =15.9%; A reasonable approximation in comparison to proportion of sewer connected population connected to wastewater treatment (7.56%/23.29% = 32.5%)
CRI | Costa Rica | Proportion of wastewater (by volume) delivered to treatment systems with at least secondary treatment | 20 | 34 | % | R | 2017 | UNSD | Calculated based on proportions of population connected to wastewater treatment (7.56) and above secondary treatment (2.57); (2.57/7.56=34%). Proporiton by population used a proxy for proportion by volume.
CRI | Costa Rica | Proportion of septic tanks with faecal sludge emptied and buried on-site | 23 | 1.8 | % | R | 2018 | Multiple Indicator Cluter Survey (MICS) - INEC | As derived by JMP 2021
CRI | Costa Rica | Proportion of septic tanks with faecal sludge emptied and discharged locally | 24 | 4.5 | % | R | 2018 | Multiple Indicator Cluter Survey (MICS) - INEC | As derived by JMP 2021
CRI | Costa Rica | Proportion of septic tanks with faecal sludge emptied and removed off-site | 25 | 38.2 | % | R | 2018 | Multiple Indicator Cluter Survey (MICS) - INEC | As derived by JMP 2021
CRI | Costa Rica | Proportion of septic tanks not yet emptied | 26 | 55.5 | % | R | 2018 | Multiple Indicator Cluter Survey (MICS) - INEC | As derived by JMP 2021
CRI | Costa Rica | National household water consumption | Not used | 334837 | litres/person/day |  | 2009 | National Institute of Statistics and Census: Environmental Indicators:Environmental Statistics Compendium System:Download XLS file: Cuadro.2:10.Costo Rica; Volumen de agua potable producidas por operador segun extraccion y despacho, anos 2009-2013 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data:Autoridad Reguladora de Servicios Publicos(2015),Intendencia de aguas. Compilacion por Daniel Esheverria Lutz. San Jose, Costa Rica
CRI | Costa Rica | National household water consumption | Not used | 334093 | litres/person/day |  | 2010 | National Institute of Statistics and Census: Environmental Indicators:Environmental Statistics Compendium System:Download XLS file: Cuadro.2:10.Costo Rica; Volumen de agua potable producidas por operador segun extraccion y despacho, anos 2009-2014 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data:Autoridad Reguladora de Servicios Publicos(2015),Intendencia de aguas. Compilacion por Daniel Esheverria Lutz. San Jose, Costa Rica
CRI | Costa Rica | National household water consumption | Not used | 323699 | litres/person/day |  | 2011 | National Institute of Statistics and Census: Environmental Indicators:Environmental Statistics Compendium System:Download XLS file: Cuadro.2:10.Costo Rica; Volumen de agua potable producidas por operador segun extraccion y despacho, anos 2009-2015 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data:Autoridad Reguladora de Servicios Publicos(2015),Intendencia de aguas. Compilacion por Daniel Esheverria Lutz. San Jose, Costa Rica
CRI | Costa Rica | National household water consumption | Not used | 335722 | litres/person/day |  | 2012 | National Institute of Statistics and Census: Environmental Indicators:Environmental Statistics Compendium System:Download XLS file: Cuadro.2:10.Costo Rica; Volumen de agua potable producidas por operador segun extraccion y despacho, anos 2009-2016 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data:Autoridad Reguladora de Servicios Publicos(2015),Intendencia de aguas. Compilacion por Daniel Esheverria Lutz. San Jose, Costa Rica
CRI | Costa Rica | National household water consumption | Not used | 321998 | litres/person/day |  | 2013 | National Institute of Statistics and Census: Environmental Indicators:Environmental Statistics Compendium System:Download XLS file: Cuadro.2:10.Costo Rica; Volumen de agua potable producidas por operador segun extraccion y despacho, anos 2009-2017 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data:Autoridad Reguladora de Servicios Publicos(2015),Intendencia de aguas. Compilacion por Daniel Esheverria Lutz. San Jose, Costa Rica
CRI | Costa Rica | Total population connected to sewers | Not used | 1101282 | people |  | 2010 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium. Download XLS file.Cuadro 5.3. Costa Rica: Cantidad de viviendo ocupados y ocupantes por zona segun clase de servicio sanitarion, ano 2010-2016 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data; Instituto Nacional de Estadistca y Censos(2016), Encuesta Nacional de Hogares, base de datos 2010-2015. San Jose Costa Rica
CRI | Costa Rica | Total population connected to sewers | Not used | 1179528 | people |  | 2011 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium. Download XLS file.Cuadro 5.3. Costa Rica: Cantidad de viviendo ocupados y ocupantes por zona segun clase de servicio sanitarion, ano 2010-2017 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data; Instituto Nacional de Estadistca y Censos(2016), Encuesta Nacional de Hogares, base de datos 2010-2015. San Jose Costa Rica
CRI | Costa Rica | Total population connected to sewers | Not used | 1145176 | people |  | 2012 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium. Download XLS file.Cuadro 5.3. Costa Rica: Cantidad de viviendo ocupados y ocupantes por zona segun clase de servicio sanitarion, ano 2010-2018 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data; Instituto Nacional de Estadistca y Censos(2016), Encuesta Nacional de Hogares, base de datos 2010-2015. San Jose Costa Rica
CRI | Costa Rica | Total population connected to sewers | Not used | 1139151 | people |  | 2013 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium. Download XLS file.Cuadro 5.3. Costa Rica: Cantidad de viviendo ocupados y ocupantes por zona segun clase de servicio sanitarion, ano 2010-2019 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data; Instituto Nacional de Estadistca y Censos(2016), Encuesta Nacional de Hogares, base de datos 2010-2015. San Jose Costa Rica
CRI | Costa Rica | Total population connected to sewers | Not used | 1268705 | people |  | 2014 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium. Download XLS file.Cuadro 5.3. Costa Rica: Cantidad de viviendo ocupados y ocupantes por zona segun clase de servicio sanitarion, ano 2010-2020 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data; Instituto Nacional de Estadistca y Censos(2016), Encuesta Nacional de Hogares, base de datos 2010-2015. San Jose Costa Rica
CRI | Costa Rica | Total population connected to sewers | Not used | 1020929 | people |  | 2015 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium. Download XLS file.Cuadro 5.3. Costa Rica: Cantidad de viviendo ocupados y ocupantes por zona segun clase de servicio sanitarion, ano 2010-2021 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data; Instituto Nacional de Estadistca y Censos(2016), Encuesta Nacional de Hogares, base de datos 2010-2015. San Jose Costa Rica
CRI | Costa Rica | Total population connected to sewers | Not used | 1039554 | people |  | 2016 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium. Download XLS file.Cuadro 5.3. Costa Rica: Cantidad de viviendo ocupados y ocupantes por zona segun clase de servicio sanitarion, ano 2010-2022 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data; Instituto Nacional de Estadistca y Censos(2016), Encuesta Nacional de Hogares, base de datos 2010-2015. San Jose Costa Rica
CRI | Costa Rica | Proportion of population with sewer connections | Not used | 26.1 | % |  | 2012 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Proportion of population with sewer connections | Not used | 25.5 | % |  | 2013 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Proportion of population with sewer connections | Not used | 16.4 | % |  | 2013 | INEC. Encuesta Nacional de Ingresos y Gastos de Hogares
CRI | Costa Rica | Proportion of population with sewer connections | Not used | 26.6 | % |  | 2014 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Proportion of population with sewer connections | Not used | 21.1 | % |  | 2015 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Proportion of population with sewer connections | Not used | 21.3 | % |  | 2016 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Proportion of population with sewer connections | Not used | 23.4 | % |  | 2017 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Proportion of population with sewer connections | Not used | 22.9 | % |  | 2018 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Proportion of population with sewer connections | Not used | 16 | % |  | 2018 | INEC. Encuesta Nacional de Ingresos y Gastos de Hogares
CRI | Costa Rica | Proportion of population with sewer connections | Not used | 21.4 | % |  | 2018 | INEC. Multiple Indicator Cluster Survey
CRI | Costa Rica | Proportion of population with sewer connections | Not used | 21.9 | % |  | 2019 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Total population connected to septic tanks | Not used | 3278963 | people |  | 2010 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium. Download XLS file.Cuadro 5.3. Costa Rica: Cantidad de viviendo ocupados y ocupantes por zona segun clase de servicio sanitarion, ano 2010-2016 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data; Instituto Nacional de Estadistca y Censos(2016), Encuesta Nacional de Hogares, base de datos 2010-2015. San Jose Costa Rica
CRI | Costa Rica | Total population connected to septic tanks | Not used | 3255230 | people |  | 2011 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium. Download XLS file.Cuadro 5.3. Costa Rica: Cantidad de viviendo ocupados y ocupantes por zona segun clase de servicio sanitarion, ano 2010-2017 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data; Instituto Nacional de Estadistca y Censos(2016), Encuesta Nacional de Hogares, base de datos 2010-2015. San Jose Costa Rica
CRI | Costa Rica | Total population connected to septic tanks | Not used | 3371011 | people |  | 2012 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium. Download XLS file.Cuadro 5.3. Costa Rica: Cantidad de viviendo ocupados y ocupantes por zona segun clase de servicio sanitarion, ano 2010-2018 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data; Instituto Nacional de Estadistca y Censos(2016), Encuesta Nacional de Hogares, base de datos 2010-2015. San Jose Costa Rica
CRI | Costa Rica | Total population connected to septic tanks | Not used | 3408248 | people |  | 2013 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium. Download XLS file.Cuadro 5.3. Costa Rica: Cantidad de viviendo ocupados y ocupantes por zona segun clase de servicio sanitarion, ano 2010-2019 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data; Instituto Nacional de Estadistca y Censos(2016), Encuesta Nacional de Hogares, base de datos 2010-2015. San Jose Costa Rica
CRI | Costa Rica | Total population connected to septic tanks | Not used | 3346251 | people |  | 2014 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium. Download XLS file.Cuadro 5.3. Costa Rica: Cantidad de viviendo ocupados y ocupantes por zona segun clase de servicio sanitarion, ano 2010-2020 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data; Instituto Nacional de Estadistca y Censos(2016), Encuesta Nacional de Hogares, base de datos 2010-2015. San Jose Costa Rica
CRI | Costa Rica | Total population connected to septic tanks | Not used | 3658204 | people |  | 2015 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium. Download XLS file.Cuadro 5.3. Costa Rica: Cantidad de viviendo ocupados y ocupantes por zona segun clase de servicio sanitarion, ano 2010-2021 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data; Instituto Nacional de Estadistca y Censos(2016), Encuesta Nacional de Hogares, base de datos 2010-2015. San Jose Costa Rica
CRI | Costa Rica | Total population connected to septic tanks | Not used | 3745549 | people |  | 2016 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium. Download XLS file.Cuadro 5.3. Costa Rica: Cantidad de viviendo ocupados y ocupantes por zona segun clase de servicio sanitarion, ano 2010-2022 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data; Instituto Nacional de Estadistca y Censos(2016), Encuesta Nacional de Hogares, base de datos 2010-2015. San Jose Costa Rica
CRI | Costa Rica | Proportion of population connected to septic tanks | Not used | 71.1 | % |  | 2012 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Proportion of population connected to septic tanks | Not used | 71.3 | % |  | 2013 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Proportion of population connected to septic tanks | Not used | 78.5 | % |  | 2013 | INEC. Encuesta Nacional de Ingresos y Gastos de Hogares
CRI | Costa Rica | Proportion of population connected to septic tanks | Not used | 70.1 | % |  | 2014 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Proportion of population connected to septic tanks | Not used | 757 | % |  | 2015 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Proportion of population connected to septic tanks | Not used | 75.2 | % |  | 2016 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Proportion of population connected to septic tanks | Not used | 72.1 | % |  | 2017 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Proportion of population connected to septic tanks | Not used | 72.9 | % |  | 2018 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Proportion of population connected to septic tanks | Not used | 81.1 | % |  | 2018 | INEC. Encuesta Nacional de Ingresos y Gastos de Hogares
CRI | Costa Rica | Proportion of population connected to septic tanks | Not used | 72.7 | % |  | 2018 | INEC. Multiple Cluster Survey
CRI | Costa Rica | Proportion of population connected to septic tanks | Not used | 74.6 | % |  | 2019 | INEC. Encuesta Nacional de Hogares
CRI | Costa Rica | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 4.79 | 1000m3/day |  | 2008 | UNSD | Tratamiento de aguas residuales urbanas: corresponde a los datos del Ministerio de Salud contenidos en el Sistema para el Registro de los Reportes Operacionales de Aguas Residuales (SIRROAR), correspondientes al CIIU 37.
CRI | Costa Rica | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 17637 | m3/day |  | 2009 | National Institute of Statistics and Census: Environmental Indicators:Environmental Statistics Compendium System: Download XLS file.Cuados 3.5.Costa Rica.Volumen de agua residual recibida y tratada por operator segun volumenes recolactado por alcantarillado y tratamiento de agua residuales,anos 2009-2013 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data:Autoridad Reguladores de Servicios Publicos(2015),Intendencia de Agua.Compilacion por Daniel Echeverria Lutz.San Jose,Costa Rica
CRI | Costa Rica | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 6.34 | 1000m3/day |  | 2009 | UNSD | Tratamiento de aguas residuales urbanas: corresponde a los datos del Ministerio de Salud contenidos en el Sistema para el Registro de los Reportes Operacionales de Aguas Residuales (SIRROAR), correspondientes al CIIU 37.
CRI | Costa Rica | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 15702 | m3/day |  | 2010 | National Institute of Statistics and Census: Environmental Indicators:Environmental Statistics Compendium System: Download XLS file.Cuados 3.5.Costa Rica.Volumen de agua residual recibida y tratada por operator segun volumenes recolactado por alcantarillado y tratamiento de agua residuales,anos 2009-2013 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data:Autoridad Reguladores de Servicios Publicos(2015),Intendencia de Agua.Compilacion por Daniel Echeverria Lutz.San Jose,Costa Rica
CRI | Costa Rica | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 31.52 | 1000m3/day |  | 2010 | UNSD | Tratamiento de aguas residuales urbanas: corresponde a los datos del Ministerio de Salud contenidos en el Sistema para el Registro de los Reportes Operacionales de Aguas Residuales (SIRROAR), correspondientes al CIIU 37.
CRI | Costa Rica | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 18576 | m3/day |  | 2011 | National Institute of Statistics and Census: Environmental Indicators:Environmental Statistics Compendium System: Download XLS file.Cuados 3.5.Costa Rica.Volumen de agua residual recibida y tratada por operator segun volumenes recolactado por alcantarillado y tratamiento de agua residuales,anos 2009-2013 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data:Autoridad Reguladores de Servicios Publicos(2015),Intendencia de Agua.Compilacion por Daniel Echeverria Lutz.San Jose,Costa Rica
CRI | Costa Rica | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 26.18 | 1000m3/day |  | 2011 | UNSD | Tratamiento de aguas residuales urbanas: corresponde a los datos del Ministerio de Salud contenidos en el Sistema para el Registro de los Reportes Operacionales de Aguas Residuales (SIRROAR), correspondientes al CIIU 37.
CRI | Costa Rica | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 28795 | m3/day |  | 2012 | National Institute of Statistics and Census: Environmental Indicators:Environmental Statistics Compendium System: Download XLS file.Cuados 3.5.Costa Rica.Volumen de agua residual recibida y tratada por operator segun volumenes recolactado por alcantarillado y tratamiento de agua residuales,anos 2009-2013 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data:Autoridad Reguladores de Servicios Publicos(2015),Intendencia de Agua.Compilacion por Daniel Echeverria Lutz.San Jose,Costa Rica
CRI | Costa Rica | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 26.52 | 1000m3/day |  | 2012 | UNSD | Tratamiento de aguas residuales urbanas: corresponde a los datos del Ministerio de Salud contenidos en el Sistema para el Registro de los Reportes Operacionales de Aguas Residuales (SIRROAR), correspondientes al CIIU 37.
CRI | Costa Rica | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 44530 | m3/day |  | 2013 | National Institute of Statistics and Census: Environmental Indicators:Environmental Statistics Compendium System: Download XLS file.Cuados 3.5.Costa Rica.Volumen de agua residual recibida y tratada por operator segun volumenes recolactado por alcantarillado y tratamiento de agua residuales,anos 2009-2013 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data:Autoridad Reguladores de Servicios Publicos(2015),Intendencia de Agua.Compilacion por Daniel Echeverria Lutz.San Jose,Costa Rica
CRI | Costa Rica | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 30.49 | 1000m3/day |  | 2013 | UNSD | Tratamiento de aguas residuales urbanas: corresponde a los datos del Ministerio de Salud contenidos en el Sistema para el Registro de los Reportes Operacionales de Aguas Residuales (SIRROAR), correspondientes al CIIU 37.
CRI | Costa Rica | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 27.79 | 1000m3/day |  | 2014 | UNSD | Tratamiento de aguas residuales urbanas: corresponde a los datos del Ministerio de Salud contenidos en el Sistema para el Registro de los Reportes Operacionales de Aguas Residuales (SIRROAR), correspondientes al CIIU 37.
CRI | Costa Rica | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 66.57 | 1000m3/day |  | 2015 | UNSD | Tratamiento de aguas residuales urbanas: corresponde a los datos del Ministerio de Salud contenidos en el Sistema para el Registro de los Reportes Operacionales de Aguas Residuales (SIRROAR), correspondientes al CIIU 37.
CRI | Costa Rica | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 73.24 | 1000m3/day |  | 2016 | UNSD | Tratamiento de aguas residuales urbanas: corresponde a los datos del Ministerio de Salud contenidos en el Sistema para el Registro de los Reportes Operacionales de Aguas Residuales (SIRROAR), correspondientes al CIIU 37.
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 8.26 | % |  | 2008 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium System: Download XLS file.Cuados 3.5.Costa Rica.Volumen de agua residual recibida y tratada por operator segun volumenes recolactado por alcantarillado y tratamiento de agua residuales,anos 2009-2018 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 8.26 | % |  | 2008 | UNSD
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 8.26 | % |  | 2009 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium System: Download XLS file.Cuados 3.5.Costa Rica.Volumen de agua residual recibida y tratada por operator segun volumenes recolactado por alcantarillado y tratamiento de agua residuales,anos 2009-2018 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 8.26 | % |  | 2009 | UNSD
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 8.26 | % |  | 2010 | UNSD
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 8.26 | % |  | 2011 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium System: Download XLS file.Cuados 3.5.Costa Rica.Volumen de agua residual recibida y tratada por operator segun volumenes recolactado por alcantarillado y tratamiento de agua residuales,anos 2009-2018 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 8.26 | % |  | 2011 | UNSD
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 8.26 | % |  | 2012 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium System: Download XLS file.Cuados 3.5.Costa Rica.Volumen de agua residual recibida y tratada por operator segun volumenes recolactado por alcantarillado y tratamiento de agua residuales,anos 2009-2018 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 8.26 | % |  | 2012 | UNSD
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 8.26 | % |  | 2013 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium System: Download XLS file.Cuados 3.5.Costa Rica.Volumen de agua residual recibida y tratada por operator segun volumenes recolactado por alcantarillado y tratamiento de agua residuales,anos 2009-2018 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 8.26 | % |  | 2013 | UNSD
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 8.29 | % |  | 2014 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium System: Download XLS file.Cuados 3.5.Costa Rica.Volumen de agua residual recibida y tratada por operator segun volumenes recolactado por alcantarillado y tratamiento de agua residuales,anos 2009-2018 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 2.1 | % |  | 2014 | UNSD
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 11.69 | % |  | 2015 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium System: Download XLS file.Cuados 3.5.Costa Rica.Volumen de agua residual recibida y tratada por operator segun volumenes recolactado por alcantarillado y tratamiento de agua residuales,anos 2009-2018 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 4.6 | % |  | 2015 | UNSD
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 11.69 | % |  | 2016 | National Institute of Statistics and Census: Environmental Indicators: Environmental Statistics Compendium System: Download XLS file.Cuados 3.5.Costa Rica.Volumen de agua residual recibida y tratada por operator segun volumenes recolactado por alcantarillado y tratamiento de agua residuales,anos 2009-2018 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 7.65 | % |  | 2016 | UNSD
CRI | Costa Rica | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 7.56 | % |  | 2017 | UNSD
CRI | Costa Rica | Volume of wastewater delivered to treatment systems with primary treatment | Not used | 31.54 | 1000m3/day |  | 2016 | UNSD
CRI | Costa Rica | Proportion of wastewater (by volume) delivered to treatment systems with primary treatment | Not used | 43.1 | % |  | 2016 | UNSD
CRI | Costa Rica | Proportion of population connected to treatment systems with primary treatment | Not used | 8.26 | % |  | 2008 | National Institute of Statistics and Census. Environmental Indicators: Environmental Statistics Compendium System: Cuados 5.4.Download XLS file. Costa Rica.Porcentaje de poblacion conectada a plantas de tratamiento de aguas residuaales,anos 2008-2016 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to treatment systems with primary treatment | Not used | 8.26 | % |  | 2009 | National Institute of Statistics and Census. Environmental Indicators: Environmental Statistics Compendium System: Cuados 5.4.Download XLS file. Costa Rica.Porcentaje de poblacion conectada a plantas de tratamiento de aguas residuaales,anos 2008-2017 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to treatment systems with primary treatment | Not used | 8.26 | % |  | 2011 | National Institute of Statistics and Census. Environmental Indicators: Environmental Statistics Compendium System: Cuados 5.4.Download XLS file. Costa Rica.Porcentaje de poblacion conectada a plantas de tratamiento de aguas residuaales,anos 2008-2018 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to treatment systems with primary treatment | Not used | 8.26 | % |  | 2012 | National Institute of Statistics and Census. Environmental Indicators: Environmental Statistics Compendium System: Cuados 5.4.Download XLS file. Costa Rica.Porcentaje de poblacion conectada a plantas de tratamiento de aguas residuaales,anos 2008-2019 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to treatment systems with primary treatment | Not used | 8.26 | % |  | 2013 | National Institute of Statistics and Census. Environmental Indicators: Environmental Statistics Compendium System: Cuados 5.4.Download XLS file. Costa Rica.Porcentaje de poblacion conectada a plantas de tratamiento de aguas residuaales,anos 2008-2020 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to treatment systems with primary treatment | Not used | 8.26 | % |  | 2014 | National Institute of Statistics and Census. Environmental Indicators: Environmental Statistics Compendium System: Cuados 5.4.Download XLS file. Costa Rica.Porcentaje de poblacion conectada a plantas de tratamiento de aguas residuaales,anos 2008-2021 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to treatment systems with primary treatment | Not used | 11.69 | % |  | 2015 | National Institute of Statistics and Census. Environmental Indicators: Environmental Statistics Compendium System: Cuados 5.4.Download XLS file. Costa Rica.Porcentaje de poblacion conectada a plantas de tratamiento de aguas residuaales,anos 2008-2022 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Proportion of population connected to treatment systems with primary treatment | Not used | 11.69 | % |  | 2016 | National Institute of Statistics and Census. Environmental Indicators: Environmental Statistics Compendium System: Cuados 5.4.Download XLS file. Costa Rica.Porcentaje de poblacion conectada a plantas de tratamiento de aguas residuaales,anos 2008-2023 / https://www.inec.cr/medio-ambiente/indicadores-ambientales | Source of data: Organizacion para la Cooperacion y el Desarrollo Economico(2015).Questionaire on the State of the Environment for Costa Rica.Inland Water
CRI | Costa Rica | Volume of wastewater delivered to treatment systems with secondary treatment | Not used | 4.79 | 1000m3/day |  | 2008 | UNSD
CRI | Costa Rica | Volume of wastewater delivered to treatment systems with secondary treatment | Not used | 6.34 | 1000m3/day |  | 2009 | UNSD
CRI | Costa Rica | Volume of wastewater delivered to treatment systems with secondary treatment | Not used | 31.52 | 1000m3/day |  | 2010 | UNSD
CRI | Costa Rica | Volume of wastewater delivered to treatment systems with secondary treatment | Not used | 26.11 | 1000m3/day |  | 2011 | UNSD
CRI | Costa Rica | Volume of wastewater delivered to treatment systems with secondary treatment | Not used | 26.52 | 1000m3/day |  | 2012 | UNSD
CRI | Costa Rica | Volume of wastewater delivered to treatment systems with secondary treatment | Not used | 30.49 | 1000m3/day |  | 2013 | UNSD
CRI | Costa Rica | Volume of wastewater delivered to treatment systems with secondary treatment | Not used | 27.79 | 1000m3/day |  | 2014 | UNSD
CRI | Costa Rica | Volume of wastewater delivered to treatment systems with secondary treatment | Not used | 28.27 | 1000m3/day |  | 2015 | UNSD
CRI | Costa Rica | Volume of wastewater delivered to treatment systems with secondary treatment | Not used | 73.24 | 1000m3/day |  | 2016 | UNSD
CRI | Costa Rica | Volume of wastewater delivered to treatment systems with secondary treatment | Not used | 41.7 | 1000m3/day |  | 2016 | UNSD
CRI | Costa Rica | Proportion of wastewater (by volume) delivered to treatment systems with secondary treatment | Not used | 56.9 | % |  | 2016 | UNSD
CRI | Costa Rica | Proportion of wastewater (by volume) delivered to treatment systems with at least secondary treatment | Not used | 62.5 | % |  | 2009 | Marco para el desarrollo de Estadistica Ambientales
CRI | Costa Rica | Proportion of wastewater (by volume) delivered to treatment systems with at least secondary treatment | Not used | 36.3 | % |  | 2010 | Marco para el desarrollo de Estadistica Ambientales
CRI | Costa Rica | Proportion of wastewater (by volume) delivered to treatment systems with at least secondary treatment | Not used | 48.2 | % |  | 2011 | Marco para el desarrollo de Estadistica Ambientales
CRI | Costa Rica | Proportion of wastewater (by volume) delivered to treatment systems with at least secondary treatment | Not used | 39.2 | % |  | 2012 | Marco para el desarrollo de Estadistica Ambientales
CRI | Costa Rica | Proportion of wastewater (by volume) delivered to treatment systems with at least secondary treatment | Not used | 52.8 | % |  | 2013 | Marco para el desarrollo de Estadistica Ambientales
CRI | Costa Rica | Proportion of wastewater (by volume) delivered to treatment systems with at least secondary treatment | Not used | 100 | % |  | 2014 | WWT
CRI | Costa Rica | Proportion of wastewater (by volume) delivered to treatment systems with at least secondary treatment | Not used | 42.5 | % |  | 2015 | WWT
CRI | Costa Rica | Proportion of wastewater (by volume) delivered to treatment systems with at least secondary treatment | Not used | 56.9 | % |  | 2016 | UNSD | Calculated based on volumes given (42/(42+31.5)); pri: 31.54; sec: 41.7
CRI | Costa Rica | Total volume of wastewater generated | Not used | 247110 | m3/day |  | 2008 | UNSD
CRI | Costa Rica | Total volume of wastewater generated | Not used | 248940 | m3/day |  | 2009 | UNSD
CRI | Costa Rica | Total volume of wastewater generated | Not used | 420480 | m3/day |  | 2010 | UNSD
CRI | Costa Rica | Total volume of wastewater generated | Not used | 430840 | m3/day |  | 2011 | UNSD
CRI | Costa Rica | Total volume of wastewater generated | Not used | 419660 | m3/day |  | 2012 | UNSD
CRI | Costa Rica | Total volume of wastewater generated | Not used | 429530 | m3/day |  | 2013 | UNSD
CRI | Costa Rica | Total volume of wastewater generated | Not used | 444510 | m3/day |  | 2014 | UNSD
CRI | Costa Rica | Total volume of wastewater generated | Not used | 460790 | m3/day |  | 2015 | UNSD
CRI | Costa Rica | Total volume of wastewater generated | Not used | 466020 | m3/day |  | 2016 | UNSD