## Introduction
Sustainable Development Goal 6 Monitoring
Safely Treated Wastewater
Sweden
Updated September 2018
Follow the links below to find the following information:
Summary
Guidance Note on estimation methods
6.3.1a: Percentage of safely treated domestic wastewater flows
calculation and estimate
data sources
6.3.1b: Percentage of safely treated industrial wastewater flows
calculation and estimate
data sources

## Guidance Note
Summary of definitions and estimation methods
6.3.1a: Percentage of safely treated domestic wastewater flows
The sub-indicator measures the flow safely treated wastewater (sewage treated at treatment plants, wastewater from onsite facility treated on-site or emptied, transported and treated off-site) as a proportion of all domestic wastewater generated based on household per capita water use data.
Definition: Domestic wastewater is defined as wastewater flow from households and services, unless the service has an International Standard Industrial Classification (ISIC) code. Safely treated is defined as meeting national or local treatment standards for discharge of treated effluents.
Numerator: Volumes of wastewater flows that are either: a) Flows transferred through sewers to a wastewater treatment plant where they are treated in compliance with national and local standards or b) Flows released to an on-site system that includes treatment compliant with national and local standards before discharge or c) Flows released to an on-site system that is emptied and transported to a treatment plant where is treated in compliance with national or local standards Denominator: Volumes of wastewater flows generated by all households (including greywater)
Data handling and estimate calculation: The estimates for 6.3.1a draw on 26 variables in a service chain from generation to treatment. Assumptions are used for variables where data is not available. Assumptions used are the same as the assumptions used for indicator estimation of indicator 6.2.1. Country estimates are only made if assumption apply to less than 50% of the population using each service type. The safely treated proportion is determined by either; performance data indicating the proportion of effluent meeting national standards, or technology data indicating treatment to secondary treatment or higher (or primary with a long ocean outfall) when performance data is not available.
6.3.1b: Percentage of safely treated industrial wastewater flows
The sub-indicator measures volumes of industrial wastewater flows in compliance with regulations and discharge permits as a proportion of all industrial wastewater discharged to sewers and to the environment.
Definition: Industrial wastewater is defined as flow from industrial premises as defined by ISIC classifications.
Numerator: Volume of wastewater flows that are released in compliance with regulations and discharge permits either: a) to a public sewerage network that goes to a wastewater treatment plant where wastewater is treated in compliance with local standards or b) to the environment (after treatment or not). Denominator: Total volumes of industrial wastewater discharged to public sewers and to the environment.
Data handling and estimate calculation: Estimates for 6.3.1b draw on four variables to derive the percentage of industrial wastewater safely treated. Variables are compiled at the country level in a national inventory of industrial emissions to water. The estimate is calculated using a flow weighted average of industries meeting their permits divided by the total flow. Where possible both the numerator and denominator is be disaggregated by discharge to sewers or directly to the environment plus further disaggregated by ISIC industry classification where available. Where information on isolated industrial facilities is not available the indicator will only reflect the compliance of discharges to public sewers.

## SDG631a Estimates
Population [1000s] | Water supply [%] | X3 | Water use [L/p*d] | X5 | Sanitation [%] | X7 | Wastewater [1000s m3/day] | X9 | Sanitation service chain [%] | X11 | X12 | X13 | X14 | X15 | X16 | Safely treated wastewater [1000s m3/d] | X18 | X19 | Safely treated wastewater [%] | X21 | X22 | X23
| Population with water on premises | Population with water not on premises | On premises | Not on premises | Type | Population using type (including shared) | Generation | Collection | contained | emptied and buried onsite | emptied and discharged locally | emptied and removed offsite | not emptied | delivered to treatment plant | treated at treatment plant | Wastewater treatment | Treated in-situ | Feacal sludge treatment | Wastewater treatment | Treated in-situ | Feacal sludge treatment | 6.3.1a
#NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
9779.426 | 98.0287 | 1.9713 | 120 | 20 | piped sewers | 85.9137 | 1008.2245 | 1008.2245 | 100 | #NAME? | #NAME? | #NAME? | #NAME? | 100 | 100 | 1008.2245 | #NAME? | #NAME? | 87.3486 | #NAME? | #NAME? | 93.513
#NAME? | #NAME? | #NAME? | #NAME? | #NAME? | septic tanks | 12.1817 | 142.3035 | 142.3035 | 100 | 0 | 0 | 50 | 50 | 100 | 0 | #NAME? | 71.1517 | 0 | #NAME? | 6.1643 | 0 | #NAME?
#NAME? | #NAME? | #NAME? | #NAME? | #NAME? | other improved facilities | 1.9014 | 3.7189 | 0 | 100 | 0 | 0 | 50 | 50 | 100 | 0 | #NAME? | 0 | 0 | #NAME? | 0 | 0 | 0
#NAME? | #NAME? | #NAME? | #NAME? | #NAME? | unimproved facilities | 0.003229 | 0.0063155 | 0 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME? | #NAME? | open defecation | 0 | 0 | 0 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
TOTAL | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | 1154.2532 | 1150.528 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?

## SDG631a_data_summary
iso3 | country name | data point id | data point name | value | unit | assumption | year | source | source name full | link
SWE | Sweden | 1 | population | 9779.426 | population_1000s | no | 2015 | UNPD | United Nations Population Division
SWE | Sweden | 2 | population with water on premises | 98.0287 | percent | no | 2015 | JMPWASH | UNICEF/WHO Joint Monitoring Programme | https://washdata.org/data/country/SWE/download
SWE | Sweden | 3 | population with water not on premises | 1.9713 | percent | no | 2015 | JMPWASH | UNICEF/WHO Joint Monitoring Programme | https://washdata.org/data/country/SWE/download
SWE | Sweden | 4 | water use piped water | 120 | liter/p/d | yes |  | WHOGDWQ | WHO Guidelines for Drinking-water Quality | http://www.who.int/water_sanitation_health/water-quality/guidelines/en/
SWE | Sweden | 5 | water use non piped water | 20 | liter/p/d | yes |  | WHOGDWQ | WHO Guidelines for Drinking-water Quality | http://www.who.int/water_sanitation_health/water-quality/guidelines/en/
SWE | Sweden | 6 | piped sewers | 85.9137 | percent | no | 2015 | JMPWASH | UNICEF/WHO Joint Monitoring Programme | https://washdata.org/data/country/SWE/download
SWE | Sweden | 7 | septic tanks | 12.1817 | percent | no | 2015 | JMPWASH | UNICEF/WHO Joint Monitoring Programme | https://washdata.org/data/country/SWE/download
SWE | Sweden | 8 | other improved facilities | 1.9014 | percent | no | 2015 | JMPWASH | UNICEF/WHO Joint Monitoring Programme | https://washdata.org/data/country/SWE/download
SWE | Sweden | 9 | unimproved facilities | 0.003229 | percent | no | 2015 | JMPWASH | UNICEF/WHO Joint Monitoring Programme | https://washdata.org/data/country/SWE/download
SWE | Sweden | 10 | open defecation | 0 | percent | no | 2015 | JMPWASH | UNICEF/WHO Joint Monitoring Programme | https://washdata.org/data/country/SWE/download
SWE | Sweden | 11 | piped sewers – contained | 100 | percent | yes
SWE | Sweden | 12 | piped sewers – delivered to treatment plant | 100 | percent | yes
SWE | Sweden | 13 | septic tanks – contained | 100 | percent | yes
SWE | Sweden | 14 | septic tanks – not emptied | 50 | percent | yes
SWE | Sweden | 15 | septic tanks – emptied and buried onsite |  | percent | yes
SWE | Sweden | 16 | septic tanks – emptied and discharged locally |  | percent | yes
SWE | Sweden | 17 | septic tanks – emptied and removed offsite | 50 | percent | yes
SWE | Sweden | 18 | septic tanks – delivered to treatment plant | 100 | percent | yes
SWE | Sweden | 19 | other improved facilities – contained | 100 | percent | yes
SWE | Sweden | 20 | other improved facilities – not emptied | 50 | percent | yes
SWE | Sweden | 21 | other improved facilities – emptied and buried onsite |  | percent | yes
SWE | Sweden | 22 | other improved facilities – emptied and discharged locally |  | percent | yes
SWE | Sweden | 23 | other improved facilities – emptied and removed offsite | 50 | percent | yes
SWE | Sweden | 24 | other improved facilities – delivered to treatment plant | 100 | percent | yes
SWE | Sweden | 25 | piped sewers – treated at treatment plant | 100 | percent | no | 2013 | ES13 | Eurostat environmental database
SWE | Sweden | 26 | septic tanks, other improved facilities - treated at treatment plant | 0 | percent | yes